机构名称：佛山市质量计量监督检测中心

注册号：L0799

地  址：

A：广东省佛山市南海区桂城南新一路8号

B：广东省佛山市高明区沧江路梅花街38号

C：广东省佛山市南海区狮山长虹岭工业园长虹路

D：广东省佛山市南海区狮山镇科技路

E：广东省佛山市三水区西南街道南丰大道

获准认可能力索引

| 序号 | 地址 | 能力范围 | 评审类型 | 更新时间 |
| --- | --- | --- | --- | --- |
| 1 | A | 授权签字人(中文) | 复评+扩项 | 2015年02月11日 |
| 2 |  | 授权签字人(英文) | 复评+扩项 | 2015年02月11日 |
| 3 | A | 检测能力(中文) | 复评+扩项 | 2015年02月11日 |
| 4 |  | 检测能力(英文) | 复评+扩项 | 2015年02月11日 |
| 5 | A | 校准能力(中文) | 复评+扩项 | 2015年02月11日 |
| 6 |  | 校准能力(英文) | 复评+扩项 | 2015年02月11日 |
| 7 | B | 授权签字人(中文) | 复评+扩项 | 2015年02月11日 |
| 8 |  | 授权签字人(英文) | 复评+扩项 | 2015年02月11日 |
| 9 | B | 校准能力(中文) | 复评+扩项 | 2015年02月11日 |
| 10 |  | 校准能力(英文) | 复评+扩项 | 2015年02月11日 |
| 11 | C | 授权签字人(中文) | 复评+扩项 | 2015年02月11日 |
| 12 |  | 授权签字人(英文) | 复评+扩项 | 2015年02月11日 |
| 13 | C | 校准能力(中文) | 复评+扩项 | 2015年02月11日 |
| 14 |  | 校准能力(英文) | 复评+扩项 | 2015年02月11日 |
| 15 | D | 授权签字人(中文) | 复评+扩项 | 2015年02月11日 |
| 16 |  | 授权签字人(英文) | 复评+扩项 | 2015年02月11日 |
| 17 | D | 检测能力(中文) | 复评+扩项 | 2015年02月11日 |
| 18 |  | 检测能力(英文) | 复评+扩项 | 2015年02月11日 |
| 19 | D | 校准能力(中文) | 复评+扩项 | 2015年02月11日 |
| 20 |  | 校准能力(英文) | 复评+扩项 | 2015年02月11日 |
| 21 | E | 授权签字人(中文) | 复评+扩项 | 2015年02月11日 |
| 22 |  | 授权签字人(英文) | 复评+扩项 | 2015年02月11日 |
| 23 | E | 校准能力(中文) | 复评+扩项 | 2015年02月11日 |
| 24 |  | 校准能力(英文) | 复评+扩项 | 2015年02月11日 |

- Name：Foshan Supervision Testing Center of Quality and Metrology

- Registration No.：L0799

ADDRESS：

- A: No.8, Nanxinyi Road, Guicheng, Nanhai District, Foshan, Guangdong, China

- B：No.38, Meihua Street, Cangjiang Road, Gaoming District, Foshan, Guangdong, China

- C：Changhong Road, Changhongling Industrial Park, Shishan, Nanhai District, Foshan, Guangdong, China

- D：Keji Road, Shishan, Nanhai District, Foshan, Guangdong, China

- E：Nanfeng Road, Xinan Street, Sanshui District, Foshan, Guangdong, China

- INDEX OF ACCREDITED SIGNATORIES

| No. | Address | Range | Type | Update date |
| --- | --- | --- | --- | --- |
| 1 | A | Approved signatories (Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 2 |  | Approved signatories (English) | Reassessment+Extending assessment | 2015-02-11 |
| 3 | A | Testing ability(Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 4 |  | Testing ability(English) | Reassessment+Extending assessment | 2015-02-11 |
| 5 | A | Calibration ability(Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 6 |  | Calibration ability(English) | Reassessment+Extending assessment | 2015-02-11 |
| 7 | B | Approved signatories (Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 8 |  | Approved signatories (English) | Reassessment+Extending assessment | 2015-02-11 |
| 9 | B | Calibration ability(Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 10 |  | Calibration ability(English) | Reassessment+Extending assessment | 2015-02-11 |
| 11 | C | Approved signatories (Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 12 |  | Approved signatories (English) | Reassessment+Extending assessment | 2015-02-11 |
| 13 | C | Calibration ability(Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 14 |  | Calibration ability(English) | Reassessment+Extending assessment | 2015-02-11 |
| 15 | D | Approved signatories (Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 16 |  | Approved signatories (English) | Reassessment+Extending assessment | 2015-02-11 |
| 17 | D | Testing ability(Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 18 |  | Testing ability(English) | Reassessment+Extending assessment | 2015-02-11 |
| 19 | D | Calibration ability(Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 20 |  | Calibration ability(English) | Reassessment+Extending assessment | 2015-02-11 |
| 21 | E | Approved signatories (Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 22 |  | Approved signatories (English) | Reassessment+Extending assessment | 2015-02-11 |
| 23 | E | Calibration ability(Chinese) | Reassessment+Extending assessment | 2015-02-11 |
| 24 |  | Calibration ability(English) | Reassessment+Extending assessment | 2015-02-11 |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市南海区桂城南新一路8号

签发日期：2015年02月11日        有效期至：2018年02月10日

更新日期：2015年02月11日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 梁伟强 | 力学校准项目 |  |
| 2 | 唐晓 | 化学校准项目 |  |
| 3 | 何卫平 | 力学校准项目 |  |
| 4 | 续梅 | 光学、化学校准项目 |  |
| 5 | 陈广初 | 全部校准项目、洁净工作台及盐雾试验设备检测项目 |  |
| 6 | 黄丽群 | 力学(压力、质量、容量)、化学、长度、光学校准，洁净工作台检测项目 |  |
| 7 | 范永鹏 | 电磁、时间频率、温度、无线电、声学、力学(转速、流量)、化学、光学校准，盐雾试验设备检测项目 |  |
| 8 | 梁昌强 | 力学（力值、硬度、振动、冲击、扭矩）、化学、光学,建筑专用设备校准，机动车检测设备校准，洁净工作台检测项目 |  |
| 9 | 何菲 | 长度校准项目 |  |
| 10 | 王怡 | 电磁、温度、声学、时间频率、无线电、力学(转速、流量)、光学校准，盐雾试验设备检测项目 |  |
| 11 | 李杰 | 压力、质量、容量、化学和光学校准，洁净工作台检测项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:No.8, Nanxinyi Road, Guicheng, Nanhai District, Foshan, Guangdong, China

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Weiqiang Liang | Accredited calibration items of Mechanics |  |
| 2 | Xiao Tang | Accredited calibration items of Chemistry |  |
| 3 | Weiping He | Accredited calibration items of Mechanics |  |
| 4 | Xu Mei | Accredited calibration items of Optics and Chemistry |  |
| 5 | Guangchu Chen | All accredited calibration and testing items |  |
| 6 | Liqun Huang | Accredited calibration and testing items of Mechanics(Pressure,Mass,Volume)，Chemistry，Length，Optics,Clean bench |  |
| 7 | Yongpeng Fan | Accredited calibration and testing items of Electromagnetism,Time and Frequency, Temperature,Radio,Acoustics,Mechanics(Rotale speed，Flux),Chemistry,Optics, Environmental testing equipments |  |
| 8 | Changqiang Liang | Accredited calibration and testing items of Mechanics(Froce,Hardness,Vibration, Shock, Torque),Chemistry,Optics,Special equipment for building，Automobile,Clean bench |  |
| 9 | Fei He | Accredited calibration items of Length |  |
| 10 | Yi Wang | Accredited calibration items of Electromagnetism，Temperature,Acoustics,Time and Frequency，Radio,Mechanics(Rotale speed，Flux)，Optics,Environmental testing equipments |  |
| 11 | Jie Li | Accredited calibration and testing items of Mechanics,Chemistry,Optics,Clean bench |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市南海区桂城南新一路8号

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年02月11日         有效期至：2018年02月10日

更新日期：2015年02月11日

附件2  认可的检测能力范围

| 序号 | 检测 对象 | 项目/参数 |  | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | 盐雾试验设备 | 1 | 温度偏差 | 《电工电子产品环境试验设备检验方法 盐雾试验设备》 GB/T 5170.8-2008 |  |  |
|  |  | 2 | 温度波动度 |  |  |  |
|  |  | 3 | 温度均匀度 |  |  |  |
|  |  | 4 | 温度指示误差 |  |  |  |
|  |  | 5 | 盐雾沉降率 |  |  |  |
| 2 | 洁净工作台 | 1 | 风速 | 《洁净工作台》 JG/T 292-2010 |  |  |
| 2 | 洁净工作台 | 2 | 空气洁净度 | 《洁净工作台》 JG/T 292-2010 |  |  |
|  |  | 3 | 噪音 |  |  |  |
|  |  | 4 | 光照度 |  |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:No.8, Nanxinyi Road, Guicheng, Nanhai District, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 2  ACCREDITED TESTING

| № | Test Object | Item/Parameter |  | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Salt mist testing equipments | 1 | temperature deviation | Inspection methods for environmental testing equipments for electric and elecrtonic products--Salt mist testing equipments GB/T 5170.8-2008 |  |  |
|  |  | 2 | Temperature fluctuation degree |  |  |  |
|  |  | 3 | Temperature uniformity |  |  |  |
|  |  | 4 | Temperature indicating error |  |  |  |
| 1 | Salt mist testing equipments | 5 | rate of Salt Mist Sedimentation | Inspection methods for environmental testing equipments for electric and elecrtonic products--Salt mist testing equipments GB/T 5170.8-2008 |  |  |
| 2 | Clean Bench | 1 | wind spead | Clean bench JG/T 292-2010 |  |  |
|  |  | 2 | Air cleanliness |  |  |  |
|  |  | 3 | Noise |  |  |  |
|  |  | 4 | intensity of illumination |  |  |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市南海区桂城南新一路8号

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年02月11日         有效期至：2018年02月10日

更新日期：2015年02月11日

附件3 认可的校准能力范围

| 序号 | 测量仪器名称 | 校准参量 | 规范代号（含年号）名称 | 测量范围 | 扩展不确定度（k=2） | 限制说明 | 备注 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 温度 |  |  |  |  |  |  |  |
| 1 | 数字温度指示调节仪 | 温度 | 数字温度指示调节仪检定规程 JJG 617-1996 | (-150～-50)℃ | U=0.14℃ |  | 配热电阻 |
|  |  |  |  | (-50～0)℃ | U=0.08℃ |  |  |
|  |  |  |  | (0～800)℃ | U=(0.14～0.3)℃ |  |  |
|  |  |  |  | (0～1600)℃ | U=(0.6～2.0)℃ |  | 配热电偶 |
| 2 | 模拟式温度指示调节仪 | 温度 | 模拟式温度指示调节仪检定规程 JJG 951-2000 | (-150～+800)℃ | U=(0.5～0.6)℃ |  | 配热电阻 |
| 2 | 模拟式温度指示调节仪 | 温度 | 模拟式温度指示调节仪检定规程 JJG 951-2000 | (0～1600)℃ | U=(2.2～2.4)℃ |  | 配热电偶 |
| 3 | 玻璃液体温度计 | 温度 | 工作用玻璃液体温度计检定规程 JJG 130-2011 | (-30～0)℃ | U=0.06℃ |  |  |
|  |  |  |  | (0～95)℃ | U=(0.05～0.06)℃ |  |  |
|  |  |  |  | (100～300)℃ | U=(0.06～0.07)℃ |  |  |
| 4 | 温度指示控制仪 | 温度 | 温度指示控制仪检定规程 JJG 874-2007 | 分辨力0.1℃： (-30～+50)℃ | U=0.3℃ |  |  |
|  |  |  |  | 分辨力1℃：(50～300)℃ | U=0.6℃ |  |  |
| 5 | 电接点温度计 | 温度 | 电接点玻璃水银温度计检定规程 JJG 131-2004 | (-30～0)℃ | U=0.06℃ |  |  |
|  |  |  |  | (0～95)℃ | U=(0.05～0.06)℃ |  |  |
|  |  |  |  | (100～300)℃ | U=(0.06～0.07)℃ |  |  |
| 6 | 双金属温度计 | 温度 | 双金属温度计检定规程 JJG 226-2001 | (-30～+300)℃ | U=0.3℃ |  |  |
| 7 | 压力式温度计 | 温度 | 压力式温度计检定规程 JJG 310-2002 | (-30～+300)℃ | U=0.3℃ |  |  |
| 8 | 温度巡回检测仪 | 温度 | 温度巡回检测仪校准规范 JJF 1171-2007 | (-30～+300)℃ | U=0.3℃ |  |  |
| 9 | 廉金属热电偶 | 温度 | 工作用廉金属热电偶检定规程 JJG 351-1996 | (300～1200)℃ | U=0.7℃ |  |  |
| 10 | 贵金属热电偶 | 温度 | 工作用贵金属热电偶检定规程 JJG 141-2013 | (419.527℃) | U=0.6℃ |  |  |
| 10 | 贵金属热电偶 | 温度 | 工作用贵金属热电偶检定规程 JJG 141-2013 | (660.323℃) | U=0.6℃ |  |  |
|  |  |  |  | (1084.62℃) | U=0.6℃ |  |  |
| 11 | 动圈式温度仪表 | 温度 | 动圈式温度指示、指示位式调节仪表检定规程 JJG l86-1997 | (0～1100)℃ | U=(2.1～2.3)℃ |  |  |
| 12 | 自动平衡式仪表 | 温度 | 工业过程测量记录仪检定规程 JJG 74-2005 | (0～900) ℃ | U=1.4℃ |  |  |
|  |  |  |  | (900～1600) ℃ | U=1.7℃ |  |  |
| 13 | 热电阻 | 温度 | 工业铂、铜热电阻检定规程 JJG 229-2010 | (-30～+300)℃ | 0 ℃： U=0.03 ℃100 ℃：U=0.04℃ |  |  |
| 14 | 温度变送器 | 温度 | 温度变送器校准规范 JJF 1183-2007 | (-30～+1200)℃ | U=(0.4～1.8)℃ |  |  |
|  |  | 电流 |  | (4～20)mA | U=0.013mA |  |  |
| 15 | 温度、湿度试验设备 | 温度 | 环境试验设备温度、湿度校准规范 JJF 1101-2003 | (-50～+250)℃ | U=(0.4～0.9)℃ |  |  |
|  |  | 湿度 |  | (10～95)%RH | U=1.5%RH |  |  |
| 16 | 温湿度计 | 温度 | 机械式温湿度计检定规程 JJG 205-2005湿度传感器校准规范 JJF 1076-2001 | (5～50)℃ | U=0.7℃ |  |  |
|  |  | 湿度 |  | (30～95)%RH | U=1.6%RH |  |  |
| 17 | 恒温槽 | 温度 | 恒温槽技术性能测试规范 JJF 1030-2010 | (-100~+300)℃ | 均匀度：U=0.003℃ 波动度：U=(0.004～0.008)℃ |  |  |
| 18 | 电阻炉 | 温度 | 箱式电阻炉校准规范 JJF 1376-2012 | (0~1200)℃ | U=(1.8～2.2)℃ |  |  |
| 19 | 沥青混合料拌和机 | 转速 | 沥青混合料拌和机检定规程 JJG（交通） 064-2006 | (0~100)r/min | U=1r/min |  |  |
|  |  | 温度 |  | (0~300)℃ | U=0.7℃ |  |  |
| 20 | 医用热力灭菌设备 | 温度 | 医用热力灭菌设备温度计校准规范 JJF 1308-2011 | （0～140）℃ | U=0.3℃ |  |  |
| 电磁 |  |  |  |  |  |  |  |
| 21 | 直流电压表(模拟式) | 电压 | 电流表、电压表、功率表及电阻表检定规程 JJG 124-2005 | 1mV～1000V | U= 0.13%FS |  |  |
| 22 | 交流电压表(模拟式) | 电压 | 电流表、电压表、功率表及电阻表检定规程 JJG 124-2005 | 1mV～600V (50Hz、55Hz、60Hz) | U= 0.13%FS |  |  |
| 23 | 直流电流表(模拟式) | 电流 | 电流表、电压表、功率表及电阻表检定规程 JJG 124-2005 | 1mA～10A | U=0.10%FS |  |  |
|  |  |  |  | 10A～30A | U=0.17%FS |  |  |
| 24 | 交流电流表(模拟式) | 电流 | 电流表、电压表、功率表及电阻表检定规程 JJG 124-2005 | 1mA～10A (50Hz、55Hz、60Hz) | U=0.10%FS |  |  |
|  |  |  |  | 10A～30A (50Hz、55Hz、60Hz) | U=0.17%FS |  |  |
| 25 | 直流功率表(模拟式) | 功率 | 电流表、电压表、功率表及电阻表检定规程 JJG 124-2005 | (0.1～12000)W | U= 0.13% FS |  |  |
| 26 | 交流功率表(模拟式) | 功率 | 电流表、电压表、功率表及电阻表检定规程 JJG 124-2005 | (0.1～12000)W (50Hz、55Hz、60Hz) | U= 0.13% FS |  |  |
| 27 | 直流数字电压表 | 电压 | 直流数字电压表试行检定规程 JJG 315-1983 | (0.1～1)mV | Urel =1.1% |  |  |
|  |  |  |  | (1～10)mV | Urel =1.0% |  |  |
|  |  |  |  | (10～100)mV | Urel =0.11% |  |  |
|  |  |  |  | (100～330)mV | Urel =0.014% |  |  |
|  |  |  |  | (0.33～33)V | Urel =0.012% |  |  |
|  |  |  |  | (33～330)V | Urel =0.011% |  |  |
|  |  |  |  | (330～1000)V | Urel =0.012% |  |  |
| 28 | 交流数字电压表 | 电压 | 交流数字电压表检定规程 JJG (航天)34-1999 | (10～100)mV (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.41% |  |  |
|  |  |  |  | (100～330)mV (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.081% |  |  |
|  |  |  |  | (0.33～3.3)V (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.043% |  |  |
| 28 | 交流数字电压表 | 电压 | 交流数字电压表检定规程 JJG (航天)34-1999 | (3.3～33)V (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.054% |  |  |
|  |  |  |  | (33～330)V (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.066% |  |  |
|  |  |  |  | (330～700)V (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.075% |  |  |
| 29 | 直流数字电流表 | 电流 | 直流数字电流表试行检定规程 JJG 598-1989 | (1～10)µA | Urel =5.8% |  |  |
|  |  |  |  | (10～100)µA | Urel =0.60% |  |  |
|  |  |  |  | 100µA～1mA | Urel =0.080% |  |  |
|  |  |  |  | (1～330)mA | Urel =0.023% |  |  |
|  |  |  |  | 330mA～2.2A | Urel =0.041% |  |  |
|  |  |  |  | (2.2～11)A | Urel =0.074% |  |  |
| 30 | 交流数字电流表 | 电流 | 交流数字电流表检定规程 JJG (航天)35-1999 | (20～100)μA (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =1.6% |  |  |
| 30 | 交流数字电流表 | 电流 | 交流数字电流表检定规程 JJG (航天)35-1999 | (100～330) μA (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.43% |  |  |
|  |  |  |  | 330μA～3.3mA (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.15% |  |  |
|  |  |  |  | (3.3～330)mA (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.14% |  |  |
|  |  |  |  | 330mA～2.2A (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.15% |  |  |
|  |  |  |  | (2.2～11)A (50Hz、55Hz、60Hz) | Urel =0.090% |  |  |
|  |  |  |  | (2.2～11)A (100Hz) | Urel =0.14% |  |  |
|  |  |  |  | (2.2～11)A (1kHz) | Urel =0.20% |  |  |
| 30 | 交流数字电流表 | 电流 | 交流数字电流表检定规程 JJG (航天)35-1999 | (11～20)A (50Hz、60Hz) | Urel =0.17% |  |  |
| 31 | 直流数字欧姆表 | 电阻 | 直流数字式欧姆表检定规程 JJG 724-1991 | (10-2～10-1)Ω | Urel =5.8% |  |  |
|  |  |  |  | (10-1～1)Ω | Urel =1.2% |  |  |
|  |  |  |  | (1～10)Ω | Urel =0.23% |  |  |
|  |  |  |  | (10～100)Ω | Urel =0.059% |  |  |
|  |  |  |  | 100Ω～ 100kΩ | Urel =0.015% |  |  |
| 32 | 交流数字功率表 | 功率 | 交流数字功率表检定规程 JJG 780-1992 | (1～12000)W (50Hz、55Hz、60Hz) | Urel =0.38%～0.091% |  |  |
| 33 | 耐压测试仪 | 电压 | 耐电压测试仪检定规程 JJG 795-2004 | (100～200)V (DC、50Hz) | Urel =9.0% |  |  |
|  |  |  |  | (200～300)V (DC、50Hz) | Urel =5.0% |  |  |
|  |  |  |  | (300～400)V (DC、50Hz) | Urel =3.6% |  |  |
|  |  |  |  | (400～500)V (DC、50Hz) | Urel =3.0% |  |  |
|  |  |  |  | (500～1000)V (DC、50Hz) | Urel =2.6% |  |  |
| 33 | 耐压测试仪 | 电压 | 耐电压测试仪检定规程 JJG 795-2004 | (1～10)kV (DC、50Hz) | Urel =1.2% |  |  |
|  |  | 电流 |  | (1～200)mA (DC、50Hz) | Urel=0.92% (50Hz) Urel=0.60% (DC) |  |  |
|  |  | 时间 |  | (1～3600)s | Urel =1.2% |  |  |
| 34 | 火花试验机 | 电压 | 火花试验机检定规程 JJG(浙)84-2006 | AC：(0.1～60)kV (50Hz、55Hz、60Hz) | Urel =1.5% |  |  |
|  |  |  |  | DC：(0.1～60)kV | Urel =1.0% |  |  |
| 35 | 泄漏电流测量仪 | 电流 | 泄漏电流测试仪检定规程 JJG 843-2007 | (100～200) µA (DC、AC50Hz、55Hz、60Hz) | Urel =1.3% |  |  |
|  |  |  |  | (0.5～1)mA (DC、AC50Hz、55Hz、60Hz) | Urel =0.69% |  |  |
|  |  |  |  | (1～20)mA (DC、AC50Hz、55Hz、60Hz) | Urel =0.25% |  |  |
| 35 | 泄漏电流测量仪 | 电压 | 泄漏电流测试仪检定规程 JJG 843-2007 | (50～300)V (DC、AC50Hz、55Hz、60Hz) | Urel =(2.0~0.32)% |  |  |
| 36 | 绝缘电阻表 | 电阻 | 绝缘电阻表(兆欧表) 检定规程 JJG 622-1997 电子式绝缘电阻表检定规程 JJG 1005-2005 | 100Ω～1MΩ | Urel=0.7% |  |  |
|  |  |  |  | (1～10)MΩ | Urel=0.3% |  |  |
|  |  |  |  | (10～100)MΩ | Urel=0.6% |  |  |
|  |  |  |  | 100MΩ～ 1GΩ | Urel=1.2% |  |  |
|  |  |  |  | (1～100)GΩ | Urel=5.7% |  |  |
| 37 | 接地电阻表 | 电阻 | 接地电阻表检定规程 JJG 366-2004 | (0.1～1111.111)Ω | Urel =(0.84～0.18)% |  |  |
| 38 | 接地导通电阻测试仪 | 电阻 | 接地导通电阻测试仪检定规程 JJG 984-2004 | (20～1000) mΩ | Urel=0.16% |  |  |
|  |  | 电流 |  | (0～10)A | Urel =0.60% |  |  |
|  |  |  |  | (10～30)A | Urel =0.30% |  |  |
| 39 | 直流电桥 | 电阻 | 直流电桥检定规程 JJG 125-2004 | (0.01～100000)Ω | Urel =0.013% (单臂) Urel =0.015%(双臂) |  |  |
| 40 | LCR测量仪 | 电容 | GR1658型RLC数字电桥（试行）检定规程 JJG （电子）05020-1988 | 100pF～1000μF (100Hz、1kHz ) | Urel =(0.2～0.06)% |  |  |
| 40 | LCR测量仪 | 电感 | GR1658型RLC数字电桥（试行）检定规程 JJG （电子）05020-1988 | 1.00μH～0.11111H (100Hz、1kHz ) | Urel =(8.0～0.03)% |  |  |
|  |  | 电阻 |  | (1～500)Ω (100Hz、1kHz) | Urel=0.12% |  |  |
|  |  |  |  | 500Ω～1MΩ (100Hz、1kHz) | Urel=0.04% |  |  |
| 41 | 直流电阻箱 | 电阻 | 直流电阻箱检定规程 JJG 982-2003 | (0.01～0.1 )Ω | Urel=1.0% |  |  |
|  |  |  |  | (0.1 ～1 )Ω | Urel=0.20% |  |  |
|  |  |  |  | (1 ～10 )Ω | Urel= 0.040% |  |  |
|  |  |  |  | (10 ～100 )Ω | Urel= 0.0050% |  |  |
|  |  |  |  | (100 ～10000000 )Ω | Urel= 0.0020% |  |  |
| 42 | 直流电源 | 电压 | 直流稳压电源检定规程 JJG(航天) 6-1999 | (1～10)mV | Urel=5.8% |  |  |
|  |  |  |  | (10～100)mV | Urel=0.58% |  |  |
|  |  |  |  | 100mV～1000V | Urel= 0.059% |  |  |
|  |  | 电流 |  | (1～10)mA | Urel = 0.59% |  |  |
|  |  |  |  | (10～500)mA | Urel = 0.059% |  |  |
|  |  |  |  | (0.5～30)A | Urel = 0.031% |  |  |
| 43 | 直流标准电压源 | 电压 | 直流标准电压源检定规程 JJG 445-1986 | DCU：10mV～1000V | Urel= (0.0009～0.0006)% |  |  |
| 44 | 交流标准电压源 | 电压 | 精密交流电压校准源检定规程 JJG 410-1994 | (10～200)mV ACU：(50Hz、55Hz、60Hz、400Hz、1kHz) | Urel= 0.070% |  |  |
|  |  |  |  | (0.2～2)V ACU：(50Hz、55Hz、60Hz、400Hz、1kHz) | Urel= 0.035% |  |  |
|  |  |  |  | (2～200)V ACU：(50Hz、55Hz、60Hz、400Hz、1kHz) | Urel= 0.010% |  |  |
|  |  |  |  | (200～700)V ACU：(50Hz、55Hz、60Hz、400Hz、1kHz) | Urel= 0.035% |  |  |
| 45 | 电能表 | 电能 | 交流电能表现场校准技术规范 JJF 1055-1997 | (57.7～380)V (0.1～100)A | Urel=0.30%（单相）Urel=0.50%（三相） |  |  |
| 46 | 线圈圈数测量仪 | 匝数 | 线圈测量仪校准/检测方法 NWIJF-D010 | (1～20000)T | U= (0.003～ 0.07)%FS |  |  |
| 47 | 钳形电流表 | 电流 | 钳形电流表校准规范 JJF 1075-2001 | (1~6)A (DC、AC50Hz) | Urel= 0.58% |  |  |
|  |  |  |  | (6~10)A (DC、AC50Hz) | Urel= 0.12% |  |  |
|  |  |  |  | (10~20)A (DC、AC50Hz) | Urel= 0.58% |  |  |
|  |  |  |  | (20~30)A (DC、AC50Hz) | Urel= 0.43% |  |  |
|  |  |  |  | (30~1000) A (DC、AC50Hz) | Urel= 0.6% |  |  |
| 48 | 变压比电桥 | 变比 | 变压比电桥检定规程 JJG 970-2002 | 单相(1～10000) 三相 10、20、50、100 | Urel= 0.02％ |  |  |
| 49 | 回路电阻测试仪 | 电阻 | 回路电阻测试仪、直阻仪检定规程 JJG 1052-2009 | (0.001mΩ~60Ω) | Urel=0.07％～2％ |  |  |
|  |  | 电流 |  | (0~600)A | Urel=0.2％ |  |  |
| 50 | 直流电阻测试仪 | 电阻 | 回路电阻测试仪、直阻仪检定规程 JJG 1052-2009 | (0.001mΩ~60Ω) | Urel=0.06％～0.10％ |  |  |
|  |  | 电流 |  | (0~50)A | Urel=0.10％～0.5％ |  |  |
| 51 | 直流低电阻表 | 电阻 | 直流低电阻表检定规程 JJG 837-2003 | 1μΩ～100kΩ | Urel=（0.20%～0.02%） |  |  |
| 无线电 |  |  |  |  |  |  |  |
| 52 | 示波器 | 电压 | 模拟示波器检定规程 JJG 262-1996 数字存储示波器校准规范 JJF 1057-1998 | 1mV～130 V (DC～300MHz) | Urel=0.8% |  |  |
|  |  | 时间 |  | 2ns～5s (DC～300MHz) | Urel=0.6% |  |  |
| 53 | 电子电压表 | 电压 | 电子电压表检定规程 JJG 250-1990 低频电子电压表检定规程 JJG 782-1992 | (3～33)mV (10Hz～100kHz) | Urel=(1.2～0.50)% |  |  |
|  |  |  |  | (3～33)mV (100～500)kHz | Urel=(3.5～1.4)% |  |  |
|  |  |  |  | (33～330)mV (10Hz～500kHz) | Urel=(1.8～0.50)% |  |  |
|  |  |  |  | (0.33～3.3)V (10Hz～500kHz) | Urel=(1.8～0.50)% |  |  |
|  |  |  |  | (3.3～33)V (10Hz～100kHz) | Urel=(1.8～0.50)% |  |  |
|  |  |  |  | (33～300)V (10Hz～10kHz) | Urel=(1.8～0.50)% |  |  |
| 力学 |  |  |  |  |  |  |  |
| 54 | 拉力、压力和万能试验机 | 力值 | 拉力、压力和万能试验机检定规程 JJG 139-1999 | 1N～5MN | Urel=0.46% |  |  |
| 55 | 非金属拉力、压力和万能试验机 | 力值 | 非金属拉力、压力和万能试验机检定规程 JJG 157-2008 | 1N～1MN | Urel=0.46% |  |  |
| 56 | 电子式万能试验机 | 力值 | 电子式万能试验机检定规程 JJG 475-2008 | 1N～5MN | Urel=0.42% |  |  |
| 57 | 木材万能试验机 | 力值 | 木材万能试验机检定规程 JJG 474-1986 | 1N～1MN | Urel =0.42% |  |  |
| 58 | 弹簧拉压试验机 | 力值 | 专用工作测力机校准规范 JJF 1134-2005 | 1N～5MN | Urel =0.42% |  |  |
| 59 | 抗折试验机 | 力值 | 抗折试验机检定规程 JJG 476-2001 | (0～60)kN | Urel=0.42% |  |  |
| 60 | 工作测力仪 | 力值 | 工作测力仪检定规程 JJG 455-2000 | 1N～1MN | Urel=0.34% |  |  |
| 61 | 扭矩扳子 | 扭矩 | 扭矩扳子检定规程 JJG 707-2014 | (0.2～1000)Nm | Urel=0.92% |  |  |
| 62 | 金属洛氏硬度计 | 硬度 | 金属洛氏硬度计(A，B，C，D，E，F，G，H，K，N，T标尺)检定规程 JJG 112-2013 | (20～100)HRA | U=(0.4～0.5)HR |  |  |
|  |  |  |  | (20～100)HRB |  |  |  |
|  |  |  |  | (20～100)HRC |  |  |  |
| 63 | 回弹仪 | 率定值 | 回弹仪检定规程 JJG 817-2011 | 20～100 | Urel =1.0% |  |  |
| 64 | 精密压力表 | 压力 | 弹簧管式精密压力表和真空表检定规程 JJG 49-2013 | (-0.1～+60)MPa | Urel=0.2% |  |  |
| 65 | 压力表 | 压力 | 弹性元件式一般压力表、压力真空表和真空表检定规程 JJG 52-2013 | (-0.1～+60)Mpa | Urel=0.6% |  |  |
| 66 | 血压计(表) | 压力 | 血压计和血压表检定规程 JJG 270-2008 | (0～40)kPa | U=0.21kPa |  |  |
| 67 | 压力变送器 | 压力 | 压力变送器检定规程 JJG 882-2004 | (-0.1～100)MPa | Urel=(0.1～0.3)% |  |  |
| 68 | 数字指示秤 | 质量 | 数字指示秤检定规程 JJG 539-1997 | 1kg～150t | (0～500)e ：U=0.15e |  |  |
|  |  |  |  |  | (500～2000)e：U=0.30e |  |  |
|  |  |  |  |  | (2000～10000)e：U=0.50e |  |  |
| 69 | 模拟指示秤 | 质量 | 模拟指示秤检定规程 JJG 13-1997 | 1kg～150t | (0～500)e ：U=0.15e |  |  |
|  |  |  |  |  | (500～2000)e：U=0.30e |  |  |
|  |  |  |  |  | (2000～10000)e：U=0.50e |  |  |
| 70 | 非自动指示秤 | 质量 | 非自行指示秤检定规程 JJG 14-1997 | 1kg～150t | (0～500)e ：U=0.15e |  |  |
|  |  |  |  |  | (500～2000)e：U=0.30e |  |  |
|  |  |  |  |  | (2000～10000)e：U=0.50e |  |  |
| 71 | 机械天平 | 质量 | 机械天平检定规程 JJG 98-2006 | Max:200g/d= 0.1mg | U=0.1mg |  |  |
|  |  |  |  | Max:200g/d= 1mg | U=0.6mg |  |  |
|  |  |  |  | Max:200g/d= 10mg | U=4mg |  |  |
|  |  |  |  | Max:1000g/d=2mg | U=1.7mg |  |  |
|  |  |  |  | Max:1000g/d=10mg | U=4mg |  |  |
| 72 | 电子天平 | 质量 | 电子天平检定规程 JJG 1036-2008 | Ⅰ: (0～5×104)e Ⅱ :(0～5×103)e Ⅲ: (0～5×102)e | U=0.15e |  |  |
|  |  |  |  | Ⅰ:(5×104～2×105)e Ⅱ: (5×103～2×104)e Ⅲ: (5×102～2×103)e | U=0.30e |  |  |
|  |  |  |  | Ⅰ:＞2×105e Ⅱ:(2×104～1×105)e Ⅲ: (2×102～1×103)e | U=0.50e |  |  |
| 73 | 砝码 | 质量 | 砝码检定规程 JJG 99-2006 | (1～5)mg | U=0.05mg |  |  |
|  |  |  |  | (10～200)mg | U=0.06mg |  |  |
|  |  |  |  | 500mg | U=0.08mg |  |  |
|  |  |  |  | 1g | U=0.09mg |  |  |
|  |  |  |  | 2g | U=0.10mg |  |  |
|  |  |  |  | 5g | U=0.12mg |  |  |
|  |  |  |  | 10g | U=0.15mg |  |  |
|  |  |  |  | 20g | U=0.18mg |  |  |
|  |  |  |  | 50g | U=0.2mg |  |  |
|  |  |  |  | 100g | U=0.6mg |  |  |
|  |  |  |  | 200g | U=0.7mg |  |  |
|  |  |  |  | 500g | U=2.0mg |  |  |
|  |  |  |  | 1kg | U=5mg |  |  |
|  |  |  |  | 2kg | U=0.008g |  |  |
|  |  |  |  | 5kg | U=0.02g |  |  |
|  |  |  |  | 10kg | U=0.2g |  |  |
|  |  |  |  | 20kg | U=0.3g |  |  |
| 74 | 重力式自动装料衡器 | 质量 | 重力式自动装料衡器检定规程 JJG 564-2002 | (0～5)kg | Urel=0.2% |  |  |
|  |  |  |  | (5～30)kg | Urel=0.06% |  |  |
|  |  |  |  | (30～60)kg | Urel=0.08% |  |  |
|  |  |  |  | (60～250)kg | Urel=0.3% |  |  |
|  |  |  |  | (250～1500)kg | Urel=0.02% |  |  |
| 75 | 转速表 | 转速 | 转速表检定规程 JJG 105-2000 | (100～30000)r/min | U=(0.06～4)r/min |  |  |
| 76 | 定量灌装机 | 容量 | 液态物料定量灌装机检定规程 JJG 687-2008 | (0～30)kg | Urel=0.3% |  |  |
|  |  |  |  | (30～60)kg | Urel=0.1% |  |  |
| 77 | 常用玻璃量器 | 容量 | 常用玻璃量器检定规程 JJG 196-2006 | (1～5)mL | U=0.005mL |  |  |
|  |  |  |  | (5～25)mL | U=0.008mL |  |  |
|  |  |  |  | (25～200)mL | U=0.03mL |  |  |
|  |  |  |  | (200～250)mL | U=0.07mL |  |  |
|  |  |  |  | (250～500)mL | U=0.13mL |  |  |
|  |  |  |  | (500～2000)mL | U=0.20mL |  |  |
| 78 | 专用玻璃量器 | 容量 | 专用玻璃量器检定规程 JJG 10-2005 | (1～5)mL | U=0.01mL |  |  |
|  |  |  |  | (5～10)mL | U=0.04mL |  |  |
|  |  |  |  | (10～25)mL | U=0.06mL |  |  |
|  |  |  |  | (25～50)mL | U=0.2mL |  |  |
|  |  |  |  | (50～100)mL | U=0.3mL |  |  |
| 79 | 移液器 | 容量 | 移液器检定规程 JJG 646-2006 | (1～2)μL | Urel=5.0% |  |  |
|  |  |  |  | (2～10)μL | Urel=1.6% |  |  |
|  |  |  |  | (10～25)μL | Urel=1.1% |  |  |
|  |  |  |  | (25～300)μL | Urel=0.4% |  |  |
|  |  |  |  | (300～1000)μL | Urel=0.3% |  |  |
|  |  |  |  | (1000～5000)μL | Urel=0.2% |  |  |
| 80 | 浮标式氧气吸入器 | 压力 | 浮标式氧气吸入器检定规程 JJG 913-1996 | (0～25)MPa | Urel=2.2% |  |  |
|  |  | 流量 |  | (1～10)L/min | Urel=3.0% |  |  |
| 81 | 杯突试验机 | 力值 | 杯突试验机检定规程 JJG 583-2010 | 1N～10kN | Urel=0.4% |  |  |
| 82 | 扭矩扳子检定仪 | 扭矩 | 扭矩扳子检定仪检定规程 JJG 797-2013 | (0.2～1500)Nm | Urel= (0.13~0.6)% |  |  |
| 83 | 悬臂梁式冲击试验机 | 能量 | 悬臂梁式冲击试验机检定规程 JJG 608-1989 | (0～100)J | Urel=0.3% |  |  |
| 84 | 摆锤式冲击试验机 | 能量 | 摆锤式冲击试验机检定规程 JJG 145-2007 | (0～500)J | Urel=0.4% |  |  |
| 85 | A型邵氏硬度计 | 硬度 | A型邵氏硬度计检定规程 JJG 304-2003 | (0～100)HA | U=0.4HA |  |  |
| 86 | D型邵氏硬度计 | 硬度 | D型邵氏硬度计检定规程 JJG 1039-2008 | (0～100)HD | U=0.4HD |  |  |
| 87 | 液压式振动试验台 | 加速度 | 液压式振动试验台检定规程 JJG 638-1990 | (0.1～100)m/s2 | Urel=3.2% |  |  |
|  |  | 位移 |  | (0～50)mm | Urel=2.5% |  |  |
|  |  | 频率 |  | (1 ～2000)Hz | Urel=3.2% |  |  |
| 88 | 机械式振动试验台 | 加速度 | 机械式振动试验台检定规程 JJG 189-1997 | (0.1～100)m/s2 | Urel=3.2% |  |  |
|  |  | 位移 |  | (1 ～100)mm | Urel=2.5% |  |  |
|  |  | 频率 |  | (1 ～2000)Hz | Urel=3.2% |  |  |
| 89 | 电动式振动试验台 | 加速度 | 电动式振动试验台检定规程 JJG 190-1997 | (0.1～100)m/s2 | Urel=3.2% |  |  |
| 89 | 电动式振动试验台 | 位移 | 电动式振动试验台检定规程 JJG 190-1997 | (1 ～100)mm | Urel=2.5% |  |  |
|  |  | 频率 |  | (1 ～2000)Hz | Urel=3.2% |  |  |
| 90 | 流量积算仪 | 流量 | 流量积算仪检定规程 JJG 1003-2005 | (0～9999.9)m3/h | Urel=0.18% |  |  |
| 91 | 布氏硬度计 | 硬度 | 金属布氏硬度计检定规程 JJG 150-2005 | (8~650)HBW | Urel =1.4% |  |  |
| 92 | 维氏硬度计 | 硬度 | 金属维氏硬度计检定规程 JJG 151-2006 | (5~1500)HV | Urel =1.2% |  |  |
| 93 | 表面洛氏硬度计 | 硬度 | 金属洛氏硬度计检定规程 JJG 112-2013 | (70~94)HR15N | U=0.4HRN |  |  |
|  |  |  |  | (42~86)HR30N |  |  |  |
|  |  |  |  | (20~77)HR45N |  |  |  |
|  |  |  |  | (67~93)HR15T | U=0.8HRT |  |  |
|  |  |  |  | (29~82)HR30T |  |  |  |
| 94 | 显微硬度计 | 硬度 | 金属维氏硬度计检定规程 JJG 151-2006 | (5~1500)HV | Urel=1.2% |  |  |
| 95 | 里氏硬度计 | 硬度 | 里氏硬度计检定规程 JJG 747-1999 | (300~900)HLD | U=6HLD |  |  |
| 96 | 金属韦氏硬度计 | 硬度 | 金属韦氏硬度计检定规程 JJG 944-2013 | (5～18)HW | U=0.6HW |  |  |
| 97 | 量仪测力仪 | 力值 | 专用工作测力机校准规范 JJF 1134-2005 | (0.1～20)N | Urel=0.26% |  |  |
| 98 | 膜盒压力表 | 压力 | 弹性元件式一般压力表、压力真空表和真空表检定规程 JJG 52-2013 | (-50～+50)kPa | Urel=0.6% |  |  |
| 99 | 数字压力计 | 压力 | 数字压力计检定规程 JJG 875-2005 | (-0.1～+60)MPa | Urel= 0.2% | 0.2级及以下 |  |
| 100 | 杆秤 | 质量 | 杆秤检定规程 JJG 17-2002 | (20~500)g | Urel=0.2% |  |  |
| 101 | 架盘天平 | 质量 | 架盘天平检定规程 JJG 156-2004 | 1g~5 kg | U=0.4d (d为分度值) |  |  |
| 102 | 水泥胶砂振实台 | 振幅 | 水泥胶砂振实台检定规程 JJG(建材) 124 -1999 | (15±0.3)mm | U=0.03mm |  |  |
|  |  | 时间 |  | (0～3)min | U=0.4s |  |  |
|  |  | 质量 |  | (0～20)kg | U=3.4g |  |  |
| 103 | 离心式恒加速度试验机 | 转速 | 离心式恒加速度试验机检定规程 JJG 972-2002 | (0~10000)r/min | Urel=(0.03～0.7)% |  |  |
| 104 | 非金属建材塑限测定仪 | 角度 | 非金属建材塑限测定仪校准规范 JJF 1090-2002 | (0~45)º | U=0.1° |  |  |
|  |  | 长度 |  | (0~100)mm | U=0.05mm |  |  |
|  |  | 质量 |  | (0~300)g | U=0.07g |  |  |
| 105 | 胶砂搅拌机 | 转速 | 水泥胶砂搅拌机检定规程 JJG(建材) 102-1999 | (0～1000)r/min | U=2r/min |  |  |
|  |  | 时间 |  | (0～3)min | U=0.3s |  |  |
|  |  | 长度 |  | (0～300)mm | U=0.06mm |  |  |
| 106 | 水泥净浆搅拌机 | 转速 | 水泥净浆搅拌机检定规程 JJG(建材) 104-1994 | (0～1000)r/min | U=2r/min |  |  |
|  |  | 时间 |  | (0～10)min | U=0.3s |  |  |
|  |  | 长度 |  | (0～300)mm | U=0.06mm |  |  |
| 107 | 泥浆密度计 | 密度 | 泥浆密度计检定规程 JJG 1045-2008 | (0.01～3)g/cm3 | U=(0.0012～0.0018) g/cm3 |  |  |
| 108 | 压力开关及控制器 | 压力 | 压力控制器检定规程 JJG 544-2011 | (0~2.5)kPa | U=3.6Pa |  |  |
|  |  |  |  | (2.5~15)kPa | U=18Pa |  |  |
|  |  |  |  | (-100~350)kPa | U=0.4kPa |  |  |
|  |  |  |  | (0.35~2)MPa | U=2.2kPa |  |  |
|  |  |  |  | (2~7)MPa | U=14kPa |  |  |
|  |  |  |  | (7~60)MPa | U=54kPa |  |  |
| 109 | 土工击实仪 | 质量 | 土工击实仪检定规程 JJG(交通)058-2004 | (2500±5)g；(4500±5)g； | U=0.6 g |  |  |
|  |  | 直径 |  | (50±0.5)mm | U=0.04 mm |  |  |
|  |  | 落高 |  | (300±2)mm；(450±2)mm； | U=0.4 mm |  |  |
| 110 | 染色摩擦色牢度仪 | 转速 | 染色摩擦色牢度仪校准规范 JJF(纺织)027-2010 | 60 r/min | U=0.3 r/min |  |  |
|  |  | 直径 |  | 16 mm | U= 0.03mm |  |  |
|  |  | 力值 |  | 9 N | Urel=0.2% |  |  |
| 110 | 染色摩擦色牢度仪 | 行程 | 染色摩擦色牢度仪校准规范 JJF(纺织)027-2010 | 100 mm | U=0.9 mm |  |  |
| 111 | 水泥胶砂振动台 | 振幅 | 水泥胶砂振动台检定规程 JJG 918-1996 | (0.5～1)mm | U=0.06mm |  |  |
|  |  | 时间 |  | (0～120)s | U=1s |  |  |
|  |  | 频率 |  | (46.7～50)Hz | U=0.2Hz |  |  |
| 112 | 马歇尔 稳定度 试验仪 | 尺寸 | 马歇尔稳定度试验仪检定规程 JJG (交通)066-2006 | (0.5～76.2)mm | U=0.04mm |  |  |
|  |  | 时间 |  | 0.01s～1h | U=0.8s |  |  |
|  |  | 力值 |  | (0～50)kN | Urel=0.5% |  |  |
| 113 | 摆式摩擦系数测定仪 | 质量 | 摆式摩擦系数测定仪检定规程 JJG (交通)053-2009 | (1500±30)g | U=0.3g |  |  |
|  |  | 尺寸 |  | (6.35～512)mm | U=0.04mm |  |  |
|  |  | 力值 |  | (22.2±0.5)N | Urel=0.5% |  |  |
|  |  | 硬度 |  | (55±5)HA | U=0.1HA |  |  |
|  |  | 角度 |  | (90±3)° | U=5′ |  |  |
| 114 | 纸板压缩强度试验仪 | 试验力 | 纸板压缩强度试验仪检定规程 JJG (轻工)49-2000 | (0-3)kN | Urel =0.36% |  |  |
|  |  | 上下压板平行度 |  | (18-35)mm | U=(0.01～0.04)mm |  |  |
| 115 | 橡胶阿克隆磨耗试验机 | 胶轮承受负荷 | 橡胶阿克隆磨耗试验机检定规程 JJG (化工) 103-1991 | (26.7±0.2)N | Urel =0.4% |  |  |
| 115 | 橡胶阿克隆磨耗试验机 | 胶轮轴转速 | 橡胶阿克隆磨耗试验机检定规程 JJG (化工) 103-1991 | (30～300)r/min | Urel =0.9% |  |  |
|  |  | 胶轮轴与砂轮角度 |  | 5°～35° | U=0.1° |  |  |
|  |  | 砂轮转速 |  | (20～60)r/min | Urel =0.9% |  |  |
| 116 | 冲击试验台 | 加速度值 | 落体式冲击试验台检定规程 JJG 541-2005 | (0～30000)m/s2 | Urel =5% |  |  |
| 117 | 锤击式布氏硬度计 | 硬度 | 锤击式布氏硬度计检定规程 JJG 411-1997 | (175～225) HBW | Urel=2.0％ |  |  |
| 118 | 恒定加力速度建筑材料试验机 | 加力速度 | 恒定加力速度建筑材料试验机检定规程 JJG 1025-2007 | (0～50) kN/s | Urel=2.8% |  |  |
|  |  | 力值 |  | (0～2000)kN | Urel=0.4% |  |  |
| 119 | 引伸计 | 长度 | 引伸计检定规程 JJG 762-2007 | (0～25)mm | Urel=0.3% |  |  |
| 120 | 电液伺服万能试验机 | 力值 | 电液伺服万能试验机 JJG 1063-2010 | (0～5000) kN | Urel=0.21% |  |  |
| 121 | 扭转试验机 | 转速 | 扭转试验机检定规程 JJG 269-2006 | (0～360*n)°/min | Urel=0.2% |  |  |
|  |  | 扭矩 |  | (0～500)Nm | Urel= 0.2%FS |  |  |
| 122 | 轴向加力疲劳试验机 | 力值 | 轴向加力试验机检定规程 JJG 556-2011 | (0～5000)kN | Urel=0.4% |  |  |
| 123 | 贯入式砂浆强度检测仪 | 力值 | 贯入式砂浆强度检测仪校准规范 JJF1372-2012 | (0～1000)N | Urel=0.4% |  |  |
|  |  | 长度 |  | (0～20)mm | Urel= 0.03mm |  |  |
| 124 | 织物起毛起球仪 | 磨台往复速度 | 织物起毛起球仪检定规程 JJG (纺织) 040-1990 | 60 次/min | U=0.1次/min |  |  |
|  |  | 加压锤重力值 |  | (100～500)cN | U=0.3cN |  |  |
| 125 | 汗渍色牢度仪 | 试样板尺寸、弹簧蠕变量 | 汗渍色牢度仪 JJF(纺织)028-2010 | (0～150)mm | U=0.05mm |  |  |
|  |  | 压力 |  | (0～10)kg | U=0.08g |  |  |
| 126 | 织物平磨仪 | 转速 | 织物平磨仪校准规范 JJF(纺织)036-2012 | 44.5r/min | U=0.6r/min |  |  |
|  |  | 压锤、试样夹具组、磨头质量 |  | (155～2500)g | U=0.08g |  |  |
|  |  | 导板动行程 |  | 24mm、60.5mm | U=0.05mm |  |  |
| 127 | 滚箱式起毛起球仪 | 起毛起球箱(筒)和载样管尺寸 | 滚箱式起毛起球仪检定规程 JJG (纺织) 064-1995 | (200～250)mm | U=0.06mm |  |  |
|  |  | 内衬厚度 |  | (0～5)mm | U=0.4mm |  |  |
|  |  | 起毛起球箱(筒)转速 |  | 60 r/min | U=0.6r/min |  |  |
|  |  | 载样管质量 |  | (40～60)g | U=0.07g |  |  |
| 128 | 织物厚度仪 | 压脚直径 | 织物厚度仪校准规范 JJF(纺织) 020-2010 | (11.28～25.73)mm | U=0.05mm |  |  |
|  |  | 压脚质量 |  | (0.1～500)g | U=0.07g |  |  |
|  |  | 力值砝码误差 |  | (50～200)cN | U=0.07cN |  |  |
|  |  | 压重时间 |  | 30s | U=0.3s |  |  |
|  |  | 压脚与基准板平行度 |  | 0.03mm | U= 0.015mm |  |  |
| 128 | 织物厚度仪 | 整机示值误差 | 织物厚度仪校准规范 JJF(纺织) 020-2010 | 10 mm | U= 0.015mm |  |  |
| 129 | 液体压力计 | 压力 | 工作用液体压力计(试行)检定规程 JJG 540-1988 | (0～2)MPa | Urel=1.0% |  |  |
| 130 | 李氏密度瓶 | 容量 | 李氏密度瓶检定规程 JJG (交通)092-2009 | (0~24)mL | U=0.052mL |  |  |
| 汽车专用 |  |  |  |  |  |  |  |
| 131 | 滑板式汽车侧滑检验台 | 侧滑 | 车侧滑检验台检定规程 JJG 908-2009 | (-15~+15) m/km | U= 0.07m/km |  |  |
| 132 | 滚筒反力式制动检验台 | 力值 | 滚筒反力式制动检验台检定规程 JJG 906-2009 | (0～50)kN | Urel=0.4% |  |  |
| 133 | 车速表检验台 | 速度 | 滚筒式车速表检验台检定规程 JJG 909-2009 | (10～200)km/h | Urel=0.8% |  |  |
| 134 | 轴(轮)重仪 | 质量 | 机动车检测专用轴(轮)重仪检定规程 JJG 1014-2006 | (0～15)t | Urel=0.8% |  |  |
| 135 | 汽车底盘测功机 | 扭矩 | 测功装置检定规程 JJG 653-2003 | (0～10000)N·m | Urel=1.0% |  |  |
|  |  | 速度 |  | (0～120)km/h | Urel=0.2% |  |  |
| 136 | 汽车制动踏板力计 | 力值 | 汽车制动踏板力计检定规程 (试行) JJG (交通) 008-2005 | (0～2000)N | Urel=0.5% |  |  |
| 137 | 摩托车轮偏检测仪 | 长度 | 摩托车轮偏检测仪检定规程 JJG 910-2012 | (0～30)mm | U=0.07mm |  |  |
| 138 | 车轮动平衡机 | 动不平衡量 | 车轮动平衡机校准规范 JJF 1151-2006 | (20～500)g | Urel=0.2% |  |  |
| 139 | 四轮定位仪 | 角度 | 四轮定位仪校准规范 JJF 1154-2006 | ±10° | U=1.1′ |  |  |
| 140 | 汽车转向角检验台 | 角度 | 汽车转向角检验台校准规范 JJF 1141-2006 | -50º~+50º | U=0.32° |  |  |
| 141 | 机动车方向盘转向力/转向角检测仪 | 力值 | 机动车方向盘转向力/转向角检测仪校准规范 JJF 1196-2008 | (0~1000)N | Urel =0.76% |  |  |
|  |  | 角度 |  | 0º~320º | U=0.32° |  |  |
| 142 | 汽车发动机检测仪 | 转速 | 汽车发动机检测仪检定规程 JJG(交通)013-2005 | （0～7200）r/min | Urel=1% |  |  |
|  |  | 角度 |  | 0º~90º | U=1° |  |  |
|  |  | 电压 |  | （0～45）V | Urel=2% |  |  |
|  |  | 电流 |  | （0～500）A | Urel=5% |  |  |
|  |  | 时间 |  | （200～2000）ms | Urel=5% |  |  |
|  |  | 压力 |  | （-0.1～+30）MPa | Urel=5% |  |  |
|  |  | 温度 |  | （-50～+150）℃ | U=2℃ |  |  |
| 143 | 非接触式汽车速度计 | 速度 | 非接触式汽车速度计校准规范 JJF1193-2008 | (5～180)km/h | Urel=0.30% |  |  |
|  |  | 距离 |  | (1.0～999.9)m | Urel=1.0% |  |  |
| 长度 |  |  |  |  |  |  |  |
| 144 | 通用卡尺 | 长度 | 通用卡尺检定规程 JJG 30-2012 | (0～200)mm | U＝0.01mm |  |  |
|  |  |  |  | (200～500)mm | U＝0.02mm |  |  |
| 145 | 高度卡尺 | 长度 | 高度卡尺检定规程 JJG 31-2011 | (0～125)mm | U＝0.01mm |  |  |
|  |  |  |  | (125～500)mm | U＝0.02mm |  |  |
| 146 | 千分尺 | 长度 | 千分尺检定规程 JJG 21-2008 | (0～125)mm | U＝1.7μm |  |  |
|  |  |  |  | (125～300)mm | U＝2.0μm |  |  |
|  |  |  |  | (300～500)mm | U＝2.9μm |  |  |
| 147 | 百分表 | 长度 | 指示表(指示式、数显式) 检定规程 JJG 34-2008 | (0～10)mm | U=3μm |  |  |
|  | 千分表 |  |  | (0～1)mm | U=1.2μm |  |  |
|  |  |  |  | (1～2)mm | U=1.8μm |  |  |
|  |  |  |  | (2～5)mm | U=2.3μm |  |  |
|  | 内径百分表 |  | 内径表校准规范 JJF 1102-2003 | (10～100) mm | 测头工作行程 ＜1mm：U=2.8μm |  |  |
|  |  |  |  |  | 测头工作行程 ＞1mm：U=3.8μm |  |  |
|  | 内径千分表 |  |  |  | U=1.2μm |  |  |
|  | 杠杆百分表 |  | 杠杆表检定规程 JJG 35-2006 | (0～0.8) mm | U=3μm |  |  |
|  | 杠杆千分表 |  |  | (0～0.2) mm | U=1.4μm |  |  |
| 148 | 大量程百分表 | 长度 | 大量程百分表检定规程 JJG 379-2009 | (10～30)mm | U=4μm |  |  |
|  |  |  |  | (30～50)mm | U=8μm |  |  |
| 149 | 万能角度尺 | 角度 | 万能角度尺检定规程 JJG 33-2002 | (0～360)° | U=1′30" |  |  |
| 150 | 钢卷尺 | 线纹 | 钢卷尺检定规程 JJG 4-1999 | (0～5)m | U=0.2mm |  |  |
|  |  |  |  | (0～10)m | U=0.3mm |  |  |
|  |  |  |  | (10～30)m | U=0.6mm |  |  |
|  |  |  |  | (30～50)m | U=1.0mm |  |  |
|  |  |  |  | (50～100)m | U= 1.8mm |  |  |
| 151 | 钢直尺 | 线纹 | 钢直尺检定规程 JJG 1-1999 | (0～500)mm | U=0.11mm |  |  |
|  |  |  |  | (500～2000)mm | U=0.12mm |  |  |
| 152 | 直角尺 | 长度 | 直角尺检定规程 JJG 7-2004 | (0～300)mm | U=1.8µm |  |  |
|  |  |  |  | (300～500)mm | U=2.5µm |  |  |
| 153 | 测厚仪 | 长度 | 磁性、电涡流式覆层厚度测量仪检定规程 JJG818-2005 | (0～1000)μm | U=2.7µm |  |  |
|  |  |  | 超声波测厚仪校准规范 JJF1126-2004 | (0～100）mm(0.01mm) | U=0.03mm |  |  |
|  |  |  |  | (0～100）mm(0.1mm) | U=0.1mm |  |  |
| 154 | 塞 尺 | 长度 | 塞尺检定规程 JJG 62-2007 | (0.02～1.00)mm | U=1.1μm |  |  |
| 155 | 计米器 | 长度 | 线缆计米器检定规程 JJG 987-2004 | (0～9999.99)m | Urel=0.2% |  |  |
| 156 | 水平尺 | 角度 | 水平尺校准规范 JJF 1085-2002 | (0.5～10)mm/m | U=0.2mm /m |  |  |
| 157 | 水平仪 | 角度 | 框式水平仪和条式水平仪校准规范 JJF 1084-2002 | 分度值：(0.02～0.10)mm/m | Urel=4% |  |  |
| 158 | 经纬仪 | 角度 | 光学经纬仪检定规程 JJG 414-2011 | DJ1 | 0.3〞 |  |  |
|  |  |  |  | DJ2 | 0.6〞 |  |  |
|  |  |  |  | DJ6 | 1.0〞 |  |  |
|  |  |  |  | DJ30 | 1.5〞 |  |  |
| 159 | 水准仪 | 角度 | 水准仪检定规程 JJG 425-2003 | 0° | 自动安平式； U=1.1〞 |  |  |
|  |  |  |  |  | 水平泡式：U=1.8〞 |  |  |
| 160 | 量块 | 长度 | 量块检定规程 JJG 146-2011 | (5.12～100)mm | U=0.20μm+2×10-6ln (ln-m) |  |  |
|  |  |  |  | (5.12～ 291.8) mm | U=0.50μm+5×10-6ln (ln-m) |  |  |
| 161 | 平面平晶 | 平面度 | 平晶检定规程 JJG 28-2000 | Φ(30～80)mm | U=0.009μm |  |  |
|  |  |  |  | Φ(80～100)mm | U=0.012μm |  |  |
| 162 | 平行平晶 | 平面度 | 平晶检定规程 JJG 28-2000 | Ⅰ、Ⅱ、Ⅲ、Ⅳ系列 | U=0.010μm |  |  |
|  |  | 平行度 |  | (15～100)mm | U=0.20μm |  |  |
| 163 | 平板 | 平面度 | 平板检定规程 JJG 117-2013 | (160×100～630×400)mm | U=1.0μm |  |  |
|  |  |  |  | (630×400～1600×1000)mm | U=2.3μm |  |  |
|  |  |  |  | (160×100)mm～(4000×2500)mm | U=5μm |  |  |
| 164 | 厚度百分表 | 长度 | 厚度指示表检定规程 JJG(桂)05-2004 | (0～10)mm | U=3μm |  |  |
| 164 | 厚度百分表 | 长度 | 厚度指示表检定规程 JJG(桂)05-2004 | (10～30)mm | U=4μm |  |  |
|  | 厚度千分表 |  |  | (0～1)mm | U=1.2μm |  |  |
| 165 | 投影仪 | 长度 | 投影仪校准规范 JJF 1093-2002 | 水平:(0～200)mm 垂直:(0～50)mm | U=1.8μm |  |  |
| 166 | 测量显微镜 | 长度 | 读数、测量显微镜检定规程 JJG 571-2004 | 水平:(0～50)mm 垂直:(0～25)mm | U=1.3μm |  |  |
| 167 | 雷氏夹膨胀测定仪 | 长度 | 雷氏夹膨胀测定仪检定规程 JJG(建材) 110-1994 | (0～200)mm | U=0.6mm |  |  |
|  |  |  |  | (0~10)mm | U=0.03mm |  |  |
|  |  | 质量 |  | (299.9～300.1)g | U=0.01g |  |  |
| 168 | 水泥安定性试验用雷氏夹 | 长度 | 水泥安定性试验用雷氏夹检定规程 JJG(建材) 111-1994 | (0～150)mm | U=0.06mm |  |  |
| 169 | 水泥胶砂流动度测定仪 | 长度 | 水泥胶砂流动度测定仪检定规程 JJG(交通) 096-2009 | (0~300)mm | U=0.05mm |  |  |
|  |  | 时间 |  | (0～3)min | U=0.4s |  |  |
|  |  | 质量 |  | (4.20～4.50)kg | U=5g |  |  |
| 170 | 胶砂试模 | 长度 | 胶砂试模检定规程 JJG (建材)122-1999 | (0~160)mm | U=0.05mm |  |  |
| 171 | 桩基静载仪 | 长度 | 桩基静载仪检定规程 JJG (交通)028-2004 | (0～50)mm | U=11μm | 只做位移传感器 |  |
| 172 | 针片状规准仪 | 长度 | 针片状规准仪检定规程 JJG (苏) 53-2006 | (0～100) mm | U=0.05mm |  |  |
| 173 | 圆盘取样器 | 长度 | 圆盘取样器校准规范 JJF(纺织)061-2010 | (0～150) mm | U=0.05mm |  |  |
| 174 | 水泥抗压夹具 | 长度 | 水泥胶砂及混凝土压力试验机检定规程 JJG (苏)43-2004 | 40mm | U=0.05mm | 只做抗压夹具 |  |
| 175 | 压碎值试验仪 | 长度 | 压碎值试验仪检定规程 JJG (苏)54-2006 | (0～150) mm | U=0.05mm |  |  |
| 176 | 电子经纬仪 | 角度 | 全站型电子速测仪检定规程 JJG 100-2003 | Ⅱ级、Ⅲ级、Ⅳ级 | U=1.1" |  |  |
| 177 | 坐标测量机 | 长度 | 坐标测量机检定规程 JJF1064-2010 | ≤1000mm | U= (0.38+24L/10000)μm |  |  |
| 178 | 影像测量仪 | 长度 | 影像测量仪校准规范 JJF1318-2011 | ≤300mm | U=1.3μm | 只做尺寸 |  |
| 179 | 读数显微镜 | 长度 | 读数、测量显微镜检定规程 JJG 571-2004 | (0～10) mm | U=0.5μm |  |  |
| 180 | 楼板测厚仪 | 长度 | 钢筋保护层、楼板厚度测量仪校准规范 JJF1224-2009 | (0～300) mm | U=1.0mm |  |  |
| 181 | 钢筋保护层测量仪 | 长度 | 钢筋保护层、楼板厚度测量仪校准规范 JJF1224-2009 | (0～40) mm | U=0.8mm |  |  |
| 182 | 关节臂式坐标测量机 | 长度 | 关节臂式坐标测量机检定规程 JJF1408-2013 | R≤1000mm | U= 0.010mm |  |  |
| 183 | 生物显微镜 | 放大倍数 | 生物显微镜校准规范 JJF 1402-2013 | （1～10）mm | Urel=1.2% |  |  |
| 184 | 光滑极限量规 | 长度 | 光滑极限量规检定规程 JJG 343-2012 | Φ(1～100)mm | U=0.6μm | 只做外径 |  |
|  |  |  |  | Φ(100～500)mm | U=0.8μm |  |  |
| 185 | 圆柱螺纹量规 | 长度 | 圆柱螺纹量规校准规范 JJF 1345-2012 | (10～200)mm | U=2.5μm | 只做中径 |  |
| 化学 |  |  |  |  |  |  |  |
| 186 | 电导率仪 | 电导率 | 电导率仪检定规程 JJG 376-2007 | (0.1～1×105) μS | 电计：Urel=0.2% |  |  |
|  |  |  |  | (0.1～1×106) μS/cm | 仪器：Urel=0.4% |  |  |
| 187 | pH(酸度)计 | 酸度 | 实验室pH（酸度）计 检定规程 JJG 119-2005 | (0～14) pH | 电计：U=0.001pH |  |  |
|  |  |  |  |  | 仪器: U=0.02pH |  |  |
| 188 | 气相色谱仪 | 灵敏度 | 气相色谱仪检定规程 JJG 700-1999 | TCD：≥800mV.mL/mg | Urel=3.6% |  |  |
|  |  | 检测限 |  | FID： <5×10-10 g/s | Urel=5.2% |  |  |
|  |  |  |  | FPD： ≤5×10-10g/s (硫) ≤1×10-10g/s (磷) | Urel=4.7% |  |  |
| 188 | 气相色谱仪 | 检测限 | 气相色谱仪检定规程 JJG 700-1999 | ECD： ≤5×10-12 g/mL. | Urel=5.4% |  |  |
|  |  |  |  | NPD： ≤5×10-12g/s (氮) ≤1×10-11g/s (磷) | Urel=5.2% |  |  |
| 189 | 液相色谱仪 | 最小检测浓度 | 液相色谱仪检定规程 JJG 705-2014 | 紫外-可见光检测器，二极管阵列检测器： ≤5×10-8g/mL | Urel=4.3% |  |  |
|  |  |  |  | 荧光检测器： ≤5×10-9g/mL | Urel=4.3% |  |  |
|  |  |  |  | 蒸发光散射检测器： ≤5×10-6g/mL | Urel=5.2% |  |  |
|  |  |  |  | 示差折光检测器 ： ≤5×10-6g/mL | Urel=5.2% |  |  |
| 190 | 酶标分析仪 | 波长 | 酶标分析仪检定规程 JJG 861-2007 | (360～700)nm | U=1.3nm |  |  |
| 190 | 酶标分析仪 | 吸光度 | 酶标分析仪检定规程 JJG 861-2007 | (0～2)Abs | U= 0.020Abs |  |  |
| 191 | 可见分光光度计 | 波长 | 紫外、可见、近红外分光光度计检定规程 JJG 178-2007 | (360～800)nm | U=0.8nm |  |  |
|  |  | 透射比 |  | (0～100)% | U=0.6% |  |  |
| 192 | 原子吸收分光光度计 | 检出限 | 原子吸收分光光度计 检定规程 JJG 694-2009 | 火焰法测铜： ≤0.02μg/ml | U=0.005μg/mL |  |  |
|  |  |  |  | 石墨炉法测镉：≤4pg | U=0.3 pg |  |  |
| 193 | 单光束紫外可见分光光度计 | 波长 | 紫外、可见、近红外分光光度计检定规程 JJG 178-2007 | (190～360)nm | U=0.4 nm |  |  |
|  |  |  |  | (360～850)nm | U=0.8 nm |  |  |
|  |  | 透射比 |  | (0～100)% | U=0.4% |  |  |
| 194 | 双光束紫外可见分光光度计 | 波长 | 紫外、可见、近红外分光光度计检定规程 JJG 178-2007 | (190～360)nm | U=0.4 nm |  |  |
|  |  |  |  | (360～850)nm | U=0.8 nm |  |  |
|  |  | 透射比 |  | (0～100)% | U=0.3% |  |  |
| 195 | 旋转粘度计 | 粘度 | 旋转粘度计检定规程 JJG 1002-2005 | (10-1～103 ) mPa·s | Urel=1.5% |  |  |
|  |  |  |  | (103～104 ) mPa·s | Urel=1.6% |  |  |
| 195 | 旋转粘度计 | 粘度 | 旋转粘度计检定规程 JJG 1002-2005 | (104～106 ) mPa·s | Urel=2.0% |  |  |
| 196 | 旋光仪 | 旋光度 | 旋光仪及旋光糖量计 检定规程 JJG 536-1998 | -45°～+45° | U=0.002° |  |  |
| 197 | 手持糖量计 | 糖量 | 手持糖量计及手持折射仪 检定规程 JJG 820-1993 | (0～80)% | U=0.20% (分度值为0.2%时) U=0.22% (分度值为0.5%时) U=0.24% (分度值为1%时) |  |  |
| 198 | 毛细管法熔点测定仪 | 熔点 | 熔点测定仪检定规程 JJG 701-2008 | (室温～300)℃（升温速率：0.2℃/min） | U=0.16℃ |  |  |
|  |  |  |  | (室温～300)℃（升温速率：1.0℃/min） | U=0.24℃ |  |  |
| 199 | 汽车排放分析仪 | 浓度 | 汽车排放气体测试仪 检定规程 JJG 688-2007 | CO2:(0.0～18.0)×10-2 | Urel=2.0% |  |  |
|  |  |  |  | HC:(0～9999)×10-6 | Urel=1.4% |  |  |
|  |  |  |  | CO:(0.00～14.00)×10-2 | Urel=1.8% |  |  |
| 199 | 汽车排放分析仪 | 浓度 | 汽车排放气体测试仪 检定规程 JJG 688-2007 | O2:(0.0～25.0) ×10-2 | Urel=2.3% |  |  |
|  |  |  |  | NO:(0～5000) ×10-6 | Urel=2.1% |  |  |
| 200 | 透射式烟度计 | 光吸收比 | 透射式烟度计检定规程 JJG 976-2010 | (0～98.6)% | U=0.7% |  |  |
| 201 | 滤纸式烟度计 | 烟度 | 滤纸式烟度计检定规程 JJG 847-2011 | (0~10)BSU | U=0.22BSU |  |  |
| 202 | 可燃气体检测报警器 | 浓度 | 可燃气体检测报警器 检定规程 JJG 693-2011 | (0~100)% LEL | Urel=1.5% | 只测异丁烷气体 |  |
| 203 | 化学需氧量(COD)测定仪 | 浓度 | 化学需氧量(COD)测定仪 检定规程 JJG 975-2002 | (5～1000)mg/L | Urel=2.8% |  |  |
| 204 | 化学需氧量(COD)在线自动监测仪 | 浓度 | 化学需氧量(COD)在线自动监测仪检定规程 JJG 1012-2006 | (30～1000)mg/L | Urel=2.8% |  |  |
| 205 | 原子荧光光度计 | 检出限 | 原子荧光光度计检定规程 JJG 939-2009 | 砷：≤0.4ng | U=0.014ng |  |  |
|  |  |  |  | 锑：≤0.4ng | U=0.04ng |  |  |
| 206 | 熔体流动速率仪 | 速率 | 熔体流动速率仪检定规程 JJG 878-1994 | (1～20) g/10min | Urel=7.1% |  |  |
| 207 | 定碳定硫分析仪 | 碳含量 | 定碳定硫分析仪检定规程 JJG 395-1997 | 0.0%～3.0% | Urel=1.3% |  |  |
|  |  | 硫含量 |  | 0.0%～0.3% | Urel=2.9% |  |  |
| 208 | 总有机碳分析仪 | 浓度 | 总有机碳分析仪检定规程 JJG 821-2005 | 有机碳： (0～1000)mg/L | Urel=2.2% |  |  |
|  |  |  |  | 无机碳： (0～1000)mg/L | Urel=2.2% |  |  |
| 209 | 等离子体发射光谱仪 | 检出限 | 发射光谱仪检定规程 JJG 768-2005 | (0～5.0) mg/mL | 镉.U=0.008mg/L 铜.U=0.0012mg/L 镍.U=0.006mg/L 锰.U=0.0012mg/L 钡.U=0.0002mg/L 锌.U=0.006mg/L |  |  |
| 210 | 红外分光光度计 | 波数 | 色散型红外分光光度计 检定规程 JJG 681-1990 | (400～4000)cm-1 | U=0.3cm-1 |  |  |
|  |  | 透射比 |  | (0～100)% | U=0.2% |  |  |
| 211 | 浊度计 | 浊度 | 浊度计检定规程 JJG 880-2006 | (0~400)NTU | Urel=3.1% |  |  |
| 212 | 水分测定仪 | 质量 | 烘干法水分测定仪检定规程 JJG 658-2010 | (0～10)g | U=1.5mg (模拟式) |  |  |
|  |  |  |  | (0～5000)e | U=0.15e (数显式) |  |  |
|  |  |  |  | (5000～20000)e | U=0.30e (数显式) |  |  |
|  |  |  |  | (20000～100000)e | U=0.50e (数显式) |  |  |
| 213 | 火焰光度计 | 检出限 | 火焰光度计检定规程 JJG 630-2007 | 钠：≤0.008mmol/L | U=0.001 mmol/L |  |  |
| 213 | 火焰光度计 | 检出限 | 火焰光度计检定规程 JJG 630-2007 | 钾：≤0.004mmo1/L | U=0.0006 mmol/L |  |  |
| 214 | 大气采样器 | 流量 | 大气采样器检定规程 JJG 956-2013 | (0.1～1.2) L/ min | Urel=1.5% |  |  |
| 215 | 粉尘采样器 | 流量 | 粉尘采样器检定规程 JJG 520-2005 | (6 ～60)L/min | Urel=2.0% |  |  |
| 216 | 烟尘采样器 | 流量 | 烟尘采样器检定规程 JJG 680-2007 | (6 ～60)L/min | Urel=1.5% |  |  |
| 217 | 气质联用仪 | 质量数 | 台式气相色谱-质谱联用仪 校准规范 JJF1164-2006 | (40～650)amu | U=0.1amu |  |  |
| 218 | 流出杯式粘度计 | 粘度 | 流出杯式粘度计检定规程 JJG 743-1991 | (10~500) mm2/s | Urel =1.5% |  |  |
| 219 | 水中油份浓度分析仪 | 浓度 | 水中油份浓度分析仪 检定规程 JJG 950-2012 | A类(0～10)mg/L | Urel=3.7% |  |  |
|  |  |  |  | A类＞10mg/L | Urel=3.5% |  |  |
|  |  |  |  | B类＞10mg/L | Urel=3.4% |  |  |
| 220 | 覆膜电极溶解氧测定仪 | 浓度 | 覆膜电极溶解氧测定仪 检定规程 JJG 291-2008 | (0~20)mg/L | U=0.05mg/L |  |  |
| 221 | 烟气分析仪 | 浓度 | 烟气分析仪检定规程 JJG 968-2002 | O2： (0～25)% | Urel=2.5% |  |  |
|  |  |  |  | CO: (0～1000)×10-6 | Urel=1.3% |  |  |
| 221 | 烟气分析仪 | 浓度 | 烟气分析仪检定规程 JJG 968-2002 | SO2: (0～4000)×10-6 | Urel=2.0% |  |  |
|  |  |  |  | NO: (0～4000)×10-6 | Urel=2.0% |  |  |
| 222 | 傅立叶变换红外光谱仪 | 波数 | 傅立叶变换红外光谱仪 校准规范 JJF 1319-2011 | (400~4000) cm-1 | U=0.3cm-1 |  |  |
| 223 | 总悬浮颗粒物采样器 | 流量 | 总悬浮颗粒物采样器 检定规程 JJG 943-2011 | (0.02～1.2) m3/min | Urel=1.5% |  |  |
| 224 | 离子色谱仪 | 最小检出浓度 | 离子色谱仪检定规程 检定规程 JJG823-2014 | Cl-:≤0.02μg/g | Urel=3.7% |  |  |
|  |  |  |  | NO2-: ≤0.02μg/g | Urel=4.2% |  |  |
|  |  |  |  | I-: ≤0.02μg/g | Urel=3.7% |  |  |
| 225 | 一氧化碳检测报警器 | 浓度 | 一氧化碳检测报警器 检定规程 JJG 915-2008 | (0～500) μmol/mol | Urel=2.4% |  |  |
| 226 | 凯氏定氮仪 | 浓度 | 元素分析仪校准规范 JJF 1321-2011 | (0.1～100) mg/L | U=1.2% |  |  |
| 227 | 煤中全硫测定仪 | 含硫量 | 煤中全硫测定仪检定规程 JJG 1006-2005 | (0.1～6)% | 1.53%: U=0.16% |  |  |
| 228 | 氧弹热量计 | 热值 | 氧弹热量计检定规程 JJG 672-2001 | (26454±26)J/g | U=31J/g | 只做自动热量计 |  |
| 229 | 微量水分测定仪 | 含水量 | 卡尔.费休库仑法微量水分测定仪检定规程 JJG1044-2008 | (0~10)μg | U=0.9μg |  |  |
|  |  |  |  | (10~100)μg | U=1.5μg |  |  |
|  |  |  |  | (100~1000)μg | U=9.4μg |  |  |
|  |  |  |  | (1000~ 5000)μg | U=19.2μg |  |  |
| 230 | 卤素检漏仪 | 检漏率 | 卤素检漏仪检定规程 JJG（轻工）106-1994 | (0～15)g/a | Urel=13% |  |  |
| 光学 |  |  |  |  |  |  |  |
| 231 | 标准光源箱 | 照度 | 标准光源箱检定规程 JJG(纺织) 055-2012 | (0.1～20000)lx | Urel=1.4% |  |  |
|  |  | 色温 |  | (2300～9000)K | Urel=1.5% |  |  |
| 232 | 焦度计 | 顶焦度 | 焦度计检定规程 JJG 580-2005 | (-25～+25)m-1 | U=0.03m-1 |  |  |
| 233 | 验光镜片箱 | 顶焦度 | 验光镜片箱检定规程 JJG 579-2010 | (-25～+25)m-1 | U=0.03m-1 |  |  |
| 234 | 验光仪 | 顶焦度 | 验光仪检定规程 JJG 892-2011 | (-20~+20)m-1 | U=(0.06～0.08)m-1 |  |  |
| 235 | 测色色差计 | 色度 | 测色色差计检定规程 JJG 595-2002 | Y:(0～100) | U=1.6 |  |  |
|  |  |  |  | x、y：(0~0.9999) | U=0.0044 |  |  |
| 236 | 汽车前照灯检测仪 | 发光强度 | 机动车前照灯检测仪 检定规程 JJG 745-2002 | (0～40000)cd | Urel=5.3% |  |  |
| 237 | 阿贝折射仪 | 折射率 | 阿贝折射仪检定规程 JJG 625-2001 | nD：1.3000～1.7000 | U=1.6×10-4 |  |  |
| 238 | 镜向光泽度计 | 光泽度 | 镜向光泽度计和光泽度板检定规程 JJG 696-2002 | (0~100) 光泽单位 | U=(1.0~1.2)光泽单位 |  |  |
| 239 | 白度计 | 白度 | 白度计检定规程 JJG 512-2002 | (0~100) | U= 1.6 |  |  |
| 240 | 瞳距仪 | 长度 | 瞳距仪检定规程 JJG 952-2014 | (50～80)mm | U=(0.15～0.3)mm |  |  |
| 241 | 农药残留测定仪 | 透射比 | 农药残留测定仪检定规程 JJG(粤) 006-2005 | (0~100)% | U=0.5% |  |  |
| 242 | 澄明度检测仪 | 照度 | 澄明度检测仪校准规范 JJF 1287-2011 | (100~4000) lx | Urel=11% |  |  |
| 243 | 雾度计 | 雾度 | 雾度计校准规范 JJF 1303-2011 | (0~30) | U=0.30 |  |  |
| 244 | 光泽度板 | 光泽度 | 镜向光泽计和光泽度板 检定规程 JJG 696-2002 | (0~150)光泽单位 | U=1.8光泽单位 |  |  |
| 时间频率 |  |  |  |  |  |  |  |
| 245 | 电子秒表 | 时间 | 秒表检定规程 JJG 237-2010 | (0.01～3600)s | U=(0.01～0.06)s |  |  |
|  |  | 日差 |  | 1d | U=0.05s (24h) |  |  |
| 246 | 机械秒表 | 时间 | 秒表检定规程 JJG 237-2010 | (0.01～3600)s | U=0.03s |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:No.8, Nanxinyi Road, Guicheng, Nanhai District, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 3   ACCREDITED CALIBRATION

| № | Instrument | Parameter | Title, Code of Calibration Method | Range | Uncertainty (k=2) | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Temperaure |  |  |  |  |  |  |  |
| 1 | Digital Temperaure Indicators and Controllers | Temperaure | V. R. of Digital Temperaure Indicators and Controllers JJG 617-1996 | (-150～-50)℃ | U=0.14℃ |  | Mate.Resistance Thermometers |
|  |  |  |  | (-50～0)℃ | U=0.08℃ |  |  |
|  |  |  |  | (0～800)℃ | U=(0.14～0.3)℃ |  |  |
|  |  |  |  | (0～1600)℃ | U=(0.6～2.0)℃ |  | Mate.thermocouple |
| 2 | .Analogue Temperature Indicators and Controllers | Temperaure | V.R. of Analogue Temperature Indicators and Controllers JJG 951-2000 | (-150～+800)℃ | U=(0.5～0.6)℃ |  | Mate.Resistance Thermometers |
|  |  |  |  | (0～1600)℃ | U=(2.2～2.4)℃ |  | Mate.thermocouple |
| 3 | Liquid-in-Glass Thermometers | Temperaure | V.R. of Liquid-in-Glass Thermometers for Working JJG 130-2011 | (-30～0)℃ | U=0.06℃ |  |  |
| 3 | Liquid-in-Glass Thermometers | Temperaure | V.R. of Liquid-in-Glass Thermometers for Working JJG 130-2011 | (0～95)℃ | U=(0.05～0.06)℃ |  |  |
|  |  |  |  | (100～300)℃ | U=(0.06～0.07)℃ |  |  |
| 4 | Temperature Indication Controller | Temperaure | V.R. of Temperature Indication Controller JJG 874-2007 | 分辨力0.1℃： (-30～+50)℃ | U=0.3℃ |  |  |
|  |  |  |  | 分辨力1℃： (50～300)℃ | U=0.6℃ |  |  |
| 5 | Electric Contact Mercury-in-Glass Thermometers | Temperaure | V. R. of the Electric Contact Mercury-in-Glass Thermometers JJG 131-2004 | (-30～0)℃ | U=0.06℃ |  |  |
|  |  |  |  | (0～95)℃ | U=(0.05～0.06)℃ |  |  |
|  |  |  |  | (100～300)℃ | U=(0.06～0.07)℃ |  |  |
| 6 | Bimetallic Thermometers | Temperaure | V. R. of Bimetallic Thermometers JJG 226-2001 | (-30～+300)℃ | U=0.3℃ |  |  |
| 7 | Filled System Thermometers | Temperaure | V. R. of Filled System Thermometers JJG 310-2002 | (-30～+300)℃ | U=0.3℃ |  |  |
| 8 | Temperature Itinerant Detecting Instrument | Temperaure | C. S. for Temperature Itinerant Detecting Instrument JJF 1171-2007 | (-30～+300)℃ | U=0.3℃ |  |  |
| 9 | Base Metal Thermocouple | Temperaure | V. R. of Working Base Metal Thermocouple JJG 351-1996 | (300～1200)℃ | U=0.7℃ |  |  |
| 10 | Noble Metal Thermocouples | Temperaure | V. R. of Working Noble Metal Thermocouples JJG 141-2013 | (419.527℃)FPZn | U=0.6℃ |  |  |
|  |  |  |  | (660.323℃)FPAl | U=0.6℃ |  |  |
|  |  |  |  | (1084.62℃)FPCu | U=0.6℃ |  |  |
| 11 | Moving Coil Indicators Measuring Temperature | Temperature | V. R. of Moving Coil Indicators and Step -indication Controllers Associated for Measuring Temperature JJG l86-1997 | (0～1100)℃ | U=(2.1～2.3)℃ |  |  |
| 12 | Self-balance Display Instrument | Temperature | V.R.of the Recorders for Industrial-Process Measurement JJG 74-2005 | (0～900) ℃ | U=1.4℃ |  |  |
|  |  |  |  | (900～1600) ℃ | U=1.7℃ |  |  |
| 13 | Resistance Thermistor | Temperature | V.R.of Industry Platinum and Copper Resistance Thermometers JJG 229-2010 | (-30～+300)℃ | 0 ℃： U=0.03 ℃ 100 ℃：U=0.04℃ |  |  |
| 14 | Temperature Transmitter | Temperature | C. S. of the Temperature Transmitter JJF 1183-2007 | (-30～+1200)℃ | U=(0.4～1.8)℃ |  |  |
|  |  | Current |  | (4～20)mA | U=0.013mA |  |  |
| 15 | Equipment of the Environmental Testing for Temperature and Humidity | Temperaure | C. S. for the Equipment of the Environmental Testing for Temperature and Humidity JJF 1101-2003 | (-50～+250)℃ | U=(0.4～0.9)℃ |  |  |
|  |  | Humidity |  | (10～95)%RH | U=1.5%RH |  |  |
| 16 | Thermo-hygrometers | Temperaure | V.R. of Mechanical Thermo-hygrometers JJF 1076-2001 C. S. of Humidity Sensors JJG 205-2005 | (5～50)℃ | U=0.7℃ |  |  |
|  |  | Humidity |  | (30～95)%RH | U=1.6%RH |  |  |
| 17 | thermost-atic bath | Temperature | C.S. for Measurement and Test Norm of Thermostatic Bath's Metrological Characteristics JJF 1030-1998 | (-100～300)℃ | Degree of uniformity, U=0.003℃ Degree of fluctuation, U=(0.004～0.008)℃ |  |  |
| 18 | Resistance Furnace | Temperature | C.S. for Box-type Resistance Furnace JJF 1376-2012 | (0～1200)℃ | U=(1.8～2.2)℃ |  |  |
| 19 | Asphalt Mixture's Mixing Machine | Rotational Speed | V.R.of Asphalt Mixture's Mixing Machine JJG(Traffic) 064-2006 | (0～100)r/min | U=1r/min |  |  |
|  |  | Temperature |  | (0～300)℃ | U=0.7℃ |  |  |
| 20 | Thermometers of Clinic Autoclave | temperature | C.S. for Thermometers of Clinic Autoclave JJF 1308-2011 | （0～140）℃ | U=0.3℃ |  |  |
| Electromagnetism |  |  |  |  |  |  |  |
| 21 | DC Voltmeter | Voltage | V. R. of Amperemeters,Voltmeters，Wattmeters and Ohmmeters JJG 124-2005 | 1mV～1000V | U=0.13%FS |  |  |
| 22 | AC Voltmeter | Voltage | V. R. of Amperemeters，Voltmeters，Wattmeters and Ohmmeters JJG 124-2005 | 1mV～600V (50Hz、55Hz、60Hz) | U=0.13%FS |  |  |
| 23 | DC Amperemeters | Current | V. R. of Amperemeters，Voltmeters，Wattmeters and Ohmmeters JJG 124-2005 | 1mA～10A | U=0.10%FS |  |  |
|  |  |  |  | 10A～30A | U=0.17%FS |  |  |
| 24 | AC Amperemeters | Current | V. R. of Amperemeters，Voltmeters，Wattmeters and Ohmmeters JJG 124-2005 | 1mA～10A (50Hz、55Hz、60Hz) | U=0.10%FS |  |  |
|  |  |  |  | 10A～30A (50Hz、55Hz、60Hz) | U=0.17%FS |  |  |
| 25 | DC Wattmeter | Power | V. R. of Amperemeters，Voltmeters，Wattmeters and Ohmmeters JJG 124-2005 | (0.1～12000)W | U=0.13% FS |  |  |
| 26 | AC Wattmeter | Power | V. R. of Amperemeters，Voltmeters，Wattmeters and Ohmmeters JJG 124-2005 | (0.1～12000)W (50Hz、55Hz、60Hz) | U=0.13% FS |  |  |
| 27 | DC digital voltmeter | Voltage | V.R. of DC Digital Voltmeter JJG 315-1983 | (0.1～1)mV | Urel =1.1% |  |  |
|  |  |  |  | (1～10)mV | Urel =1.0% |  |  |
|  |  |  |  | (10～100)mV | Urel =0.11% |  |  |
|  |  |  |  | (100～330)mV | Urel =0.014% |  |  |
|  |  |  |  | (0.33～33)V | Urel =0.012% |  |  |
|  |  |  |  | (33～330)V | Urel =0.011% |  |  |
|  |  |  |  | (330～1000)V | Urel =0.012% |  |  |
| 28 | AC digital voltmeter | Voltage | V. R. of AC Digital Voltmeter JJG(Aerospace) 34-1999 | (10～100)mV (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.41% |  |  |
|  |  |  |  | (100～330)mV (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.081% |  |  |
|  |  |  |  | (0.33～3.3)V (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.043% |  |  |
|  |  |  |  | 50Hz、55Hz、60Hz、100Hz、1kHz、 (3.3～33)V | Urel =0.054% |  |  |
|  |  |  |  | (33～330)V (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.066% |  |  |
| 28 | AC digital voltmeter | Voltage | V. R. of AC Digital Voltmeter JJG(Aerospace) 34-1999 | (330～700)V (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.075% |  |  |
| 29 | DC digital amperemeter | Current | V.R. of DC Digital Amperemeter JJG 598-1989 | (1～10)µA | Urel =5.8% |  |  |
|  |  |  |  | (10～100)µA | Urel =0.60% |  |  |
|  |  |  |  | 100µA～1mA | Urel =0.080% |  |  |
|  |  |  |  | (1～330)mA | Urel =0.023% |  |  |
|  |  |  |  | 330mA～2.2A | Urel =0.041% |  |  |
|  |  |  |  | (2.2～11)A | Urel =0.074% |  |  |
| 30 | AC digital amperemeter | Current | V. R. for AC digital current meter JJG(Aerospace) 35-1999 | (20～100)μA (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =1.6% |  |  |
|  |  |  |  | (100～330)μA (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.43% |  |  |
|  |  |  |  | 330μA～3.3mA (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.15% |  |  |
|  |  |  |  | (3.3～330)mA (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.14% |  |  |
|  |  |  |  | 330mA～2.2A (50Hz、55Hz、60Hz、100Hz、1kHz) | Urel =0.15% |  |  |
| 30 | AC digital amperemeter | Current | V. R. for AC digital current meter JJG(Aerospace) 35-1999 | (2.2～11)A (50Hz、55Hz、60Hz) | Urel =0.090% |  |  |
|  |  |  |  | (2.2～11)A (100Hz ) | Urel =0.14% |  |  |
|  |  |  |  | (2.2～11)A (1kHz ) | Urel =0.20% |  |  |
|  |  |  |  | (11～20)A (50Hz、60Hz) | Urel =0.17% |  |  |
| 31 | DC Digital Ohmmeter | Ohmmeter | V. R. of DC Digital Ohmmeter JJG 724-1991 | (10-2～10-1)Ω | Urel =5.8% |  |  |
|  |  |  |  | (10-1～1)Ω | Urel =1.2% |  |  |
|  |  |  |  | (1～10)Ω | Urel =0.23% |  |  |
|  |  |  |  | (10～100)Ω | Urel =0.059% |  |  |
|  |  |  |  | 100Ω～100kΩ | Urel =0.015% |  |  |
| 32 | AC Digital Powermeter | Power | V. R. of AC Digital Powermeter JJG 780-1992 | (1～12000)W (50Hz、55Hz、60Hz) | Urel =0.38%～0.091% |  |  |
| 33 | Withstanding Voltage Testers | Voltage | V. R. of Withstanding Voltage Testers JJG 795-2004 | (100～200)V (DC、50Hz) | Urel =9.0% |  |  |
|  |  |  |  | (200～300)V (DC、50Hz) | Urel =5.0% |  |  |
|  |  |  |  | (300～400)V (DC、50Hz) | Urel =3.6% |  |  |
|  |  |  |  | (400～500)V (DC、50Hz) | Urel =3.0% |  |  |
|  |  |  |  | (500～1000)V (DC、50Hz) | Urel =2.6% |  |  |
|  |  |  |  | (1～10)kV (DC、50Hz) | Urel =1.2% |  |  |
|  |  | Current |  | (1～200)mA (DC、50Hz) | Urel=0.92% (50Hz) Urel=0.60% (DC) |  |  |
|  |  | Time |  | (1～3600)s | Urel =1.2% |  |  |
| 34 | Spark Tester | Voltage | V.R.of Wire Spark Tester JJG(zhe) 84-2006 | AC：(0.1～60)kV (50Hz、55Hz、60Hz) | Urel =1.5% |  |  |
| 34 | Spark Tester | Voltage | V.R.of Wire Spark Tester JJG(zhe) 84-2006 | DC：(0.1～60)kV | Urel =1.0% |  |  |
| 35 | Leakage Current Tester | Current | V. R. of Leakage Current Tester JJG 843-2007 | (100～200) µA (DC、AC50Hz、55Hz、60Hz) | Urel =1.3% |  |  |
|  |  |  |  | (0.5～1)mA (DC、AC50Hz、55Hz、60Hz) | Urel =0.69% |  |  |
|  |  |  |  | (1～20)mA (DC、AC50Hz、55Hz、60Hz) | Urel =0.25% |  |  |
|  |  | Voltage |  | (50～300)V (DC、AC50Hz、55Hz、60Hz) | Urel =(2.0～0.32)% |  |  |
| 36 | Megohm-meter | Resistance | V. R. of megohm-meter JJG 1005-2005 V. R. of Electronic Insulating Resistance Meters JJG 622-1997 | 100Ω～1MΩ | Urel=0.7% |  |  |
|  |  |  |  | (1～10)MΩ | Urel=0.3% |  |  |
|  |  |  |  | (10～100)MΩ | Urel=0.6% |  |  |
|  |  |  |  | 100MΩ～1GΩ | Urel=1.2% |  |  |
|  |  |  |  | (1～100)GΩ | Urel=5.7% |  |  |
| 37 | Earth Resistance Meters | Resistance | V. R.of Earth Resistance Meters JJG 366-2004 | (0.1～1111.111)Ω | Urel =(0.84～0.18)% |  |  |
| 38 | Earth-Continuity Testers | Resistance | V. R. of Earth-Continuity Testers JJG 984-2004 | (20～1000)mΩ | Urel=0.16% |  |  |
|  |  |  |  | (0～10)A | Urel =0.60% |  |  |
|  |  |  |  | (10～30)A | Urel =0.30% |  |  |
| 39 | D.C. Bridges | Resistance | V. R. of D.C. Bridges JJG 125-2004 | (0.01～100000)Ω | Urel =0.013% (Single-arm) Urel =0.015% (Double-arm) |  |  |
| 40 | LCR Measuring Instrument | Capacitance | V. R. of RLC Digital Electricity Bridge type GR1658 JJG(Electron)05020-1988 | 100pF～ 1000μF (100Hz、1kHz) | Urel =(0.2～0.06)% |  |  |
|  |  | Inductance |  | 1.00μH～0.11111H (100Hz、1kHz ) | Urel =(8.0～0.03)% |  |  |
|  |  | Resistance |  | (1～500)Ω(100Hz、1kHz) | Urel=0.12% |  |  |
|  |  |  |  | 500Ω～1MΩ(100Hz、1kHz) | Urel=0.04% |  |  |
| 41 | D.C.Resist-ance Box | Resistance | V. R of D.C. Resistance Box JJG 982-2003 | (0.01～0.1 )Ω | Urel=1.0% |  |  |
|  |  |  |  | (0.1 ～1 )Ω | Urel=0.20% |  |  |
|  |  |  |  | (1 ～10 )Ω | Urel=0.040% |  |  |
|  |  |  |  | (10 ～100 )Ω | Urel=0.0050% |  |  |
|  |  |  |  | (100 ～10000000 )Ω | Urel=0.0020% |  |  |
| 42 | DC voltage stable source | Voltage | V. R. for DC Doltage stable Source JJG(Aerospace) 6-1999 | (1～10)mV | Urel=5.8% |  |  |
|  |  |  |  | (10～100)mV | Urel=0.58% |  |  |
|  |  |  |  | 100mV～1000V | Urel=0.059% |  |  |
|  |  | Current |  | (1～10)mA | Urel = 0.59% |  |  |
|  |  |  |  | (10～500)mA | Urel = 0.059% |  |  |
|  |  |  |  | (0.5～30)A | Urel = 0.031% |  |  |
| 43 | DC Standard Current Source | Voltage | V.R.of DC Standard Current Source JJG 445-1986 | DCV：10mV～1000V | Urel= (0.0009～0.0006)% |  |  |
| 44 | Precise AC Voltage Calibration Source | Current | V.R.of Precise AC Voltage Calibration Source JJG 410-1994 | (10～200)mV ACU：(50Hz、55Hz、60Hz、400Hz、1kHz) | Urel=0.070% |  |  |
|  |  |  |  | (0.2～2)V ACU：(50Hz、55Hz、60Hz、400Hz、1kHz) | Urel=0.035% |  |  |
|  |  |  |  | (2～200)V ACU：(50Hz、55Hz、60Hz、400Hz、1kHz) | Urel=0.010% |  |  |
|  |  |  |  | (200～700)V ACU：(50Hz、55Hz、60Hz、400Hz、1kHz) | Urel=0.035% |  |  |
| 45 | Watt-hour Meters | Electrical Energy | C.S for Calibration of AC Watt-hour Meters at Place of Installation JJF 1055-1997 | (57.7～380)V (0.1～100)A | Urel=0.30% (Single-phase) Urel=0.50% (Three-phase) |  |  |
| 46 | Turn tester | Circle Number | Calibration Method of Turn Tester NWIJF-D010 | (1～20000)T | U= (0.003～ 0.07)%FS |  |  |
| 47 | Clamp Ammeters | current | C.S. of Clamp Ammeters JJF 1075-2001 | (1~6)A (DC、AC50Hz) | Urel= 0.58% |  |  |
|  |  |  |  | (6~10)A (DC、AC50Hz) | Urel= 0.12% |  |  |
|  |  |  |  | (10~20)A (DC、AC50Hz) | Urel= 0.58% |  |  |
|  |  |  |  | (20~30)A (DC、AC50Hz) | Urel= 0.43% |  |  |
|  |  |  |  | (30~1000) A (DC、AC50Hz) | Urel= 0.6% |  |  |
| 48 | Transformers Turn Ratio Test Sets | Transformers Turn Ratio | V.R. of Transformers Turn Ratio Test Sets JJG 970-2002 | Single-phase(1～10000) Three-phase 10、20、50、100 | Urel=0.02％ |  |  |
| 49 | Resistance Tester | Ohmmeter | V.R. of Loop Resistance Tester and DC Resistance Meters JJG 1052-2009 | (0.001mΩ～60Ω) | Urel=0.07％～2％ |  |  |
|  |  | Current |  | (0～600)A | Urel=0.2％ |  |  |
| 50 | DC Resistance Meters | Ohmmeter | V.R. of Loop Resistance Tester and DC Resistance Meters JJG 1052-2009 | (0.001mΩ～60Ω) | Urel=0.06％～0.10％ |  |  |
|  |  | Current |  | (0～50)A | Urel=0.10％～0.5％ |  |  |
| 51 | D.C.low Resistance Meters | Ohmmeter | V.R. of D.C.low Resistance Meters JJG 837-2003 | 1μΩ～100kΩ | Urel=（0.20%～0.02%） |  |  |
| Radio |  |  |  |  |  |  |  |
| 52 | Oscilloscope | Voltage | V. R. of Analogue Oscilloscope JJF 1057-1998 C. S. of Digital Storage Oscilloscope JJG 262-1996 | 1mV～130V (DC～300MHz) | Urel=0.8% |  |  |
|  |  | Time |  | 2ns～5s (DC～300MHz) | Urel=0.6% |  |  |
| 53 | Electronic Voltmeter | Voltage | V. R.of Electronic Voltmeter JJG 782-1992 V.R.of LF Eleceronic Volt Meter JJG 250-1990 | (3～33)mV (10Hz～100kHz) | Urel=(1.2～0.50)% |  |  |
|  |  |  |  | (3～33)mV (100～500)kHz | Urel=(3.5～1.4)% |  |  |
|  |  |  |  | (33～330)mV (10Hz～500kHz) | Urel=(1.8～0.50)% |  |  |
|  |  |  |  | (0.33～3.3)V (10Hz～500kHz) | Urel=(1.8～0.50)% |  |  |
| 53 | Electronic Voltmeter | Voltage | V. R.of Electronic Voltmeter JJG 782-1992 V.R.of LF Eleceronic Volt Meter JJG 250-1990 | (3.3～33)V (10Hz～100kHz) | Urel=(1.8～0.50)% |  |  |
|  |  |  |  | (33～300)V (10Hz～10kHz) | Urel=(1.8～0.50)% |  |  |
| Dynamics |  |  |  |  |  |  |  |
| 54 | Universal Tension and Compression Testing Machine | Force | V. R. of Universal Tension and Compression Testing Machine JJG 139-1999 | 1N～5MN | Urel=0.46% |  |  |
| 55 | Universal Tension and Compression Testing Machines for Non-metallic | Force | V. R. of Universal Tension and Compression Testing Machines for Non-metallic JJG 157-2008 | 1N～1MN | Urel=0.46% |  |  |
| 56 | Electronic Universal Testing Machine | Force | V. R. of Electronic Universal Testing Machine JJG 475-2008 | 1N～5MN | Urel=0.42% |  |  |
| 57 | Universal Testing Maching for Wood | Force | V.R. of Universal Testing Maching for Wood JJG 474-2005 | 1N～1MN | Urel =0.42% |  |  |
| 58 | Tension and Compression Testing Machine | Force | C. S. for Working Force Measuring Machines for Special Purposes JJF 1134-2005 | 1N～5MN | Urel =0.42% |  |  |
| 59 | Flexure Testing Machine | Force | V.R. of Flexure Testing Machine JJG 476-2001 | (0～60)kN | Urel=0.42% |  |  |
| 60 | Working Dynamome-ters | Force | V. R. of Working Dynamometers JJG 455-2000 | 1N～1MN | Urel=0.34% |  |  |
| 61 | Torque Wrenches | Torque | V. R. of Torque Wrenches JJG 707-2014 | (0.2～1000)Nm | Urel=0.92% |  |  |
| 62 | Metallic Rockwell Hardness Testers | Hardness | V. R. of Metallic Rockwell Hardness Testers(Scales A，B，C，D，E，F，G，H，K，N，T) JJG 112-2013 | (20～100)HRA | U=(0.4～0.5)HR |  |  |
|  |  |  |  | (20～100)HRB |  |  |  |
|  |  |  |  | (20～100)HRC |  |  |  |
| 63 | Rebound Test Hammer | Fixed Ratio Value | V.R. of Rebound Test Hammer JJG 817-2011 | 20～100 | Urel =1.0% |  |  |
| 64 | Precise Pressure Gauge | Pressure | V.R. of Elastic Element Precise Pressure Gauges and Vacuum Gauges JJG 49-2013 | (-0.1～+60)MPa | Urel=0.2% |  |  |
| 65 | Pressure Gauge | Pressure | V.R. of Elastic Element Pressure Gauges,Pressure-Vacuum Gauges and Vacuum Gauges for General Use JJG 52-2013 | (-0.1～+60)MPa | Urel=0.6% |  |  |
| 66 | Desk Sphygmomano | Pressure | V. R. of Sphygmomanometers JJG 270-2008 | (0～40)kPa | U=0.21kPa |  |  |
| 67 | The Pressure Transmitter | Pressure | V. R. of the Pressure Transmitter JJG 882-2004 | (-0.1～100)MPa | Urel=(0.1～0.3)% |  |  |
| 68 | Digital Indicating Weighing Instrument | Mass | V. R. of Digital Indicating Weighing Instrument JJG 539-1997 | 1kg～150t | (0～500)e ：U=0.15e |  |  |
|  |  |  |  |  | (500～2000)e：U=0.30e |  |  |
|  |  |  |  |  | (2000～10000)e：U=0.50e |  |  |
| 69 | Analogue Indication Weighing Instrument | Mass | V.R. of Analogue Indication Weighing Instrument JJG 13-1997 | 1kg～150t | (0～500)e ：U=0.15e |  |  |
|  |  |  |  |  | (500～2000)e：U=0.30e |  |  |
|  |  |  |  |  | (2000～10000)e：U=0.50e |  |  |
| 70 | Nonself-indicating Weighing Instrument | Mass | V. R. of Nonself-indicating Weighing Instrument JJG 14-1997 | 1kg～150t | (0～500)e ：U=0.15e |  |  |
|  |  |  |  |  | (500～2000)e：U=0.30e |  |  |
|  |  |  |  |  | (2000～10000)e：U=0.50e |  |  |
| 71 | Mechanical Balance | Mass | V. R. for Mechanical Balance JJG 98-2006 | Max:200g/d=0.1mg | U=0.1mg |  |  |
|  |  |  |  | Max:200g/d=1mg | U=0.6mg |  |  |
|  |  |  |  | Max:200g/d=10mg | U=4mg |  |  |
|  |  |  |  | Max:1000g/d=2mg | U=1.7mg |  |  |
|  |  |  |  | Max:1000g/d=10mg | U=4mg |  |  |
| 72 | Electronic Balance | Mass | V. R. for Electronic Balance JJG 1036-2008 | Ⅰ: (0～5×104)e Ⅱ :(0～5×103)e Ⅲ: (0～5×102)e | U=0.15e |  |  |
|  |  |  |  | Ⅰ:(5×104～2×105)e Ⅱ: (5×103～2×104)e Ⅲ: (5×102～2×103)e | U=0.30e |  |  |
|  |  |  |  | Ⅰ:＞2×105e Ⅱ:(2×104～1×105)e Ⅲ: (2×102～1×103)e | U=0.50e |  |  |
| 73 | Weights | Mass | V. R. of weights JJG 99-2006 | (1～5)mg | U=0.05mg |  |  |
|  |  |  |  | (10～200)mg | U=0.06mg |  |  |
|  |  |  |  | 500mg | U=0.08mg |  |  |
| 73 | Weights | Mass | V. R. of weights JJG 99-2006 | 1g | U=0.09mg |  |  |
|  |  |  |  | 2g | U=0.10mg |  |  |
|  |  |  |  | 5g | U=0.12mg |  |  |
|  |  |  |  | 010g | U=0.15mg |  |  |
|  |  |  |  | 020g | U=0.18mg |  |  |
|  |  |  |  | 050g | U=0.2mg |  |  |
|  |  |  |  | 100g | U=0.6mg |  |  |
|  |  |  |  | 200g | U=0.7mg |  |  |
|  |  |  |  | 500g | U=2.0mg |  |  |
|  |  |  |  | 01kg | U=5mg |  |  |
|  |  |  |  | 02kg | U=0.008g |  |  |
|  |  |  |  | 05kg | U=0.02g |  |  |
|  |  |  |  | 10kg | U=0.2g |  |  |
|  |  |  |  | 20kg | U=0.3g |  |  |
| 74 | Automatic Gravimetric Filling Instruments | Mass | V. R. of Automatic Gravimetric Filling Instruments JJG 564-2002 | (0～5)kg | Urel=0.2% |  |  |
|  |  |  |  | (5～30)kg | Urel=0.06% |  |  |
|  |  |  |  | (30～60)kg | Urel=0.08% |  |  |
|  |  |  |  | (60～250)kg | Urel=0.3% |  |  |
|  |  |  |  | (250～1500)kg | Urel=0.02% |  |  |
| 75 | Tachometer | Rotale Speed | V.R. of Tachometer JJG 105-2000 | (100～30000)r/min | U=(0.06～4)r/min |  |  |
| 76 | Quantitative Filling Machine | Volume | V. R. of Quantitative Filling Machine for Liquid Material JJG 687-2008 | (0～30)kg | Urel=0.3% |  |  |
|  |  |  |  | (30～60)kg | Urel=0.1% |  |  |
| 77 | Working Glass Container | Volume | V.R. of Working Glass Container JJG 196-2006 | (1～5)mL | U=0.005mL |  |  |
|  |  |  |  | (5～25)mL | U=0.008mL |  |  |
|  |  |  |  | (25～200)mL | U=0.03mL |  |  |
| 77 | Working Glass Container | Volume | V.R. of Working Glass Container JJG 196-2006 | (200～250)mL | U=0.07mL |  |  |
|  |  |  |  | (250～500)mL | U=0.13mL |  |  |
|  |  |  |  | (500～2000)mL | U=0.20mL |  |  |
| 78 | Special Glassware | Volume | V. R. of Special Glassware JJG 10-2005 | (1～5)mL | U=0.01mL |  |  |
|  |  |  |  | (5～10)mL | U=0.04mL |  |  |
|  |  |  |  | (10～25)mL | U=0.06mL |  |  |
|  |  |  |  | (25～50)mL | U=0.2mL |  |  |
|  |  |  |  | (50～100)mL | U=0.3mL |  |  |
| 79 | Locomotive Pipette | Volume | V. R. of Locomotive Pipette JJG 646-2006 | (1～2)μL | Urel=5.0% |  |  |
|  |  |  |  | (2～10)μL | Urel=1.6% |  |  |
|  |  |  |  | (10～25)μL | Urel=1.1% |  |  |
|  |  |  |  | (25～300)μL | Urel=0.4% |  |  |
|  |  |  |  | (300～1000)μL | Urel=0.3% |  |  |
|  |  |  |  | (1000～5000)μL | Urel=0.2% |  |  |
| 80 | Buoy Type Oxygen Inhaltar | Pressure | V. R. of Buoy Type Oxygen Inhaltar JJG 913-1996 | (0～25)MPa | Urel=2.2% |  |  |
|  |  | Flow |  | (1～10)L/min | Urel=3.0% |  |  |
| 81 | Cupping Testing Machine | Force | V.R.of Cupping Testing Machine JJG 583-2010 | 1N～10kN | Urel=0.4% |  |  |
| 82 | Calibrating Instrument for Torque Wrenches | Torque | V.R.of Calibrating Instrument for Torque Wrenches JJG 797-2013 | (0.2～1500)N·m | Urel= (0.13~0.6)% |  |  |
| 83 | Cantilever-Beam (Izod-Type) Impact Testing Machine | Energy | V.R.of Cantilever- Beam (Izod-Type) Impact Testing Machine JJG 608-1989 | (0～100)J | Urel=0.3% |  |  |
| 84 | Pendulum Impact Testing Machine | Energy | V.R.of Pendulum Impact Testing Machine JJG 145-2007 | (0～500)J | Urel=0.4% |  |  |
| 85 | Shore A Durometers | Hardness | V.R.of Shore A Durometers JJG 304-2003 | (0～100)HA | U=0.4HA |  |  |
| 86 | Shore D Durometer | Hardness | V.R.of Shore D Durometer JJG 1039-2008 | (0～100)HD | U=0.4HD |  |  |
| 87 | Hydraulic Vibration Generator | Acceleration | V. R. Of Hydraulic Vibration Generator JJG 638-1990 | (0.1～100)m/s2 | Urel=3.2% |  |  |
|  |  | Displacement |  | (0～50)mm | Urel=2.5% |  |  |
|  |  | Frequency |  | (1 ～2000)Hz | Urel=3.2% |  |  |
| 88 | Mechanical iElectrodyna- mic Vibration Generator For Testing | Acceleration | V.R.of Mechanical Vibration Generator for Testing JJG 189-1997 | (0.1～100)m/s2 | Urel=3.2% |  |  |
|  |  | Displacement |  | (1 ～100)mm | Urel=2.5% |  |  |
|  |  | Frequency |  | (1 ～2000)Hz | Urel=3.2% |  |  |
| 89 | Electrodyna- mic Vibration Generator For Testing | Acceleration | V.R.of Electrodyna- mic Vibration Generator for Testing JJG 190-1997 | (0.1～100)m/s2 | Urel=3.2% |  |  |
|  |  | Displacement |  | (1 ～100)mm | Urel=2.5% |  |  |
|  |  | Frequency |  | (1 ～2000)Hz | Urel=3.2% |  |  |
| 90 | Flow Display | Flow | V.R.of Flow Intergration Meters JJG 1003-2005 | (0～9999.9)m3/h | Urel=0.18% |  |  |
| 91 | Brinell Hardness Testers | Hardness | V.R.of Metallic Brinell Hardness Testers JJG 150-2005 | (8～650)HBW | Urel =1.4% |  |  |
| 92 | Vickers Hardness Testers | Hardness | V.R.of Metallic Vickers Hardness Testers JJG 151-2006 | (5～1500)HV | Urel =1.2% |  |  |
| 93 | Rockwell Hardness Testers | Hardness | V.R.of Metallic Rockwell Hardness Testers(Scales A,B,C,D,E,F,G,H,K,N,T) JJG 112-2013 | (70～94)HR15N | U=0.4HRN |  |  |
|  |  |  |  | (42～86)HR30N |  |  |  |
|  |  |  |  | (20～77)HR45N |  |  |  |
|  |  |  |  | (67～93)HR15T | U=0.8HRT |  |  |
|  |  |  |  | (29～82)HR30T |  |  |  |
| 94 | Microh-ardness | Hardness | V.R.of Metallic Vickers Hardness Testers JJG 151-2006 | (5～1500)HV | Urel=1.2% |  |  |
| 95 | Equotip Hardness tester | Hardness | V. R.of Equotip Hardness tester JJG 747-1999 | (300～900)HLD | U=6HLD |  |  |
| 96 | Metallic Webster Hardness | Hardness | V.R.of Metallic Webster Hardness Testing Machine JJG 944-2013 | (5～18)HW | U=0.6HW |  |  |
| 97 | Working Force Measuring Machines | Force | C.S. for Working Force Measuring Machines for Special Purposes JJF 1134-2005 | (0.1～20)N | Urel=0.26% |  |  |
| 98 | Capsule Pressure Gauges | Pressure | V.R. of Elastic Element Pressure Gauges,Pressure-Vacuum Gauges and Vacuum Gauges for General Use JJG 52-2013 | (-50～+50)kPa | Urel=0.6% |  |  |
| 99 | Digital Pressure Gauges | Pressure | V. R. of Digital Pressure Gauges JJG 875-2005 | (-0.1～+60)MPa | Urel= 0.2% | grade 0.2 and below |  |
| 100 | Steelyard Scale | Mass | V.R. of Steelyard Scale JJG 17-2002 | (20~500)g | Urel=0.2% |  |  |
| 101 | Table Balances | Mass | Verification Regulation for Table Balances JJG 156-2004 | 1g～5 kg | U=0.4d (d, value of a scale division) |  |  |
| 102 | Cement Mortar Specimen Jolting Table Complying | Amplitude | V. R. for Cement Mortar Specimen Jolting Table Complying JJG(Building materials) 124-1999 | (15±0.3)mm | U=0.03mm |  |  |
|  |  | Time |  | (0～3)min | U=0.4s |  |  |
|  |  | Mass |  | (0～20)kg | U=3.4g |  |  |
| 103 | Constant Acceleration Centrifugal Test Machines | Swivelling speed | V.R.of Constant Acceleration Centrifugal Test Machines JJG 972-2002 | (0～10000)r/min | Urel=(0.03～0.7)% |  |  |
| 104 | Nonmetal Building Materials Plastic Limit Measuring Instruments | Angle | C. S. for Nonmetal Building Materials Plastic Limit Measuring Instruments JJF 1090-2002 | (0～45)º | U=0.1° |  |  |
|  |  | Length |  | (0～100)mm | U=0.05mm |  |  |
|  |  | Mass |  | (0～300)g | U=0.07g |  |  |
| 105 | Cement Mortars Mixer | Rotational Speed | V. R. for Cement Mortars Mixer JJG(building materials) 102-1999 | (0～1000)r/min | U=2r/min |  |  |
|  |  | Time |  | (0～3)min | U=0.3s |  |  |
|  |  | Length |  | (0～300)mm | U=0.06mm |  |  |
| 106 | Mixer for cement paste | Rotational Speed | V.R.of Mixer for cement paste JJG(building materials) 104 -1994 | (0～1000)r/min | U=2r/min |  |  |
|  |  | Time |  | (0～10)min | U=0.3s |  |  |
|  |  | Length |  | (0～300)mm | U=0.06mm |  |  |
| 107 | Densimeter of Mud (Sand) | Density | V.R.of Mud Density Meter JJG1045-2008 | (0.01～3)g/cm3 | U=(0.0012～0.0018)g/cm3 |  |  |
| 108 | Pressure Controllers | pressure | V.R.of Pressure Controllers JJG 544-2011 | (0～2.5)kPa | U=3.6Pa |  |  |
|  |  |  |  | (2.5～15)kPa | U=18Pa |  |  |
|  |  |  |  | (-100～350)kPa | U=0.4kPa |  |  |
| 108 | Pressure Controllers | pressure | V.R.of Pressure Controllers JJG 544-2011 | (0.35～2)MPa | U=2.2kPa |  |  |
|  |  |  |  | (2～7)MPa | U=14kPa |  |  |
|  |  |  |  | (7～60)MPa | U=54kPa |  |  |
| 109 | Compaction Instrument of Soil | mass | V.R.of Compaction Instrument of Soil JJG(Traffic )058-2004 | (2500±5)g；(4500±5)g； | U=0.6 g |  |  |
|  |  | diameter |  | (50±0.5)mm | U=0.04 mm |  |  |
|  |  | drop of high |  | (300±2)mm； (450±2)mm； | U=0.4 mm |  |  |
| 110 | Corlour Fastness to Friction Testers | speed | C. S. for Corlour Fastness to Friction Testers JJF(Spin)027-2010 | 60 r/min | U=0.3r/min |  |  |
|  |  | diameter |  | 16 mm | U=0.03mm |  |  |
|  |  | gravitation |  | 09 N | Urel=0.2% |  |  |
|  |  | journey |  | 100 mm | U=0.9mm |  |  |
| 111 | Vibrator for Compacting Mortar Specimen | Amplitude | V. R.of Vibrator for Compacting Mortar Specimen JJG 918-1996 | (0.5～1)mm | U=0.06mm |  |  |
|  |  | Time |  | (0～120)s | U=1s |  |  |
|  |  | Frequency |  | (46.7～50)Hz | U=0.2Hz |  |  |
| 112 | Marshall test machine for bituminous mixtures | Size | V. R.of Marshall test machine for bituminous mixtures JJG (Traffic)066-2006 | (0.5～76.2)mm | U=0.04mm |  |  |
|  |  | Time |  | 0.01s～1h | U=0.8s |  |  |
|  |  | Force |  | (0～50)kN | Urel=0.5% |  |  |
| 113 | Pendulum Friction Tester | Mass | V.R.of Pendulum Friction Tester JJG (Traffic)053-2009 | (1500±30)g | U=0.3g |  |  |
|  |  | Size |  | (6.35～512)mm | U=0.04mm |  |  |
|  |  | Force |  | (22.2±0.5)N | Urel=0.5% |  |  |
|  |  | Hardness |  | (55±5)HA | U=0.1HA |  |  |
| 113 | Pendulum Friction Tester | Angle | V.R.of Pendulum Friction Tester JJG (Traffic)053-2009 | (90±3)° | U=5′ |  |  |
| 114 | Compression Strength Tester for Board | Test force | V.R.of Compression Strength Tester for Board JJG (Light industry)49-2000 | (0～3)kN | Urel =0.36% |  |  |
|  |  | The parallelism of upper and lower plates |  | (18～35)mm | U=(0.01～0.04)mm |  |  |
| 115 | Akron Abrasion Machine for Rubber | Wheel load | V.R.of Akron Abrasion Machine for Rubber JJG (Chemical) 103-1991 | (26.7±0.2)N | Urel =0.4% |  |  |
|  |  | Plastic wheel speed |  | (30～300)r/min | Urel =0.9% |  |  |
|  |  | Wheel shaft and the wheel angle |  | 5°～35° | U=0.1° |  |  |
|  |  | Grinding wheel speed |  | (20～60)r/min | Urel =0.9% |  |  |
| 116 | Falling Body Type Shock Testing Machines | The acceleration value | V.R.of Falling Body Type Shock Testing Machines JJG 541-2005 | (0～30000)m/s2 | Urel =5% |  |  |
| 117 | Hammering Type Brinell Hardness Tester | Hardness | V.R.of Hammering Type Brinell Hardness Tester JJG 411-1997 | (175～225) HBW | Urel=2.0％ |  |  |
| 118 | Building Material Testing Machine of Constant Loading Speed | Afterburner speed | V.R.of Building Material Testing Machine of Constant Loading Speed JJG 1025-2007 | (0～50) kN/s | Urel=2.8% |  |  |
|  |  | Force |  | (0～2000)kN | Urel=0.4% |  |  |
| 119 | Extensometer | Length | V.R.of Extensometer JJG 762-2007 | (0～25)mm | Urel=0.3% |  |  |
| 120 | Electro-hydraulic Servo Universal Testing Machines | Force | V.R.of Electro-hydraulic Servo Universal Testing Machines JJG 1063-2010 | (0～5000) kN | Urel=0.21% |  |  |
| 121 | Torsion Testing Machines | Rotale Speed | V.R.of Torsion Testing Machines JJG 269-2006 | (0～360*n)°/min | Urel=0.2% |  |  |
|  |  | Torque |  | (0～500)Nm | Urel= 0.2%FS |  |  |
| 122 | Axial Force Fatigue Testing Machines | Force | V.R.of Axial Force Fatigue Testing Machines JJG 556-2011 | (0～5000)kN | Urel=0.4% |  |  |
| 123 | Instrument of Testing Mortar-strength by Penetration Resistance Method | Force | C.S.for Instrument of Testing Mortar-strength by Penetration Resistance Method JJF1372-2012 | (0～1000)N | Urel=0.4% |  |  |
|  |  | Length |  | (0～20)mm | U=0.03mm |  |  |
| 124 | The fabric pilling tester | Grinding reciprocating speed | V.R. of The fabric pilling tester JJG (Textile) 040-1990 | 60 beats/min | U=0.1beats/min |  |  |
|  |  | Pressurized heavy hammer Force value |  | (100～500)cN | U=0.3cN |  |  |
| 125 | Perspiration Fastness Instruments | Specimen dimensions, spring creep | C.S.for Perspiration Fastness Instruments JJF(Textile)028-2010 | (0~150)mm | U=0.05mm |  |  |
|  |  | Pressure |  | (0~10)kg | U=0.08g |  |  |
| 126 | Fabric Flat-Rubbing Tester | Rotale Speed | C.S.for Fabric Flat-Rubbing Tester JJF(Textile)036-2012 | 44.5r/min | U=0.6r/min |  |  |
|  |  | Hammer, sample clamp group, grinding quality |  | (155~2500)g | U=0.08g |  |  |
|  |  | Guide stroke |  | 24mm、60.5mm | U=0.05mm |  |  |
| 127 | Rolling box pilling tester | Pilling box (drum) and the sample tube size | V.R. of Rolling Box Pilling Tester JJG (Textile) 064-1995 | (200～250)mm | U=0.06mm |  |  |
|  |  | Lining thickness |  | (0～5)mm | U=0.4mm |  |  |
| 127 | Rolling box pilling tester | Pilling box (cylinder) speed | V.R. of Rolling Box Pilling Tester JJG (Textile) 064-1995 | 60 r/min | U=0.6r/min |  |  |
|  |  | Sample tube quality |  | (40～60)g | U=0.07g |  |  |
| 128 | Fabric Thickness Instruments | The presser foot diameter | C.S.for Fabric Thickness Instruments JJF(Textile) 020-2010 | (11.28~25.73)mm | U=0.05mm |  |  |
|  |  | The presser foot quality |  | (0.1～500)g | U=0.07g |  |  |
|  |  | Force value weight error |  | (50～200)cN | U=0.07cN |  |  |
|  |  | Pressure time |  | 30 s | U=0.3 s |  |  |
|  |  | The presser foot and the base board parallelism |  | 0.03mm | U= 0.015mm |  |  |
|  |  | Error of indication of the machine |  | 10 mm | U= 0.015mm |  |  |
| 129 | Liquid Manometer for Working | Pressure | V.R.of Liquid Manometer for Working JJG 540-1988 | (0～2)MPa | Urel=1.0% |  |  |
| 130 | Le Chatelier Flask for Determining Density of Hydraulic Cement | Capacity | V.R.of Le Chatelier Flask for Determining Density of Hydraulic Cement JJG (Traffic)092-2009 | (0~24)mL | U=0.052mL |  |  |
| Special vehicle |  |  |  |  |  |  |  |
| 131 | Slipe Plate Type Automobile Side Slipe Tester | Sideslip | V.R. of Slipe Plate Type Automobile Side Slipe Tester JJG 908-2009 | (-15～+15) m/km | U=0.07m/km |  |  |
| 132 | .Roller Opposite Forces Type Brake Tester | Force | V. R. of Roller Opposite Forces Type Brake Tester JJG 906-2009 | (0～50)kN | Urel=0.4% |  |  |
| 133 | Automobile Speedomter Tester | Velocity | V. R. of Roller Type Speedometer Tester JJG 909-(2009) | (10～200)km/h | Urel=0.8% |  |  |
| 134 | Special Axle (Wheel) Load Scale | Mass | V. R. of Special Axle (Wheel) Load Scale for Motor Vehicle Test JJG 1014-2006 | (0～15)t | Urel=0.8% |  |  |
| 135 | Automotive Chassis Dynamometer | Torque | V.R.of Equipment of Power Measuring JJG 653-2003 | (0～10000)N·m | Urel=1.0% |  |  |
|  |  | Speed of Rotative |  | (0～120)km/h | Urel=0.2% |  |  |
| 136 | Brake Foot Plate Forces Meter for Automobile | Force | V.R.of Automobile Brake Pedal Forces Tester JJG(Traffic) 008-2005 | (0～2000)N | Urel=0.5% |  |  |
| 137 | Tester for Wheel Deflection of Motorcycles | Length | V. R. of Tester for Wheel Deflection of Motorcycles JJG 910-2012 | (0～30)mm | U=0.07mm |  |  |
| 138 | Wheel Dynamic Balancers | Dynamic | C. S. for Wheel Dynamic Balancers JJF 1151-2006 | (20～500)g | Urel=0.2% |  |  |
| 139 | Four-wheel alignmenter | Angle | C. S. for Four-wheel alignmenter JJF 1154-2006 | ±10° | U=1.1′ |  |  |
| 140 | Turning Angle Testers for Automobile | angle | C. S. for Turning Angle Testers for Automobile JJF 1141-2006 | -50º~50º | U=0.32° |  |  |
| 141 | Motor Vehicle Testers for Steering Force and Steering Angle | force | C. S. of Motor Vehicle Testers for Steering Force and Steering Angle JJF 1196-2008 | (0~1000)N | Urel =0.76% |  |  |
|  |  | angle |  | 0º~320º | U=0.32° |  |  |
| 142 | Automobile Engine Measuring Instruments | speed of rotation | V. R. of Automobile Engine Measuring Instruments JJG(Traffic)013-2005 | （0~7200）r/min | Urel=1% |  |  |
|  |  | angle |  | 0º~90º | U=1° |  |  |
|  |  | voltage |  | (0~45)V | Urel=2% |  |  |
|  |  | current |  | (0~500)A | Urel=5% |  |  |
|  |  | time |  | (200~2000)ms | Urel=5% |  |  |
| 142 | Automobile Engine Measuring Instruments | pressure | V. R. of Automobile Engine Measuring Instruments JJG(Traffic)013-2005 | （-0.1~30）MPa | Urel=5% |  |  |
|  |  | temperature |  | （-50~150）℃ | U=2℃ |  |  |
| 143 | Non-contact Antomotive Speedmeter | Speed | C.S.for Non-contact Antomotive Speedmeter JJF1193-2008 | (5～180)km/h | Urel=0.30% |  |  |
|  |  | Distance |  | (1.0～999.9)m | Urel=1.0% |  |  |
| Length |  |  |  |  |  |  |  |
| 144 | Current Calipers | Length | V. R. of Current Calipers JJG 30-2012 | (0～200)mm | U＝0.01mm |  |  |
|  |  |  |  | (200～500)mm | U＝0.02mm |  |  |
| 145 | Height Caliper | Length | V.R. of Height Caliper JJG 31-2011 | (0～125)mm | U＝0.01mm |  |  |
|  |  |  |  | (125～500)mm | U＝0.02mm |  |  |
| 146 | Micrometer | Length | V.R. of Micrometer JJG 21-2008 | (0～125)mm | U＝1.7μm |  |  |
|  |  |  |  | (125～300)mm | U＝2.0μm |  |  |
|  |  |  |  | (300～500)mm | U＝2.9μm |  |  |
| 147 | Dial Gauges | Length | V. R. of Dial Gauges(dial and digital) JJG 34-2008 | (0～10)mm | U=3μm |  |  |
|  | Micrometer Gauges |  |  | (0～1)mm | U=1.2μm |  |  |
|  |  |  |  | (1～2)mm | U=1.8μm |  |  |
|  |  |  |  | (2～5)mm | U=2.3μm |  |  |
|  | Bore Dial Indicator |  | C. S. for Bore Dial Indicators JJF 1102-2003 | (10～100) mm | the working march of measuring head ＜1mm, U=2.8μm |  |  |
|  |  |  |  |  | the working march of measuring head ＞1mm, U=3.8μm |  |  |
|  | Cylinder Gauges |  |  |  | U=1.2μm |  |  |
| 147 | Lever Indicator | Length | V.R. of Dial Test Indicator JJG 35-2006 | (0～0.8) mm | U=3μm |  |  |
|  | Lever Micrometer |  |  | (0～0.2) mm | U=1.4μm |  |  |
| 148 | Wide Range Dial Gauges (Reading in 0.01mm) | Length | V. R. of Wide Range Dial Gauges Reading in 0.01mm JJG 379-2009 | (10～30)mm | U=4μm |  |  |
|  |  |  |  | (30～50)mm | U=8μm |  |  |
| 149 | Universal Bevel Protractors | Angle | V. R. of Universal Bevel Protractors JJG 33-2002 | (0～360)° | U=1′30" |  |  |
| 150 | Steel Tape | line | V.R. of Steel Tape JJG 4-1999 | (0～5)m | U=0.2mm |  |  |
|  |  |  |  | (0～10)m | U=0.3mm |  |  |
|  |  |  |  | (10～30)m | U=0.6mm |  |  |
|  |  |  |  | (30～50)m | U=1.0mm |  |  |
|  |  |  |  | (50～100)m | U= 1.8mm |  |  |
| 151 | Steel Rule | line | V.R.of Steel Rule JJG 1-1999 | (0～500)mm | U=0.11mm |  |  |
|  |  |  |  | (500～2000)mm | U=0.12mm |  |  |
| 152 | Squares | Length | V. R. of Squares JJG 7-2004 | (0～300)mm | U=1.8µm |  |  |
|  |  |  |  | (300～500)mm | U=2.5µm |  |  |
| 153 | Measuring Instrument for Coating Thickness | Length | V. R. of Magnetic and Eddy Current Measuring Instrument for Coating Thickness JJG 818-2005 | (0～1000)μm | U=2.7µm |  |  |
|  |  |  |  | (0～100)mm (0.01mm) | U=0.03mm |  |  |
|  |  |  |  | (0～100)mm (0.1mm) | U=0.1mm |  |  |
| 154 | Feeler Gauges | Length | V. R. of Feeler Gauges JJG 62-2007 | (0.02～1.00)mm | U=1.1μm |  |  |
| 155 | Cable Length Meter | Length | V. R. of Cable Length Meter JJG 987-2004 | (0～9999.99)m | Urel=0.2% |  |  |
| 156 | Level Rules | Angle | C. S. for Level Rules JJF 1085-2002 | (0.5～10)mm/m | U=0.2mm /m |  |  |
| 157 | Levels | Angle | C. S. for Frame Levels and Shaft Levels JJF 1084-2002 | value of a scale division, (0.02～0.10)mm/m | Urel=4% |  |  |
| 158 | Optical Theodolites | Angle | V.R. of Optical Theodolites JJG 414-2011 | DJ1 | 0.3〞 |  |  |
|  |  |  |  | DJ2 | 0.6〞 |  |  |
|  |  |  |  | DJ6 | 1.0〞 |  |  |
|  |  |  |  | DJ30 | 1.5〞 |  |  |
| 159 | Levels | Angle | V.R.of Levels JJG 425-2003 | 0° | Automatic type, U=1.1〞 |  |  |
|  |  |  |  |  | Level-bubble type, U=1.8〞 |  |  |
| 160 | Gauge Blocks | Length | V. R. of Gauge Blocks JJG 146-2011 | (5.12～100)mm | U=0.20μm+2×10-6ln (ln-m) |  |  |
|  |  |  |  | (5.12～ 291.8) mm | U=0.50μm+5×10-6ln (ln-m) |  |  |
| 161 | Optical Flat | Planeness | V. R. of Optical Flat JJG 28-2000 | Φ(30～80)mm | U=0.009μm |  |  |
|  |  |  |  | Φ(80～100)mm | U=0.012μm |  |  |
| 162 | Optical Flat | Planeness | V. R. of Optical Flat JJG 28-2000 | Ⅰ,Ⅱ, Ⅲ, Ⅳ series | U=0.010μm |  |  |
|  |  | Parallelism |  | (15～100)mm | U=0.20μm |  |  |
| 163 | Flat Plate | Planeness | V.R. of Flat Plate JJG 117-2013 | (160×100～630×400)mm | U=1.0μm |  |  |
|  |  |  |  | (630×400～ 1600×1000)mm | U=2.3μm |  |  |
|  |  |  |  | (160×100)mm～ (4000×2500)mm | U=5μm |  |  |
| 164 | Thickness Dial Gauge | Length | V. R.of Thickness Dial Gauge JJG(Gui)05-2004 | (0～10)mm | U=3μm |  |  |
|  |  |  |  | (10～30)mm | U=4μm |  |  |
|  |  |  |  | (0～1)mm | U=1.2μm |  |  |
| 165 | Projectors | Length | C. S. for Projectors JJF 1093-2002 | Level, (0～200)mm Verticality, (0～50)mm | U=1.8μm |  |  |
| 166 | Measuring Microscope | Length | V. R. of Reading Microscope and Measuring Microscope JJG 571-2004 | Level, (0～50)mm Verticality, (0～25)mm | U=1.3μm |  |  |
| 167 | Expasion meter of Le-chatelier apparatus | Length | V. R. of Expasion meter of Le-chatelier apparatus JJG(Building materials) 110-1994 | (0～200)mm | U=0.6mm |  |  |
|  |  |  |  | (0～10)mm | U=0.03mm |  |  |
|  |  | Mass |  | (299.9～300.1)g | U=0.01g |  |  |
| 168 | Le-Chatelier apparatus for soundness test of the portland cement | Length | V.R.of Le-Chatelier apparatus for soundness test of the portland cement JJG(Building materials) 111-1994 | (0～150)mm | U=0.06mm |  |  |
| 169 | Inspecting specification for apparatus of fluidity of cement mortar | Length | V.R.of Inspecting specification for apparatus of fluidity of cement mortar JJG(Traffic) 096-2009 | (0～300)mm | U=0.05mm |  |  |
|  |  | Time |  | (0～3)min | U=0.4s |  |  |
|  |  | Mass |  | (4.20～4.50)kg | U=5g |  |  |
| 170 | Specimen mold for testing mortar strength | Length | V.R.of Specimen mold for testing mortar strength JJG (building materials)122-1999 | (0～160)mm | U=0.05mm |  |  |
| 171 | Pile Static Load Measuring Instrument | Length | V.R.of Pile Static Load Measuring Instrument JJG (Traffic)028-2004 | (0～50)mm | U=11μm | Accredited only for displacement transducer |  |
| 172 | Flat and Elongaticles Standard Gauge Instrument | Length | V.R. of Flat and Elongaticles Standard Gauge Instrument JJG (Su) 53-2006 | (0～100)mm | U=0.05mm |  |  |
| 173 | Circle Sample Cutters | Length | C.S.for Circle Sample Cutters JJF(Textile)061-2010 | (0～150)mm | U=0.05mm |  |  |
| 174 | Jig for Cement Compressive Strength Test Machine | Length | V.R. of Compression Testing Machines for Mastic Cement and Concrete JJG (Su)43-2004 | 40mm | U=0.05mm | Accredited only for Compressive clamp |  |
| 175 | Testing Instrement for Crushing Value | Length | V.R. of Testing Instrement for Crushing Value JJG (Su)54-2006 | (0～150) mm | U=0.05mm |  |  |
| 176 | Electronic Tachometer Total Station | Angle | V.R. of Electronic Tachometer Total Station JJG 100-2003 | Ⅱ、Ⅲ、Ⅳ | U=1.1" |  |  |
| 177 | Coordinate Measuring Machine | Length | C.S.for Coordinate Measuring Machine JJF1064-2010 | ≤1000mm | U= (0.38+24L/10000)μm |  |  |
| 178 | Imaging Probe Measuring Machines | Length | C.S.for Imaging Probe Measuring Machines JJF1318-2011 | ≤300mm | U=1.3μm | Only size |  |
| 179 | Reading Microscope and Measuring Microscope | Length | V.R. of Reading Microscope and Measuring Microscope JJG 571-2004 | (0～10)mm | U=0.5μm |  |  |
| 180 | Floorslab Thickness Tester | Length | C.S. for Reinforced Concrete Covermeter and Floorslab Thickness Tester JJF1224-2009 | (0～300)mm | U=1.0mm |  |  |
| 181 | Reinforced Concrete Covermeter Tester | Length | C.S. for Reinforced Concrete Covermeter and Floorslab Thickness Tester JJF1224-2009 | (0～40)mm | U=0.8mm |  |  |
| 182 | Articulated Arm Coordinate Measuring Machines | Length | C.S.for Articulated Arm Coordinate Measuring Machines JJF1408-2013 | R≤1000mm | U= 0.010mm |  |  |
| 183 | Biological Microscopes | Magnification | C.S. for Biological Microscopes JJF 1402-2013 | （1～10）mm | Urel=1.2% |  |  |
| 184 | Plain Limit Gauges | Length | V.R. of Plain Limit Gauges JJG 343-2012 | Φ(1～100)mm | U=0.6μm | Only diameter |  |
|  |  |  |  | Φ(100～500)mm | U=0.8μm |  |  |
| 185 | Cylindrical Thread Gauges | Length | C.S. for Cylindrical Thread Gauges JJF 1345-2012 | (10～200)mm | U=2.5μm | Only pitch diameter |  |
| Chemistry |  |  |  |  |  |  |  |
| 186 | Electrolytic Conductivity Meters | Conductivi-ty | V. R. of Electrolytic Conductivity Meters JJG 376-2007 | (0.1～ 1×105)μS | Electrie meter, Urel=0.2% |  |  |
|  |  |  |  | (0.1～1×106)μS/cm | Apparatus, Urel=0.4% |  |  |
| 187 | pH Meters | Acidity Grade | V. R. of Laboratory pH Meters JJG 119-2005 | (0～14) pH | Electric meter, U=0.001pH |  |  |
|  |  |  |  |  | Apparatus, U=0.02pH |  |  |
| 188 | Gas Chromatogr-aph | sensitivity | V.R. of Gas Chromatograph JJG 700-1999 | TCD, ≥800 mV.mL/mg | Urel=3.6% |  |  |
|  |  | Threshold |  | FID, <5×10-10g/s | Urel=5.2% |  |  |
|  |  |  |  | FPD, ≤5×10-10g/s (S) ≤1×10-10g/s (P) | Urel=4.7% |  |  |
|  |  |  |  | ECD, ≤5×10-12 g/mL. | Urel=5.4% |  |  |
|  |  |  |  | NPD, ≤5×10-12 g/s(N) ≤1×10-11g/s (P) | Urel=5.2% |  |  |
| 189 | Liquid Chromatogr-aphs | Threshold | V.R. of Liquid Chromatographs JJG 705-2014 | Untraviolet, Visible-detector,Di-ode Array Detector, ≤5×10-8 g/mL | Urel=4.3% |  |  |
|  |  |  |  | Fluorecence detector, ≤ 5 × 10 -9 g/mL | Urel=4.3% |  |  |
|  |  |  |  | refraction detecto, ≤ 5 × 10 -6 g/mL | Urel=5.2% |  |  |
|  |  |  |  | refraction detecto, ≤ 5 × 10 -6 g/mL | Urel=5.2% |  |  |
| 190 | ELISA Analytical Instruments | Wavelength | V.R. of ELISA Analytical Instruments JJG 861-2007 | (360～700)nm | U= 1.3nm |  |  |
|  |  | Absorbency |  | (0～2)Abs | U= 0.020Abs |  |  |
| 191 | Ultraviolet，Visible，Near-Infrared Spectrophot-ometers | Wavelength | V. R. of Ultraviolet，Visible，Near-Infrared Spectrophotometers JJG 178-2007 | (360～800)nm | U=0.8nm |  |  |
|  |  | Transmissi-on Ratio |  | (0～100)% | U=0.6% |  |  |
| 192 | Atomic Absorption Spectrophot-ometer | Threshold | V.R. of Atomic Absorption Spectrophotometer JJG 694-2009 | Flame law to detect Cu , ≤0.02μg/mL | U=0.005μg/mL |  |  |
|  |  |  |  | GFAAS to detect Cd. ≤4pg | U=0.3 pg |  |  |
| 193 | Ultraviolet，Visible，Near-Infrared Spectrophot-ometers in Single Beam | Wave Length | V. R. of Ultraviolet，Visible，Near-Infrared Spectrophotometers JJG 178-2007 | (190～360)nm | U=0.4 nm |  |  |
|  |  |  |  | (360～850)nm | U=0.8 nm |  |  |
| 193 | Ultraviolet，Visible，Near-Infrared Spectrophot-ometers in Single Beam | Transmissi-on Ratio | V. R. of Ultraviolet，Visible，Near-Infrared Spectrophotometers JJG 178-2007 | (0～100)% | U=0.4% |  |  |
| 194 | Ultraviolet,V-isible，Near-Infrared Spectrophot-ometers in Double Beam | Wave Length | V. R. of Ultraviolet，Visible，Near-Infrared Spectrophotometers JJG 178-2007 | (190～360)nm | U=0.4 nm |  |  |
|  |  |  |  | (360～850)nm | U=0.8 nm |  |  |
|  |  | Transmissi-on Ratio |  | (0～100)% | U=0.3% |  |  |
| 195 | Rotational Viscometer | Viscosity | V. R. of Rotational Viscometers JJG 1002-2005 | (10-1～103 ) mPa·s | Urel=1.5% |  |  |
|  |  |  |  | (103～104 ) mPa·s | Urel=1.6% |  |  |
|  |  |  |  | (104～106 ) mPa·s | Urel=2.0% |  |  |
| 196 | Polarimeter & Saccharimeter | Polarimetry | V. R. of Polarimeter & Saccharimeter JJG 536-1998 | -45°～+45° | U=0.002° |  |  |
| 197 | Hand Saccharimeter (Content-meter )and Hand Refractometer | Sacchari | V. R. of Hand Saccharimeter (Content-meter ) and Hand Refractometer JJG 820-1993 | (0～80)% | U=0.20% (Dividing value 0.2%) U=0.22% (Dividing value 0.5%) U=0.24% (Dividing value 1.0%) |  |  |
| 198 | Melting-Point -Measuring Instruments with Capillary Method | Melting Point | V.R. of Melting-Point -Measuring Instruments JJG 701-2008 | Room Temperature~300℃ （Heating rate：0.2℃/min） | U=0.16℃ |  |  |
|  |  |  |  | Room Temperature~300℃ （Heating rate：1.0℃/min） | U=0.24℃ |  |  |
| 199 | Vehicle Exhaust Emission Measuring Instruments | Concentrat-ion | V.R.of Vehicle Exhaust Emissions Measuring Instruments JJG 688-2007 | CO2:(0.0～18.0)×10-2 | Urel=2.0% |  |  |
| 199 | Vehicle Exhaust Emission Measuring Instruments | Concentrat-ion | V.R.of Vehicle Exhaust Emissions Measuring Instruments JJG 688-2007 | HC:(0～9999)×10-6 | Urel=1.4% |  |  |
|  |  |  |  | CO:(0.00～14.00)×10-2 | Urel=1.8% |  |  |
|  |  |  |  | O2:(0.0～25.0) ×10-2 | Urel=2.3% |  |  |
|  |  |  |  | NO:(0～5000) ×10-6 | Urel=2.1% |  |  |
| 200 | Opacimeters | Rotate speed | V.R.of Opacimeters JJG 976-2010 | (0～98.6)% | U=0.7% |  |  |
| 201 | Filter-Type Smoke- meters | Smoke value | V.R.of Filter-Type Smokemeters JJG 847-2011 | (0~10)BSU | U=0.22BSU |  |  |
| 202 | Detector of Combustible Gases | Concentrat-ion | V.R.of Alarmer Detectors of Combustible Gas JJG 693-2011 | (0~100)%LEL | Urel=1.5% | Accredited only for isobutane |  |
| 203 | Chemical Oxygen Demand (COD) Meters | Concentrat-ion | V. R. of Chemical Oxygen Demand (COD) Meters JJG 975-2002 | (5～1000) mg/L | Urel=2.8% |  |  |
| 204 | On-line Automatic Determinator of Chemical Oxygen Demand (COD) | Concentrat-ion | V. R. of On-line Automatic Determinator of Chemical Oxygen Demand (COD) JJG 1012-2006 | (30～1000)mg/L | Urel=2.8% |  |  |
| 205 | Atomic Fluorescence Spectrophotometers | Threshold | V. R. of Verification Regulation for Atomic Fluorescence Spectrophotometers JJG 939-2009 | As:≤0.4ng | U=0.014ng |  |  |
|  |  |  |  | Sb:≤0.4ng | U=0.04ng |  |  |
| 206 | Extrusion Plastometer | Extrusion Plastometer | V.R.of Extrusion Plastometer JJG 878-1994 | (1～20)g/10min | Urel=7.1% |  |  |
| 207 | V.R.of Carbon- sulfur Analyzer | Content of C | V.R.of Carbonsulfur Analyzer JJG 395-1997 | 0.0%～3.0% | Urel=1.3% |  |  |
|  |  | Content of S |  | 0.0%～0.3% | Urel=2.9% |  |  |
| 208 | Total Organic Carbon Analyzer | Concentration | V.R.of Total Organic Carbon Analyzer JJG 821-2005 | Organic Carbon： (0～1000) mg/L | Urel=2.2% |  |  |
|  |  |  |  | Inorganic Carbon： (0～1000) mg/L | Urel=2.2% |  |  |
| 209 | Plasma Emission Spectrometer | Threshold | V.R.of Emission Spectrometer JJG 768-2005 | (0～5.0) mg/mL | Cd.U=0.008 mg/L Cu.U=0.0012 mg/L Ni.U=0.006 mg/L Mn.U=0.0012 mg/L Ba.U=0.0002 mg/L Zn.U=0.006 mg/L |  |  |
| 210 | Infrared Spectrophot-ometer | Wave | V. R. of Dispetsive infrared spectrophotometer JJG 681-1990 | (400～4000)cm-1 | U=0.3cm-1 |  |  |
|  |  | Transmittance |  | (0～100)% | U=0.2% |  |  |
| 211 | Turbidimeter | Turbidy | V.R.of Turbidimeter JJG 880-1994 | (0~400)NTU | Urel=3.1% |  |  |
| 212 | Moisture Meter | Mass | V.R. of Thermogravimetric Moisture Meters JJG 658-2010 | (0～10)g | U=1.5mg (Analog type) |  |  |
|  |  |  |  | (0～5000)e | U=0.15e (Digital-display type) |  |  |
|  |  |  |  | (5000～20000)e | U=0.30e (Digital-display type) |  |  |
|  |  |  |  | (20000～100000)e | U=0.50e (Digital-display type) |  |  |
| 213 | Flame Photometer | Threshold | V. R. of Flame Photometer JJG 630-2007 | Na:≤0.008 mmol/L | U=0.001 mmol/L |  |  |
|  |  |  |  | K:≤0.004 mmo1/L | U=0.0006 mmol/L |  |  |
| 214 | Air sampler | Flux | V.R. of Air Sampler JJG 956-2013 | (0.1～1.2) L/ min | Urel=1.5% |  |  |
| 215 | Dust Sampler | Flow | V.R.of Dust Sampler JJG 520-2005 | (6 ～60) L/min | Urel=2.0% |  |  |
| 216 | amplers for Stack Dust | Flow | V.R.of Samplers for Stack Dust JJG 680-2007 | (6 ～60) L/min | Urel=1.5% |  |  |
| 217 | Bench Top Gas Chromatogr-aphy-Mass Spectromete-rs | Mass | C. S. for Bench Top Gas Chromatography-Mass Spectrometers JJF1164-2006 | (40～650)amu | U=0.1amu |  |  |
| 218 | Flow Cups Viscosimeter | Viscosity | V.R. of Flow Cups Viscosimeter JJG 743-1991 | (10~500) mm2/s | Urel =1.5% |  |  |
| 219 | Analyzers for Oil Content in Water | Concentrat-ion | V.R. of Analyzers for Oil Content in Water JJG 950-2012 | A.(0～10) mg/L | Urel=3.7% |  |  |
|  |  |  |  | A.＞10mg/L | Urel=3.5% |  |  |
|  |  |  |  | B.＞10mg/L | Urel=3.4% |  |  |
| 220 | Dissolved Oxygen Meter with Covered-Membrane-Electrode | Concentrat-ion | V.R.of Dissolved Oxygen Meter with Covered-Membrane-Electrode JJG 291-2008 | (0~20)mg/L | U=0.05mg/L |  |  |
| 221 | Flue Gas Analyzers | Concentrat-ion | V.R.of Flue Gas Analyzers JJG 968-2002 | O2: (0～25)% | Urel=2.5% |  |  |
|  |  |  |  | CO: (0～1000)×10-6 | Urel=1.3% |  |  |
|  |  |  |  | SO2: (0～4000)×10-6 | Urel=2.0% |  |  |
|  |  |  |  | NO: (0～4000)×10-6 | Urel=2.0% |  |  |
| 222 | Fourier Transform Infrared Spectromet-ers | wave number | C. S. for Fourier Transform Infrared Spectrometers JJF 1319-2011 | (400~4000) cm-1 | U=0.3cm-1 |  |  |
| 223 | Total Suspended Particulates Sampler | Flow | V.R.of Total Suspended Particulates Sampler JJG 943-2011 | (0.02～1.2) m3/min | Urel=1.5% |  |  |
| 224 | Ion Chromatog-raph | Minimum Concent-ration | V.R.of Ion Chromatograph JJG 823-2014 | Cl-: ≤0.02μg/g | Urel=3.7% |  |  |
|  |  |  |  | NO2-:≤0.02 μg/g | Urel=4.2% |  |  |
|  |  |  |  | I-: ≤0.02 μg/g | Urel=3.7% |  |  |
| 225 | Carbon Monoxide Detectors | Concentra-tion | V.R.of Carbon Monoxide Detectors JJG 915-2008 | (0～500) μmol/mol | Urel=2.4% |  |  |
| 226 | Kjeldahl Apparatus | Concentra-tion | C.S.for Elemental Analyzers JJF1321-2011 | (0.1～100)mg/L | U=1.2% |  |  |
| 227 | Determinat-ors for Total Sulfur in Coal | Sulfur content | V.R.of Determinators for Total Sulfur in Coal JJG 1006-2005 | (0.1～6)% | 1.53%: U=0.16% |  |  |
| 228 | Oxygen Bomb Calorimeter | Calorific value | V.R.of The Bomb Calorimeler JJG 672-2001 | (26454±26)J/g | U=31J/g | Accredited only for Calorimeler |  |
| 229 | Instrument for KF Coulometry Titration | water content | V.R. of Instrument for KF Coulometry Titration JJG 1044-2008 | (0~10)μg | U=0.9μg |  |  |
|  |  |  |  | (10~100)μg | U=1.5μg |  |  |
|  |  |  |  | (100~1000) μg | U=9.4μg |  |  |
|  |  |  |  | (1000~ 5000)μg | U=19.2μg |  |  |
| 230 | Halogen leak detector | Detectable leak rate | V.R. of Halogen leak detector JJG（Light industry）106-1994 | (0～15)g/a | Urel=13% |  |  |
| Optical |  |  |  |  |  |  |  |
| 231 | Standard light both | Illuminance | V. R. for standard light both JJG(Textile) 055-2012 | (0.1～20000)lx | Urel=1.4% |  |  |
|  |  | Colour Temperature |  | (2300～9000)K | Urel=1.5% |  |  |
| 232 | Focimeters | Vertex power | V.R.of Focimeters JJG 580-2005 | (-25～+25)m-1 | U=0.03m-1 |  |  |
| 233 | Trial Case Lenses | Vertex power | V.R.of Trial Case Lenses JJG 579-2010 | (-25～+25)m-1 | U=0.03m-1 |  |  |
| 234 | Eye Refractometers | Vertex power of Sphere | V. R. of Eye Refractometers JJG 892-2011 | (-20~+20)m-1 | U=(0.06～0.08)m-1 |  |  |
| 235 | Colorimeters and Colour Difference Meter | Chromatici-ty | V. R. of Colorimeters and Colour Difference Meters JJG 595-2002 | Y:(0～100) | U=1.6 |  |  |
| 235 | Colorimeters and Colour Difference Meter | Chromatici-ty | V. R. of Colorimeters and Colour Difference Meters JJG 595-2002 | x、y：(0~0.9999) | U=0.0044 |  |  |
| 236 | Headlamp Testers for Motor Vehicle | luminous intensity | V. R. of Headlamp Testers for Motor Vehicle JJG 745-2002 | (0～40000)cd | Urel=5.3% |  |  |
| 237 | Abbe Refractometer | Refractive index | V. R. of Abbe Refractometer JJG 625-2001 | nD, 1.3000～1.7000 | U=1.6×10-4 |  |  |
| 238 | Specular Gloss Plates | Glossiness | V. R. of Specular Gloss Meters and Gloss Plates JJG 696-2002 | (0~100) gloss unit | U=(1.0~1.2) gloss unit |  |  |
| 239 | Whiteness- meter | Whiteness | V.R.of Whiteness- meter JJG 512-2002 | (0～100) | U= 1.6 |  |  |
| 240 | Pupil Distance Meters | Length | V. R. of Pupil Distance Meters JJG 952-2014 | (50～80)mm | U=(0.15～0.3)mm |  |  |
| 241 | The pesticide residue detectors | Transmissi-on Ratio | V.R.of The pesticide residue detectors JJG(yue) 006-2005 | (0～100)% | U=0.5% |  |  |
| 242 | Clarity Test Equipment | illuminance | C. S. for Clarity Test Equipment JJF 1287-2011 | (100~4000) lx | Urel=11% |  |  |
| 243 | Hazemeter | haze | Calibration Specification for Hazemeter JJF 1303-2011 | (0~30) | U=0.30 |  |  |
| 244 | Specular Gloss Meters and Gloss Plates | Glossiness | V.R.of Specular Gloss Meters and Gloss Plates JJG 696-2002 | (0～150) gloss unit | U=1.8 gloss unit |  |  |
| Temporal frequency |  |  |  |  |  |  |  |
| 245 | Electronic stopwatches | Time | V. R. of Stopwatches JJG 237-2010 | (0.01～3600)s | U=(0.01～0.06)s |  |  |
|  |  | Daily Difference |  | 1d | U=0.05s (24h) |  |  |
| 246 | Mechanical stopwatches | Time | V. R.of Stopwatches JJG 237-2010 | (0.01～3600)s | U=0.03s |  |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市高明区沧江路梅花街38号

签发日期：2015年02月11日        有效期至：2018年02月10日

更新日期：2015年02月11日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 赖济安 | 全部校准项目 |  |
| 2 | 严坚荣 | 衡器校准项目 |  |
| 3 | 苏泽良 | 热学、电磁、测力、化学、光学校准项目 |  |
| 4 | 王力勇 | 力学、长度校准项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:No.38, Meihua Street, Cangjiang Road, Gaoming District, Foshan, Guangdong, China

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Lai Jian | All Calibration Items |  |
| 2 | Yan Janrong | Calibration Items for Weighing instrument |  |
| 3 | Su Zeliang | Calibration Items for temperature, force, electricity,Optics,Chemical Metrology |  |
| 4 | Wang Liyong | Calibration Items for Force,Length, |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市高明区沧江路梅花街38号

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年02月11日         有效期至：2018年02月10日

更新日期：2015年02月11日

附件3 认可的校准能力范围

| 序号 | 测量仪器名称 | 校准参量 | 规范代号（含年号）名称 | 测量范围 | 扩展不确定度（k=2） | 限制说明 | 备注 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 通用卡尺 | 长度 | 《通用卡尺检定规程》 JJG 30-2012 | 游标卡尺(0~300)mm | U=0.01mm |  |  |
|  |  |  |  | 带表卡尺(0~300)mm | U=0.01mm |  |  |
|  |  |  |  | 数显卡尺(0~300)mm | U=0.01mm |  |  |
| 2 | 指示表 | 长度 | 《指示表（指针式、数显式）检定规程》 JJG 34-2008 | 百分表(0~10)mm | U=5.7μm |  |  |
|  |  |  |  | 千分表(0~1)mm | U=1.7μm |  |  |
| 2 | 指示表 | 长度 | 《指示表（指针式、数显式）检定规程》 JJG 34-2008 | 千分表(1~3)mm | U=2.0μm |  |  |
| 3 | 内径表 | 长度 | 《内径表校准规范》 JJF 1102-2003 | 分度值0.01 (6~50)mm | U=4.8μm |  |  |
|  |  |  |  | 分度值0.001 (6~10)mm | U=2.0μm |  |  |
| 4 | 自动平衡式显示仪表 | 温度 | 《工业过程测量记录仪检定规程》 JJG 74-2005 | 配热电阻(0~400)℃ | U=0.3℃ |  |  |
|  |  |  |  | 配热电阻(400~600)℃ | U=0.4℃ |  |  |
|  |  |  |  | 配热电偶(0~600)℃ | U=0.9℃ |  |  |
|  |  |  |  | 配热电偶(600~1100)℃ | U=1.8℃ |  |  |
| 5 | 动圈式温度仪表 | 温度 | 《动圈式温度指示调节仪检定规程》 JJG 186-1997 | 配热电阻(0~600)℃ | U=0.5℃ |  |  |
|  |  |  |  | 配热电偶(0~800)℃ | U=2.0℃ |  |  |
|  |  |  |  | 配热电偶(800~1600)℃ | U=3.8℃ |  |  |
| 6 | 数字式温度仪表 | 温度 | 《数字温度指示调节仪检定规程》 JJG 617-1996 | 配热电阻(0~600)℃ | U=0.6℃ |  |  |
|  |  |  |  | 配热电偶(0~600)℃ | U=1.0℃ |  |  |
| 6 | 数字式温度仪表 | 温度 | 《数字温度指示调节仪检定规程》 JJG 617-1996 | 配热电偶(600~1100)℃ | U=1.8℃ |  |  |
|  |  |  |  | 配热电偶(1100~1600)℃ | U=4.0℃ |  |  |
| 7 | 恒温槽 | 温度 | 《恒温槽技术性能测试规范》 JJF 1030-2010 | (-20~100)℃ | U=0.3℃ |  |  |
| 8 | 环境试验设备 | 温度 | 《环境试验设备温度、湿度校准规范》 JJF 1101-2003 | (-20～60)℃ | U=0.3℃ |  |  |
|  |  |  |  | (60～250)℃ | U=1.0℃ |  |  |
|  |  | 湿度 |  | (30～100)% RH | U=1.5% RH |  |  |
| 9 | 一般压力表、压力真空表和真空表 | 压力 | 《弹性元件式一般压力表、压力真空表和真空表检定规程》 JJG 52-2013 | (-0.1~60)MPa | Urel=0.7% | 不能校电接点式压力表的电参量 |  |
| 10 | 精密压力表和真空表 | 压力 | 《弹性元件式精密压力表和真空表检定规程》 JJG 49-2013 | (0~60)MPa | Urel=0.24% |  |  |
| 11 | 血压计和 血压表 | 压力 | 《血压计和血压表检定规程》 JJG 270-2008 | (0~40)kPa | Urel=0.3% |  |  |
| 12 | 数字电子式血压计 | 压力 | 《无创自动测量血压计检定规程》 JJG 692-2010 | (0~40)kPa | Urel=0.3% |  |  |
| 13 | 拉力、压力和万能试验机 | 力值 | 《拉力、压力和万能试验机检定规程》 JJG 139-1999 | (0.1~2000)kN | Urel=0.4％ | 不测同轴度 |  |
| 14 | 电子式万能试验机 | 力值 | 《电子式万能试验机检定规程》 JJG 475-2008 | (0.1~2000)kN | Urel=0.4％ | 不测同轴度 |  |
| 15 | 抗折试验机 | 力值 | 《抗折试验机检定规程》 JJG 476-2001 | (0.1~100)kN | Urel=0.4％ |  |  |
| 16 | 非金属拉力、压力和万能试验机 | 力值 | 《非金属拉力、压力和万能试验机检定规程》 JJG 157-2008 | (0.1~2000)kN | Urel=0.4％ |  |  |
| 17 | 搅拌机 | 转速 | 《水泥胶砂搅拌机检定规程》 JJG(建材)102-1999 《行星式胶砂搅拌机检定规程》 JJG(建材)123-1999 《水泥净浆搅拌机检定规程》 JJG(建材)104-1994 | (0~200) r/min | U=1.5r/min |  |  |
|  |  | 时间 |  | (0~240)s | U=1.0s |  |  |
|  |  | 间隙 |  | (0~200)mm | U=0.04mm |  |  |
| 18 | 振实台 | 时间 | 《胶砂试体成型振实台检定规程》 JJG(建材)124-1999 | (0~60)s | U=1.0s |  |  |
|  |  | 振幅 |  | (15±0.3)mm | U=0.04mm |  |  |
|  |  | 质量 |  | (0~30)kg | U=5.0g |  |  |
| 19 | 雷氏夹膨胀测定仪 | 长度 | 《雷氏夹膨胀测定仪检定规程》 JJG(建材)110-1994 | (0~300)mm | U=0.04mm |  |  |
|  |  | 质量 |  | 300g | U=0.3g |  |  |
| 20 | 数字指示秤 | 质量 | 《数字指示秤检定规程》 JJG 539-1997 | (0~1000)kg | Urel=0.01％ |  |  |
|  |  |  |  | (1~100)t | Urel=0.03％ |  |  |
| 21 | 模拟指示秤 | 质量 | 《模拟指示秤检定规程》 JJG 13-1997 | (0~1000)kg | Urel=0.1％ |  |  |
|  |  |  |  | (0~100)t |  |  |  |
| 22 | 非自行指示秤 | 质量 | 《非自行指示秤检定规程》 JJG 14-1997 | (0~1000)kg | Urel=0.1％ |  |  |
|  |  |  |  | (0~100)t |  |  |  |
| 23 | 重力式自动装料衡器 | 质量 | 《重力式自动装料衡器检定规程》 JJG 564-2002 | (0~50)kg | Urel=0.1％ |  |  |
| 24 | 液态物料定量灌装机 | 质量 | 《液态物料定量灌装机检定规程》 JJG 687-2008 | (0~30)kg | Urel=0.1％ |  |  |
|  |  | 容量 |  | (0~20)L | Urel=0.3％ |  |  |
| 25 | 电子皮带秤 | 质量 | 《连续累计自动衡器检定规程》 JJG 195-2002 | (0~1000)kg | Urel=0.1% |  |  |
| 26 | 砝码 | 质量 | 《砝码检定规程》 JJG 99-2006 | (1~10)mg | U=0.03mg | 只做质量值 | F2 等级 |
|  |  |  |  | (10~500)mg | U=0.10mg |  |  |
|  |  |  |  | (1~10)g | U=0.20mg |  |  |
|  |  |  |  | (10~100)g | U=0.40mg |  |  |
|  |  |  |  | (100~500)g | U=0.50mg |  |  |
|  |  |  |  | 1kg | U=0.1g |  | M2 等级 |
|  |  |  |  | 2kg | U=0.2g |  |  |
|  |  |  |  | 5kg | U=0.5g |  |  |
| 26 | 砝码 | 质量 | 《砝码检定规程》 JJG 99-2006 | 10kg | U=1.0g |  | M2 等级 |
|  |  |  |  | 20kg | U=2.0g |  |  |
| 27 | 天平 | 质量 | 《机械天平检定规程》 JJG 98-2006 | 分度值：0.1mg (0~200)g | U=0.1mg |  |  |
|  |  |  |  | 分度值：1mg (0~30)kg | U=1.0mg |  |  |
|  |  |  | 《电子天平检定规程》 JJG 1036-2008 | 分度值：0.01mg (0~40)g | U=0.01mg |  |  |
|  |  |  |  | 分度值：0.1mg (0~200)g | U=0.1mg |  |  |
|  |  |  |  | 分度值：1mg (0~30)kg | U=0.3mg |  |  |
| 28 | 架盘天平 | 质量 | 《架盘天平检定规程》 JJG 156-2004 | (0~5000)g | U=0.1g |  |  |
| 29 | 电压表 | 直流电压 | 《电流表、电压表、功率表及电阻表检定规程》 JJG 124-2005 | (0.1~1000)V | Urel=0.2% |  |  |
|  |  | 交流电压 |  | (0.1~750)V (50HZ~400HZ) | Urel=0.2% |  |  |
| 30 | 电流表 | 直流电流 | 《电流表、电压表、功率表及电阻表检定规程》 JJG 124-2005 | 50uA~10A | Urel=0.4% |  |  |
|  |  | 交流电流 |  | (1.5~10)A (50HZ~400HZ) | Urel=0.4% |  |  |
| 31 | 接地电阻表 | 电阻 | 《接地电阻表检定规程》 JJG 366-2004 | 0.01Ω~1kΩ | Urel=0.7% |  |  |
| 32 | 接地导通电阻测试仪 | 电阻 | 《接地导通电阻测试仪检定规程》 JJG 984-2004 | (0~600)mΩ | Urel=0.8% |  |  |
|  |  | 电流 |  | (0.5~30)A | Urel=0.9% |  |  |
| 33 | 绝缘电阻表 | 电阻 | 《绝缘电阻表检定规程》 JJG 622-1997 | 0.01MΩ~100GΩ | Urel=1.0% |  |  |
| 34 | 电子式绝缘电阻表 | 电阻 | 《电子式绝缘电阻表检定规程》 JJG 1005-2005 | 0.01MΩ~100GΩ | Urel=1.0% |  |  |
| 35 | 耐电压测试仪 | 电压 | 《耐电压测试仪检定规程》 JJG 795-2004 | (0.1~10)kV | Urel=0.8% |  |  |
|  |  | 电流 |  | (0.5~100)mA | Urel=0.8% |  |  |
|  |  | 时间 |  | (0~999)s | Urel=0.7% |  |  |
| 36 | 泄漏电流测量仪 | 电流 | 《泄漏电流测量仪检定规程》 JJG 843-2007 | (0.2~100)mA | Urel=0.5% |  |  |
|  |  | 电压 |  | (10~400)V | Urel=0.3% |  |  |
| 37 | 紫外、可见分光光度计 | 波长 | 《紫外、可见、近红外分光光度计检定规程》 JJG 178-2007 | (190~850)nm | U=0.3nm |  |  |
|  |  | 透射比 |  | (0~100)% | U=0.5% |  |  |
| 38 | 可见分光光度计 | 波长 | 《紫外、可见、近红外分光光度计检定规程》 JJG 178-2007 | (360~800)nm | U=0.4nm |  |  |
|  |  | 透射比 |  | (0~100)% | U=0.5% |  |  |
| 39 | pH(酸度)计 | pH值 | 《实验室pH (酸度)计检定规程》 JJG 119-2005 | pH：(0~14) | U=0.02pH |  |  |
| 40 | 离子计 | pX值 | 《离子计检定规程》 JJG 757-2007 | pX：(0~14) | U=0.02pX |  |  |
| 41 | 钠离子计 | pNa值 | 《离子计检定规程》 JJG 757-2007 | pNa：(0~9) | U=0.02 pNa |  |  |
| 42 | 电导(率)仪 | 电导 | 《电导仪检定规程》 JJG 376-2007 | (0.05~104) μS/cm | Urel=0.2% |  |  |
| 43 | 自动电位 滴定仪 | 电位 | 《自动电位滴定仪检定规程》 JJG 814-1993 | (-900~900)mV | U=0.5mV |  |  |
| 44 | 玻璃量具 | 容量 | 《常用玻璃量具检定规程》 JJG 196-2006 | (1~10) ml | U=0.005ml |  |  |
|  |  |  |  | (10~20) ml | U=0.008ml |  |  |
|  |  |  |  | (20~100) ml | U=0.02ml |  |  |
|  |  |  |  | (100~200) ml | U=0.04ml |  |  |
|  |  |  |  | (200~500) ml | U=0.10ml |  |  |
|  |  |  |  | (500~1000) ml | U=0.12ml |  |  |
|  |  |  |  | (1000~2000) ml | U=0.20ml |  |  |
| 45 | 膜式燃气(煤气)表 | 流量 | 《膜式燃气表检定规程》 JJG 577-2012 | (0.1~6)m3/h | Urel=0.3% |  |  |
| 46 | 燃油加油机 | 容量 | 《燃油加油机检定规程》 JJG 443-2006 | 20L | U=0.05L |  |  |
|  |  |  |  | 100L | U=0.15L |  |  |
| 47 | 水表 | 流量 | 《冷水水表检定规程》 JJG 162-2009 | (0.002~25)m3/h | Urel=0.4% |  |  |
| 48 | 验光镜片箱 | 顶焦度 | 《验光镜片箱检定规程》 JJG 579-2010 | (-25~+25) m-1 | U=0.03 m-1 |  |  |
| 49 | 焦度计 | 顶焦度 | 《焦度计检定规程》 JJG 580-2005 | (-25~+25) m-1 | U=0.05 m-1 |  |  |
| 50 | 验光仪 | 顶焦度 | 《验光仪检定规程》 JJG 892-2011 | (-20~+20) m-1 | U=0.08 m-1 |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:No.38, Meihua Street, Cangjiang Road, Gaoming District, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 3   ACCREDITED CALIBRATION

| № | Instrument | Parameter | Title, Code of Calibration Method | Range | Uncertainty (k=2) | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Current Caliper | Length | V.R.of Current Calipers JJG 30-2012 | Vernier Caliper (0~300)mm | U=0.01mm |  |  |
|  |  |  |  | Dial Caliper (0~300)mm | U=0.01mm |  |  |
|  |  |  |  | Digital Caliper (0~300)mm | U=0.01mm |  |  |
| 2 | Dial Indicator | Length | V.R.of Dial Gauges(dial and digital) JJG 34-2008 | Dial Gauges (0~10)mm | U=6.7μm |  |  |
|  |  |  |  | Dial Gauges (0~1)mm | U=1.7μm |  |  |
|  |  |  |  | Dial Gauges (1~3)mm | U=2.0μm |  |  |
| 3 | Bore Dial Indicators | Length | C.S.for Bore Dial Indicators JJF 1102-2003 | 0.01 (6~50)mm | U=4.8μm |  |  |
|  |  |  |  | 0.001 (6~10)mm | U=2.0μm |  |  |
| 4 | Selfbalance Display Instruments | Temperature | V.R.of Recorders for Industrial- Process Measurement JJG 74-2005 | With resistance (0~400)℃ | U=0.3℃ |  |  |
|  |  |  |  | With resistance (400~600)℃ | U=0.4℃ |  |  |
|  |  |  |  | With thermocouple (0~600)℃ | U=0.9℃ |  |  |
| 5 | Moving-Coil Indica-tors and Step- indication Controllers Asso-ciated for Measuring Temperature | Temperature | V.R.of Moving-Coil Indicators and Step- indication Controllers Associated for Measuring Temperature JJG 186-1997 | With resistance (0~600)℃ | U=0.5℃ |  |  |
|  |  |  |  | With thermocouple (0~800)℃ | U=2.0℃ |  |  |
|  |  |  |  | With thermocouple (800~1600)℃ | U=3.8℃ |  |  |
| 6 | Digital Temperature Indicators and Controllers | Temperature | V.R.of Digital Temperature Indicators and Controllers JJG 617-1996 | With resistance (0~600)℃ | U=0.6℃ |  |  |
|  |  |  |  | With thermocouple (0~600)℃ | U=1.0℃ |  |  |
|  |  |  |  | With thermocouple (600~1100)℃ | U=1.8℃ |  |  |
|  |  |  |  | With thermocouple (1100~1600)℃ | U=4.0℃ |  |  |
| 7 | Norm of Thermostatic Bath’s | Temperature | Measurement and Test Norm of Thermostatic Bath’s Rechnological Characteristtics JJF 1030-2010 | (-20~100)℃ | U=0.3℃ |  |  |
| 8 | the Equipment of the Environmental Testing for Temperature and Humidity | Temperature | C. S for the Equipment of the Environmental Testing for Temperature and Humidity JJF 1101-2003 | (-20～60)℃ | U=0.3℃ |  |  |
|  |  |  |  | (60～250)℃ | U=1.0℃ |  |  |
|  |  | Humidity |  | (30～100)% RH | U=1.5%RH |  |  |
| 9 | Elastic Element Pressure Gauges, Pressure- Vacuum Gauges and Vacuum Gauges for General Use | Pressure | V.R. of Elastic Element Pressure Gauges, Pressure- Vacuum Gauges and Vacuum Gauges for General Use JJG 52-2013 | (-0.1~60) MPa | Urel=0.7% | Can’t calibrate the electrical parameters of the Pressure gauge with electric contact |  |
| 10 | Elastic Element Precise Pressure Gauge and Vacuum Gauges | Pressure | V.R. of Elastic Element Precise Pressure Gauge and Vacuum Gauges JJG 49-2013 | (0~60)MPa | Urel=0.2% |  |  |
| 11 | Desk Sphygmomanometer | Pressure | V.R. of Sphygmomanometer JJG 270-2008 | (0~40)kPa | Urel=0.3% |  |  |
| 12 | Digital Electronic Sphygmomanometer | Pressure | V.R. of Non-invasive Automated Sphygmomano meters JJG 692-2010 | (0~40)kPa | Urel=0.3% |  |  |
| 13 | Universal Tension and Compression Testing Machine | Force | V. R. of Universal Tension and Compression Testing Machine JJG 139-1999 | (0.1~2000)kN | Urel=0.4％ | Except for term of axis |  |
| 14 | Electronic Universal Testing Machine | Force | V. R. of Electronic Universal Testing Machine JJG 475-2008 | (0.1~2000)kN | Urel=0.4％ | Except for term of axis |  |
| 15 | Flexure Testing Machine | Force | V. R. of Flexure Testing Machine JJG 476-2001 | (0.1~100)kN | Urel=0.4％ |  |  |
| 16 | Universal Tension and Compression Testing Machine for Non-metallic | Force | V. R. of Universal Tension and Compression Testing Machine for Non-metallic JJG157-2008 | (0.1~2000)kN | Urel=0.4％ |  |  |
| 17 | Mortars Mixer | Rotational Speed | V. R. of Cement Mortars Mixer JJG(Building material)102-1999 V. R. of Cement Mortars Mixer JJG(Building material)123-1999 V. R. of Mixer for cement paste JJG(Building material)104-1994 | (0~200)r/min | U=1.5r/min |  |  |
|  |  | Control Time |  | (0~240)s | U=1.0s |  |  |
|  |  | Interval of the Pot of Walls |  | (0~200)mm | U=0.04mm |  |  |
| 18 | Cement Mortars Specimen Jolting Table | Vibration time | V. R. of Cement Mortars Specimen Jolting Table JJG(Building material)124-1999 | (0~60)s | U=1.0s |  |  |
|  |  | Amplitude |  | (15±0.3)mm | U=0.04mm |  |  |
|  |  | Mass |  | (0~30)kg | U=5.0g |  |  |
| 19 | Expansion Meter of Le-Chatelier Apparatus | Length | V．R．of Expansion Meter of Le-Chatelier Apparatus JJG（Building material）110-1994 | (0~300)mm | U=0.04mm |  |  |
| 19 | Expansion Meter of Le-Chatelier Apparatus | Mass | V．R．of Expansion Meter of Le-Chatelier Apparatus JJG（Building material）110-1994 | 300g | U=0.3g |  |  |
| 20 | Digital indicating Weighing Instrument | Mass | V.R. of Digital Indicating Weighing Instrument JJG 539-1997 | (0~1000)kg | Urel=0.01％ |  |  |
|  |  |  |  | (1~100)t | Urel=0.03％ |  |  |
| 21 | Analogue indicating Weighing Instrument | Mass | V.R. of Analogue Indication Weighing Instruments JJG 13-1997 | (0~1000)kg | Urel=0.1％ |  |  |
|  |  |  |  | (0~100)t |  |  |  |
| 22 | Non-self- indicating Weighing Instrument | Mass | V.R. of Non-self- Indication Weighing Instruments JJG 14-1997 | (0~1000)kg | Urel=0.1％ |  |  |
|  |  |  |  | (0~100)t |  |  |  |
| 23 | Automatic Gravimetric Filling Instruments | Mass | V.R. of Automatic Gravimetric Filling Instruments JJG 564-2002 | (0~50)kg | Urel=0.1％ |  |  |
| 24 | Quantitative Filling Machine for Liquid State Material | Mass | V.R. of Quantitative Filling Machine for Liquid State Material JJG 687-2008 | (0~30)kg | Urel=0.1％ |  |  |
|  |  | Capacity |  | (0~20)L | Urel=0.3％ |  |  |
| 25 | Electronic Conveyor Belt Scales | Mass | V.R. of Continuous Totalizing Automatic Weighing Instruments(Belt Weigher) JJG 195-2002 | (0~1000)kg | Urel=0.1% |  |  |
| 26 | Weights | Mass | V. R. of Weights JJG 99-2006 | (1~10)mg | U=0.03mg | Accredited only for quality value | F2等级 |
|  |  |  |  | (10~500)mg | U=0.10mg |  |  |
|  |  |  |  | (1~10)g | U=0.20mg |  |  |
| 26 | Weights | Mass | V. R. of Weights JJG 99-2006 | (10~100)g | U=0.40mg | Accredited only for quality value | F2等级 |
|  |  |  |  | (100~500)g | U=0.50mg |  |  |
|  |  |  |  | 01kg | U=0.1g |  | M2等级 |
|  |  |  |  | 02kg | U=0.2g |  |  |
|  |  |  |  | 05kg | U=0.5g |  |  |
|  |  |  |  | 10kg | U=1.0g |  |  |
|  |  |  |  | 20kg | U=2.0g |  |  |
| 27 | Balance | Mass | V. R. for Mechanical Balances JJG 98-2006 | Dividing the value:0.1mg (0~200)g | U=0.1mg |  |  |
|  |  |  |  | Dividing the value:1mg (0~30)kg | U=1.0mg |  |  |
|  |  |  | V. R. for Electronic Balance JJG 1036-2008 | Dividing the value:0.01mg (0~40)g | U=0.01mg |  |  |
|  |  |  |  | Dividing the value:0.1mg (0~200)g | U=0.1mg |  |  |
|  |  |  |  | Dividing the value:1mg (0~30)kg | U=0.3mg |  |  |
| 28 | Table Balances | Mass | V. R. of Table Balances JJG 156-2004 | (0~5000)g | U=0.1g |  |  |
| 29 | Voltmeter | D.C. Voltage | V.R.of Amperemeters,Voltmeters,wattmeters and ohmmeters JJG 124-2005 | (0.1~1000)V | Urel=0.2% |  |  |
|  |  | A.C. Voltage |  | (0.1~750)V (50HZ~400HZ) | Urel=0.2% |  |  |
| 30 | Amperemeters | D.C. Current | V.R.of Amperemeters,Voltmeters,wattmeters and ohmmeters JJG 124-2005 | 50uA~10A | Urel=0.4% |  |  |
| 30 | Amperemeters | A.C. Current | V.R.of Amperemeters,Voltmeters,wattmeters and ohmmeters JJG 124-2005 | (1.5~10)A (50HZ~400HZ) | Urel=0.4% |  |  |
| 31 | Earth Resistance Meter | Earth Resistance | V.R.of Earth Resistance Meters JJG 366-2004 | 0.01Ω~1kΩ | Urel=0.7% |  |  |
| 32 | Earth- Continuity Testers | Resistance | V.R.of Earth-Continuity Testers JJG984-2004 | (0~600)mΩ | Urel=0.8% |  |  |
|  |  | Current |  | (0.5~30)A | Urel=0.9% |  |  |
| 33 | Megohmmeter | Insulation Resistance | V.R.of Megohmmeter JJG 622-1997 | 0.01MΩ~100GΩ | Urel=1.0% |  |  |
| 34 | Electronic Insulating Resistance Meters | Insulation Resistance | V.R.of Electronic Insulating Resistance Meters JJG 1005-2005 | 0.01MΩ~100GΩ | Urel=1.0% |  |  |
| 35 | Withstanding Voltage Testers | Voltage | V. R. of Withstanding Voltage Testers JJG 795-2004 | (0.1~10)kV | Urel=1.2% |  |  |
|  |  | Current |  | (0.5~100)mA | Urel=1.2% |  |  |
|  |  | Time |  | (0~999)s | U=2.0s |  |  |
| 36 | Leakage Current Meter | Current | V. R. of Leakage Current Meter JJG 843-2007 | (0.2~100)mA | Urel=0.5% |  |  |
|  |  | Voltage |  | (10~400)V | Urel=0.3% |  |  |
| 37 | Ultraviolet Visible Spectro-photometers | Wavelength | V. R. of Ultraviolet, Visible,Near-Infrared Speotrophotometers JJG 178-2007 | (190~850)nm | U=0.3nm |  |  |
|  |  | Transmit tance |  | (0~100)% | U=0.5% |  |  |
| 38 | Visible Spectro-photometers | Wavelength | V. R. of Ultraviolet, Visible,Near-Infrared Speotrophotometers JJG 178-2007 | (360~800)nm | U=0.4nm |  |  |
|  |  | Transmit tance |  | (0~100)% | U=0.5% |  |  |
| 39 | pH Meter | pH Value | V.R.of Laboratory pH Meter JJG 119-2005 | pH：(0~14) | U=0.02pH |  |  |
| 40 | Ionometers | Px Value | V. R.of Ionometers JJG 757-2007 | pX：(0~14) | U=0.02pX |  |  |
| 41 | Sodium Ionometers | pNa Value | V. R.of Ionometers JJG 757-2007 | pNa:(0~9) | U=0.02pNa |  |  |
| 42 | Electrolytic Conductivity Meters | Electrolytic Conductance Value | V. R.of Electrolytic Conductivity Meters JJG 376-2007 | (0.05~104) μS/cm | Urel=0.2% |  |  |
| 43 | Automatic Potentiometric Titrator | Potentiometric | V. R.of Automatic Potentiometric Titrator JJG 814-1993 | (-900~900)mV | U=0.5mV |  |  |
| 44 | Working Glass container | Capacity | V. R.of Working Glass container JJG 196-2006 | (1~10) ml | U=0.005ml |  |  |
|  |  |  |  | (10~20) ml | U=0.008ml |  |  |
|  |  |  |  | (20~100) ml | U=0.02ml |  |  |
|  |  |  |  | (100~200) ml | U=0.04ml |  |  |
|  |  |  |  | (200~500) ml | U=0.10ml |  |  |
|  |  |  |  | (500~1000) ml | U=0.12ml |  |  |
|  |  |  |  | (1000~2000) ml | U=0.20ml |  |  |
| 45 | Diaphragm Gas Meters | Flow | V.R.of Diaphragm Gas Meters JJG 577-2012 | (0.1~6)m3/h | Urel=0.3% |  |  |
| 46 | Fuel Dispensers | Capacity | V.R.of Fuel Dispensers JJG 443-2006 | 020L | U=0.05L |  |  |
|  |  |  |  | 100L | U=0.15L |  |  |
| 47 | Cold Water Meter | Flow | V.R.of Cold Water Meter JJG 162-2009 | (0.002~25) m3/h | Urel=0.4% |  |  |
| 48 | Trial Case Lenses | Vertex power | V.R.of Trial Case Lenses JJG 579-2010 | (-25~+25) m-1 | U=0.02m-1 |  |  |
| 49 | Focimeters | Vertex power | V.R.of Focimeters JJG 580-2005 | (-25~+25) m-1 | U=0.05m-1 |  |  |
| 50 | Eye Refractometers | Vertex power | V.R.of Eye Refractometers JJG 892-2011 | (-20~+20) m-1 | U=0.08m-1 |  |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市南海区狮山长虹岭工业园长虹路

签发日期：2015年02月11日        有效期至：2018年02月10日

更新日期：2015年02月11日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 何卫平 | 力学（流量、质量、容量、转速、力值）校准项目 |  |
| 2 | 陈广初 | 力学（流量、质量、容量、转速、力值）校准项目 |  |
| 3 | 范永鹏 | 电磁（电能、互感器）校准项目 |  |
| 4 | 梁昌强 | 力学（流量、质量、容量、转速、力值）校准项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:Changhong Road, Changhongling Industrial Park, Shishan, Nanhai District, Foshan, Guangdong, China

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Weiping He | Accredited calibration items of Mechanics(Flux，Mass，Volume，Froce，Rotale speed) |  |
| 2 | Guangchu Chen | Accredited calibration items of Mechanics(Flux，Mass，Volume，Froce，Rotale speed) |  |
| 3 | Yongpeng Fan | Accredited calibration items of Electromagnetism(Electric energy) |  |
| 4 | Changqiang Liang | Accredited calibration items of Mechanics(Flux，Mass，Volume，Froce，Rotale speed) |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市南海区狮山长虹岭工业园长虹路

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年02月11日         有效期至：2018年02月10日

更新日期：2015年02月11日

附件3 认可的校准能力范围

| 序号 | 测量仪器名称 | 校准参量 | 规范代号（含年号）名称 | 测量范围 | 扩展不确定度（k=2） | 限制说明 | 备注 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 电磁 |  |  |  |  |  |  |  |
| 1 | 电流互感器 | 比值差 | 《测量用电流互感器检定规程》 JJG 313-2010 | 50Hz：(5～3000)A/(5A, 1A) | Urel=0.05% | 0.1级及 以下 |  |
|  |  | 相位差 |  | (0.001～999.9)′ | U=3.8′ |  |  |
| 2 | 电压互感器 | 比值差 | 《测量用电压互感器检定规程》 JJG 314-2010 | 50Hz：(2～10)kV/ (100V,57.7V) | Urel=0.08% | 0.1级及 以下 |  |
|  |  | 相位差 |  | (0.001～999.9)′ | U=5.6′ |  |  |
| 3 | 机电式交流电能表 | 电能 | 《机电式交流电能表检定规程》 JJG 307-2006 | 单相： (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | 三相（平衡负载时）：(57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | 三相（不平衡负载时）：(57.7～380)V (0.1～100)A | U=0.29% (cosφ=0.5L、 cosφ=1.0) |  |  |
| 4 | 电子式电能表 | 电能 | 《电子式电能表检定规程》 JJG 596-2012 | 单相： (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | 三相（平衡负载时）：(57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | 三相（不平衡负载时）：(57.7～380)V (0.1～100)A | U=0.29% (cosφ=0.5L、 cosφ=1.0) |  |  |
| 5 | 多费率电能表 | 电能 | 《分时记度(多费率)电能表检定规程》 JJG 691-1990 | 单相： (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | 三相（平衡负载时）：(57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | 三相（不平衡负载时）：(57.7～380)V (0.1～100)A | U=0.29% (cosφ=0.5L、 cosφ=1.0) |  |  |
| 力学 |  |  |  |  |  |  |  |
| 6 | 液压千斤顶 | 力值 | 《液压千斤顶检定规程》 JJG 621-2012 | 1kN～8MN | Urel=0.42% |  |  |
| 7 | 标准金属量器 | 容量 | 《标准金属量器检定规程》 JJG 259-2005 | (1～2500)L | Urel =0.1% |  |  |
| 8 | 燃油加油机 | 容量 | 《燃油加油机检定规程》 JJG 443-2006 | (5.00~ 9999.99)L | Urel=0.08% |  |  |
| 9 | 砝码 | 质量 | 《砝码检定规程》 JJG 99-2006 | 500kg | U=9g |  |  |
|  |  |  |  | 1000kg | U=15g |  |  |
| 10 | 出租汽车计价器 | 转速 | 《出租汽车计价器检定规程》 JJG 517-2009 | 转数:（0.1～99999.9）r;转速:(0～25)r/s;周长:±0.2% | Urel=0.3% |  |  |
| 11 | 罐和桶 | 容量 | 《罐和桶检定规程》 JJG 647-1990 | (0~2500)L | Urel=0.05% |  |  |
| 12 | 水表试验台 | 容量 | 《液体流量标准装置检定规程》 JJG 164-2000 | (0~4000)L | Urel=0.3% |  |  |
| 13 | 水表 | 流量 | 《冷水水表检定规程》 JJG 162-2009 | (0~240) m3/h | Urel=0.4% |  |  |
| 14 | 钟罩式气体流量装置 | 容量 | 《钟罩式气体流量标准装置检定规程》 JJG 165-2005 | (0～1000)L | Urel=0.1% |  |  |
| 15 | 膜式燃气表 | 流量 | 《膜式燃气表检定规程》 JJG 577-2012 | （0～1000）m3/h | Urel=0.6% |  |  |
| 16 | 液体流量计 | 流量 | 《电磁流量计检定规程》 JJG 1033-2007 | Φ（10～150）mm | Urel=0.4% |  |  |
|  |  |  | 《速度式流量计检定规程》 JJG198-1994 |  |  |  |  |
|  |  |  | 《涡街流量计检定规程》 JJG 1029-2007 |  |  |  |  |
|  |  |  | 《涡轮流量计检定规程》 JJG 1037-2008 |  |  |  |  |
|  |  |  | 《超声流量计检定规程》 JJG 1030-2007 |  |  |  |  |
|  |  |  | 《质量流量计检定规程》 JJG 897-1995 |  |  |  |  |
|  |  |  | 《浮子流量计检定规程》 JJG257-2007 |  |  |  |  |
| 17 | 气体流量计 | 流量 | 《气体容积式流量计检定规程》 JJG 633-2005 | （1.5～2500）m3/h | Urel=0.7% |  |  |
|  |  |  | 《速度式流量计检定规程》 JJG198-1994 |  |  |  |  |
|  |  |  | 《涡街流量计检定规程》 JJG 1029-2007 |  |  |  |  |
|  |  |  | 《涡轮流量计检定规程》 JJG 1037-2008 |  |  |  |  |
|  |  |  | 《质量流量计检定规程》 JJG 897-1995 |  |  |  |  |
|  |  |  | 《超声流量计检定规程》 JJG 1030-2007 |  |  |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:Changhong Road, Changhongling Industrial Park, Shishan, Nanhai District, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 3   ACCREDITED CALIBRATION

| № | Instrument | Parameter | Title, Code of Calibration Method | Range | Uncertainty (k=2) | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Electromagnetism |  |  |  |  |  |  |  |
| 1 | Current Trans- formers of Measuring Service | Specific value | V.R.of Instrument Current Transformers JJG 313-2010 | 50Hz：(5～3000)A/(5A,1A) | Urel=0.05% | 0.1 level and below |  |
|  |  | Phase |  | (0.001～999.9)' | U=3.8' |  |  |
| 2 | Voltage Trans- formers of Measuring Service | Specific value | V.R.of Instrument Voltage Transformers JJG 314-2010 | 50Hz：(2～10)kV/ (100V, 57.7V) | Urel=0.08% | 0.1 level and below |  |
|  |  | Phase |  | (0.001～999.9)' | U=5.6' |  |  |
| 3 | Electromechanical Meters for Measuring Alternating-current Electrical Energy | Electrical Energy | V.R.of Electromechanical Meters for Measuring Alternating-current Electrical Energy JJG 307-2006 | Single-phase, (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
| 3 | Electromechanical Meters for Measuring Alternating-current Electrical Energy | Electrical Energy | V.R.of Electromechanical Meters for Measuring Alternating-current Electrical Energy JJG 307-2006 | Single-phase, (57.7～380)V (0.1～100)A | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | Three-phase (Load balanced), (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | Three-phase (Load unbalanced ): (57.7～380)V (0.1～100)A | U=0.29% (cosφ=0.5L、 cosφ=1.0) |  |  |
| 4 | Electrical Energy Meters with Electronics | Electrical Energy | V.R. of Electrical Meters for Measuring Alternating-current Electrical Energy JJG 596-2012 | Single-phase, (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | Three-phase (Load balanced), (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
| 4 | Electrical Energy Meters with Electronics | Electrical Energy | V.R. of Electrical Meters for Measuring Alternating-current Electrical Energy JJG 596-2012 | Three-phase (Load unbalanced), (57.7～380)V (0.1～100)A | U=0.29% (cosφ=0.5L、cosφ=1.0) |  |  |
| 5 | Multi-late Alternating -Current Watt-hour Meters | Electrical Energy | V.R.of Multi-late Alternating -Current Watt-hour Meters JJG 691-1990 | Single-phase, (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | Three-phase (Load balanced), (57.7～380)V (0.1～100)A | U=0.12% (cosφ=1.0) |  |  |
|  |  |  |  |  | U=0.18% (cosφ=0.5L) |  |  |
|  |  |  |  |  | U=0.23% (cosφ=0.5C) |  |  |
|  |  |  |  |  | U=0.46% (cosφ=0.25L) |  |  |
|  |  |  |  | Three-phase (Load unbalanced), (57.7～380)V (0.1～100)A | U=0.29% (cosφ=0.5L、 cosφ=1.0) |  |  |
| Dynamics |  |  |  |  |  |  |  |
| 6 | Standard Metal Tank | Capacity | V. R. of Standard Metal Tank JJG 259-2005 | (1～2500)L | Urel =0.1% |  |  |
| 7 | Hydraulic Jacks | Force | V. R. of Hydraulic Jacks JJG 621-2012 | 1kN～8MN | Urel=0.42% |  |  |
| 8 | Fuel Dispensers | Volume | V.R. of Fuel Dispensers JJG 443-2006 | (5.00～9999.99)L | Urel=0.08% |  |  |
| 9 | Weights | Mass | V. R. of weights JJG 99-2006 | 500kg | U=9g |  |  |
|  |  |  |  | 1000kg | U=15g |  |  |
| 10 | Taxi meter | Rotational Speed | V.R. of Taxi meter JJG 517-2009 | Revolutions:（0.1～99999.9）r; Rotational Speed:(0～25)r/s; Perimeter: ±0.2% | Urel=0.3% |  |  |
| 11 | Tank and Barrels | Volume | V.R.of Tank and Barrels JJG 647-1990 | (0~2500)L | Urel=0.05% |  |  |
| 12 | Water-meter Facilities | Volume | V.R.of Standard Facilities for Liquid Flowrate JJG 164-2000 | (0~4000) L | Urel=0.3% |  |  |
| 13 | Water-meter | Flow | V.R.of Cold Water Meter JJG 162-2009 | (0~240) m3/h | Urel=0.4% |  |  |
| 14 | Bell Porvers of Gas Flow | Volume | V.R.of Standard Bell Porvers of Gas Flow JJG 165-2005 | (0～1000)L | Urel=0.1% |  |  |
| 15 | Diaphragm Gas Meters | Flow | V.R.of Diaphragm Gas Meters JJG 577-2012 | （0～1000）m3/h | Urel=0.6% |  |  |
| 16 | Liquid Flow Meters | Flux | V.R. of Electromagnetic Flowmeters JJG 1033-2007 | Φ（10～150）mm | Urel=0.4% |  |  |
|  |  |  | V.R.of Velocity Flow meter JJG 198-1994 |  |  |  |  |
|  |  |  | V.R.of Vortex-shedding Flowmeter JJG1029-2007 |  |  |  |  |
|  |  |  | V.R.of Turbine Flowmeter JJG1037-2008 |  |  |  |  |
|  |  |  | V.R. of Ultrasonic Flowmeters JJG 1030-2007 |  |  |  |  |
|  |  |  | V. R. of Mass Flow Meters JJG 897-1995 |  |  |  |  |
| 16 | Liquid Flow Meters | Flux | V.R. of Float Meter JJG 257-2007 | Φ（10～150）mm | Urel=0.4% |  |  |
| 17 | Gas flow meter | Flux | V.R.of Gas Displacement Meters JJG 633-2005 | （1.5～2500）m3/h | Urel=0.7% |  |  |
|  |  |  | V.R.of Velocity Flow meter JJG 198-1994 |  |  |  |  |
|  |  |  | V.R.of Vortex-shedding Flowmeter JJG1029-2007 |  |  |  |  |
|  |  |  | V.R.of Turbine Flowmeter JJG1037-2008 |  |  |  |  |
|  |  |  | V. R. of Mass Flow Meters JJG 897-1995 |  |  |  |  |
|  |  |  | V.R. of Ultrasonic Flowmeters JJG 1030-2007 |  |  |  |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市南海区狮山镇科技路

签发日期：2015年02月11日        有效期至：2018年02月10日

更新日期：2015年02月11日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 冼志勇 | 几何量、力学校准项目；几何量检测项目 |  |
| 2 | 李旭辉 | 无线电、电离辐射校准项目 |  |
| 3 | 邓卫红 | 几何量校准项目； 玩具安全测试设备、几何量、灯头量规检测项目 |  |
| 4 | 张青山 | 力学、光学、几何量校准项目； 玩具安全测试设备、几何量、灯头量规检测项目 |  |
| 5 | 魏超强 | 衡器校准项目 |  |
| 6 | 罗健明 | 压力、热学校准项目；热学检测项目 |  |
| 7 | 王茹昭 | 热学、理化、压力、光学、纺织类校准项目；热学、超净工作台检测项目 |  |
| 8 | 黄伟杰 | 电磁校准项目 |  |
| 9 | 梁卓军 | 电磁校准项目 |  |
| 10 | 林效民 | 力学校准项目(压力校准项目除外) |  |
| 11 | 李志强 | 无线电、电离辐射、理化、电磁、激光参数、材料光学校准项目；血透机检测项目 |  |
| 12 | 伦永光 | 无线电及电离辐射校准项目 |  |
| 13 | 黄 玮 | 流量校准项目 |  |
| 14 | 黄 盛 | 理化及汽车检测线设备校准项目 |  |
| 15 | 梁思红 | 电磁、无线电、电离辐射、时间频率、热学、压力、理化、激光参数、材料光学校准项目 |  |
| 16 | 莫亦斌 | 流量、衡器、出租车计价器校准项目 |  |
| 17 | 程竞豪 | 流量、衡器、出租车计价器校准项目 |  |
| 18 | 莫春颜 | 几何量校准项目； 玩具安全测试设备、灯头量规、几何量检测项目 |  |
| 19 | 张静 | 理化校准项目 |  |
| 20 | 何展强 | 热学、压力校准项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:Keji Road, Shishan, Nanhai District, Foshan, Guangdong, China

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Xian zhiyong | Calibration items of Mechanics， Length；Testing Items for Geometric |  |
| 2 | Li xuhui | Calibration items of Radio , Ionizing Radiation |  |
| 3 | Deng weihong | Calibration items of Geometric；Testing Items for Toy Safety device, Geometric , Gauge for Lamp Cap |  |
| 4 | Zhang qingshan | Calibration items of Mechanics, Optics, Geometric; Testing Items for Toy Safety device, Geometric , Gauge for Lamp Cap |  |
| 5 | Wei chaoqianag | Calibration items of Weighing apparatus |  |
| 6 | Luo jianming | Calibration items of Thermotics, Pressure， Testing items for Thermotics; |  |
| 7 | Wang ruzhao | Calibration items of Thermotics, Pressure, Physical chemistry，Optics，Textile instrument ；Testing Items for Thermotics，Clean Bench |  |
| 8 | Huang weijie | Calibration items of Electromagnetics |  |
| 9 | Liang zhuojun | Calibration items of Electromagnetics |  |
| 10 | Lin xiaomin | Calibration items of Mechanics（except for Pressure） |  |
| 11 | Li zhiqiang | Calibration items of Radio, Ionizing Radiation，Physical chemistry，Electromagnetics，Laser parameter ，Material optics；Testing Items for Haemodialysis Machine |  |
| 12 | Lun yongguang | Calibration items of Radio, Ionizing Radiation，Physical chemistry |  |
| 13 | Huang wei | Calibration items of Flow rate |  |
| 14 | Huang sheng | Calibration items of Physical chemistry，Automobile inspection |  |
| 15 | Liang sihong | Calibration items of Electromagnetics, Radio, Ionizing Radiation, Temporal frequency, Thermotics, Pressure, Physical chemistry，Laser parameter ，Material optics |  |
| 16 | Mo yibin | Calibration items of Flow rate,Weighing apparatus，Taxi Meter |  |
| 17 | Cheng Jinghao | Calibration items of Flow rate,Weighing apparatus，Taxi Meter |  |
| 18 | Mo Chunyan | Calibration items of Geometric; Testing items for Toy Safety device, Gauge for Lamp Cap，Geometric |  |
| 19 | Zhang jing | Calibration items of Physical chemistry |  |
| 20 | He Zhanqiang | Calibration items of Thermotics, Pressure |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市南海区狮山镇科技路

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年02月11日         有效期至：2018年02月10日

更新日期：2015年02月11日

附件2  认可的检测能力范围

| 序号 | 检测 对象 | 项目/参数 |  | 检测标准（方法）名称及编号（含年号） | 限制 范围 | 说明 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 序号 | 名称 |  |  |  |
| 1 | V形架 | 1 | 工作面平面度 | 《V形架》 JB/T8047-2007 |  |  |
|  |  | 2 | V形槽对底面平行度 |  |  |  |
|  |  | 3 | V形槽对两侧面对称度 |  |  |  |
|  |  | 4 | V形槽对侧面平行度 |  |  |  |
|  |  | 5 | V形槽对端面垂直度 |  |  |  |
| 1 | V形架 | 6 | 高度差 | 《V形架》 JB/T8047-2007 |  |  |
| 2 | 外壳对人和设备的防护检验用试具 | 1 | 几何尺寸 | 《外壳对人和设备的防护检验用试具》 GB/T16842-2008 |  |  |
|  |  | 2 | 试具作用力 |  |  |  |
| 3 | 金属、塑胶零件及模具 | 1 | 几何尺寸 | 《光滑工件尺寸的检验》 GB/T 3177-2009 | 测量范围：≤（1000*1200*800）mm时：MPE:±(0.4+L/1000)μm；测量范围：≥（1000*1200*800）mm，≤Ф3000mm时：MPE:±0.058mm |  |
|  |  | 2 | 形状和位置的公差 | 《产品几何量技术规范（GPS）形状和位置公差 检测规定》 GB/T1958-2004 |  |  |
|  |  | 3 | 表面粗糙度 | 《产品几何技术规范表面结构轮廓法评定表面结构的规则和方法》GB/T10610-2009 |  |  |
| 3 | 金属、塑胶零件及模具 | 3 | 表面粗糙度 | 《几何制品规范(GPS).表面构造:断面法.表面构造评估的规则和程序》 ISO 4288:1996 | 测量范围：≤（1000*1200*800）mm时：MPE:±(0.4+L/1000)μm；测量范围：≥（1000*1200*800）mm，≤Ф3000mm时：MPE:±0.058mm |  |
| 4 | 矩形花键量规 | 1 | 小径 | 《矩形花键量规》GB/T 10919-2006 |  |  |
|  |  | 2 | 大径 |  |  |  |
|  |  | 3 | 键宽/键槽宽 |  |  |  |
| 5 | 超声波试块(CSK型、T型、GS型) | 1 | 试块几何尺寸 | 《承压设备无损检测 第3部分:超声检测》 JB/T 4730.3-2005 《无损检测 超声检测用试块 》 GB/T 23905-2009 |  |  |
|  |  | 2 | 形状和位置的公差 |  |  |  |
| 5 | 超声波试块(CSK型、T型、GS型) | 3 | 表面粗糙度 | 《承压设备无损检测 第3部分:超声检测》 JB/T 4730.3-2005 《无损检测 超声检测用试块 》 GB/T 23905-2009 |  |  |
| 6 | 超声波试块（CS型、RB型） | 1 | 试块几何尺寸 | 《承压设备无损检测 第3部分:超声检测》 JB/T 4730.3-2005 《无损检测 超声检测用试块 》 GB/T 23905-2009 |  |  |
|  |  | 2 | 形状和位置的公差 |  |  |  |
|  |  | 3 | 表面粗糙度 |  |  |  |
| 7 | 检验棒 | 1 | 几何尺寸 | 《检验棒》 GB/T 25377-2010 |  |  |
|  |  | 2 | 形状和位置的公差 | 《产品几何量技术规范（GPS）形状和位置公差 检测规定》 GB/T1958-2004 |  |  |
|  |  | 3 | 表面粗糙度 | 《产品几何技术规范表面结构轮廓法评定表面结构的规则和方法》GB/T10610-2009 |  |  |
|  |  |  |  | 《几何制品规范(GPS).表面构造:断面法.表面构造评估的规则和程序》 ISO 4288:1996 |  |  |
| 8 | 环刀 | 1 | 几何尺寸 | 《岩土工程仪器基本参数及通用技术条件》 GB/T 15406-2007 |  |  |
|  |  |  |  | 《切土环刀校验方法》SL 110-1995 |  |  |
| 9 | 玩具安全试验设备 | 1 | 小零件测试器 | 《国家玩具安全技术规范》 GB6675-2003 |  |  |
|  |  | 2 | 锐利边缘测试器 |  |  |  |
|  |  | 3 | 锐利尖端测试器 |  |  |  |
|  |  | 4 | 可触及探头 |  |  |  |
|  |  | 5 | 测试模板（A、B） |  |  |  |
|  |  | 6 | 挠曲测试器 |  |  |  |
| 10 | 螺口式灯头量规 | 1 | 螺式灯头通规 | 《灯头、灯座检验量规 第1部分：螺口式灯头、灯座的量规》GB/T1483.1-2008 《灯头量规》 IEC7006 |  |  |
|  |  | 2 | 螺式灯头止规 |  |  |  |
|  |  | 3 | 螺式灯头接触规 |  |  |  |
| 11 | 插脚式灯座量规 | 1 | 单插脚式灯座量规 | 《灯头、灯座检验量规 第2部分：插脚式灯头、灯座的量规》 GB/T1483.2-2008 《灯头量规》 IEC7006 |  |  |
| 11 | 插脚式灯座量规 | 2 | 双脚式灯座量规 | 《灯头、灯座检验量规 第2部分：插脚式灯头、灯座的量规》 GB/T1483.2-2008 《灯头量规》 IEC7006 |  |  |
|  |  | 3 | 多脚式灯座量规 |  |  |  |
| 12 | 预聚焦式灯头、灯座量规 | 1 | 预聚焦式灯头、灯座通规 | 《灯头、灯座检验量规 第3部分：预聚焦式灯头、灯座的量规》GB/T 1483.3-2008《灯头量规》IEC7006 |  |  |
|  |  | 2 | 预聚焦式灯头、灯座止规 |  |  |  |
|  |  | 3 | 预聚焦式灯头、灯座接触规 |  |  |  |
| 13 | 扭矩试验用灯座量规 | 1 | 几何尺寸 | 《双端荧光灯 安全要求》 GB 18774-2002 |  |  |
|  |  |  |  | 《普通照明用自镇流灯 安全要求》 GB 16844-2008 |  |  |
| 14 | 杂类灯头、灯座量规 | 1 | 杂类灯头、灯座通规 | 《灯头、灯座检验量规 第4部分：杂类灯头、灯座的量规》GB/T 1483.4-2009 《灯头量规》IEC7006 |  |  |
|  |  | 2 | 杂类灯头、灯座止规 |  |  |  |
| 14 | 杂类灯头、灯座量规 | 3 | 杂类灯头、灯座接触规 | 《灯头、灯座检验量规 第4部分：杂类灯头、灯座的量规》GB/T 1483.4-2009 《灯头量规》IEC7006 |  |  |
| 15 | 危险夹缝测试塞规 | 1 | 几何尺寸 | 《儿童推车安全要求》 GB 14748-2006 |  |  |
| 16 | 雷氏夹 | 1 | 雷氏夹尺寸 | 《水泥标准稠度用水量、凝结时间、安定性检验方法》GB/T 1346-2011 |  |  |
|  |  | 2 | 针距及状态 |  |  |  |
| 17 | 卡口式灯头、灯座量规 | 1 | 卡口式灯头、灯座通规 | 《灯头、灯座检验量规 第5部分：卡口式灯头、灯座的量规》GB/T 1483.5-2008 《灯头量规》IEC7006 |  |  |
|  |  | 2 | 卡口式灯头、灯座止规 |  |  |  |
|  |  | 3 | 卡口式灯头、灯座接触规 |  |  |  |
| 18 | 家用和类似用途单相插头插座 | 1 | 单相插头插座形位公差 | 《家用和类似用途单相插头插座型式、基本参数和尺寸》 GB 1002-2008 |  |  |
|  |  | 2 | 单相插头插座尺寸 |  |  |  |
| 19 | 米制锥螺纹量规 | 1 | 量规的中径 | 《米制锥螺纹量规》 JB/T 10588-2006 | 只测塞规 |  |
|  |  | 2 | 量规的锥度 |  |  |  |
|  |  | 3 | 量规的螺距 |  |  |  |
| 19 | 米制锥螺纹量规 | 4 | 量规的牙型角 | 《米制锥螺纹量规》 JB/T 10588-2006 | 只测塞规 |  |
|  |  | 5 | 量规的大径、小径 |  |  |  |
| 20 | 梯形螺纹 量规 | 1 | 量规的中径 | 《梯形螺纹》 GB/T 5796-2005 | 只测塞规 |  |
|  |  | 2 | 量规的螺距 |  |  |  |
|  |  | 3 | 量规的牙型角 |  |  |  |
|  |  | 4 | 量规的大径、小径 |  |  |  |
|  |  | 2 | 量规的螺距 |  |  |  |
|  |  | 3 | 量规的牙型角 |  |  |  |
|  |  | 4 | 量规的大径、小径 |  |  |  |
| 21 | 漆膜划格仪 | 1 | 刃口厚度 | 《色漆和清漆 漆膜的划格试验》 GB/T 9286-1998 |  |  |
|  |  | 2 | 刃口角度 |  |  |  |
|  |  | 3 | 刃口间距 |  |  |  |
|  |  | 4 | 切割间距 |  |  |  |
| 22 | 洁净工作台 | 1 | 风速 | 《洁净工作台》 JG/T 292-2010 |  |  |
|  |  | 2 | 空气洁净度 |  |  |  |
|  |  | 3 | 噪音 |  |  |  |
|  |  | 4 | 光照度 |  |  |  |
| 23 | 血透机 | 1 | 电导率 | YY0054-2010《血液透析、血液透析滤过和血液滤过设备行业标准》 |  |  |
| 23 | 血透机 | 2 | 温度 | YY0054-2010《血液透析、血液透析滤过和血液滤过设备行业标准》 |  |  |
|  |  | 3 | 压力 |  |  |  |
|  |  | 4 | pH值 |  |  |  |
| 24 | 灼热丝试验仪 | 1 | 温度 | 《电工电子产品着火危险试验 第10部分: 灼热丝/热丝基本试验方法 灼热丝装置和通用试验方法》 GB/T5169.10-2006 | 只测： +960℃ |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:Keji Road, Shishan, Nanhai District, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 2  ACCREDITED TESTING

| № | Test Object | Item/Parameter |  | Title, Code of Standard or Method | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | № | Item/ Parameter |  |  |  |
| 1 | Vee blocks | 1 | Working face flatness | Vee blocks JB/T8047-2007 |  |  |
|  |  | 2 | Vee groove parallelism to the bottom surface |  |  |  |
|  |  | 3 | Vee groove symmetric to both sides |  |  |  |
|  |  | 4 | Vee groove parallelism to the side surfaces |  |  |  |
| 1 | Vee blocks | 5 | Vee groove verticalityon to the end face | Vee blocks JB/T8047-2007 |  |  |
|  |  | 6 | Height differenc |  |  |  |
| 2 | Protection of persons and equipment by enclosures - Probe for verification | 1 | Geometry size | Protection of persons and equipment by enclosures - Probe for verification GB/T16842-2008 |  |  |
|  |  | 2 | Probe forces |  |  |  |
| 3 | Metal, plastic parts and molds | 1 | Geometry size | Geometrical Product Specifications (GPS)-Inspection Of Plain Workpiece Sizes GB/T 3177-2009 | Measuring range within （1000*1200*800）mm：MPE:±(0.4+L/1000)μm；Measuring range between（1000*1200*800）mm and Ф3000mm：MPE:±0.058mm |  |
| 3 | Metal, plastic parts and molds | 2 | Geometrical tolerance | Geometrical Product Specifications (GPS)-Geometrical tolerance-verification prescription GB/T1958-2004 | Measuring range within （1000*1200*800）mm：MPE:±(0.4+L/1000)μm；Measuring range between（1000*1200*800）mm and Ф3000mm：MPE:±0.058mm |  |
|  |  | 3 | Surface roughness | Geometrical Product Specifications (GPS) - Surface texture: Profile method - Rules and procedures for the assessment of surface texture GB/T10610-2009 |  |  |
| 3 | Metal, plastic parts and molds | 3 | Surface roughness | Geometrical Product Specifications (GPS) - Surface Texture: Profile Method - Rules and Procedures for the Assessment of Surface Texture ISO 4288: 1996 | Measuring range within （1000*1200*800）mm：MPE:±(0.4+L/1000)μm；Measuring range between（1000*1200*800）mm and Ф3000mm：MPE:±0.058mm |  |
| 4 | Gauges for straight-sided splines | 1 | Small diameter | Gauges for straight-sided splines GB/T 10919-2006 |  |  |
|  |  | 2 | Large diameter |  |  |  |
|  |  | 3 | Key width / keyway width |  |  |  |
| 5 | Ultrasonic test block (CSK, T and GS type) | 1 | Test block geometry | Nondestructive testing of pressure equipments-Part 3:Ultasonic testing JB/T 4730.3-2005 Non-destructive testing-Blocks for ultrasonic testing GB/T 23905-2009 |  |  |
|  |  | 2 | Geometrical tolerance |  |  |  |
|  |  | 3 | Surface roughness |  |  |  |
| 6 | Ultrasonic test block (CS and RB type) | 1 | Test block geometry | Nondestructive testing of pressure equipments-Part 3:Ultasonic testing JB/T 4730.3-2005 Non-destructive testing-Blocks for ultrasonic testing GB/T 23905-2009 |  |  |
|  |  | 2 | Geometrical tolerance |  |  |  |
|  |  | 3 | Surface roughness |  |  |  |
| 7 | Check bar | 1 | Geometry size | Check bar GB/T 25377-2010 |  |  |
| 7 | Check bar | 2 | Geometrical tolerance | Geometrical Product Specifications (Gps)-Geometrical tolerance-verification prescription GB/T1958-2004 |  |  |
|  |  | 3 | Surface roughness | Geometrical Product Specifications (GPS) - Surface texture: Profile method - Rules and procedures for the assessment of surface texture GB/T10610-2009 |  |  |
|  |  |  |  | Geometrical Product Specifications (GPS) - Surface Texture: Profile Method - Rules and Procedures for the Assessment of Surface Texture ISO 4288: 1996 |  |  |
| 8 | Testing Instrument(Cutting ring) | 1 | Geometry size | Primary parameter and general specification for geotechnical engineering instrument GB/T 15406-2007 |  |  |
| 8 | Testing Instrument(Cutting ring) | 1 | Geometry size | Calibrating Methods of Soil Testing Instrument SL 110-1995 |  |  |
| 9 | Toy Safety | 1 | Testing of small parts | National Technical Standard on Toy Safety GB6675-2003 |  |  |
|  |  | 2 | Testing of sharp edge |  |  |  |
|  |  | 3 | Testing of sharp point |  |  |  |
|  |  | 4 | Accessible parts |  |  |  |
|  |  | 5 | Test Model (type A,B) |  |  |  |
|  |  | 6 | Testing device of Deflection |  |  |  |
| 10 | Gauges of edison screw lampholders | 1 | Go Guage of Screw Lamp Cap | Gauges for lamp caps and holders—Part 1:Gauges for screw caps and holders GB/T1483.1-2008 |  |  |
|  |  | 2 | Not Go Guage of Screw Lamp Cap |  |  |  |
| 10 | Gauges of edison screw lampholders | 3 | Contact-type Guage of Screw Lamp Cap | Gauges for lamp caps and holders—Part 1:Gauges for screw caps and holders GB/T1483.1-2008 |  |  |
| 11 | Gauge for pin lampholders | 1 | Gauge for single-pin lampholders | Types and dimentions of lamp caps—Part 2:Pin lamp caps IEC7006 Gauge for pin lampholders GB/T1483.2-2008 |  |  |
|  |  | 2 | Gauge for couple-pin lampholders |  |  |  |
|  |  | 3 | Gauge for multi-pin lampholders |  |  |  |
| 12 | Gauges for prefocus capsand lampholders | 1 | Go Guage of prefocus capsand lampholders | Gauges for lamp caps and lampholders—Part 3:Gauges for prefocus capsand lampholders IEC7006Gauge for pin lampholders GB/T 1483.3-2008 |  |  |
| 12 | Gauges for prefocus capsand lampholders | 2 | Not Go Guage of prefocus capsand lampholders | Gauges for lamp caps and lampholders—Part 3:Gauges for prefocus capsand lampholders IEC7006Gauge for pin lampholders GB/T 1483.3-2008 |  |  |
|  |  | 3 | Contact-type Guage of prefocus capsand lampholders |  |  |  |
| 13 | Torque test gauge holder | 1 | Geometry size | Double-capped fluorescent lamps--Safety specifications GB 18774-2002 |  |  |
|  |  |  |  | Self-ballasted lamps for general lighting services - Safety requirements GB 16844-2008 |  |  |
| 14 | Gauges for miscellaneous caps and lampholders | 1 | Go Guage of miscellaneous caps and lampholders | Gauges for lamp caps and lampholders - Part 4: Gauges for miscellaneous caps and lampholders IEC7006Gauge for pin lampholders GB/T 1483.4-2009 |  |  |
| 14 | Gauges for miscellaneous caps and lampholders | 2 | Not Go Guage of miscellaneous caps and lampholders | Gauges for lamp caps and lampholders - Part 4: Gauges for miscellaneous caps and lampholders IEC7006Gauge for pin lampholders GB/T 1483.4-2009 |  |  |
|  |  | 3 | Contact-type Guage of miscellaneous caps and lampholders |  |  |  |
| 15 | Dangerous crevice testing plug gauge | 1 | Geometry size | Safety requirements for wheeled child conveyances GB 14748-2006 |  |  |
| 16 | Reye clip | 1 | Reye clip size | Test methods for water requirement of normal consistency,setting time and soundness of the portland cement GB/T 1346-2011 |  |  |
|  |  | 2 | Pitch and state |  |  |  |
| 17 | Gauges for bayonet caps and lampholders | 1 | Go Guage of bayonet caps and lampholders | GB/T 1483.5-2008《Gauges for caps and lampholders - Part 5:Gauges for bayonet caps and lampholders 》IEC7006《Gauge for pin lampholders》 |  |  |
|  |  | 2 | Not Go Guage of bayonet caps and lampholders |  |  |  |
|  |  | 3 | Contact-type Guage of bayonet caps and lampholders |  |  |  |
| 18 | Single Phase Plugs and Socket-outlets for Household and Similar Purposes | 1 | Single Phase Plugs and Socket geometrical tolerance | Single Phase Plugs and Socket-outlets for Household and Similar Purposes-Types,Basic Parameters and Dimensions GB 1002-2008 |  |  |
|  |  | 2 | Single Phase Plugs and Socket size |  |  |  |
| 19 | Gauges for tapered screw thread metric series | 1 | Gauge diameter | Gauges for tapered screw thread metric series JB/T 10588-2006 | measured only plug |  |
|  |  | 2 | Gauge taper |  |  |  |
|  |  | 3 | Gauges screw pitch |  |  |  |
|  |  | 4 | Gauges thread angle |  |  |  |
|  |  | 5 | Gauge large and small diameter |  |  |  |
| 20 | Trapezoidal screw threads gauge | 1 | Gauge diameter | Trapezoidal screw threads GB/T 5796-2005 | measured only plug |  |
|  |  | 2 | Gauge taper |  |  |  |
|  |  | 3 | Gauges screw pitch |  |  |  |
|  |  | 4 | Gauges thread angle |  |  |  |
|  |  | 2 | Gauges screw pitch |  |  |  |
|  |  | 3 | Gauges thread angle |  |  |  |
|  |  | 4 | Gauge large and small diameter |  |  |  |
| 21 | Film cross cut instrument | 1 | Cutting edge thickness | Paints and varnishes-Cross cut test for films GB/T 9286-1998 |  |  |
|  |  | 2 | Cutting edge angle |  |  |  |
| 21 | Film cross cut instrument | 3 | Cutting edge spacing | Paints and varnishes-Cross cut test for films GB/T 9286-1998 |  |  |
|  |  | 4 | Cutting distance |  |  |  |
| 22 | Clean Bench | 1 | Wind speed | Clean bench JG/T 292-2010 |  |  |
|  |  | 2 | Air Cleanliness |  |  |  |
|  |  | 3 | Noise |  |  |  |
|  |  | 4 | intensity of illumination |  |  |  |
| 23 | Haemodialysis Machine | 1 | Conductivity | Haemodialysis equipment YY0054-2010 |  |  |
|  |  | 2 | temperature |  |  |  |
|  |  | 3 | pressure |  |  |  |
|  |  | 4 | pH |  |  |  |
| 24 | Glow-wire apparatus | 1 | Temperature | Fire hazard testing for electric and electronic products—Part 10:G;Glow/hot-wire based test methods—Glow-wire apparatus and common test procedure GB/T5169.10-2006 | Aquire only for： +960℃ |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市南海区狮山镇科技路

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年02月11日         有效期至：2018年02月10日

更新日期：2015年02月11日

附件3 认可的校准能力范围

| 序号 | 测量仪器名称 | 校准参量 | 规范代号（含年号）名称 | 测量范围 | 扩展不确定度（k=2） | 限制说明 | 备注 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 游标卡尺 | 长度 | 《通用卡尺检定规程》 JJG30-2012 | (0～300)mm | U=0.01mm |  |  |
|  |  |  |  | (300～600)mm | U=0.02mm |  |  |
|  |  |  |  | (600～1000)mm | U=0.03mm |  |  |
|  |  |  | 《高度卡尺检定规程》JJG31-2011 | (0～300)mm | U=0.01mm |  |  |
|  |  |  |  | (300～500)mm | U=0.02mm |  |  |
| 2 | 数显卡尺 | 长度 | 《通用卡尺检定规程》 JJG30-2012 | （0～300）mm | U=0.01mm |  |  |
| 3 | 带表卡尺 | 长度 | 《通用卡尺检定规程》 JJG30-2012 | （0～300）mm | U=0.01mm |  |  |
| 4 | 千分尺 | 长度 | 《千分尺检定规程》JJG21-2008 | （0～100）mm | U =1.3μm |  |  |
|  |  |  |  | （100～300）mm | U =1.5 μm |  |  |
|  |  |  |  | （300～500）mm | U =2.8 μm |  |  |
| 5 | 内测千分尺 | 长度 | 《测量内尺寸千分尺校准规范》 JJF1411-2013 | （5～50）mm | U=2.5μm |  |  |
|  |  |  |  | （50～100）mm | U=2.8μm |  |  |
|  |  |  |  | （100～200）mm | U=3.2μm |  |  |
|  |  |  |  | （200～300）mm | U=4.0μm |  |  |
| 6 | 深度千分尺 | 长度 | 《深度千分尺检定规程》 JJG24-2003 | (0～150)mm | U=2.3μm |  |  |
| 7 | 指示表 | 长度 | 《指示表（指针式和数显式）检定规程》JJG34-2008 | 百分表：(0～10)mm | U=3μm |  |  |
|  |  |  |  | 千分表：(0～1)mm | U=1.3μm |  |  |
| 8 | 大量程百分表 | 长度 | 《大量程百分表检定规程》 JJG379-2009 | （0～50）mm | U=6μm |  |  |
| 9 | 杠杆表 | 长度 | 《杠杆表检定规程》JJG35-2006 | （0～1.0）mm | 杠杆百分表： U=3.0μm |  |  |
|  |  |  |  | （0～0.2）mm | 杠杆千分表： U=1.2 μm |  |  |
| 10 | 平尺 | 直线度 | 《平尺校准规范》JJF1097-2003 | （0～500）mm | U=0.3μm |  |  |
|  |  |  |  | （500～2000）mm | U=0.8μm |  |  |
|  |  |  |  | （2000～5000）mm | U=1.1μm |  |  |
| 11 | 刀口形直尺 | 直线度 | 《刀口形直尺检定规程》 JJG63-2007 | （0～200）mm | U= 0.3μm |  |  |
|  |  |  |  | （200～300）mm | U= 0.5μm |  |  |
| 12 | 直角尺 | 垂直度 | 《直角尺检定规程》JJG7-2004 | (0～300)mm | U=1.8μm |  |  |
|  |  |  |  | (300～500)mm | U=2.4μm |  |  |
| 13 | 万能角度尺 | 角度 | 《万能角度尺检定规程》 JJG33-2002 | 0° ～ 360° | U=1′ |  |  |
| 14 | 环规 | 直径 | 《标准环规检定规程》JJG894-1995 | Φ（10～100）mm | U=(0.7+6L) μm |  |  |
| 15 | 钢直尺 | 线纹 | 《钢直尺检定规程》JJG1-1999 | （0～1）m | U=0.05mm |  |  |
|  |  |  |  | （1～2）m | U=0.12mm |  |  |
| 16 | 钢卷尺 | 线纹 | 《钢卷尺检定规程》JJG4-1999 | (0～10)m | U=0.2mm |  |  |
|  |  |  |  | (10～30)m | U=0.3mm |  |  |
|  |  |  |  | (30～50)m | U=0.4mm |  |  |
|  |  |  |  | (50～100)m | U=0.6mm |  |  |
|  |  |  |  | (100～200)m | U=0.9mm |  |  |
| 17 | 平晶 | 平行度 | 《平晶检定规程》JJG28-2000 | (0～100)mm | U=0.4μm |  |  |
|  |  | 平面度 |  | ф 30mm | U=0.008μm |  |  |
|  |  |  |  | ф 45mm | U=0.007μm |  |  |
|  |  |  |  | ф 60mm | U=0.007μm |  |  |
|  |  |  |  | ф 80mm | U=0.008μm |  |  |
|  |  |  |  | ф100mm | U=0.010μm |  |  |
| 18 | 平板 | 平面度 | 《平板检定规程》JJG117-2013 | （400×400）mm 及以下 | U=0.6μm | 不测局部平面度 |  |
| 18 | 平板 | 平面度 | 《平板检定规程》JJG117-2013 | （400×400）mm ～（600×600）mm | U=0.8μm | 不测局部平面度 |  |
|  |  |  |  | （600×600）mm ～（800×800）mm | U=1.2μm |  |  |
|  |  |  |  | （800×800）mm ～（1000×1000）mm | U=1.5μm |  |  |
|  |  |  |  | （1000×1000）mm ～（1500×1500）mm | U=1.7μm |  |  |
|  |  |  |  | （1500×1500）mm ～（2500×2500）mm | U=5μm |  |  |
| 19 | 量块 | 长度 | JJG146-2011 《量块检定规程》 | 3等：(0.5～500)mm | U=(0.10μm +1×10-6Ln) (k=2.7) | 不作线膨胀系数 |  |
|  |  |  |  | 4等：(0.5～1000)mm | U=(0.20μm +2.0×10-6Ln) (k=2.7) |  |  |
|  |  |  |  | 5等：(0.5～1000)mm | U=(0.50μm +5.0×10-6Ln) (k=2.7) |  |  |
| 20 | 指示类量具检定仪 | 长度 | 《指示类量具检定仪检定规程》 JJG201-2008 | 百分表检定仪：(0～25)mm | U=0.4μm |  |  |
| 20 | 指示类量具检定仪 | 长度 | 《指示类量具检定仪检定规程》 JJG201-2008 | 千分表检定仪：(0～1)mm | U=0.2μm |  |  |
|  |  |  |  | 千分表检定仪：(0～2)mm | U=0.3μm |  |  |
|  |  |  |  | 千分表检定仪：(0～5)mm | U=0.4μm |  |  |
| 21 | 触针式表面粗糙度测量仪 | 粗糙度 | 《触针式表面粗糙度测量仪校准规范》JJF1105-2003 | 5%及以下 | Urel=5% |  |  |
| 22 | 表面粗糙度比较样块 | 粗糙度 | 《表面粗糙度比较样块校准规范》 JJF1099-2003 | Ra（6.3～0.012）μm | Urel=7% |  |  |
| 23 | 数显电感式比较仪 | 长度 | 《电感测微仪校准规范 》 JJF 1331-2011 | ±30 μm （分度值0.01μm） | U=0.01μm |  |  |
|  |  |  |  | ±300μm（分度值0.1μm） | U=0.09μm |  |  |
|  |  |  |  | ±2000μm(分度值1μm) | U=0.6μm |  |  |
| 24 | 测量显微镜 | 长度 | 《读数、测量显微镜检定规程》 JJG571-2004 | (0～50)mm | U=1.4μm |  |  |
| 25 | 工具显微镜 | 长度 | 《工具显微镜检定规程》 JJG56-2000 | (0～100)mm | U=1.2μm |  |  |
|  |  |  |  | (100～200)mm | U=2.2μm |  |  |
| 26 | 投影仪 | 长度 | 《投影仪校准规范》JJF1093-2002 | (0～100)mm | U=1.2μm |  |  |
|  |  |  |  | (100～200)mm | U=1.4μm |  |  |
| 27 | 水平仪 | 角度 | 《框式水平仪和条式水平仪校准规范》JJF1084-2002 | (0.02～0.10)mm/m | Urel=4% |  |  |
| 28 | 光学计 | 长度 | 《光学计检定规程》JJG45-1999 | （0～200）mm | U=0.1µm |  |  |
| 29 | 测长机 | 长度 | 《测长机校准规范》JJF1066-2000 | (0～10)mm | U=0.2µm |  |  |
|  |  |  |  | （10～100）mm | U=0.3µm |  |  |
|  |  |  |  | （100～500）mm | U=1.3µm |  |  |
|  |  |  |  | （500～1000）mm | U=3.0µm |  |  |
| 30 | 测长仪 | 长度 | 《测长仪校准规范》JJF1189-2008 | (0～500)mm | U=0.26µm |  |  |
| 31 | 光学经纬仪 | 角度 | 《光学经纬仪校准规范》 JJG414-2011 | 水平角J6：0°～ 360° | U=1.5" |  |  |
|  |  |  |  | 水平角J2：0°～ 360° | U=0.2" |  |  |
|  |  |  |  | 垂直角J6：-45°～225° | U=2.5" |  |  |
|  |  |  |  | 垂直角J2：-45°～225° | U=1.0" |  |  |
| 32 | 水准仪 | 角度 | 《水准仪检定规程》JJG425-2003 | i 角： ±12″ | U= 2″ |  |  |
| 33 | 测厚仪 | 长度 | 《磁阻电涡流式测厚仪校准规范》 JJG818-2005 | (0～10)μm | U=0.4μm |  |  |
|  |  |  |  | （10～100） μm | U=2.0μm |  |  |
| 33 | 测厚仪 | 长度 | 《磁阻电涡流式测厚仪校准规范》 JJG818-2005 | （100～500） μm | U=4.0μm |  |  |
|  |  |  |  | （500～1250） μm | U=7.0μm |  |  |
|  |  |  | 《超声波测厚仪校准规范》 JJF1126-2004 | （0.5～200）mm (0.01mm) | U=0.10mm |  |  |
|  |  |  |  | （0.5～200）mm（0.1mm） | U=0.2mm |  |  |
| 34 | 坐标测量机 | 长度 | 《坐标测量机校准规范》 JJF1064-2010 | (0～100)mm | U=0.3μm | 限做工作型的二维、三维测头探测误差及示值误差 |  |
|  |  |  |  | (100～500) mm | U=2.0μm |  |  |
|  |  |  |  | (500～1000) mm | U=3.0μm |  |  |
| 35 | 气动测量仪 | 长度 | 《气动测量仪检定规程》 JJG356-2004 | 浮标式：16μm(分度值：0.5μm) | U=0.2μm |  |  |
|  |  |  |  | 浮标式：30μm(分度值：1μm) | U=0.3μm |  |  |
|  |  |  |  | 浮标式：80μm(分度值：2μm) | U=0.4μm |  |  |
| 35 | 气动测量仪 | 长度 | 《气动测量仪检定规程》 JJG356-2004 | 浮标式：160μm(分度值:5μm) | U=1.2μm |  |  |
|  |  |  |  | 电子柱式:20μm (分度值：0.2μm) | U=0.3μm |  |  |
|  |  |  |  | 电子柱式：50μm(分度值：0.5μm) | U=0.5μm |  |  |
|  |  |  |  | 电子柱式:100μm (分度值： 1μm) | U=1.2μm |  |  |
| 36 | 液塑限测定仪 | 长度 | 《非金属建材塑限测定仪校准规范》 JJF1090-2002 | (0～22)mm | U=0.26 mm |  |  |
|  |  | 角度 |  | 30° | U=2′ |  |  |
| 37 | 量仪测力仪 | 力值 | 《专用工作测力机校准规范》 JJF1134-2005 | (0～15)N | Urel=0.2% |  |  |
| 38 | 工作测力仪 | 力值 | 《工作测力仪检定规程》 JJG455-2000 | （0～5）MN | Urel=0.4% |  |  |
| 39 | 抗折试验机 | 力值 | 《抗折试验机检定规程》 JJG476-2001 | （0～30）kN | Urel=0.4% |  |  |
| 40 | 非金属拉力、压力和万能试验机 | 力值 | 《非金属拉力、压力和万能试验机检定规程》 JJG157-2008 | （0～10）MN | Urel=0.4% | 不做同轴度项目 |  |
| 41 | 电子式万能试验机 | 力值 | 《电子式万能试验机检定规程》JJG475-2008 | （0～10）MN | Urel=0.4% | 不做同轴度项目 |  |
| 42 | 摆锤式冲击试验机 | 冲击能量 | 《摆锤式冲击试验机检定规程》JJG145-2007 | 0J～300J | Urel=0.3% |  |  |
| 43 | 悬臂梁式冲击试验机 | 冲击能量 | 《悬臂梁式冲击试验机检定规程》JJG608-1989 | 0J～100J | Urel=0.3% |  |  |
| 44 | 液压式张拉机（油压千斤顶） | 力值 | 《液压千斤顶检定规程》 JJG621-2012 《油压千斤顶加载器的测试方法》 JJF（C）18-1999 | （0～10）MN | 0.4级压力表：Urel=1.3% |  |  |
|  |  |  |  |  | 1.6级压力表：Urel=1.7% |  |  |
| 45 | 拉力、压力和万能材料试验机 | 力值 | 《拉力、压力和万能试验机检定规程》 JJG139-1999 | （0～10）MN | Urel=0.4% | 不做同轴度项目 |  |
| 46 | 扭矩扳子 | 扭矩 | 《扭矩扳子检定规程》 JJG707-2003 | 2.0级：(0～3000)N·m | Urel =0.58% |  |  |
|  |  |  |  | 0.3级：(0～3000)N·m | Urel =0.08% |  |  |
| 47 | 电子天平 | 质量 | 《电子天平检定规程》 JJG1036-2008 | Ⅰ级： （0～5×104）e | U=0.2e |  |  |
|  |  |  |  | Ⅱ 级：（0～5×103）e |  |  |  |
|  |  |  |  | Ⅲ级 （0～5×102)e |  |  |  |
| 47 | 电子天平 | 质量 | 《电子天平检定规程》 JJG1036-2008 | Ⅰ级： （5×104～2×105）e | U=0.3e |  |  |
|  |  |  |  | Ⅱ级： （5×103～2×104）e |  |  |  |
|  |  |  |  | Ⅲ级 （5×102～2×103）e |  |  |  |
|  |  |  |  | Ⅰ 级： ＞2×105e | U=0.5e |  |  |
|  |  |  |  | Ⅱ级：（2×104～1×105）e |  |  |  |
|  |  |  |  | Ⅲ级 ： （2×103～1×104）e |  |  |  |
| 48 | 架盘天平 | 质量 | JJG156-2004 《架盘天平检定规程》 | 100g～20kg | U=0.5e |  |  |
| 49 | 砝码 | 质量 | 《砝码检定规程》JJG99-2006 | 1mg | U=0.004mg | 不做磁性和体积密度项目 |  |
|  |  |  |  | 2mg | U=0.004mg |  |  |
|  |  |  |  | 5mg | U=0.004mg |  |  |
|  |  |  |  | 10mg | U=0.006mg |  |  |
|  |  |  |  | 20mg | U=0.007mg |  |  |
|  |  |  |  | 50mg | U=0.009mg |  |  |
|  |  |  |  | 100mg | U=0.011mg |  |  |
|  |  |  |  | 200mg | U=0.013mg |  |  |
|  |  |  |  | 500mg | U=0.018mg |  |  |
| 49 | 砝码 | 质量 | 《砝码检定规程》JJG99-2006 | 1g | U=0.020mg | 不做磁性和体积密度项目 |  |
|  |  |  |  | 2g | U=0.03mg |  |  |
|  |  |  |  | 5g | U=0.04mg |  |  |
|  |  |  |  | 10g | U=0.04mg |  |  |
|  |  |  |  | 20g | U=0.06mg |  |  |
|  |  |  |  | 50g | U=0.07mg |  |  |
|  |  |  |  | 100g | U=0.11mg |  |  |
|  |  |  |  | 200g | U=0.20mg |  |  |
|  |  |  |  | 500g | U=0.6mg |  |  |
|  |  |  |  | 1kg | U=1.1mg |  |  |
|  |  |  |  | 2kg | U=8mg |  |  |
|  |  |  |  | 5kg | U=18mg |  |  |
|  |  |  |  | 10kg | U=0.04g |  |  |
|  |  |  |  | 20kg | U=0.07g |  |  |
|  |  |  |  | 50kg | U=0.3g |  |  |
| 50 | 数字指示秤 | 质量 | 《数字指示秤检定规程》 JJG539-1997 | （0～500）e | U=0.2e |  |  |
|  |  |  |  | （500～2000）e | U=0.3e |  |  |
|  |  |  |  | （2000～10000）e | U=0.5e |  |  |
| 51 | 布氏硬度计 | 硬度 | 《金属布氏硬度计检定规程》 JJG150-2005 | (0～650) HBS(W) | Urel=1.0% |  |  |
| 52 | 邵氏硬度计 | 硬度 | 《A型邵氏硬度计检定规程》 JJG304-2003 | （0～100）HA | U=0.6HA |  |  |
| 53 | 立式金属计量罐 | 容量 | 《立式金属罐容量检定规程》 JJG168-2005 | (20～100)m3 | Urel=0.3% |  |  |
| 53 | 立式金属计量罐 | 容量 | 《立式金属罐容量检定规程》 JJG168-2005 | (100～700)m3 | Urel=0.2% |  |  |
|  |  |  |  | (700～10000)m3 | Urel=0.1% |  |  |
| 54 | 水表校验台 | 容量 | 《液体流量标准装置检定规程》 JJG164-2000 | 10L～10000L | Urel=0.1% |  |  |
|  |  | 流量 |  |  | Urel=0.3% |  |  |
| 55 | 燃油加油机 | 容量 | 《燃油加油机检定规程》 JJG443-2006 | （0～999.99）L | Urel =0.10% |  |  |
| 56 | 常用玻璃量器 | 容量 | 《常用玻璃量器检定规程》 JJG196-2006 | （0.1～0.5）mL | U=0.001mL |  |  |
|  |  |  |  | （1～5）mL | U=0.005mL |  |  |
|  |  |  |  | （10～50）mL | U=0.007mL |  |  |
|  |  |  |  | （100～500）mL | U=0.02mL |  |  |
|  |  |  |  | （1000～2000）mL | U=0.04mL |  |  |
| 57 | 转速表 | 转速 | 《转速表检定规程》 JJG105-2000 | (30～40000)r/min | Urel=0.01% |  |  |
| 58 | 出租汽车计价器 | 计程 | 《出租汽车计价器检定规程》 JJG517-2009 | （0～9999）r | Urel= 0.3% |  |  |
| 59 | 车轮动平衡机 | 不平衡度、分离比 | 《车轮动平衡机校准规范 》 JJF1151-2006 | G1～G40 | U=0.06g |  |  |
| 60 | 汽车底盘测功机 | 力值 | 《测功装置检定规程》 JJG653-2003 | (0～10000)N | Urel= 1.0% |  |  |
|  |  | 速度 |  | (0～120) km/h | Urel= 1.0% |  |  |
| 61 | 摩托车轮偏检测仪 | 长度 | 《摩托车轮偏检测仪检定规程》JJG910-2012 | （0～30）mm | U=0.04mm |  |  |
| 61 | 摩托车轮偏检测仪 | 力值 | 《摩托车轮偏检测仪检定规程》JJG910-2012 | (0～10)N | Urel=0.3% |  |  |
| 62 | 制动检验台 | 制动力 | 《滚筒反力式制动检验台检定规程》JJG906-2009 | 100N～20000N | Urel =0.4% |  |  |
| 63 | 侧滑检验台 | 侧滑量 | 《滑板式汽车侧滑检验台检定规程》JJG908-2009 | (–15～+15) m/km | U=0.07 m/km |  |  |
|  |  | 力值 |  | 20N～120N | Urel=0.3% |  |  |
| 64 | 轴（轮）重仪 | 质量 | 《机动车检测检定规程》 JJG1014-2006 | 100kg～10t | Urel= 0.5% |  |  |
| 65 | 车速表检验台 | 速度 | 《滚筒式车速表检验台检定规程》JJG909-2009 | (20～60)km/h | Urel=1% |  |  |
| 66 | 前照灯检测仪 | 发光强度 | 《机动车前照灯检测仪检定规程》JJG745-2002 | （5000～35000）cd | Urel =5.2% |  |  |
| 67 | 焦度计 | 顶焦度 | 《焦度计检定规程》JJG580-2005 | （-25 ~ +25）m-1 | U=0.03 m-1 |  |  |
| 68 | 验光机 | 顶焦度 | 《验光机检定规程》JJG892-2011 | （-20 ~ +20）m-1 | U= 0.18m-1 |  |  |
| 69 | 验光镜片箱 | 顶焦度 | 《验光镜片箱检定规程》JJG579-2010 | （-20 ~ +20）m-1 | U=0.03m-1 |  |  |
| 70 | 工作用廉金属热电偶 | 温度 | 《工作用廉金属热电偶检定规程》JJG351-1996 | （300～1300）℃ | U=(1.0～1.5)℃ (K、E、N) |  |  |
|  |  |  |  | （-30～+300）℃ | U=(1.5～1.0)℃ (K、E、N) |  |  |
| 71 | 标准铂铑10-铂热电偶 | 温度 | 《标准铂铑10-铂热电偶检定规程》JJG75-1995 | （300～1300）℃ | 锌固定点U=0.5℃ 铝固定点 U=0.5℃ 铜固定点U=0.6℃ |  |  |
| 72 | 工业热电阻 | 温度 | 《工业铂、铜热电阻检定规程》JJG229-2010 | （-30～+300）℃ | U=0.033℃ （0℃） |  |  |
|  |  |  |  |  | U=0.094℃ （100℃） |  |  |
| 73 | 数字温度调节仪 | 温度 | 《数字温度指示调节仪检定规程》JJG617-1996 | （-200～+1800）℃ | 配热电偶：Urel=0.26% |  |  |
|  |  |  |  |  | 配热电阻：Urel=0.20% |  |  |
| 74 | 温度变送器 | 温度 | 《温度变送器校准规范》JJF1183-2007 | （-200～+1600）℃ | Urel=0.15% |  |  |
| 75 | 工作用辐射温度计 | 温度 | 《500℃以下工作用辐射温度计检定规程》JJG856-1994 | （35～300）℃ | U=(1.0～1.1)℃ |  |  |
|  |  |  |  | （300～500）℃ | U=(1.7～1.8)℃ |  |  |
|  |  |  | 《工作用辐射温度计检定规程》 JJG 415-2001 | （500～700）℃ | U=(1.7～1.8)℃ |  |  |
| 76 | 表面温度计 | 温度 | 《表面温度计校准规范》JJF 1409-2013 | （35～250）℃ | U=(0.4～1.0)℃ |  |  |
| 77 | 温度巡回检测仪（数字温度计） | 温度 | 《温度巡回检测仪校准规范》JJF1171-2007 | (-30～+300)℃ | U=（0.2～2）℃ |  |  |
| 78 | 电接点玻璃水银温度计 | 温度 | 《电接点玻璃水银温度计检定规程》JJG131-2004 | （-30～+300）℃ | U=（0.05～0.08）℃ |  |  |
| 79 | 石油产品用玻璃液体温度计 | 温度 | 《工作用玻璃液体温度计检定规程》JJG130-2011 | （-30～+300）℃ | U=（0.05～0.08）℃ |  |  |
| 80 | 工作用玻璃液体温度计 | 温度 | 《工作用玻璃液体温度计检定规程》JJG130-2011 | （-30～+300）℃ | U=（0.05～0.08）℃ |  |  |
| 81 | 工业过程测量记录仪 | 温度 | 《工业过程测量记录仪检定规程》JJG74-2005 | （-200～+1800）℃ | Urel=0.17% |  |  |
| 82 | 机械式温湿度计 | 温度 | 《机械式温湿度计检定规程》JJG205-2005 | (0～50)℃ | U=(0.2～0.7)℃ |  |  |
|  |  | 湿度 |  | (20～95)%RH | U=(2.0～4.0)%RH |  |  |
| 83 | 环境试验设备 | 温度 | 《环境试验设备温度、湿度校准规范》JJF1101-2003 | (-50～+300)℃ | U=（0.4~0.9）℃ |  |  |
|  |  | 湿度 |  | （0～100） %RH | U=（2.0~2.8）%RH |  |  |
| 84 | 温度巡回检测仪 | 温度 | 《温度巡回检测仪校准规范》JJF1171-2007 | (-30～+300)℃ | U=（0.2～0.6)℃ |  |  |
| 85 | 温度开关 | 温度 | 《电接点玻璃水银温度计检定规程》 JJG131-2004 《压力式温度计检定规程》JJG310-2002 《温度开关校准方法》FWIJF-R06 | （-30～+300）℃ | U=(0.1～0.8)℃ |  |  |
| 86 | 恒温槽（标准槽、粘度槽、水槽、水浴锅、沸煮箱） | 温度 | 《恒温槽技术性能测试规范》JJF1030-2010 | (-50～+300) ℃ | U=(0.003～0.006)℃ |  |  |
| 87 | 一般压力表、压力真空表 | 压力 | 《弹性元件式一般压力表、压力真空表和真空表检定规程》JJG52-2013 | （-0.1～+250）MPa | Urel=0.85% |  |  |
| 88 | 压力变送器 | 压力 | 《压力变送器检定规程》JJG882-2004 | (-0.1～+250)MPa | Urel= 0.3% |  |  |
| 89 | 压力传感器 | 压力 | 《压力传感器（静态）检定规程》JJG860-1994 | (-0.1～+250)MPa | Urel= 0.3% |  |  |
| 90 | 数字压力计 | 压力 | 《数字压力计检定规程》JJG875-2005 | (-0.1～+250)MPa | Urel= 1.1% |  |  |
| 91 | 液体压力计 | 压力 | 《工作用液体压力计（试行）检定规程》JJG540-1988 | (0～0.2)MPa | Urel= 1.5% |  |  |
| 92 | 膜式煤气表 | 流量 | 《膜式煤气表检定规程》 JJG577-2012 | （0～6）m3/h | Urel= 0.5% |  |  |
| 93 | 浮子流量计 | 流量 | 《浮子流量计检定规程》 JJG257-2007 | （0～6）m3/h | Urel= 0.78% |  |  |
| 94 | 膜盒压力表 | 压力 | 《弹性元件式一般压力表、压力真空表和真空表检定规程》JJG 52-2013 | (-0.1～+2)MPa | Urel= 0.8% |  |  |
| 95 | 轮胎压力表 | 压力 | 《轮胎压力表检定规程》JJG927-2013 | (-0.1～+1)MPa | Urel= 1.1% |  |  |
| 96 | 血压计和血压表 | 压力 | 《血压计和血压表检定规程》JJG270-2008 | （0～40）kPa | Urel=0.3% |  |  |
| 97 | 无创自动测量血压计 | 压力 | 《无创自动测量血压计》JJG692-2010 | (0～40)kPa | Urel=0.3% |  |  |
| 98 | 压力校准仪 | 压力 | 《数字压力计检定规程》JJG875-2005 | (-0.1～+60)MPa | Urel= 0.023% |  |  |
|  |  | 电流 | 《直流数字电流表检定规程》JJG598-1989 | (4～20)mA | Urel= 0.06% |  |  |
|  |  | 电压 | 《直流数字电压表检定规程》JJG315-1983 | (1～5)V | Urel= 0.04% |  |  |
| 99 | 活塞式压力计 | 压力 | 《活塞式压力计检定规程》JJG59-2007 | （0.04～60）MPa | Urel= 0.023% |  |  |
| 100 | 湿式气体流量计 | 流量 | 《湿式气体流量计校准规范》 JJF 1357-2012 | (0～100)m3/h | Urel=0.7% |  |  |
| 101 | 流量积算仪 | 流量 | 《流量积算仪检定规程》 JJG1003-2005 | (0～1000)t/h | Urel =0.06% |  |  |
| 102 | 大气采样器 | 流量 | 《大气采样器检定规程》JJG956-2013 | (0.1～1.2) L/ min | Urel=0.52% |  |  |
| 103 | 粉尘采样器 | 流量 | 《粉尘采样器检定规程》JJG520-2005 | (6 ～60)L/min | Urel=2.0% |  |  |
| 104 | 氧气吸入器 | 流量 | 《浮标式氧气吸入器检定规程》JJG913-1996 | (1～10)L/min | Urel= 1.3% |  |  |
|  |  | 压力 |  | 高压：(0.6～16)MPa | Urel= 1.1% |  |  |
|  |  |  |  | 低压：(0.0～0.6)MPa | Urel= 3 % |  |  |
| 105 | 电压表、电流表、功率表 | 直流电压 | 《电流表、电压表、功率表及电阻表检定规程》 JJG124-2005 | 0.1mV～1000V | Urel= 0.04%FS |  |  |
|  |  | 交流电压 |  | 10mV～600V（50Hz～1kHz） | Urel= 0.05%FS |  |  |
|  |  | 直流电流 |  | 10μA～30A | Urel= 0.06%FS |  |  |
|  |  | 交流电流 |  | 100μA～10A （50Hz～1kHz） | Urel =0.08%FS |  |  |
|  |  | 直流功率 |  | 0.01mW～18kW | Urel =0.06%FS |  |  |
| 105 | 电压表、电流表、功率表 | 交流功率 | 《电流表、电压表、功率表及电阻表检定规程》 JJG124-2005 | 0.01mW～6kW（50Hz～1kHz) | Urel =0.10%FS |  |  |
| 106 | 直流数字电压表 | 电压 | 《直流数字电压表检定规程》 JJG315-1983 | 10μV～200mV | Urel =0.0012%～0.0008% |  |  |
|  |  |  |  | 200mV~2V | Urel =0.0006%～0.0005% |  |  |
|  |  |  |  | 2V~20V | Urel =0.0006%～0.0005% |  |  |
|  |  |  |  | 20V~200V | Urel =0.0008%～0.0007% |  |  |
|  |  |  |  | (200~1000)V | Urel =0.0012%～0.0008% |  |  |
| 107 | 直流数字电流表 | 电流 | 《直流数字电流表（试行）检定规程》 JJG598-1989 | 10μA～ 200μA | Urel =0.0022% |  |  |
|  |  |  |  | 200μA~2mA | Urel= 0.0041%～0.0020% |  |  |
|  |  |  |  | 2mA~20 mA | Urel= 0.0042%～0.0022% |  |  |
|  |  |  |  | 20mA~ 200mA | Urel= 0.0098%～0.0057% |  |  |
|  |  |  |  | 200mA~2A | Urel= 0.034%～0.026% |  |  |
|  |  |  |  | 2A~20A | Urel= 0.076%～0.055% |  |  |
| 108 | 直流数字欧姆表 | 电阻 | 《直流数字式欧姆表检定规程》JJG724-1991 | （1～10）Ω | Urel =0.013% |  |  |
|  |  |  |  | (10~100)Ω | Urel =0.012% |  |  |
|  |  |  |  | 100Ω~ 1.1MΩ | Urel= 0.0058% |  |  |
|  |  |  |  | (1.1~3.3) MΩ | Urel= 0.0070% |  |  |
|  |  |  |  | (3.3~11) MΩ | Urel =0.015% |  |  |
|  |  |  |  | (11~33)MΩ | Urel =0.029% |  |  |
|  |  |  |  | (33~100) MΩ | Urel =0.058% |  |  |
| 109 | 交流数字功率表 | 功率 | 《交流数字功率表检定规程》 JJG780-1992 | (30~480)V∕(0.001~40)A （40Hz～70Hz) | 见附表1 |  |  |
| 110 | 耐电压测试仪 | 电压 | 《耐电压测试仪检定规程》 JJG795-2004 | (0.1～50) kV | DC:Urel= 1.1%～0.60% |  |  |
|  |  |  |  |  | AC:Urel= 1.3%～1.2% |  |  |
|  |  | 电流 |  | (0.1～100) mA | Urel =1.1% |  |  |
|  |  | 时间 |  | （1～10）s | Urel =0.5% |  |  |
|  |  |  |  | （10～600）s | U=0.2s |  |  |
| 111 | 泄漏电流测量仪（表） | 电流 | 《泄漏电流测量仪（表）检定规程》JJG843-2007 | (0.01～20) mA | Urel =0.4% |  |  |
| 112 | 钳形电流表 | 电流 | 《钳形电流表校准规范》 JJF1075-2001 | 10μA～1000A | Urel =0.8% |  |  |
| 113 | 电桥 | 电阻 | 《直流电桥检定规程》 JJG125-2004 | （0.01～100000）Ω | 见附表2 |  |  |
| 114 | 电阻箱 | 电阻 | 《直流电阻箱检定规程》 JJG982-2003 《直流电阻器检定规程》 JJG166-1993 | （0.01～100000）Ω | 见附表3 |  |  |
| 115 | 接地电阻表 | 电阻 | 《接地电阻表检定规程》 JJG366-2004 | （0.01～1000）Ω | Urel =0.27% |  |  |
| 116 | 接地导通电阻测试仪 | 电阻 | 《接地导通电阻测试仪检定规程》 JJG984-2004 | (0.01～1111)mΩ | Urel =0.12% |  |  |
|  |  | 电流 |  | (0.01～30)A | Urel =0.13% |  |  |
| 117 | 直流低电阻表 | 电阻 | 《直流低电阻表检定规程》 JJG837-2003 | 1mΩ～1kΩ | Urel= 0.017% |  |  |
| 118 | 绝缘电阻表（兆欧表） | 电阻 | 《绝缘电阻表（兆欧表）检定规程》JJG622-1997 | 10kΩ～ 100 MΩ | Urel= 0.15%～0.25% |  |  |
|  |  |  |  | 100MΩ～10 GΩ | Urel= 0.25%~ 1.4% |  |  |
|  |  |  |  | 10GΩ～ 100GΩ | Urel=1.4%~ 2.8% |  |  |
|  |  | 电压 |  | (0.1~5000) V | Urel= 1.2% |  |  |
| 119 | 火花试验机 | 电压 | 《火花试验机测试方法》 JJF(C)45-1999 | (0.1～50) kV | Urel =1.3% |  |  |
| 120 | 数字三用表校验仪 | 电阻 | 《DO30-C型数字式三用表校验仪（试行）检定规程》JJG(电子)02003－1988 | 10Ω～1MΩ | Urel =0.013% |  |  |
|  |  | 直流电压 |  | 2mV～ 2V | Urel =0.020% |  |  |
|  |  |  |  | 2V~20V | Urel =0.020% |  |  |
|  |  |  |  | 20V~200V | Urel =0.020% |  |  |
| 120 | 数字三用表校验仪 | 直流电压 | 《DO30-C型数字式三用表校验仪（试行）检定规程》JJG(电子)02003－1988 | 200V~ 1000V | Urel =0.028% |  |  |
|  |  | 交流电压 |  | 2mV～500V(10Hz～2kHz) | 见附表4 |  |  |
|  |  | 直流电流 |  | 20μA～ 200μA(10Hz～10kHz) | Urel =0.014% |  |  |
|  |  |  |  | 200μA ~2mA | Urel =0.024% |  |  |
|  |  |  |  | 2mA~ 20mA | Urel =0.035% |  |  |
|  |  |  |  | 20mA~ 200mA | Urel =0.024% |  |  |
|  |  |  |  | 200mA~2A | Urel =0.024% |  |  |
|  |  |  |  | 2A~10A | Urel =0.052% |  |  |
|  |  | 交流电流 |  | 20μA～20A (10Hz～10kHz) | 见附表5 |  |  |
| 121 | LCR三用表 | 电阻 | 《YY-2781型RLC三用表检定规程》JJG(电子)05039-1991 | 0.01Ω～10kΩ | Urel =0.18% |  |  |
|  |  | 电容 |  | 1nF～1µF | Urel = 0.27% |  |  |
|  |  | 电感 |  | 100µH～1H | Urel = 0.20% |  |  |
| 122 | 低频信号发生器 | 频率 | 《低频信号发生器检定规程》 JJG602-1996 | 10Hz～100kHz | Urel = 6×10-4 |  |  |
|  |  | 电压 |  | 1mV～1000V | Urel =0.5% |  |  |
|  |  | 失真度 |  | (0.01～10)% | 见附表6 |  |  |
| 123 | 低频电子电压表 | 电压 | 《低频电子电压表检定规程》 JJG782-1992 | 0.03mV～1000V（10Hz～500kHz） | Urel =0.29% |  |  |
| 124 | 示波器 | 电压 | 《模拟示波器检定规程》 JJG262-1996 | 1mV～200 V | Urel =0.52% |  |  |
|  |  | 时间 |  | 2 ns～5 s | Urel =0.36% |  |  |
|  |  | 频带宽度 |  | DC~500MHz以下 | Urel =2.9% |  |  |
|  |  | 上升时间 |  | 300ps~50ns | Urel = 5.2% |  |  |
| 125 | 失真度测量仪 | 失真度 | 《失真度测量仪检定规程》 JJG251-1997 | 失真：(0.01～100)% （频率：5Hz～200kHz） | 见附表7 |  |  |
| 126 | 晶体管特性图示仪 | 电压 | 《晶体管特性图示仪（试行）检定规程》 JJG(电)04014-1988 | X轴电压(0.01～500) V/div | Urel =0.5% |  |  |
|  |  | 电流 |  | Y轴电流 1 μA/div～ 1 A/div | Urel =0.5% |  |  |
| 127 | 石英晶体振荡器 | 频率 | 《电子测量仪器内石英晶体振荡器检定规程》 JJG180-2002 | 1MHz、5MHz、10MHz | Urel = 5×10-10 |  |  |
| 128 | 电话计时计费器 | 时间 | 《单机型和集中管理分散计费型电话计时计费器检定规程》 JJG107-2002 《IC卡公用电话计时计费装置检定规程》 JJG977-2003 | (1～2000)s | U=0.6 s |  |  |
| 129 | 时间间隔测量仪 | 时间 | 《秒表检定规程》JJG237-2010 | 电秒表(0.001～35999)s | U =8ms～0.6s |  |  |
|  |  |  |  | 机械秒表(0.01～900)s | U =0.05s |  |  |
|  |  |  |  | 电子秒表 0.01s～99h | U =0.01s |  |  |
| 130 | 时间间隔发生器 | 时间 | 《时间间隔发生器检定规程》 JJG723-2008 | 10ns～1h | Urel = 1×10-5 |  |  |
| 131 | 心电图机 | 电压 | 《心电图机检定规程》JJG543-2008 | （0～5）mV | U=0.16×标准值∕灵敏度 （ mV） |  |  |
|  |  | 时间间隔 |  | 5ms～20s | U=0.16×标准值∕记录速度（s） |  |  |
| 132 | 心电监护仪 | 电压 | 《心电监护仪检定规程》JJG760-2003 | （0～5）mV | Urel =2% |  |  |
|  |  | 速度 |  | 25mm/s, 50mm/s | Urel=3% |  |  |
|  |  | 心率 |  | (20～300) 次/分 | U=1次/分 |  |  |
| 133 | 医用超声诊断仪超声源 | 功率 | 《医用超声诊断仪超声源检定规程》JJG639-1998 | (2～100) mW | Urel =10% |  |  |
| 133 | 医用超声诊断仪超声源 | 长度 | 《医用超声诊断仪超声源检定规程》JJG639-1998 | 几何位置 (0～200) mm | U=0.17 mm |  |  |
| 134 | 医用激光源 | 光功率 | 《医用激光源检定规程》JJG581-1999 | (0～200) μW | Urel=6% |  |  |
|  |  |  |  | (0.2～200) mW | Urel=4% |  |  |
|  |  |  |  | （0.2~2）W | Urel=6% |  |  |
|  |  |  |  | (2～200) W | Urel =4% |  |  |
| 135 | 医用诊断X射线辐射源 | 管电压 | 《医用诊断X射线辐射源检定规程》 JJG744-2004 | (30～150) kV | Urel=2% |  |  |
|  |  | 管电流 |  | (10～1500) mA | Urel=2% |  |  |
|  |  | 空气比释动能(率) |  | (0.1～99.9) mGy/min | Urel=6% |  |  |
| 136 | 医用诊断计算机断层摄影装置(CT)X射线辐射源 | 管电压 | 《医用诊断计算机断层摄影装置（CT）X射线辐射源检定规程》 JJG961-2001 | (45～155) kV | Urel=2% |  |  |
|  |  | 管电流 |  | (10～1500) mA | Urel=2% |  |  |
|  |  | 吸收剂量 | 《医用诊断螺旋计算机断层摄影装置（CT）X射线辐射源检定规程》 JJG 1026-2007 | (0.1～9999) mGy | Urel=6% |  |  |
| 137 | 超声探伤仪 | 电平 | 《超声探伤仪检定规程》JJG746-2004 | 垂直线性≤6% | Urel =2% |  |  |
|  |  | 时间 |  | 水平线性≤2% | Urel =0.5% |  |  |
| 138 | 声级计 | 频率计权及频率响应 | 《声级计检定规程》JJG188-2002 | 压力场 10 Hz～ 200 Hz | U=0.5dB |  |  |
|  |  |  |  | 压力场 250 Hz～ 400 Hz | U=0.4dB |  |  |
|  |  | 声压级 |  | 自由场：500 Hz～1.25 kHz | U=0.4dB |  |  |
|  |  |  |  | 自由场 1.6 kHz～ 10 kHz | U =0.6dB |  |  |
|  |  |  |  | 自由场：1.25 kHz～20 kHz | U =1.0dB |  |  |
| 139 | 声校准器 | 声压级 | 《声校准器检定规程》JJG176-2005 | 20dB～140dB | U =0.15dB |  |  |
|  |  | 频率 |  | 31.5Hz～16kHz | Urel =0.3% |  |  |
| 140 | pH（酸度）计 | 酸度 | 《实验室pH（酸度）计检定规程》JJG119-2005 | (0～14) pH | 电计: U=(0.014~0.14 )pH |  |  |
|  |  |  |  |  | 仪器: U=(0.02~0.06) pH |  |  |
| 141 | 电导率仪 | 电导率 | 《电导仪检定规程》JJG376-2007 | （0.05～1×105）μS | 电子单元：Urel =0.2% |  |  |
|  |  |  |  | （0.05～1×105）μS/cm | 仪器：Urel =0.4% |  |  |
| 142 | 可见分光光度计 | 波长 | 《紫外、可见、近红外分光光度计检定规程》JJG178-2007 | （360～800）nm | U=0.6nm |  |  |
|  |  | 透射比 |  | （0～100）% | U=0.5% |  |  |
| 143 | 单光束紫外-可见分光光度计 | 波长 | 《紫外、可见、近红外分光光度计检定规程》JJG178-2007 | (190～360)nm | U=0.4nm |  |  |
|  |  |  |  | (360～850)nm | U=0.6nm |  |  |
|  |  | 透射比 |  | （0～100）% | U=0.4% |  |  |
| 144 | 双光束紫外-可见分光光度计 | 波长 | 《紫外、可见、近红外分光光度计检定规程》JJG178-2007 | (190～360)nm | U=0.3nm |  |  |
|  |  |  |  | (360～850)nm | U=0.6nm |  |  |
|  |  | 透射比 |  | （0～100）% | U=0.3% |  |  |
| 145 | 原子吸收分光光度计 | 检出限 | 《原子吸收分光光度计检定规程》JJG694-2009 | 火焰法测铜： ≤0.02μg/ml | U= 0.005 µg/mL |  |  |
|  |  |  |  | 石墨炉法测镉：≤4pg | U= 0.3pg |  |  |
| 146 | 火焰光度计 | 检出限 | 《火焰光度计检定规程》JJG630-2007 | K：≤0.004 mmol/L | U=0.001 mmol/L |  |  |
|  |  |  |  | Na：≤0.008 mmol/L | U=0.002 mmol/L |  |  |
| 147 | 气相色谱仪 | 灵敏度 | 《气相色谱仪检定规程》JJG700-1999 | TCD：≥800 mV.mL/mg | Urel =6.0％ |  |  |
|  |  | 检测限 |  | FID： <5×10-10 g/s | Urel=5.2% |  |  |
|  |  |  |  | ECD： ≤5×10-12 g/mL. | Urel =5.4％ |  |  |
| 147 | 气相色谱仪 | 检测限 | 《气相色谱仪检定规程》JJG700-1999 | FPD： ≤5×10-10g/s (硫) ≤1×10-10g/s (磷) | Urel =4.7％ |  |  |
|  |  |  |  | NPD： ≤5×10-12g/s (氮) ≤1×10-11g/s (磷) | Urel =5.2％ |  |  |
| 148 | 液相色谱仪 | 最小检测浓度 | 《液相色谱仪检定规程》JJG705-2014 | 紫外-可见光检测器，二极管阵列检测器： ≤5×10-8g/mL | Urel =6.0％ |  |  |
|  |  |  |  | 荧光检测器： ≤5×10-9g/mL | Urel =6.0％ |  |  |
|  |  |  |  | 蒸发光散射检测器： ≤5×10-6g/mL | Urel =6.0％ |  |  |
|  |  |  |  | 示差折光检测器 ： ≤5×10-6g/mL | Urel =6.0％ |  |  |
| 149 | 滤纸式烟度计 | 烟度 | 《滤纸式烟度计检定规程》 JJG847-2011 | （0～10）BSU | Urel=1.2% |  |  |
| 150 | 透射式烟度计 | 光吸收比 | 《透射式烟度计检定规程》 JJG976-2010 | (0～98.6)% | Urel =0.7% |  |  |
| 151 | 汽车排放气体测试仪 | 浓度 | 《汽车排放气体测试仪检定规程》 JJG688-2007 | CO2:(0.0～18.0)×10-2 | Urel =1.8% |  |  |
|  |  |  |  | HC:(0～9999)×10-6 | Urel =1.4% |  |  |
|  |  |  |  | CO:(0.00～14.00)×10-2 | Urel =2.0% |  |  |
|  |  |  |  | O2:(0.0～25.0) ×10-2 | Urel =2.3% |  |  |
|  |  |  |  | NO:(0～5000) ×10-6 | Urel =2.1% |  |  |
| 152 | 可燃气体检测报警器 | 浓度 | 《可燃气体检测报警器检定规程》JJG693-2011 | (0～100)%LEL | 0.1%LEL分度：U= 1.2%LEL；1%LEL分度：U= 1.4%LEL |  |  |
| 153 | 酶标分析仪 | 吸光度 | 《酶标分析仪检定规程》JJG861-2007 | (0～2)Abs | U= 0.02Abs |  |  |
| 154 | 离子色谱仪 | 最小检测浓度 | 《离子色谱仪检定规程》JJG823-2014 | Cl-:≤0.02μg/g | Urel=5.0% |  |  |
|  |  |  |  | NO2-: ≤0.02μg/g | Urel=5.0% |  |  |
| 154 | 离子色谱仪 | 最小检测浓度 | 《离子色谱仪检定规程》JJG823-2014 | Li+: ≤0.02μg/g | Urel=5.0% |  |  |
|  |  |  |  | I-: ≤0.02μg/g | Urel=5.0% |  |  |
| 155 | 生化分析仪 | 吸光度 | 《半自动生化分析仪检定规程》 JJG 464-2011 | （0.1～1.0）Abs | U=0.006 Abs |  |  |
| 156 | 血细胞分析仪 | 血细胞浓度 | 《血细胞分析仪检定规程》JJG714-2012 | WBC: (0～16)× 109个/L | Urel=3% |  |  |
|  |  |  |  | RBC: (0～6)×1012个/L | Urel=3% |  |  |
|  |  |  |  | HGB: (0～200) g/L | Urel=3% |  |  |
|  |  |  |  | PLT: (0～360)× 109个/L | Urel=3% |  |  |
| 157 | 浊度计 | 浊度 | 《浊度计检定规程》JJG880-2006 | （0～400）NTU | Urel=3.4% |  |  |
| 158 | 等离子体发射光谱仪 | 检出限 | 《发射光谱仪检定规程》JJG768-2005 | (0～5.0)mg/mL | Cu：U=0.001mg/L Cr：U=0.008 mg/L Ni：U=0.006 mg/L Mn：U=0.001mg/L Ba：U=0.0001mg/L Zn：U=0.006mg/L |  |  |
| 159 | 白度计 | 白度 | 《白度计检定规程》JJG512-2002 | R457：（0～100） | U=1.6 |  |  |
| 160 | 罗维朋比色计 | 色度 | 《罗维朋比色计检定规程》JJG758-1991 | R:(0.1～79.9) 罗维朋单位 | U=（0.1～0.5） 罗维朋单位 |  |  |
|  |  |  |  | Y:(0.1～79.9) 罗维朋单位 |  |  |  |
|  |  |  |  | B:(0.1～49.9) 罗维朋单位 |  |  |  |
| 161 | 测色色差计 | 色度 | 《测色色差计检定规程》JJG595-2002 | Y:(0～100) | U=1.6 |  |  |
|  |  |  |  | x、y：(0~0.9999) | U=0.0044 |  |  |
| 162 | 镜向光泽度计 | 光泽度 | 《镜向光泽计和光泽度板检定规程》JJG696-2002 | (0～150)光泽单位 | U=（1.0～1.4） 光泽单位 |  |  |
| 163 | 阿贝折射仪 | 折射率 | 《阿贝折射仪检定规程》JJG625-2001 | nD：1.3000～1.7000 | U=1.0×10-4～1.6×10-4 |  |  |
| 164 | 旋光仪及旋光糖量计 | 旋光度 | 《旋光仪及旋光糖量计检定规程》JJG536-1998 | -45°～+45° | U=0.003°~0.008° |  |  |
|  |  | 旋光糖度 |  | -20°Z～ +105°Z | U=0.05°Z~0.1°Z |  |  |
| 165 | 旋转黏度计 | 黏度 | 《旋转黏度计检定规程》JJG1002-2005 | (10-1～103 ) mPa·s | Urel=1.5% |  |  |
|  |  |  |  | (103～104 ) mPa·s | Urel=1.6% |  |  |
|  |  |  |  | (104～106 ) mPa·s | Urel=2.0% |  |  |
| 166 | 熔体流动速率仪 | 速率 | 《熔体流动速率仪检定规程》JJG878-1994 | (1～20) g/10min | Urel =7.1% |  |  |
| 167 | 密度计 | 密度 | 《标准玻璃浮计检定规程》JJG86-2011 《工作玻璃浮计检定规程》 JJG42-2011 | (650～1800)kg/ m3 | U=（0.20～0.30）（kg/m3 ） |  |  |
| 168 | 酒精计 | 酒精含量 | 《标准玻璃浮计检定规程》JJG 86-2011 《工作玻璃浮计检定规程》JJG 42-2011 | (0～100)% | U=0.2%～0.4% |  |  |
| 169 | 定碳定硫分析仪 | 碳含量 | 《定硫定碳分析仪检定规程》JJG395-1997 | 0.0%～3.0% | Urel=1.3% |  |  |
|  |  | 硫含量 |  | 0.0%～0.3% | Urel=2.9% |  |  |
| 170 | 总有机碳分析仪 | 浓度 | 《总有机碳分析仪检定规程》JJG821-2005 | 有机碳： (0～1000)mg/L | Urel =1.0% |  |  |
|  |  |  |  | 无机碳： (0～1000)mg/L | Urel =1.0% |  |  |
| 171 | 红外分光光度计 | 波数 | 《色散型红外分光光度计检定规程》JJG681-1990 | (200～4000)cm-1 | U=（2.5～3.2） cm-1 |  |  |
|  |  | 透射比 |  | （0～100）% | U =（0.3～0.6）% |  |  |
| 172 | 机动车超速自动检测系统 | 速度 | 《机动车雷达测速仪检定规程》 JJG 528-2004 《机动车超速自动监测系统检定规程》 JJG（粤）008-2006 | （40～180）km/h | Urel=0.25% |  |  |
| 173 | 四轮定位仪 | 角度 | 《四轮定位仪校准规范》 JJF1154-2006 | （-15～15）° | U =1.1′ |  |  |
| 174 | 线缆计米器 | 长度 | 《线缆计米器检定规程》 JJG987-2004 | （0～9999.999）m | Urel=0.2% (在线计米器) Urel=0.1%(离线计米器) |  |  |
| 175 | 瞳距仪 | 长度 | 《瞳距仪检定规程》JJG952-2000 | 标准瞳距（55～75）mm | U=0.1mm |  |  |
| 176 | 角度块 | 角度 | 《角度块检定规程》JJG70-2004 | 0级：0°～90° | U=1.0" |  |  |
|  |  |  |  | 1级：0°～90° | U=2.0" |  |  |
|  |  |  |  | 2级：0°～90° | U=2.2" |  |  |
| 177 | 电能表 | 电能 | 《电子式电能表检定规程》 JJG596-2012 《机电式交流电能表检定规程》 JJG307-2006 | U： （57.7～380）V， I： （0.01～100）A | 平衡负载时： Urel= 0.06％ (cosφ=1.0); Urel= 0.07％ [cosφ=0.5(L)、0.8(C)]; Urel= 0.08％ [cosφ=0.5(C)]; Urel=0.14％[cosφ=0.25(L)]; 不平衡负载时： Urel=0.06％(cosφ=1.0); Urel=0.07％[cosφ=0.5(L)] |  |  |
| 178 | 气体流量计 | 流量 | 《气体容积式流量计检定规程》JJG 633-2005 | （0～200）m3/h | Urel=0.8% |  |  |
| 179 | 液体流量计 | 流量 | 《冷水水表检定规程》 JJG 162-2009 | DN（15～400）mm（0～1300）m3/h | Urel=0.7% |  |  |
|  |  |  | 《速度式流量计检定规程》 JJG 198-1994 《涡轮流量计检定规程》 JJG1037-2008 | DN（50～400）mm（0.4～1300）m3/h | Urel=0.5% |  |  |
|  |  |  | 《液体容积式流量计检定规程》JJG 667-2010 | DN（50～400）mm（0.4～1300）m3/h | Urel=0.2% |  |  |
| 179 | 液体流量计 | 流量 | 《涡街流量计检定规程》 JJG1029-2007 | DN（50～400）mm（0.4～1300）m3/h | Urel=0.3% |  |  |
|  |  |  | 《超声流量计检定规程》 JJG1030-2007 | DN（50～250）mm（0.4～500）m3/h | Urel=0.3% |  |  |
|  |  |  | 《电磁流量计检定规程》 JJG 1033-2007 | DN（50～400）mm（0.4～1300）m3/h | Urel=0.1% |  |  |
| 180 | 天然气加气机 | 流量 | 《压缩天然气加气机检定规程》JJG996-2005 | （1～80）m3/min | Urel=0.7% |  |  |
| 181 | 光照度计 | 光照度 | 《光照度计检定规程》JJG245-2005 | (0～20000)lx | Urel=1.0% |  |  |
| 182 | 亮度计 | 光亮度 | 《亮度计检定规程》JJG211-2005 | （0～350）（cd/m2） | Urel=3.0% |  |  |
| 183 | 气相色谱-质谱联用仪 | 质量数 | 《台式气相色谱-质谱联用仪校准规范》JJF1164-2006 | (50～615)u | U=0.1u |  |  |
| 184 | 烟气分析仪 | 浓度 | 《烟气分析仪检定规程》JJG968-2002 | O2（0～25）×10-2 | Urel=2.2% |  |  |
|  |  |  |  | CO2 （0～25）×10-2 | Urel=2.2% |  |  |
|  |  |  |  | CO：（0～1000）×10-6 | Urel =2.3% |  |  |
|  |  |  |  | SO2 ：（0～4000）×10-6 | Urel=2.3% |  |  |
| 184 | 烟气分析仪 | 浓度 | 《烟气分析仪检定规程》JJG968-2002 | NO ：（0～4000）×10-6 | Urel =2.3% |  |  |
| 185 | 明渠堰槽流量计 | 流量计状态 | 《明渠堰槽流量计检定规程》 JJG711-1990 | 自由流 | Urel =2% |  |  |
|  |  |  |  | 淹没流 | Urel =2.5% |  |  |
| 186 | 塞尺 | 厚度 | 《塞尺检定规程》JJG62-2007 | （0.02～1.00）mm | U=2μm |  |  |
| 187 | 水平尺 | 角度 | 《水平尺校准规范》JJF1085-2002 | 10mm/m | Urel =8% |  |  |
| 188 | 内径千分尺 | 长度 | 《内径千分尺检定规程》 JJG22-2003 | (50～250)mm | U=2.0μm |  |  |
|  |  |  |  | (250～600)mm | U=5.0μm |  |  |
|  |  |  |  | (600～2000)mm | U=15μm |  |  |
| 189 | 自准直仪 | 角度 | 《自准直仪检定规程》 JJG202-2007 | 光电:±20〞 | U=0.1" |  |  |
|  |  |  |  | 目视：(0～15)mm/m 或分度值 1" | U=0.2" |  |  |
| 190 | 电子水平仪 | 角度 | 《电子水平仪和合像水平仪检定规程》JJG103-2005 | （0.001～2）mm/m | U=2μm/m |  |  |
| 191 | 合像水平仪 | 角度 | 《电子水平仪和合像水平仪检定规程》JJG103-2005 | ±5mm/m | U=2μm/m |  |  |
| 192 | 杠杆千分尺 | 长度 | 《杠杆千分尺、杠杆卡规检定规程》JJG26-2011 | (0～100)mm | 杠杆尺: U=1.2μm |  |  |
| 192 | 杠杆千分尺 | 长度 | 《杠杆千分尺、杠杆卡规检定规程》JJG26-2011 |  | 杠杆尺指示表: U=0.26μm |  |  |
| 193 | 焊接检验尺 | 长度 | 《焊接检验尺检定规程》 JJG704-2005 | (0～100)mm | 深度尺 : U=0.02mm |  |  |
|  |  | 角度 |  | 0°～90° | 测角尺: U =7.3′ |  |  |
| 194 | 试验筛 | 长度 | 《试验筛校准规范》JJF1175-2007 | （0.02～125）mm | 金属丝网筛 U=9μm |  |  |
|  |  |  |  |  | 金属穿孔筛U=0.12mm |  |  |
| 195 | 平面等厚干涉仪 | 长度 | 《平面等厚干涉仪校准规范》 JJF1100-2003 | Φ（0～150）mm | U=0.07μm |  |  |
| 196 | 针规、三针 | 长度 | 《三针校准规范》JJF1207-2008 | 三针：Φ(0.142～3.177)mm | U= 0.5μm |  |  |
|  |  |  |  | 针规：Φ(0.1～10)mm |  |  |  |
| 197 | 刮板细度计 | 长度 | 《刮板细度计检定规程》 JJG905-2010 | (0～100)μm | U=0.5μm |  |  |
| 198 | 接触式干涉仪 | 长度 | 《接触式干涉仪检定规程》 JJG101-2004 | ±50分度 | U=0.012μm |  |  |
| 199 | 刻度直角钢尺 | 角度 | 《直角尺检定规程》JJG7-2004 | 90° | U=3″ |  |  |
|  |  | 长度 |  | （0～500)mm | U=0.05mm |  |  |
| 200 | 外径千分尺 | 长度 | 《外径千分尺（测量范围(500mm～3000mm)校准规范）》 JJF1088-2002 | （500～600）mm | U=5μm |  |  |
|  |  |  |  | （600～700）mm | U=7μm |  |  |
| 200 | 外径千分尺 | 长度 | 《外径千分尺（测量范围(500mm～3000mm)校准规范）》 JJF1088-2002 | （700～800）mm | U=9μm |  |  |
|  |  |  |  | （800～900）mm | U=10μm |  |  |
|  |  |  |  | （900～1000）mm | U=11μm |  |  |
|  |  |  |  | （1000～2000）mm | U=15μm |  |  |
| 201 | 读数显微镜 | 长度 | 《读数、测量显微镜检定规程》 JJG571-2004 | (0～8)mm | U=1.1μm |  |  |
| 202 | 机械式比较仪 | 长度 | 《机械式比较仪检定规程》 JJG39-2004 | ±100μm | U=0.3μm |  |  |
| 203 | 扭簧式比较仪 | 长度 | 《扭簧式比较仪检定规程》 JJG118-2010 | ±50μm | U=0.3μm |  |  |
| 204 | 方箱 | 垂直度 | 《方箱检定规程》JJG194-2007 | （400×400）mm | U=3.4μm |  |  |
| 205 | 光滑极限量规 | 长度 | 《光滑极限量规检定规程》 JJG343-2012 | Φ(2～100)mm | U=0.4μm |  |  |
|  |  |  |  | Φ(100～500)mm | U=0.8μm |  |  |
| 206 | 圆柱螺纹量规 | 长度 | 《圆柱螺纹量规校准规范》 JJF 1345-2012 | (10～200)mm | U=3μm | 只测单一中径 |  |
| 207 | 电子经纬仪 | 角度 | 《全站型电子速测仪检定规程》 JJG100-2003 | 水平角Ⅲ级：(0～360)° | U=1.5" |  |  |
|  |  |  |  | 水平角Ⅱ级：(0～360)° | U=0.2" |  |  |
| 207 | 电子经纬仪 | 角度 | 《全站型电子速测仪检定规程》 JJG100-2003 | 垂直角Ⅲ级：(-45～225)° | U=2.5" |  |  |
|  |  |  |  | 垂直角Ⅱ级：(-45～225)° | U=1.0" |  |  |
| 208 | 螺纹样板 | 长度 | 《螺纹样板检定规程》 JJG60-2012 | (0.40～6.00)mm | U=5μm |  |  |
| 209 | 半径样板 | 长度 | 《半径样板检定规程》 JJG58-2010 | R(1～25)mm | U=7μm |  |  |
| 210 | 水准标尺 | 长度 | 《水准标尺检定规程》JJG8-1991 | （2～5）m | U=0.9mm |  |  |
| 211 | 水平仪检定器 | 角度 | 《水平仪检定器检定规程》 JJG191-2002 | 0.005mm/m | U=0.5μm/m |  |  |
| 212 | 深度指示表 | 长度 | 《深度指示表检定规程》 JJG 830-2007 | 深度百分表：(0～30)mm | U=4μm |  |  |
|  |  |  |  | 深度千分表：(0～30)mm | U=2μm |  |  |
| 213 | 内径表 | 长度 | 《内径表校准规范》JJF1102-2003 | 内径百分表：（6～450）mm | U=3.8μm |  |  |
|  |  |  |  | 内径千分表：（6～450）mm | U=1.2μm |  |  |
| 214 | 公法线千分尺 | 长度 | 《公法线千分尺检定规程》 JJG82-2010 | (0～50)mm | U=1.3μm |  |  |
|  |  |  |  | (50～100)mm | U=1.5μm |  |  |
| 215 | 移液器 | 容量 | 《移液器检定规程》 JJG646-2006 | (1～5)μL | Urel =4% |  |  |
| 215 | 移液器 | 容量 | 《移液器检定规程》 JJG646-2006 | (10～25)μL | Urel =2.5% |  |  |
|  |  |  |  | (40～50)μL | Urel =2.0% |  |  |
|  |  |  |  | (100～300)μL | Urel =1.0% |  |  |
|  |  |  |  | (1000～10000)μL | Urel =0.2% |  |  |
| 216 | 弹簧拉压试验机 | 力值 | 《专用工作测力机校准规范》 JJF1134-2005 | 1cN～6kN | Urel =0.4% |  |  |
| 217 | 专用玻璃量器 | 容量 | 《专用玻璃量器检定规程》 JJG10-2005 | 20μL | U=0.2μL |  |  |
|  |  |  |  | (0.25～05)mL | U=0.001mL |  |  |
|  |  |  |  | (1～5)mL | U=0.003mL |  |  |
|  |  |  |  | (10～20)mL | U=0.01mL |  |  |
|  |  |  |  | (25～30)mL | U=0.05mL |  |  |
|  |  |  |  | (50～100)mL | U=0.3mL |  |  |
| 218 | 木材万能试验机 | 力值 | 《木材万能试验机检定规程》 JJG474-1986 | （0～20）kN | Urel =0.4% |  |  |
| 219 | 混凝土回弹仪 | 率定值 | 《回弹仪检定规程》 JJG817-2011 | 80±2 | U =0.8 |  |  |
| 220 | 风速表（仪） | 速度 | 《轻便三杯风向风速表检定规程》 JJG431-1986 《轻便磁感风向风速表试行检定规程》 JJG515-1987 《电接风向风速仪检定规程》 JJG613-1989 | （1～40）m/s | Urel=2.6% |  |  |
| 221 | 电流互感器 | 比值差 | 《测量用电流互感器检定规程》JJG313-2010 | (0.5～5000)A/5A | 见附表8 |  |  |
|  |  | 相位差 |  | 0.001′～999.9′ |  |  |  |
| 222 | 高绝缘电阻表 | 电阻 | 《高绝缘电阻测量仪(高阻计)检定规程》 JJG690-2003 | (100～ 1×108)Ω | Urel =0.15%～0.25% |  |  |
|  |  |  |  | (1×108～ 1×1010)Ω | Urel =0.25%～2.8% |  |  |
|  |  |  |  | (1×1010～ 2×1012)Ω | Urel= 2.8%～6.0% |  |  |
| 223 | 电子式绝缘电阻表 | 电阻 | 《电子式绝缘电阻表检定规程》JJG1005-2005 | 1 0kΩ～ 100MΩ | Urel =0.12%～0.23% |  |  |
|  |  |  |  | 100 MΩ～ 10GΩ | Urel =0.23%～1.2% |  |  |
|  |  |  |  | 10GΩ～ 100GΩ | Urel =1.2%～2.3% |  |  |
| 224 | 数字多用表 | 直流电压 | 《直流数字电压表试行检定规程》 JJG315-1983 | 10μV～200mV | Urel =0.0012%～0.0008% |  |  |
|  |  |  |  | 200mV~2V | Urel =0.0006%～0.0005% |  |  |
|  |  |  |  | 2V~20V | Urel =0.0006%～0.0005% |  |  |
|  |  |  |  | 20V~200V | Urel =0.0008%～0.0007% |  |  |
|  |  |  |  | (200~1000)V | Urel =0.0012%～0.0008% |  |  |
|  |  | 交流电压 | 《交流数字电压表检定规程》 JJG(航天) 34-1999 | 2mV～1000V (10Hz～1MHz) | 1mV～1000V (40Hz～10kHz) Urel= 0.02% |  |  |
|  |  | 直流电流 | 《直流数字电流表试行检定规程》JJG598-1989 | 10μA～ 200μA | Urel =0.0022% |  |  |
|  |  |  |  | 200μA~2mA | Urel= 0.0041%～0.0020% |  |  |
|  |  |  |  | 2mA~20 mA | Urel= 0.0042%～0.0022% |  |  |
|  |  |  |  | 20mA~ 200mA | Urel= 0.0098%～0.0057% |  |  |
|  |  |  |  | 200mA~2A | Urel= 0.034%～0.026% |  |  |
|  |  |  |  | 2A~20A | Urel= 0.076%～0.055% |  |  |
| 224 | 数字多用表 | 交流电流 | 《交流数字电流表检定规程》 JJG(航天) 35-1999 | 20μA～20A (10Hz～20kHz) | 见附表 9 |  |  |
|  |  | 直流电阻 | 《直流数字欧姆表检定规程》 JJG724-1991 | （1~10）Ω | Urel =0.013% |  |  |
|  |  |  |  | (10～100)Ω | Urel =0.012% |  |  |
| 224 | 数字多用表 | 直流电阻 | 《直流数字欧姆表检定规程》 JJG724-1991 | 100Ω~1.1MΩ | Urel =0.0058% |  |  |
|  |  |  |  | (1.1~3.3)MΩ | Urel =0.0070% |  |  |
|  |  |  |  | (3.3~11)MΩ | Urel =0.015% |  |  |
|  |  |  |  | (11~33)MΩ | Urel =0.029% |  |  |
|  |  |  |  | (33~100)MΩ | Urel =0.058% |  |  |
| 225 | 直流电压源 | 直流电压 | 《直流标准电压源检定规程》 JJG445-1986 | 100μV～ 200mV | Urel= 0.0012%～0.0008% |  |  |
|  |  |  |  | 200mV~2V | Urel= 0.0006%～0.0005% |  |  |
|  |  |  |  | 2V~20V | Urel= 0.0006%～0.0005% |  |  |
|  |  |  |  | 20V~200V | Urel =0.008%～0.0007% |  |  |
|  |  |  |  | 200V~1000V | Urel= 0.0012%～0.0080% |  |  |
| 226 | 交流电压源 | 交流电压 | 《精密交流电压校准源检定规程》JJG410-1994 | 100μV～1000V (10Hz～1MHz) | 见附表10 |  |  |
| 227 | 直流电位差计 | 电压 | 《直流电位差计检定规程》 JJG123-2004 | 0.01μV ～13.11110V | Urel =0.003% |  |  |
| 228 | 超声多普勒胎心仪超声源 | 功率 | 《超声多普勒胎心仪超声源检定规程》JJG893-2007 | (2～100) mW | Urel=10% |  |  |
| 229 | 超声多普勒胎儿监护仪 超声源 | 功率 | 《超声多普勒胎儿监护仪超声源检定规程》 JJG394-1997 | (2～100) mW | Urel=10% |  |  |
|  |  | 心率 |  | (60～210) 次/分 | U=1次/分 |  |  |
| 230 | 脑电图仪 | 电压 | 《数字脑电图仪及脑地形图仪检定规程》 JJG 954-2000 | (0～2)mV | Urel=2% |  |  |
|  |  | 时间 |  | 1s | Urel=2% |  |  |
| 231 | 脉搏血氧计 | 血氧饱和度 | 《脉搏血氧计校准规范》JJG(京)31-2003 | (65～100)% | Urel =3% |  |  |
| 232 | 心脏除颤监护仪 | 能量 | 《心脏除颤器和心脏除颤监护仪校准规范》JJF1149-2006 | 除颤部分: (0～360)J | U=2.6J (＜100J) |  |  |
|  |  |  |  |  | Urel =2.4% (＞100J) |  |  |
| 233 | 高频电刀 | 功率 | 《高频电刀校准规范》JJF1217-2009 | (1～500)W | Urel=6% |  |  |
| 234 | 医用磁共振成像系统（MRI） | 磁场强度 | 《医用磁共振成像系统（MRI）检定规程》JJG009(粤)-2008 | （0～2）T | Urel =0.3% |  |  |
| 235 | 呼吸机 | 容量 | 《呼吸机校准规范》JJF1234-2010 | 呼气潮气量:(0～2)L | U =17mL |  |  |
| 235 | 呼吸机 | 频率 | 《呼吸机校准规范》JJF1234-2010 | 呼吸频率: (1～40) 次/分 | U =0.1 次/分 |  |  |
|  |  | 氧浓度 |  | (21～90) % | Urel =1.2% |  |  |
|  |  | 压力 |  | （0～3.0）kPa | U=0.11 kPa |  |  |
| 236 | 医用注射泵和输液泵 | 流量 | 《医用注射泵和输液泵校准规范》 JJF1259-2010 | (0.1～1000) mL/h | Urel =1.2% |  |  |
|  |  | 压力 |  | (0~120)kPa | Urel =1.2% |  |  |
| 237 | 手持糖量(含量)计及手持折射仪 | 糖量 | 《手持糖量(含量)计及手持折射仪检定规程》JJG820-1993 | （0～80）% | 0.2%分度：U=0.8%； 0.5%分度 U=0.9% 1%分度： U=1.0% |  |  |
| 238 | 熔点测定仪 | 温度 | 《熔点测定仪检定规程》JJG701-2008 | （0～300）℃ | U =(0.17～0.30)℃ |  |  |
| 239 | 箱式电阻炉 | 温度 | 《箱式电阻炉校准规范》JJF1376-2012 | (300～1300)℃ | U =(2.5～4.0)℃ |  |  |
| 240 | 真空计 | 压力 | 《工作用热传导真空计校准规范》JJF1050-1996《压阻真空计检定规程》JJG932-1998 | (1×105～1×10-1)Pa | Urel=(2～10)% |  |  |
| 241 | 玻璃体温计 | 温度 | 《玻璃体温计检定规程》JJG111-2003 | （35～42）℃ | U =0.04℃ |  |  |
| 242 | 空盒气压表 | 压力 | 《空盒气压表和空盒气压计检定规程》JJG272-2007 | (450～1100)hPa | Urel =0.1% |  |  |
| 243 | 标准水银温度计 | 温度 | 《标准水银温度计检定规程》JJG161-2010 | （-30～+300）℃ | U=(0.03～0.06)℃ |  |  |
| 244 | 覆膜电极溶解氧测定仪 | 浓度 | 《覆膜电极溶解氧测定仪检定规程》JJG291-2008 | （0～20）mg/L | U=0.10mg/L |  |  |
| 245 | 一氧化碳、二氧化碳红外气体分析器 | 浓度 | 《一氧化碳、二氧化碳红外气体分析器检定规程》JJG635-2011 | CO：（0～5000）×10-6 | Urel=1.2%FS |  |  |
|  |  |  |  | CO2 （0～25）×10-2 | Urel=1.2%FS |  |  |
| 246 | 二氧化硫气体检测仪 | 浓度 | 《二氧化硫气体检测仪检定规程》JJG551-2003 | （0～500）×10-6 | Urel=3% |  |  |
|  |  |  |  | （0～100）% | Urel=3% |  |  |
| 247 | 一氧化碳检测报警器 | 浓度 | 《一氧化碳检测报警器检定规程》JJG915-2008 | (0～2000) μmol/mol | Urel=3% |  |  |
| 248 | 甲醛气体分析仪 | 浓度 | 《甲醛气体检测仪检定规程》JJG1022-2007 | (0.01～2.0) μmol/mol | Urel=3% |  |  |
| 249 | 硫化氢气体检测仪 | 浓度 | 《硫化氢气体检测仪检定规程》 JJG695-2003 | （0～500） μmol/mol | Urel=3% |  |  |
| 250 | 水中油份浓度分析仪 | 浓度 | 《水中油份浓度分析仪检定规程》JJG950-2012 | A类(0～10)mg/L | Urel=3% |  |  |
|  |  |  |  | A类＞10mg/L | Urel=3% |  |  |
|  |  |  |  | B类＞10mg/L | Urel=3% |  |  |
| 251 | 原子荧光光度计 | 检出限 | 《原子荧光光度计检定规程》JJG939-2009 | As:≤0.4ng | U=0.014ng |  |  |
| 251 | 原子荧光光度计 | 检出限 | 《原子荧光光度计检定规程》JJG939-2009 | Sb: ≤0.4ng | U=0.04ng |  |  |
| 252 | 波长色散X射线荧光光谱仪 | 浓度 | 《波长色散X射线荧光光谱仪检定规程》JJG810-1993 | Cd:(0～100)mg/kg | Urel=2.5% |  |  |
|  |  |  |  | Cr:(0～1000)mg/kg | Urel=2.5% |  |  |
|  |  |  |  | Hg:(0～1000)mg/kg | Urel=2.5% |  |  |
|  |  |  |  | Pb:(0～1000)mg/kg | Urel=2.5% |  |  |
| 253 | 扭矩板子检定仪 | 扭矩 | 《扭矩扳子检定仪》 JJG797-2013 | (0～3000)N.m | U=0.4% |  |  |
| 254 | 机械天平 | 质量 | 《机械天平检定规程》 JJG98-2006 | 1mg～50kg | Ⅲ级 :U=0.4e |  | e为检定分度值 |
| 255 | 模拟指示秤 | 质量 | 《模拟指示秤检定规程》 JJG13-1997 | 100g～100t | Ⅰ3~Ⅱ10 （0～5×102）e ：U=0.2e |  | e为检定分度值 |
|  |  |  |  |  | Ⅳ级（0～5×10）e ：U=0.2e |  |  |
|  |  |  |  |  | Ⅲ级（5×102～2×103）e ：U=0.3e |  |  |
|  |  |  |  |  | Ⅳ级 （5×10～2×102）e ：U=0.3e |  |  |
| 255 | 模拟指示秤 | 质量 | 《模拟指示秤检定规程》 JJG13-1997 |  | Ⅲ级 （2×103～1×104）e ：U=0.5e |  | e为检定分度值 |
|  |  |  |  |  | Ⅳ级 （2×102～1×103）e ：U=0.5e |  |  |
| 256 | 非自行指示秤 | 质量 | 《非自行指示秤检定规程》 JJG14-1997 | 100g～100t | Ⅲ级（0～5×102）e ：U=0.2e |  | e为检定分度值 |
|  |  |  |  |  | Ⅳ级 （0～5×10）e ：U=0.2e |  |  |
|  |  |  |  |  | Ⅲ级 （5×102～2×103）e ：U=0.3e |  |  |
|  |  |  |  |  | Ⅳ级 （5×10～2×102）e ：U=0.3e |  |  |
|  |  |  |  |  | Ⅲ级 （2×103～1×104）e ：U=0.5e |  |  |
|  |  |  |  |  | Ⅳ级 （2×102～1×103）e ：U=0.5e |  |  |
| 257 | 洛氏硬度计 | 硬度 | 《金属洛氏硬度计(A，B，C，D，E，F，G，H，K，N，T标尺)检定规程》JJG112-2013 | （70～90）HRA | Urel=0.5 HRA |  |  |
|  |  |  |  | （80～100）HRB | Urel=0.8 HRA |  |  |
|  |  |  |  | （20～70）HRC | Urel=0.8 HRC |  |  |
|  |  |  |  | （15、30、45）HRN | Urel=0.8HR |  |  |
|  |  |  |  | （15、30、45）HRT | Urel=0.6HR |  |  |
| 258 | 维氏硬度计 | 硬度 | 《金属维氏硬度计检定规程》 JJG151-2006 | （5～1000）HV | Urel=1.5% （HV1~HV30） |  |  |
|  |  |  |  |  | Urel=3.5% (HV0.05～HV0.5) |  |  |
| 259 | 工作用贵金属热电偶 | 温度 | 《工作用贵金属热电偶检定规程》JJG141-2013 | S、R （300～1600）℃ | 锌固定点 U=0.6℃ 铝固定点 U=0.7℃ 铜固定点 U=0.8℃ |  |  |
|  |  |  |  | B（600～1800）℃ | U=3.3℃ |  |  |
| 260 | 双金属温度计 | 温度 | 《双金属温度计检定规程》JJG226-2001 | （-30～+300）℃ | U=0.27℃ |  |  |
| 261 | 压力式温度计 | 温度 | 《压力式温度计检定规程》JJG310-2002 | （-30～+300）℃ | U=0.3℃ |  |  |
| 262 | 精密压力表、真空表 | 压力 | 《弹性元件式精密压力表和真空表检定规程》JJG49-2013 | （-0.1～+250）MPa | Urel=0.18% |  |  |
| 263 | 数字心电图机 | 电压 | 《数字心电图机检定规程》 JJG1041-2008 | （0～5）mV | 灵敏度：10mm/mV;U= 0.016mV |  |  |
|  |  |  |  |  | 灵敏度：5mm/mV; U= 0.032mV |  |  |
|  |  |  |  |  | 灵敏度：20mm/mV;U= 0.008mV |  |  |
|  |  | 时间 |  | 时间间隔5ms～20s | 记录速度：25mm/s; U= 0.0064s |  |  |
|  |  |  |  |  | 记录速度：50mm/s; U= 0.0032s |  |  |
| 263 | 数字心电图机 | 心率 | 《数字心电图机检定规程》 JJG1041-2008 | (20～300) 次/分 | Urel=1% |  |  |
| 264 | 电动通风干湿表 | 温度 | 《电动通风干湿表检定规程》JJG993-2004 | (0～50)℃ | U=(0.2～0.7)℃ |  |  |
|  |  | 湿度 |  | (20～95)%RH | U=(2.0～4.0)%RH |  |  |
| 265 | 电压互感器 | 电压 | 《测量用电压互感器检定规程》 JJG 314-2010 | (2000~ 10000)V/ 100V | 见附表11 |  |  |
| 266 | 信号发生器 | 频率 | 《信号发生器检定规程》 JJG 173-2003 | 20Hz～2600MHz | Urel=1.1×10-8 |  |  |
|  |  | 电平 |  | -120dBm～+30dBm | U= (0.47dB～0.18dB) |  |  |
|  |  | 调幅 |  | 5%～99% | Urel =1.2% |  |  |
|  |  | 调频 |  | (0～400) kHz | Urel =1.2% |  |  |
|  |  | 调相 |  | (0～400) rad | Urel =1.2% |  |  |
| 267 | 婴儿培养箱 | 温度 | 《婴儿培养箱校准规范》JJF 1260-2010 | (20~50)℃ | U= 0.12℃ |  |  |
|  |  | 湿度 |  | (30~100)%RH | U= 3%RH |  |  |
|  |  | 氧浓度 |  | (21～90)% | U= 2%(V/V) |  |  |
|  |  | 声压 |  | 噪声(30~100)dB | U=2.0dB |  |  |
| 268 | 钳形接地电阻仪 | 电阻 | 《钳形接地电阻仪检定规程》 JJG 1054-2009 | 0.001Ω～100kΩ | 见附表12 |  |  |
| 269 | 直流稳压电源 | 电压 | 《直流稳压电源检定规程》 JJG（航天）6-1999 | 0.001V～1000V | Urel= 0.06% |  |  |
|  |  | 电流 |  | 0.001A～100A | Urel= 0.09% |  |  |
| 270 | 纺织用恒温恒湿箱 | 温度 | 《恒温恒湿箱校准规范》JJF(纺织)060-2010 | (10～50)℃ | U=0.3℃ |  |  |
|  |  | 湿度 |  | （10～95）%RH | U=2.2%RH |  |  |
|  |  | 风速 |  | (0.05～30)m/s | Urel=4.0% |  |  |
| 271 | 缕纱测长机 | 长度 | 《缕纱测长机校准规范》 JJF(纺织)019-2010 | （0~1000）mm | U=0.24mm |  |  |
|  |  | 力值 |  | （0~10）N | U=0.22cN |  |  |
|  |  | 长度 |  | （0~35）mm | U=0.3mm |  |  |
| 272 | 耐洗色牢度试验机 | 转速 | 《耐洗色牢度试验机准规范》 JJF(纺织)026-2010 | （0~40） r/min | U=1.2 r/min |  |  |
|  |  | 时间 |  | （0~45）min | U=0.1 s |  |  |
|  |  |  |  | (0～30)min | 升温时间：U=0.1s |  |  |
|  |  | 温度 |  | (40～95)℃ | U=0.5 ℃ |  |  |
| 273 | 染色摩擦色牢度仪 | 转速 | 《染色摩擦色牢度仪准规范》 JJF(纺织)027-2010 | （0~60）r/min | U=1.2 r/min |  |  |
|  |  | 长度 |  | （0~16） mm | 摩擦头摩擦端面直径：U=0.04mm |  |  |
|  |  |  |  | （0~100） mm | 摩擦头行程：U=0.1 mm |  |  |
|  |  | 力值 |  | （0~9） N | 摩擦头重力：U=0.01 N |  |  |
| 274 | 汗渍色牢度仪 | 长度 | 《汗渍色牢度仪校准规范》 JJF(纺织)028-2010 | (0～150)mm | U=0.1mm |  |  |
|  |  | 平行度 |  | ≤0.08 mm | U=0.1mm |  |  |
| 274 | 汗渍色牢度仪 | 平面度 | 《汗渍色牢度仪校准规范》 JJF(纺织)028-2010 | ≤0.06 mm | U=0.1mm |  |  |
|  |  | 力值 |  | 50 N | U=0.49N |  |  |
| 275 | 圆盘取样器 | 长度 | 《圆盘取样器校准规范》 JJF(纺织) 061-2010 | 直径：112mm | U=0.11mm |  |  |
| 276 | 八篮烘箱 | 温度 | 《八篮烘箱校准规范》JJG(纺织) 011-2010 | （0～150）℃ | U=0.5 ℃ |  |  |
|  |  | 时间 |  | (0～9999)s | U=0.1s |  |  |
| 277 | 压力灭菌锅 | 温度 | 《医用热力灭菌设备温度计校准规范》 JJF 1308-2011 《灭菌锅（柜）检验校准方法》FWIJF-R05 | （0～140）℃ | U=0.5 ℃ |  |  |
|  |  | 压力 |  | （0～0.25）MPa | Urel=1.1% |  |  |
| 278 | 澄明度检测仪 | 照度 | 《澄明度检测仪校准规范》JJF1287-2011 | (1000～4000)lx | Urel=11% |  |  |
|  |  | 时间 |  | （0～100）s | Urel=0.2s |  |  |
| 279 | 数显测高仪 | 长度 | 《数显测高仪校准规范》 JJF 1254-2010 | （0～100）mm | U=0.5μm |  |  |
|  |  |  |  | （0～500）mm | U=1.0μm |  |  |
|  |  |  |  | （0～1000）mm | U=1.9μm |  |  |
| 280 | 三爪内径千分尺 | 长度 | 《测量内尺寸千分尺校准规范》 JJF1411-2013 | (6～100)mm | U=(0.9+7.3L)μm L：m |  |  |
| 281 | 纤维卷尺 | 线纹 | 《纤维卷尺测绳检定规程》 JJG5-2001 | （0～50)m | U=(0.4+0.1L)mm L：m |  |  |
| 282 | 测绳 | 线纹 | 《纤维卷尺测绳检定规程》 JJG5-2001 | （0～200）m | U=(0.4+0.1L)mm L：m |  |  |
| 283 | 跳动检查仪 | 长度 | 《跳动检查仪校准规范》 JJF1109-2003 | (0～1)m | U=1.4μm |  |  |
| 284 | 螺纹千分尺 | 长度 | 《螺纹千分尺检定规程》 JJG25-2004 | (0～200)mm | U=3.8μm |  |  |
| 285 | 齿厚卡尺 | 长度 | 《齿厚卡尺校准规范》 JJF1072-2000 | 模数(1～50)mm | U=0.01mm |  |  |
| 286 | 百分表式卡规 | 长度 | 《百分表式卡规检定规程》 JJG109-2004 | (0～1000)mm | U=3.2μm |  |  |
| 287 | 带表千分尺 | 长度 | 《带表千分尺检定规程》 JJG427-2004 | (0～100)mm | U=1.3μm |  |  |
| 288 | 直角尺检查仪 | 垂直度 | 《直角式检查仪校准规范》 JJF1140-2006 | (0～1000)mm | U=0.8μm |  |  |
| 289 | 木直（折）尺 | 线纹 | 《木直(折)尺检定规程》 JJG 2-1999 | (0～3)m | U=(0.2+0.1L)mm L：mm |  |  |
| 290 | 小角度检查仪检定规程 | 角度 | 《小角度检查仪检定规程》 JJG300-2002 | (0～40)′ | U=0.0004mm/m |  |  |
| 291 | 套管尺 | 长度 | 《套管尺检定规程》JJG473-2009 | (600～2000)mm | U=0.16 mm |  |  |
| 292 | 关节臂式坐标测量机 | 长度 | 《关节臂式坐标测量机校准规范》JJF1408-2013 | (0～500)mm | U=0.005mm |  |  |
|  |  |  |  | (0～1000)mm | U=0.010mm |  |  |
|  |  |  |  | (500～2000) mm | U=0.016mm |  |  |
| 292 | 关节臂式坐标测量机 | 长度 | 《关节臂式坐标测量机校准规范》JJF1408-2013 | (1000～1500) mm | U=0.020mm |  |  |
| 293 | π尺 | 长度 | 《π尺校准规范》 JJF 1423-2013 | Ф(0～500)mm | U=0.012mm |  |  |
|  |  |  |  | Ф(0～1000)mm | U=0.015mm |  |  |
|  |  |  |  | Ф(0～1500) mm | U=0.020mm |  |  |
| 294 | 柔性周径尺 | 线纹 | 《柔性周径尺检定规程》 JJG670-1990 | (0～0.5)m | U=0.015mm |  |  |
|  |  |  |  | (0～5)m | U=0.06mm |  |  |
|  |  |  |  | (0～10)m | U=0.10mm |  |  |
| 295 | 垂直度检测尺 | 角度 | 《建筑工程质量检测器组校准规范》JJF1110-2003 | (0～20)mm/2m | U=0.1mm/2m |  |  |
| 296 | 内外直角检测尺 | 角度 | 《建筑工程质量检测器组校准规范》JJF1110-2003 | 10mm /150mm | U=0.1 mm/150 mm |  |  |
| 297 | 对角检测尺 | 长度 | 《建筑工程质量检测器组校准规范》JJF1110-2003 | 2m | U=0.3mm |  |  |
| 298 | 楔形塞尺 | 长度 | 《建筑工程质量检测器组校准规范》JJF1110-2003 | (1～15)mm | U=0.1mm |  |  |
| 299 | 百格网 | 长度 | 《建筑工程质量检测器组校准规范》JJF1110-2003 | (15×200)mm | U=0.2mm |  |  |
| 300 | 坡度尺 | 角度 | 《建筑工程质量检测器组校准规范》JJF1110-2003 | 50mm/m | U=0.1mm/m |  |  |
| 301 | 方形角尺 | 长度 | 《 方形角尺检定规程》 JJG1046-2008 | (0~630)mm | U=(0.6+0.7L)μm L:m | 测0级及以下 |  |
| 302 | 带表卡规 | 长度 | 《带表卡规校准规范》 JJF1253-2010 | (5～100)mm | 分度值0.005mm：U=5.2μm |  |  |
|  |  |  |  |  | 分度值0.01mm：U=15μm |  |  |
| 303 | 厚度表 | 长度 | 《厚度表校准规范》JJF1255-2010 | (0～10)mm | 分度值0.001mm： U=0.001mm |  |  |
|  |  |  |  | (0～30)mm | 分度值0.001mm U=0.002mm |  |  |
|  |  |  |  |  | 分度值0.01mm U=0.004mm |  |  |
| 304 | 步距规 | 长度 | 《步距规校准规范》JJF1258-2010 | (0～1200)mm | U=0.6μm |  |  |
| 305 | 雷氏夹膨胀测定仪 | 长度 | 《雷氏夹膨胀测定仪检定规程》 JJG(建材)110-1994 | (0～200)mm | U=0.04mm |  |  |
|  |  | 质量 |  | 300g | U=0.04g |  |  |
| 306 | 水泥安定性试验用雷氏夹 | 长度 | 《水泥安定性试验用雷氏夹检定规程》 JJG（建材）111-1994 | (0～200)mm | U=0.04mm |  |  |
| 307 | 贝克曼梁路面弯沉仪 | 长度 | 《贝克曼梁路面弯沉仪检定规程》 JJG(交通)025-2002 | (10～200)mm | U=0.02mm |  |  |
| 308 | 八轮连续式路面平整度测量仪 | 长度 | 《八轮连续式路面平整度测量仪检定规程》 JJG(交通)024-2002 | (-20～+20)mm | U=0.03mm |  |  |
| 309 | 混凝土裂缝宽度测量仪 | 长度 | 《混凝土裂缝宽度及深度测量仪校准规范》 JJF1334-2012 | （0.01～10）mm | U=8μm |  |  |
| 310 | 量块比较仪 | 长度 | 《量块比较仪校准规范》 JJF1304-2011 | (0～100)mm | U=0.017μm |  |  |
| 311 | 引伸计 | 长度 | 《引伸计检定规程 》JJG762-2007 | (0～50)mm | Urel=0.2% |  |  |
| 312 | 杯突试验机 | 力值 | 《杯突试验机检定规程》 JJG 583-2010 | (0～10)kN | Urel=0.4% |  |  |
|  |  | 位移 |  | （0～10）mm | Urel=0.3% |  |  |
| 313 | 生物显微镜 | 放大倍数 | 《生物显微镜检定规程》 JJF 1402-2013 | (1～10)mm | Urel=1.2% |  |  |
| 314 | D型邵氏硬度计 | 橡胶硬度 | 《D型邵氏硬度计检定规程》 JJG1039-2008 | (0～100)HD | U =0.3HD |  |  |
| 315 | 静态扭矩测量仪 | 扭矩 | 《静态扭矩测量仪检定规程》 JJG995-2005 | （0～3000）N.m | Urel=0.1% |  |  |
| 316 | 摆式摩擦系数测定仪 | 质量 | 《摆式摩擦系数测定仪检定规程》JJG(交通)053-2009 | （0~2500）g | U=0.5g |  |  |
|  |  | 长度 |  | (0～500)mm | U=0.5mm |  |  |
| 317 | 马歇尔稳定度试验仪 | 力值 | 《马歇尔稳定度试验仪检定规程》 JJG(交通)066-2006 | (0～50)kN | Urel=0.4% |  |  |
| 318 | 医用注射器 | 容量 | JJG18-2008《医用注射器检定规程》 | （0～100）mL | Urel=1.0% | 仅测容量 |  |
| 319 | 罐和桶 | 容量 | 《罐和桶检定规程》 JJG647-1990 | （0～1000）L | Urel=0.2% |  |  |
| 320 | 携带式布氏硬度计 | 硬度 | 《携带式布氏硬度计检定规程》 JJG870-1994 | （100～225）HBW10/3000 | Urel=3.0％ |  |  |
| 321 | 容重器 | 质量 | 《容重器检定规程》JJG 264-2008 | （0～1000）g | U=0.6g |  |  |
| 322 | 水泥净浆标准稠度与凝结时间测定仪 | 长度 | 《水泥净浆标准稠度与凝结时间测定仪检定规程》JJG（交通） 050-2004 | （0～150）mm | U=0.05mm |  |  |
|  |  | 重量 |  | (0～2000)g | U=0.1g |  |  |
| 323 | 汽车制动操纵力计 | 力值 | 《汽车制动操纵力计校准规范》JJF1169-2007 | (0～600)N | Urel= 0.4% |  |  |
| 324 | 电液伺服万能试验机 | 力值 | 《电液伺服万能试验机检定规程》 JJG1063-2010 | (0～10)MN | Urel=0.4% |  |  |
| 325 | 恒定加力速度建筑材料试验机 | 力值 | 《恒定加力速度建筑材料试验机检定规程 》 JJG1025-2007 | (0～10)MN | Urel=0.4% |  |  |
| 326 | 平板式制动检验台 | 力值 | 《平板式制动检验台检定规程 》 JJG 1020-2007 | (0～20)kN | Urel=0.4% |  |  |
| 327 | 安全玻璃霰弹袋冲击试验机 | 质量 | 《安全玻璃霰弹袋冲击试验机检定规程 》JJG(建材)128-1999 | (0～60)kg | U=0.1kg |  |  |
|  |  | 能量 |  | （50～700）J | U=0.7J |  |  |
|  |  | 长度 |  | (0～2000)mm | U=1mm |  |  |
| 328 | 贯入式砂浆强度检测仪 | 长度 | 《贯入式砂浆强度检测仪校准规范 》JJF1372-2012 | （0～25）mm | U=0.2mm |  |  |
|  |  | 力值 |  | (0～1)kN | U=0.5% |  |  |
| 329 | 袜子横拉仪 | 力值 | 《袜子横拉仪》JJF-025-89 | (0～500)N | U=0.5% |  |  |
|  |  | 长度 |  | (0～500)mm | U=0.6mm |  |  |
| 330 | 织物厚度仪 | 力值 | 《织物厚度仪校准规范》 JJF(纺织)020-2010 | (0～200)cN | U=0.6% |  |  |
|  |  | 长度 |  | (0～10)mm | U=0.04mm |  |  |
| 331 | 基桩动态测量仪 | 加速度幅值 | 《基桩动态测量仪检定规程》 JJG930-1998 | (1～100) m/s2 | Urel=3.0% |  |  |
| 332 | 碰撞试验台 | 加速度幅值 | 《碰撞试验台检定规程》 JJG497-2000 | ≤10000m/s2 | Urel=5% |  |  |
| 333 | 冲击试验台 | 加速度幅值 | 《落体式冲击试验台检定规程》 JJG541-2005 | ≤10000m/s2 | Urel=5% |  |  |
| 334 | 液压式振动试验台 | 位移峰峰值 | 《液压式振动试验台检定规程》JJG638-1990 | （0.01～10.0）mm | Urel=5% |  |  |
| 335 | 机械式振动试验台 | 位移峰峰值 | 《机械式振动试验台检定规程》JJG189-1997 | （0.01～10.0）mm | Urel=5% |  |  |
| 336 | 电动式振动试验台 | 加速度幅值 | 《电动式振动试验台检定规程》 JJG190-1997 | (1～1000) m/s2 | Urel =3% |  |  |
| 337 | 电动水平振动试验台 | 加速度幅值 | 《电动水平振动试验台检定规程》 JJG1000-2005 | (1～1000) m/s2 | Urel =3% |  |  |
| 338 | 随机振动试验系统 | 加速度幅值 | 《数字式电动振动试验系统检定规程》 JJG948-1999 | (1～1000) m/s2 | Urel=3.0% |  |  |
| 339 | 数字式电动振动试验系统 | 加速度幅值 | 《数字式电动振动试验系统检定规程》 JJG948-1999 | (1～200) m/s2 (5～20)Hz | Urel=3.0% |  |  |
| 339 | 数字式电动振动试验系统 | 加速度幅值 | 《数字式电动振动试验系统检定规程》 JJG948-1999 | (1～200) m/s2 (20～2000)Hz | Urel=3.0% |  |  |
|  |  |  |  | (1～200) m/s2 (2000～5000)Hz | Urel=3.0% |  |  |
|  |  |  |  | (1～200) m/s2 160Hz（参考点） | Urel=3.0% |  |  |
| 340 | 测振仪 | 加速度 | 《工作测振仪检定规程》 JJG676-2000 | 频率(20～2000)Hz， | 参考点(160Hz)：Urel=1.4% 通频带：Urel=2.8% |  |  |
|  |  |  |  | 加速度幅值： (1～200) m/s2 |  |  |  |
| 341 | 便携式振动校准器 | 加速度幅值 | 《便携式振动校准器检定规程 JJG 1062-2010 | 频率：（20～2000）Hz，加速度幅值：（1～20）m/s2 | Urel=1.2% |  |  |
| 342 | 重力式自动装料衡器 | 质量 | 《重力式自动装料衡器检定规程》JJG564-2002 | （20~5000）kg | Urel=0.2% |  |  |
| 343 | 液体比重天平 | 比重 | 《液体比重天平检定规程》 JJG171-2004 | 0.0000～2.0000 | Urel=0.05% |  |  |
| 344 | 扭力天平 | 质量 | 《扭力天平检定规程》 JJG46-2004 | （5~2500）mg | U=0.007mg～3.5mg |  |  |
| 345 | 水分测定仪 | 质量 | 《烘干法水分测定仪检定规程》 JJG658-2010 | 1mg～500g | U=(0.1～1)mg |  |  |
| 346 | 波美计 | 波美度 | 《工作玻璃浮计检定规程》JJG42-2011 | (0～40) Bh | U=0.03 Bh |  |  |
| 347 | 韦氏硬度计 | 硬度值 | 《金属韦氏硬度计检定规程》 JJG944-2013 | (5～18)HW | U=0.6HW |  |  |
| 348 | 搅拌机 | 转速 | 《水泥胶砂搅拌机检定规程 》 JJG(建材) 102-1999 《行星式胶砂搅拌机检定规程》 JJG(建材)123-1999 《 水泥净浆搅拌机检定规程》 JJG(建材)104-1994 | (10～200)r/min | U=0.6r/min |  |  |
|  |  | 时间 |  | (15～240)s | U=0.8s |  |  |
| 349 | 振实台 | 时间 | 《胶砂试体成型振实台检定规程》 JJG(建材)124-1999《水泥胶砂流动度测定仪检定规程》JJG(建材)126-1999 | (0～60)s | U=0.8s |  |  |
|  |  | 振幅 |  | (9.9～15.3)mm | U=0.2mm |  |  |
| 350 | 击实仪 | 质量 | 《土工击实仪检定规程 》 JJG(交通) 058-2004 | (2000～6000) g | U=1g |  |  |
|  |  | 长度 | 《沥青混合料马歇尔击实仪检定规程》 JJG(交通) 065-2006 | (0～500)mm | U=0.7mm |  |  |
| 351 | 纸与纸板耐破度仪 | 压力 | 《纸与纸板耐破度仪检定规程 》JJG(轻工)61-2000 | （0～1.6）MPa | U=0.1%FS |  |  |
| 352 | 纸与纸板透气度测定仪 | 压力 | 《纸与纸板透气度测定仪检定规程》JJG(轻工)51-2000 | （0～10）kPa | U=0.1%FS |  |  |
| 353 | 气体减压器 | 压力 | 《带弹簧管压力表的气体减压器》JJF1328-2011 | (0.1～25) MPa | Urel=0.8% |  |  |
| 354 | 织物平磨仪 | 转速 | 《织物平磨仪校准规范》 JJF(纺织) 036-2012 | 外传动装置（47.5±2.5） r/min | U=0.3 r/min |  |  |
|  |  |  |  | 内传动装置（44.5±2.5） r/min |  |  |  |
|  |  | 质量 |  | 压锤：（2.5±0.5）kg | U=0.6 g |  |  |
|  |  |  |  | 试样夹具组件总质量： （198±2）g |  |  |  |
|  |  |  |  | 加载块和夹具总质量：（595±7）g、（795±7）g、（155±1）g、（415±2）g |  |  |  |
| 354 | 织物平磨仪 | 长度 | 《织物平磨仪校准规范》 JJF(纺织) 036-2012 | 平行度≤0.05mm | U=0.008 mm |  |  |
|  |  |  |  | 耐磨试验最大动程（60.5±0.5）mm、起毛起球试验最大动程：（24±0.5）mm、 | U=0.04 mm |  |  |
| 355 | 氧化锆分析器 | 浓度 | JJG 535-2004 《氧化锆氧分析器检定规程》 | (0～25)% | Urel=2.2% |  |  |
| 356 | 织物缩水率试验机 | 转速 | 《织物缩水率试验机校准规范》 JJF(纺织) 052-2012 | A1洗涤时：(52±1)r/min | U=0.1 r/min |  |  |
|  |  |  |  | A2洗涤时： (52±2)r/min | U=0.1 r/min |  |  |
|  |  |  |  | (500±20)r/min | U=1.3r/min |  |  |
|  |  | 温度 |  | (40～92)℃ | U=1.0℃ |  |  |
|  |  | 时间 |  | ≤8min(25℃升至40℃) | U=0.2 s |  |  |
|  |  |  |  | ≤10min(40℃升至60℃) | U=0.2 s |  |  |
|  |  |  |  | ≤22min(40℃升至92℃) | U=0.2 s |  |  |
| 356 | 织物缩水率试验机 | 时间 | 《织物缩水率试验机校准规范》 JJF(纺织) 052-2012 | 进水时间＜2min(从0水位至13cm水位时) | U=0.2s |  |  |
|  |  |  |  | 排水时间＜1min(从13水位至0cm水位时) | U=0.2 s |  |  |
| 357 | 纱线捻度仪 | 长度 | 《纱线捻度机检定方法》 JJF(纺织) 010-2012 | (0～500)mm | U=0.1 mm |  |  |
|  |  | 张力 |  | (0～500)cN | Urel =1.8% |  |  |
| 358 | 摇黑板机 | 长度 | 《Y381型摇黑板机检定规程》 JJF(纺织) 14-1985 | (0～300)mm | U=0.1mm |  |  |
|  |  | 质量 |  | (5～50)g | U=0.12 g |  |  |
|  |  | 转速 |  | (50～400)r/min | U=0.3r/min |  |  |
| 359 | 氧弹热量计 | 热量 | 《氧弹热量计检定规程》JJG672-2001 | 热容量: (1500～ 15000)J/K | U=31 J/g |  |  |
| 360 | 温度数据采集仪 | 温度 | 《温度数据采集仪校准规范》JJF1366-2012 | （-30～300）℃ | U=（0.2～0.6)℃ |  |  |
| 361 | 热敏电阻测温仪 | 温度 | 《热敏电阻测温仪校准规范》JJF1379-2012 | （-30～200）℃ | U=（0.2～0.6)℃ |  |  |
| 362 | 液位计显示仪表 | 电流 | 《液位计检定规程》JJG971-2002 | (4～20) mA | U= (2～3) μA |  |  |
| 363 | 热电偶检定炉 | 温度 | 《热电偶检定炉温度场测试技术规范》 JJF1184-2007 | （300～1500）℃ | U=（0.2～1)℃ |  |  |
| 364 | 温度校准仪(热工仪表校验仪) | 电压 | 《温度校准仪校准规范》JJF1309-2011 | (0～100) mV | U= (1～3) μV |  |  |
|  |  | 电流 |  | (4～20) mA | U= (2～3) μA |  |  |
|  |  | 电阻 |  | (0～400)Ω | U=(0.5～3)mΩ |  |  |
| 365 | 湿度传感器/数字湿度计 | 湿度 | 《湿度传感器校准规范》JJF1076-2001 | (10～100)%RH | U =(0.7～1.1)%RH |  |  |
| 366 | 数字式气压计 | 压力 | 《数字式气压计检定规程》JJG1084-2013 | (600～1100) hPa | U=1.0 hPa |  |  |
| 367 | 盐雾试验箱 | 温度 | 《盐雾试验箱校准规范》JJF(辽)75-2009 | (30～60)℃ | U=(0.2～0.3)℃ |  |  |
|  |  | 盐雾沉降率 |  | (1～2) ml/(80cm2.h) | U=0.2 mL/(80cm2·h) |  |  |
| 368 | 干体式温度校准器 | 温度 | 《干体式温度校准器校准方法》JJF1257-2010 | (-30～+1200)℃ | U=(0.03～1.2)℃ |  |  |
| 369 | 沥青软化点仪 | 仪器零部件几何尺寸 | 《沥青软化点仪检定规程》JJG(交通)057-2004 | (6～25.4)mm | U= 0.04mm |  |  |
|  |  | 仪器零部件质量 |  | (3.50～0.05)g | U= 0.007g |  |  |
|  |  | 温度计示值误差 |  | (0～180) ℃ | U= 0.2 ℃ |  |  |
|  |  | 升温速率 |  | (5～0.5) ℃/min | U= 0.12 ℃/min |  |  |
| 370 | 沥青针入度仪 | 尺寸 | 《沥青针入度仪校准规范》JJF1208-2008 | (1.00～5.00)mm | U= 0.002mm |  |  |
| 370 | 沥青针入度仪 | 尺寸 | 《沥青针入度仪校准规范》JJF1208-2008 | (5.00～200)mm | U= 0.04mm |  |  |
|  |  | 质量 |  | (0～2)kg | U= 0.06g |  |  |
|  |  | 位移 |  | (0～100)mm | U= 0.006mm |  |  |
|  |  | 温度 |  | (0～300) ℃ | U= 0.3 ℃ |  |  |
| 371 | 沸煮箱 | 温度 | 《水泥安定性试验用沸煮箱检定规程》JJG(建材)109-1994 | (室温+10～100) ℃ | U= 0.2 ℃ |  |  |
|  |  | 时间 |  | （0～180）min | U= 0.1min |  |  |
| 372 | 铠装热电偶 | 温度 | 《铠装热电偶校准规范》JJF1262-2010 | (-30～1100) ℃ | U=（0.5～3.0)℃ |  |  |
| 373 | 液体介质电热恒温设备 | 温度 | 《恒温槽技术性能测试规范》JJF1030-2010 | (-30～300) ℃ | 0.1℃分度 U=0.4℃ |  |  |
|  |  |  |  |  | 1℃分度 U=0.1℃ |  |  |
| 374 | 日晒气候色牢度试验仪 | 温度 | 《日晒气候色牢度试验仪校准规范》JJF(纺织)051-2012 | (0～100)℃ | U=0.5℃ |  |  |
|  |  | 湿度 |  | (10～100)％RH | U=2.0％RH |  |  |
|  |  | 时间 |  | (0.01~9999.99) s | U=0.2s |  |  |
| 375 | 熨烫升华色牢度仪 | 温度 | 《熨烫升华色牢度仪校准规范》JJF(纺织)029-2012 | (0～300)℃ | U=1.0℃ |  |  |
|  |  | 时间 |  | （0.01~9999.99) s | U=0.2s |  |  |
|  |  | 力值 |  | （12~20）N | Urel=2.0% |  |  |
|  |  | 长度 |  | (0～1000)mm | U=0.04mm |  |  |
| 376 | 示差扫描热量计 | 热值 | 《示差扫描热量计检定规程》JJG936-1998 | (28～108)J/g | In：U=0.45J/g, Sn：U=0.35J/g, Pb：U=0.41J/g, Zn：U=1.4J/g |  |  |
|  |  | 温度 |  | (120～450)℃ | In：U=0.35℃ Sn：U=0.31℃ Zn：U=0.66℃ Pb：U=0.28℃ |  |  |
| 377 | 开口闪点测定仪 | 温度 | 《开口／闭口闪点测定仪校准规范》JJF 1384-2012 | 室温～400℃ | U=(7.6~ 10.8)℃ |  |  |
| 378 | 闭口闪点测定仪 | 温度 | 《开口／闭口闪点测定仪校准规范》JJF 1384-2012 | 室温～300℃ | U=（4.2~5.8）℃ |  |  |
| 379 | 崩解时限测试仪 | 温度 | 《崩解时限测试仪校准规范》JJF 1449-2014 | 室温～40.0℃ | U=0.3℃ |  |  |
|  |  | 时间 |  | （0～600）s | Urel=12.8% |  |  |
| 380 | 生物化学需氧量(BOD5)测定仪 | 生物化学需氧量 | 《生物化学需氧量(BOD5)测定仪检定规程》JJG 824-1993 | (0.1～1000)mg/L | Urel＝6.0% |  |  |
| 381 | 变压比电桥 | 变比 | JJG970-2002《变压比电桥检定规程》 | 单相 （1～10000） 三相 （10、20、50、100） | Urel=0.018% |  |  |
| 382 | 剩余电流动作保护器动作特性检测仪(RCD) | 电流 | JJF1283-2011《剩余电流动作保护器动作特性检测仪校准规范》 | 3mA～1500mA | Urel＝1.2% |  |  |
|  |  | 时间 |  | 20ms～2000ms | U=2ms |  |  |
| 383 | 继电保护试验装置 | 交流电压 | JJF(鲁）61-2007《继电保护试验装置校准规范》 | (0.5～750)V (45～65)Hz | Urel＝0.03% |  |  |
|  |  | 交流电流 |  | (0.2～100)A (45～65)Hz | Urel＝0.03%~0.09% |  |  |
|  |  | 交流功率 |  | (0.5～750)V (0.2～100)A (45～65)Hz | Urel＝0.03%~0.09% |  |  |
|  |  | 直流电压 |  | (0.5～750)V | Urel＝0.03% |  |  |
|  |  | 直流电流 |  | (0.1～100)A | Urel＝0.06%~0.03% |  |  |
|  |  | 时间 |  | (0.001～100)s | Urel＝0.02%～0.06% |  |  |
|  |  | 相位 |  | 0°～360° (45～65)Hz | U＝0.1° |  |  |
| 384 | 音频分析仪 | 频率 | 《音频分析仪校准 规范》 JJF 1395-2013 | 10Hz～200kHz | Urel＝1×10-6 |  |  |
|  |  | 电压 （输入） |  | 1mV～300V （1kHz） | Urel=0.1% |  |  |
|  |  |  |  | 10Hz～100kHz（1V） | Urel=0.1% |  |  |
|  |  |  |  | 100kHz～200kHz（1V） | Urel=0.5% |  |  |
| 384 | 音频分析仪 | 电压 （输出） | 《音频分析仪校准 规范》 JJF 1395-2013 | 1mV～20V（1kHz） | Urel=0.1% |  |  |
|  |  |  |  | （10Hz~ 100kHz）（1V） | Urel=0.1% |  |  |
|  |  |  |  | 100kHz～200kHz（1V） | Urel=0.5% |  |  |
|  |  | 失真度 （输入） |  | 0.01%～100% | 见附表13 |  |  |
|  |  | 失真度 （输出） |  | 0.01%～0.1% | 见附表14 |  |  |
| 385 | 钢筋锈蚀测量仪 | 电位 | JJF 1341-2012《钢筋锈蚀测量仪校准规范》 | 20mV～10V | Urel =0.2% |  |  |
|  |  | 输出电压 |  | 20mV～10V | Urel=0.2% |  |  |
|  |  | 输出电流 |  | 0.01mA～2A | Urel=0.2% |  |  |
| 386 | 直流分流器 | 电流 | 《直流分流器检定规程》 JJG 1069-2011 | (5~600)A | Urel=0.014% |  |  |
| 387 | 交直流电表校验仪 | 直流电压 | 《交直流电表校验仪校准规范》 JJF1284-2011 | DCV(20mV～1000V) | Urel=0.003% |  |  |
|  |  | 交流电压 |  | ACV(20mV～200mV,40Hz~ 100Hz) | Urel=0.03% |  |  |
|  |  |  |  | ACV(20mV～200mV,100Hz～1kHz) | Urel=0.022% |  |  |
| 387 | 交直流电表校验仪 | 交流电压 | 《交直流电表校验仪校准规范》 JJF1284-2011 | ACV(200mV～1000V,40Hz～1kHz) | Urel=0.03% |  |  |
|  |  | 直流电流 |  | DCA(10μA ～100A) | Urel=0.06% |  |  |
|  |  |  |  | DCA(100A ～1000 A) | Urel=0.07% |  |  |
|  |  | 交流电流 |  | ACA(20μA～100A, 50Hz～60Hz) | Urel=0.09% |  |  |
|  |  |  |  | ACA(100A～1000A, 50Hz～60Hz) | Urel=0.18% |  |  |
|  |  | 电阻 |  | 2Ω～20Ω | Urel=0.0026% |  |  |
|  |  |  |  | 20Ω～200kΩ | Urel=0.0022% |  |  |
|  |  |  |  | 200kΩ～2MΩ | Urel=0.0042% |  |  |
|  |  |  |  | 2MΩ～20MΩ | Urel=0.010% |  |  |
|  |  |  |  | 20MΩ～200MΩ | Urel=0.08% |  |  |
|  |  | 频率 |  | 40Hz～20kHz | U=1×10-7 |  |  |
| 388 | 电解质分析仪 | 离子浓度 | 《电解质分析仪检定规程》JJG 1051-2009 | Na+：(90～200)mmol/L | Urel=2.3% |  |  |
|  |  |  |  | Cl-：70～170)mmol/L | Urel=1.1% |  |  |
| 388 | 电解质分析仪 | 离子浓度 | 《电解质分析仪检定规程》JJG 1051-2009 | K+：(1.0～8.0)mmol/L | Urel=2.3% |  |  |
| 389 | 肺功能仪 | 容量 | 《肺功能仪检定规程》JJF1213-2008 | (0～8)L | Urel=2.4% | 不做气体交换项目 |  |
| 390 | 氨基酸分析仪 | 检出限 | 《氨基酸分析仪检定规程》JJG1064-2011 | ＜1×10nmol | Urel=20% |  |  |
| 391 | 标准光源箱 | 照度 | 《标准光源箱检定规程》JJG(纺织)055-2012 | D65光源光照度：≥600lx | U=46lx |  |  |
|  |  | 色温 |  | (2700～7500)K | U=116K |  |  |
| 392 | 恩氏粘度计 | 时间 | 《恩氏粘度计检定规程》JJG742-1991 | (51±1)s | U=0.2s |  |  |
| 393 | 斯托默粘度计 | 粘度 | 《旋转黏度计检定规程》JJG1002-2005 | (53～141)KU | Urel=1.2% |  |  |
| 394 | 氧气测定仪 | 气体浓度 | 《电化学氧测定仪检定规程》JJG365-2008 | (0.1～25)%； | U=1.1%FS |  |  |
|  |  |  |  | (0.1～100)% | U=1.1%FS |  |  |
| 395 | 冷原子吸收测汞仪 | 检测限 | 《测汞仪检定规程》JJG548-2004 | (0.1～30.0) ng/mL | U=0.34ng/mL |  |  |
|  |  |  |  | (0.01～3.00) ng/mL | U=0.02ng/mL |  |  |
| 396 | 卡氏水分测定仪 | 含水量 | 《卡尔.费休库仑法微量水分测定仪检定规程》JJG1044-2008 | (0~10)μg | Urel=1.8% |  |  |
|  |  |  |  | (10~100)μg | Urel=1.8% |  |  |
| 396 | 卡氏水分测定仪 | 含水量 | 《卡尔.费休库仑法微量水分测定仪检定规程》JJG1044-2008 | (100~1000)μg | Urel=1.8% |  |  |
|  |  |  |  | (1000~ 5000)μg | Urel=1.8% |  |  |
| 397 | 煤中全硫测定仪 | 含硫量 | 《煤中全硫测定仪检定规程》JJG1006-2005 | ＜1.0% | U=0.05% |  |  |
|  |  |  |  | (1.0～4.0)% | U=0.06% |  |  |
|  |  |  |  | (4.0～6.0)% | U=0.07% |  |  |
| 398 | 农药残留测定仪 | 透射比 | 《农药残留测定仪检定规程》JJG(粤)006-2005 | (0～100)% | U=0.5% |  |  |
| 399 | 尘埃粒子计数器 | 粒子浓度 | 《尘埃粒子计数器校准规范》JJF1190-2008 | 计数范围: (1000～105)个 | U=16%FS |  |  |
| 400 | 四极杆电感耦合等离子体质谱仪 | 检出限 | 《四极杆电感耦合等离子体质谱仪校准规范》JJF1159-2006 | Be≤30ng/L | U=0.26ng/l |  |  |
|  |  |  |  | In≤10ng/L | U=0.94ng/l |  |  |
|  |  |  |  | Bi≤10ng/L | U=0.05ng/l |  |  |
| 401 | 液相色谱与质谱联用仪 | 质量数 | 《液相色谱-质谱联用仪校准规范》JJF1317-2011 | ≤1000u | U=0.1u |  |  |
| 402 | 极谱仪 | 检出限 | 《方波极谱仪试行检定规程》JJG 549-1988 | Cd:1×10-7 mol•dm-3 | U=1.1μg/L |  |  |
|  |  |  | 《示波极谱仪检定规程》JJG 748-2007 | Cd（Ⅱ）≤20μg/L | U=1.1μg/L |  |  |
| 403 | 卤素检漏仪 | 检漏率 | 《卤素检漏仪检定规程》JJG(轻工)106-1994 | (0～15)g/a | Urel＝15% |  |  |

| 附表1 | 109 交流数字功率表 |  |  |
| --- | --- | --- | --- |
| 电压/ 电流 | (0.001~ 0.01)A | (0.02~ 0.1)A | (0.1~40)A |
| (30~220)V | 1.9%~ 0.12% | 0.12%~ 0.060% | 0.030%~ 0.023% |
| (220~480)V | 0.12% | 0.06% | 0.023% |

| 附表2 | 113 电桥 |  |  |
| --- | --- | --- | --- |
| 量程 | 0.01Ω～ 0.1Ω | 0.1Ω～10Ω | 10Ω～ 105Ω |
| Urel | 0.30% | 0.03% | 0.003% |

| 附表3 | 114 电阻箱 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 测量盘 位置 | ×1000000 Ω | ×100000 Ω | × 10000 Ω | × 1000 Ω | ×100 Ω | ×10 Ω | × 1 Ω | × 0.1 Ω | × 0.01 Ω |
|  | U（KΩ） | U（Ω） | U（Ω） | U（Ω） | U（Ω） | U（Ω） | U（Ω） | U（Ω） | U（Ω） |
| 1 | 0.03 | 10 | 0.09 | 0.008 | 0.0008 | 0.0002 | 0.00006 | 0.00006 | 0.00006 |
| 2 | 0.03 | 11 | 0.13 | 0.013 | 0.0012 | 0.0002 | 0.00023 | 0.00006 | 0.00006 |
| 3 | 0.11 | 11 | 0.21 | 0.021 | 0.0021 | 0.0003 | 0.00022 | 0.00006 | 0.00006 |
| 4 | 0.12 | 11 | 0.27 | 0.026 | 0.0026 | 0.0003 | 0.00029 | 0.00006 | 0.00006 |
| 5 | 0.13 | 11 | 0.32 | 0.032 | 0.0032 | 0.0004 | 0.00035 | 0.00006 | 0.00006 |
| 6 | 0.14 | 11 | 0.37 | 0.037 | 0.0037 | 0.0004 | 0.00042 | 0.00006 | 0.00006 |
| 7 | 0.16 | 12 | 0.43 | 0.043 | 0.0043 | 0.0005 | 0.00048 | 0.00006 | 0.00006 |
| 8 | 0.17 | 12 | 0.48 | 0.048 | 0.0048 | 0.0005 | 0.00055 | 0.00006 | 0.00006 |
| 9 | 0.18 | 12 | 0.54 | 0.054 | 0.0054 | 0.0006 | 0.00062 | 0.00006 | 0.00006 |
| 10 | 0.19 | 13 | 0.59 | 0.059 | 0.0059 | 0.0006 | 0.00068 | 0.00006 | 0.00006 |

| 附表4 | 120 数字三用表校验仪---交流电压 |  |
| --- | --- | --- |
| 电压/频率 | 50Hz、60Hz | 400Hz |
| 2mV~1V | 0.036% | 0.022% |
| 1V~10V | 0.036% | 0.024% |
| 10V~100V | 0.036% | 0.022% |
| 100V~ 500V | 0.032% | 0.032% |

| 附表5 | 120数字三用表校验仪---交流电流 |  |
| --- | --- | --- |
| 电流/频率 |  | 50Hz、60Hz、400Hz |
| (20~200)μA |  | 0.053% |
| (0.2~2)mA |  | 0.054% |
| (2~20)mA |  | 0.057% |
| (20~200)mA |  | 0.054% |
| (0.2~2)A |  | 0.086% |
| (2~10)A |  | 0.13% |

| 附表6 | 122低频信号发生器 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 频率 | 档位 | 0.03% | 0.10% | 0.30% | 1% | 3% | 10% |
| 10Hz~ 20Hz | U | --- | 0.0035% | 0.010% | 0.035% | 0.10% | 0.35% |
| 20Hz~ 300Hz |  | 0.0035% | 0.012% | 0.035% | 0.012% | 0.35% | 0.12% |
| 300Hz~ 5kHz |  | 0.0024% | 0.0025% | 0.024% | 0.081% | 0.24% | 0.81% |
| 5kHz~ 20kHz |  | 0.0035% | 0.0035% | 0.035% | 0.12% | 0.35% | 1.2% |
| 20kHz~ 109kHz |  | --- | 0.010% | 0.10% | 0.35% | 1.0% | 3.5% |

| 附表7 | 125失真度测量仪 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 频率/示值 | 100%~0.3% | 0.3%~ 0.1% | 0.1%~ 0.05% | 0.04% | 0.03% | 0.02% | 0.01% |
| （5~10）Hz | 3.6% | 3.6% | 5.8% | 8.2% | 12.0% | --- | --- |
| (10~20 )Hz | 2.4% | 2.4% | 4.7% | 5.8% | 8.2% | --- | --- |
| (20~110 ) Hz | 1.3% | 2.4% | 3.6% | 4.7% | 8.2% | --- | --- |
| (110~10) kHz | 0.9% | 1.1% | 1.3% | 2.4% | 2.4% | 4.7% | 15% |
| (10~20) kHz | 1.3% | 2.4% | 3.6% | 4.7% | 8.2% | --- | --- |
| (20~50) kHz | 2.4% | 4.7% | 12% | --- | --- | --- | --- |
| (50~200) kHz | 4.7% | 9.3% | --- | --- | --- | --- | ---- |

| 附表8 | 221电流互感器 |  |  |  |
| --- | --- | --- | --- | --- |
| 额定电压百分值 | 5% | 20% | 100% | 120% |
| U 比值差 U. | 0.018% | 0.012% | 0.012% | 0.012% |
| U 相位差 U. | 0.5′ | 0.4′ | 0.4′ | 0.4′ |

| 附表9 | 224数字多用表--交流电流 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 量程 | 0.2mA～2mA | 2mA～20mA | 20mA～200mA | 200mA～2A | 2A～20A |
| Urel | 0.12%～0.036% | 0.12%～0.036% | 0.12%～0.033% | 0.15%～0.064% | 0.16%～0.079% |

| 附表10 | 226交流电压源 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 电压/频率 | (10～40)Hz | (40～100)Hz | 100Hz～2kHz | (2～10) kHz | (10～30) kHz | （30～100）kHz |
| 100μV ~200mV | 0.018% | 0.016% | 0.013% | 0.018% | 0.042% | 0.097% |
| 200mV~2V | 0.014% | 0.029% | 0.0096% | 0.013% | 0.026% | 0.077% |
| 2V~20V | 0.014% | 0.029% | 0.0096% | 0.013% | 0.026% | 0.077% |
| 20V~200V | 0.014% | 0.029% | 0.0096% | 0.013% | 0.026% | 0.077% |
| 电压/ 频率 | (100～300) kHz | 300kHz~ 1MHz |  |  |  |  |
| 200mV~2V | 0.50% | 3.0% |  |  |  |  |
| 2V~20V | 0.50% | 3.0% |  |  |  |  |
| 20V~200V | 0.50% | 3.0% |  |  |  |  |
| 电压/ 频率 | (10～40)Hz | (40～10) kHz | (10～30)kHz | (30～100)kHz |  |  |
| 200V~ 1000V | 0.016% | 0.016% | 0.030% | 0.098% |  |  |

| 附表11 | 265电压互感器 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 额定电压百分值 | 20% | 50% | 80% | 100% | 120% |
| U 比值差U. | 0.018% | 0.014% | 0.012% | 0.012% | 0.012% |
| U 相位差U. | 0.5′ | 0.4′ | 0.3′ | 0.3′ | 0.3′ |

| 附表12 | 268钳形接地电阻仪 |  |  |
| --- | --- | --- | --- |
| 量程 | 0.10Ω～ 1.00Ω | 1.00Ω～ 10.00Ω | 10.0Ω～ 100kΩ |
| Urel. | 6.0%～1.2% | 1.2% ～0.24% | 0.24% ～0.10% |

| 附表13 | 384音频分析仪 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 频率 Urel 示值 | 100%~0.3% | 0.3%~0.1% | 0.1%~0.05% | 0.04% | 0.03% | 0.02% | 0.01% |
| （5~10）Hz | 3.60% | 3.60% | 5.80% | 8.20% | 12% | --- | --- |
| (10~20 )Hz | 2.40% | 2.40% | 4.70% | 5.80% | 8.20% | --- | --- |
| (20~110 )Hz | 1.30% | 2.40% | 3.60% | 4.70% | 8.20% | --- | --- |
| (110~10)k Hz | 0.90% | 1.10% | 1.30% | 2.40% | 2.40% | 4.70% | 15% |
| (10~20)k Hz | 1.30% | 2.40% | 3.60% | 4.70% | 8.20% | --- | --- |
| (20~50)k Hz | 2.40% | 4.70% | 12% | --- | --- | --- | --- |
| (50~200)k Hz | 4.70% | 9.30% | --- | --- | --- | --- | ---- |

| 附表14 | 384音频分析仪 |  |  |
| --- | --- | --- | --- |
| 频率 | 档位 | 0.03% | 0.10% |
| 10Hz~ 20Hz | U | --- | 0.0035% |
| 20Hz~ 300Hz |  | 0.0035% | 0.012% |
| 300Hz~ 5kHz |  | 0.0024% | 0.0025% |
| 5kHz~ 20kHz |  | 0.0035% | 0.0035% |
| 20kHz~ 109kHz |  | --- | 0.010% |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:Keji Road, Shishan, Nanhai District, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 3   ACCREDITED CALIBRATION

| № | Instrument | Parameter | Title, Code of Calibration Method | Range | Uncertainty (k=2) | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Vernier Caliper | Length | JJG30-2012 V.R.of Current Calipers | (0～300)mm | U=0.01mm |  |  |
|  |  |  |  | (300～600)mm | U=0.02mm |  |  |
|  |  |  |  | (600～1000)mm | U=0.03mm |  |  |
|  |  |  | V.R.of Height Gauge JJG31-2011 | (0～300)mm | U=0.01mm |  |  |
|  |  |  |  | (300～500)mm | U=0.02mm |  |  |
| 2 | Caliper | Length | V.R.of Current Caliper JJG30-2012 | （0～300）mm | U=0.01mm |  |  |
| 3 | Caliper | Length | V.R.of Current Caliper JJG30-2012 | （0～300）mm | U=0.01mm |  |  |
| 4 | Micrometer | Length | V. R.of Micrometer JJG21-2008 | （0～100）mm | U =1.3μm |  |  |
|  |  |  |  | （100～300）mm | U =1.5μm |  |  |
|  |  |  |  | （300～500）mm | U =2.8μm |  |  |
| 5 | Internal Micrometer | Length | C.S. for Micrometers of Measuring Inside Dimension JJF1411-2013 | （5～50）mm | U=2.5μm |  |  |
| 5 | Internal Micrometer | Length | C.S. for Micrometers of Measuring Inside Dimension JJF1411-2013 | （50～100）mm | U=2.8μm |  |  |
|  |  |  |  | （100～200）mm | U=3.2μm |  |  |
|  |  |  |  | （200～300）mm | U=4.0μm |  |  |
| 6 | Depth Micrometer | Length | V.R.of Depth Micrometers JJG24-2003 | (0～150) mm | U=2.3μm |  |  |
| 7 | Dial Indicator | Length | V. R.of Dial Gauges(dial and digital) JJG34-2008 | Gauge (reading in 0.01mm)： (0～10)mm | U=3μm |  |  |
|  |  |  |  | Gauge (reading in 0.001mm)：(0～1)mm | U=1.3 μm |  |  |
| 8 | Wide Range Dial | Length | V.R.of Wide Range Dauges Reading in 0.01 mm JJG379-2009 | （0～50）mm | U=6μm |  |  |
| 9 | DialTest Indicator | Length | V.R.of Dial Test Indicator JJG35-2006 | （0～1.0）mm | U=3.0μm Snap Gauge(reading in 0.01mm) |  |  |
|  |  |  |  | （0～0.2）mm | U=1.2μm Snap Gauge(reading in 0.001mm) |  |  |
| 10 | Straight Edge | Straight | C.S.for Calibration Specification of Straight Edges JJF1097-2003 | （0～500）mm | U=0.3 μm |  |  |
|  |  |  |  | （500～2000）mm | U=0.8 μm |  |  |
|  |  |  |  | （2000～5000）mm | U=1.1 μm |  |  |
| 11 | Straight Edge | Length | V.R.of Straight Edge JJG63-2007 | （0～200）mm | U= 0.3μm |  |  |
|  |  |  |  | （200～300）mm | U= 0.5μm |  |  |
| 12 | Spuare | Perpendicularity | V. R.of Spuares JJG7-2004 | (0～300)mm | U=1.8 μm |  |  |
|  |  |  |  | (300～500)mm | U=2.4 μm |  |  |
| 13 | Universal Bevel Protracto | Angle | JJG33-2002 V.R.of Universal Bevel Protractor | (0～360)° | U=1′ |  |  |
| 14 | Standard Ring Gauge | Diameter | V.R.of Standard Ring Gauge JJG894-1995 | Φ（10～100）mm | U=(0.7+6L) μm |  |  |
| 15 | Steel Rule | Line Scale | V.R. of Steel Rule JJG1-1999 | （0～1）m | U=0.05mm |  |  |
| 16 | Steel Tape | Line Scale | V.R. of Steel Tape JJG4-1999 | (0～10)m | U=0.2mm |  |  |
|  |  |  |  | (10～30)m | U=0.3mm |  |  |
|  |  |  |  | (30～50)m | U=0.4mm |  |  |
|  |  |  |  | (50～100)m | U=0.6mm |  |  |
|  |  |  |  | (100～200)m | U=0.9mm |  |  |
| 17 | Optical Flat | parallelism | V. R.of Optical Flats JJG28-2000 | (0～100)mm | U=0.4 μm |  |  |
|  |  | Flatness |  | ф 30 mm | U=0.008μm |  |  |
|  |  |  |  | ф 45 mm | U=0.007μm |  |  |
|  |  |  |  | ф 60 mm | U=0.007μm |  |  |
|  |  |  |  | ф 80 mm | U=0.008μm |  |  |
|  |  |  |  | ф100 mm | U=0.010μm |  |  |
| 18 | Flat Plate | Planeness | V. R.of Flat Plate JJG117-2013 | （400×400）mm & below | U=0.6μm | Expect for part planeness |  |
|  |  |  |  | （400×400）mm ～（600×600）mm | U=0.8μm |  |  |
|  |  |  |  | （600×600）mm ～（800×800）mm | U=1.2μm |  |  |
|  |  |  |  | （800×800）mm ～（1000×1000）mm | U=1.5μm |  |  |
| 18 | Flat Plate | Planeness | V. R.of Flat Plate JJG117-2013 | （1000×1000）mm ～（1500×1500）mm | U=1.7μm | Expect for part planeness |  |
|  |  |  |  | （1500×1500）mm ～（2500×2500）mm | U=5μm |  |  |
| 19 | Gauge Blocks | Length | V. R.of Gauge Blocks JJG146-2011 | Grade 3：(0.5～500)mm | U=(0.10μm +1×10-6Ln) (k=2.7) | Do not setup The coefficient of Linear expansion |  |
|  |  |  |  | Grade 4：(0.5～1000)mm | U=(0.20μm +2.0×10-6Ln) (k=2.7) |  |  |
|  |  |  |  | Grade 5：(0.5～1000)mm | U=(0.50μm +5.0×10-6Ln) (k=2.7) |  |  |
| 20 | Tester for Dial Indicator Gauge | Length | V.R.of Tester for Dial Indicator Gauge JJG201-2008 | Dial indicator tester：(0～25)mm | U=0.4μm |  |  |
|  |  |  |  | Dial gauge tester：(0～1)mm | U=0.2μm |  |  |
|  |  |  |  | Dial gauge tester： (0～2)mm | U=0.3μm |  |  |
|  |  |  |  | Dial gauge tester： (0～5)mm | U=0.4μm |  |  |
| 21 | Contact(Stylus) Instruments for the Measurement of Surface Roughness | Roughness | C.S. for Contact (Stylus) Instruments of Surface Roughness Measurement by the Profile Method JJF1105-2003 | 5% and Below | Urel=5% |  |  |
| 22 | Roughness Comparison Specimens | Roughness | C.S.for Roughness Comparison Specimens JJF1099-2003 | Ra（6.3～0.012）μ m | Urel=7% |  |  |
| 23 | Inductive Micrometers | Length | Calibration Specification for Inductive Micrometers JJF 1331-2011 | ±30 μm (reading in 0.01μm） | U=0.01μm |  |  |
|  |  |  |  | ±300 μm (reading in 0.1μm） | U=0.09μm |  |  |
|  |  |  |  | ±2000 μm (reading in 1μm） | U=0.6μm |  |  |
| 24 | Measuring Microscope | Length | V.R.of Reading Microscope and Measuring Microscope JJG571-2004 | (0～50)mm | U=1.4μm |  |  |
| 25 | Toolmaker’s Microscope | Length | V.R.of Toolmaker’s Microscope JJG56-2000 | (0～100)mm | U=1.2 μm |  |  |
|  |  |  |  | (100～200)mm | U=2.2 μm |  |  |
| 26 | Projector | General Type | C.S. for Projectors JJF1093-2002 | (0～100)mm | U=1.2 μm |  |  |
|  |  |  |  | (100～200)mm | U=1.4 μm |  |  |
| 27 | Level | Angle | C.S. for Frame Levels and Shaft Levels JJF1084-2002 | (0.02～0.10)mm/m | Urel=4% |  |  |
| 28 | Optimeter | Length | V. R.of Optimeter JJG45-1999 | （0～200）mm | U=0.1μm |  |  |
| 29 | Length Measuring Machine | Length | C.S. for Length Measuring Machine JJF1066-2000 | (0～10)mm | U=0.2µm |  |  |
|  |  |  |  | (10～100)mm | U=0.3µm |  |  |
|  |  |  |  | (100～500)mm | U=1.3µm |  |  |
|  |  |  |  | (500～1000)mm | U=3.0µm |  |  |
| 30 | Horizontal Metroscope | Length | C.S. for Length Measuring Instruments JJF1189-2008 | （0～500）mm | U=0.26μm |  |  |
| 31 | Optical Theodolite | Angle | V. R.of Optical Theodolite JJG 414-2011 | Horizontal Angel：J6：0°～ 360° | U=1.5" |  |  |
|  |  |  |  | Horizontal Angel：J2：0°～ 360° | U=0.2" |  |  |
|  |  |  |  | Vertical Angel： J6：-45°～225° | U=2.5" |  |  |
|  |  |  |  | Vertical Angel： J2：-45°～225° | U=1.0" |  |  |
| 32 | Level | Angle | V. R.of Levels JJG 425-2003 | i Angle： ±12″ | U= 2″ |  |  |
| 33 | Thickness meter | Length | V.R.of Magnetic and Eddy Current Measuring Instrument for Coating Thickness JJG818-2005 | (0～10)μm | U=0.4μm |  |  |
|  |  |  |  | （10～100） μm | U=2.0μm |  |  |
|  |  |  |  | （100～500） μm | U=4.0μm |  |  |
|  |  |  |  | （500～1250)μm | U=7.0μm |  |  |
|  |  |  | C.S for Ultriasonic Thickness Instrument JJF1126-2004 | （0.5～200）mm (0.01mm) | U=0.10mm |  |  |
|  |  |  |  | （0.5～200）mm（0.1mm） | U=0.2mm |  |  |
| 34 | Coordinate Measuring Machine | Length | C.S. for Coordinate Measuring Machine JJF1064-2010 | (0～100)mm | U=0.3μm | Accredited only for ⅡCoordinate,Ⅲ Coordinate gauge head error and indication error |  |
| 34 | Coordinate Measuring Machine | Length | C.S. for Coordinate Measuring Machine JJF1064-2010 | (100～500)mm | U=2.0μm | Accredited only for ⅡCoordinate,Ⅲ Coordinate gauge head error and indication error |  |
|  |  |  |  | (500～1000)mm | U=3.0μm |  |  |
| 35 | Pneumatic Measuring Instrument for Micrometers | Length | V.R.of Pneumatic Measuring Instrument for Micrometers JJG356-2004 | Float type ：16μm(reading in:0.5μm) | U=0.2μm |  |  |
|  |  |  |  | Float type：30μm(reading in:1μm) | U=0.3μm |  |  |
|  |  |  |  | Float type:80μm(reading in :2μm) | U=0.4μm |  |  |
|  |  |  |  | Float type：160μm(reading in ：5μm) | U=1.2μm |  |  |
|  |  |  |  | Columns type：20μm(reading in ：0.2μm) | U=0.3μm |  |  |
|  |  |  |  | Columns type：50μm(reading in ：0.5μm) | U=0.5μm |  |  |
|  |  |  |  | Columns type：100μm(reading in ：1μm) | U=1.2μm |  |  |
| 36 | Liquid Plastic Limit Measuring Instruments | Angle | C.S.for Nonmetal Building Materials Plastic Limit Measuring Instruments JJF1090-2002 | (0～22)mm | U=0.26 mm |  |  |
|  |  | Angle |  | 030° | U=2′ |  |  |
| 37 | Dynamome-nter for Measuring Instrument | Force value | C.S. for Working Force Measuring Machines for Special Purposes JJG1134-2005 | （0～15）N | Urel=0.2% |  |  |
| 38 | Working Dynamome-ters | Force value | V.R.of Working Dynamometers JJG455-2000 | （0～5）MN | Urel=0.4% |  |  |
| 39 | Flexure Testing Machine | Force value | V.R.of Flexure Testing Machine JJG476-2001 | （0～30）kN | Urel=0.4% |  |  |
| 40 | Compressi-on and Universal Testing Machine for Nonmetallic | Force value | V.R.of Tension Compression and Universal Testing Machine for Nonmetallic JJG157-2008 | （0～10）MN | Urel=0.4% | Except for term of axis |  |
| 41 | Electronic Universal Testing Machine | Force value | V.R.of Electronic Universal Testing Machine JJG475-2008 | （0～10）MN | Urel=0.4% | Except for term of axis |  |
| 42 | Pendulum Impact Testing Machine | Impact energy | V.R.of Pendulum Impact Testing Machine JJG145-2007 | 0J～300J | Urel =0.3% |  |  |
| 43 | Cantilever-Beam （Izod-Type） Impact Testing Machine | Impact energy | V.R.of Cantilever-Beam （Izod-Type） Impact Testing Machine JJG608-1989 | 0J～100J | Urel =0.3% |  |  |
| 44 | Hydraulic Tension Sake （Oil Jack） | Force value | V.R.of Hydraulic Jack JJG621-2012 | （0～10）MN | 0.4grade Pressure Guage： Urel =1.3% |  |  |
|  |  |  | V.R. of Oil Jack Loading Control Calibrate Means JJF（C）18-1999 |  | 1.6grade Pressure Guage： Urel =1.7% |  |  |
| 45 | Material Testing Machine | Force value | V.R of Uinversal Tension and Compression Testing Machine JJG139-1999 | （0～10）MN | Urel=0.4% | Except for term of axis |  |
| 46 | Torsional Meter | Torsional moment | V.R.of Wrench for Measuement of Torque JJG707-2003 | Grade 2.0：(0～3000) N·m | Urel =0.58% |  |  |
|  |  |  |  | Grade 0.3：(0～3000) N·m | Urel =0.08% |  |  |
| 47 | Electronic Balance | Mass | V.R.of Electronic Balance JJG1036-2008 | Grade Ⅰ （0～5×104）e | U=0.2e |  |  |
|  |  |  |  | GradeⅡ （0～5×103）e |  |  |  |
|  |  |  |  | Grade Ⅲ （0～5×102)e |  |  |  |
|  |  |  |  | GradeⅠ （5×104～2×105）e | U=0.3e |  |  |
|  |  |  |  | Grade Ⅱ （5×103～2×104）e |  |  |  |
|  |  |  |  | Grade Ⅲ （5×102～2×103）e |  |  |  |
|  |  |  |  | GradeⅠ ＞2×105e | U=0.5e |  |  |
|  |  |  |  | GradeⅡ （2×104～1×105）e |  |  |  |
| 47 | Electronic Balance | Mass | V.R.of Electronic Balance JJG1036-2008 | Grade Ⅲ （2×103～1×104）e | U=0.5e |  |  |
| 48 | Top-Pan Balance | Mass | V.R.of Top-Pan Balance JJG156-2004 | 100g～20kg | U=0.5e |  |  |
| 49 | Weights | Mass | V.R.of Weights JJG99-2006 | 01mg | U=0.004mg | Except for magnetism and volumedensity |  |
|  |  |  |  | 02mg | U=0.004mg |  |  |
|  |  |  |  | 05mg | U=0.004mg |  |  |
|  |  |  |  | 10mg | U=0.006mg |  |  |
|  |  |  |  | 20mg | U=0.007mg |  |  |
|  |  |  |  | 50mg | U=0.009mg |  |  |
|  |  |  |  | 100mg | U=0.011mg |  |  |
|  |  |  |  | 200mg | U=0.013mg |  |  |
|  |  |  |  | 500mg | U=0.018mg |  |  |
|  |  |  |  | 1g | U=0.020mg |  |  |
|  |  |  |  | 2g | U=0.03mg |  |  |
|  |  |  |  | 5g | U=0.04mg |  |  |
|  |  |  |  | 010g | U=0.04mg |  |  |
|  |  |  |  | 020g | U=0.06mg |  |  |
|  |  |  |  | 050g | U=0.07mg |  |  |
|  |  |  |  | 100g | U=0.11mg |  |  |
|  |  |  |  | 200g | U=0.20mg |  |  |
|  |  |  |  | 500g | U=0.6mg |  |  |
|  |  |  |  | 01kg | U=1.1mg |  |  |
|  |  |  |  | 02kg | U=8mg |  |  |
|  |  |  |  | 05kg | U=18mg |  |  |
|  |  |  |  | 10kg | U=0.04g |  |  |
|  |  |  |  | 20kg | U=0.07g |  |  |
| 49 | Weights | Mass | V.R.of Weights JJG99-2006 | 50kg | U=0.3g | Except for magnetism and volumedensity |  |
| 50 | Digital indicating Weighing | Mass | V.R.of Digital indicating Weighing Instrument JJG539-1997 | （0～500）e | U=0.2e |  |  |
|  |  |  |  | （500～2000）e | U=0.3e |  |  |
|  |  |  |  | （2000～10000）e | U=0.5e |  |  |
| 51 | Brinell Hardness Tester | Hardness value | V.R.of Metal Brinell Hardness Tester JJG150-2005 | HB：(0～650) HBS(W) | Urel=1.0% |  |  |
| 52 | Shore Hardness Tester | Hardness value | V.R.of Shore Hardness Tester JJG304-2003 | （0～100） HA | U=0.6HA |  |  |
| 53 | Vertical Meter Measure Tank | Volume | V.R.of Vertical Metal Tank Volume JJG168-2005 | (20～100)m3 | Urel=0.3% |  |  |
|  |  |  |  | (100～700)m3 | Urel=0.2% |  |  |
|  |  |  |  | (700～10000)m3 | Urel=0.1% |  |  |
| 54 | Water Measurement Device | Volume | V.R.of Standard Facilities forLiquid Flowrate JJG164-2000 | 10L～10000L | Urel=0.1% |  |  |
|  |  | Flow |  |  | Urel=0.3% |  |  |
| 55 | Fuel Dispensers | Volume | V.R.of Fuel Dispenser JJG443-2006 | （0～999.99）L | Urel =0.10% |  |  |
| 56 | Working Glass Container | Volume | V.R.of General Volumetric Glass JJG196-2006 | （0.1～0.5）mL | U=0.001mL |  |  |
|  |  |  |  | （1～5）mL | U=0.005mL |  |  |
|  |  |  |  | （10～50）mL | U=0.007mL |  |  |
|  |  |  |  | （100～500）mL | U=0.02mL |  |  |
|  |  |  |  | （1000～2000）mL | U=0.04mL |  |  |
| 57 | Mechanical Electronic Counting、Magneto- electric Tachometer | Rotational Speed | V.R.of Tachometers JJG105-2000 | (30～40000)r/min | U=0.01 % |  |  |
| 58 | Electronic Taxi Meter | Rotation Number | V.R.of Taxi Meter JJG517-2009 | (0~9999)r | Urel =0.3% |  |  |
| 59 | Wheel Field Balancing Equigument | Minimum Achievable Residual Unbalance | C.S for Wheel Dynamic Balancers JJF1151-2006 | G1～G40 | U= 0.06g |  |  |
| 60 | Automotive Chassis Dynamometer | Force value | V.R.of Equipment of Power Measuring JJG653-2003 | (0～10000)N | Urel= 1.0% |  |  |
|  |  | Speed |  | (0～120) km/h | Urel= 1.0% |  |  |
| 61 | Wheel Deristion of Motorcycles | Length | V.R.of tester for Wheel Deriation of Motorcycles JJG910-2012 | （0～30）mm | U=0.04 mm |  |  |
|  |  | Force value |  | （0～10）N | Urel=0.3% |  |  |
| 62 | Brake Tester | Braking force | V.R. of Rollor Opposite Forces Type Brake Tester JJG906-2009 | 100N～20000N | Urel =0.4% |  |  |
| 63 | Side Slipe Tester | Displace-ment | V.R.of Slipe plate Type Automobile side slipe Tester JJG908-2009 | (–15～+15) m/km | U=0.07 m/km |  |  |
|  |  | Force value |  | 20N～120N | Urel=0.3% |  |  |
| 64 | Axle（Wheel） Load Scales | Mass | V.R. of Special Axle (Wheel) Load Scale for Motor Vehicle Test JJG1014-2006 | 100kg～10t | Urel=0.5% |  |  |
| 65 | Speedometer Tester | Speed | V.R. of Roller Type Speedometer Tester JJG909-2009 | (20～60)km/h | Urel=1% |  |  |
| 66 | Headlamp Tester | Light power | V.R.of Headlamps Tester for Motor Vehicle JJG745-2002 | （5000～35000）cd | Urel=5.2% |  |  |
| 67 | Focimeters | Vertex power | V.R.of Focimeters JJG580-2005 | （-25 ~ +25）m-1 | U=0.03m-1 |  |  |
| 68 | Refracto-meter | Vertex power | V.R.of Refractometers JJG892-2011 | （-20 ~ +20）m-1 | U=0.18m-1 |  |  |
| 69 | Trial Case Lens | Vertex power | V.R.of Trial Case Lenses JJG579-2010 | （-20 ~ +20）m-1 | U=0.03m-1 |  |  |
| 70 | Base Metal Thermocouple | Temperature | V.R. of Working Base Metal Thermocouple JJG351-1996 | （300～1300）℃ | U=(1.0～1.5)℃ (K、E、N) |  |  |
|  |  |  |  | （-30～+300）℃ | U=(1.5～1.0)℃ (K、E、N) |  |  |
| 71 | Standard Platinum-Rhodium10/Platinum Thermo Couple （Grade Ⅱ） | Temperature | V.R.of the Standard Platinum-10% Rhodium/Platinum Thermocouple JJG75-1995 | （300～1300）℃ | Zn U=0.5℃ Ar U=0.5℃ Cu U=0.6℃ |  |  |
| 72 | Industrial Resistance Thermometer | Temperature | V.R. of the Industrial Platinum Copper Resistance Thermometers JJG229-2010 | （-30～+300）℃ | U=0.033℃ （0℃） |  |  |
|  |  |  |  |  | U=0.094℃ （100℃） |  |  |
| 73 | Digital Temperature Controllers | Temperature | V.R.of the Digital Temperature Indicators and Controllers JJG617-1996 | （-200～+1800）℃ | With Thermo Couple： Urel =0.26% |  |  |
|  |  |  |  |  | With Industrial Resistance： Urel =0.20% |  |  |
| 74 | Temperature Transmitter | Temperature | V. R. of Temperature Electrical Transmitter JJF1183-2007 | （-200～+1600） | Urel=0.15% |  |  |
| 75 | Working Radiation Thermometers | Temperature | V.R. of the Working Radiation Thermometers Below 500℃ JJG856-1994 | （35～300）℃ | U=(1.0～1.1)℃ |  |  |
|  |  |  |  | （300～500）℃ | U=(1.7～1.8)℃ |  |  |
|  |  |  | V.R of the Working Radiation Thermometers JJG 415-2001 | （500～700）℃ | U=(1.7～1.8)℃ |  |  |
| 76 | Surface Themometer | Temperature | Calibration Specification for the Surface Thermometers JJF 1409-2013 | （35～250）℃ | U=(0.4～1.0)℃ |  |  |
| 77 | Calibration Specification for Temperature Itinerant Detecting Instrument （Digital Thermometer） | Temperature | Calibration Specification for Temperature Itinerant Detecting Instrument JJF1171-2007 | （-30～+300）℃ | U=（0.2～2）℃ |  |  |
| 78 | Electric Contact Mercuryin-Glass Thermometer | Temperature | V.R.of Electric Contact Mercury-in-Glass Thermometer JJG131-2004 | （-30～+300）℃ | U=（0.05～0.08）℃ |  |  |
| 79 | Liquid-in-Glass Thermometer for Petroleum Products | Temperature | V.R.of Industrial Glass Thermometer JJG 130-2011 | （-30～+300）℃ | U=（0.05～0.08）℃ |  |  |
| 80 | Liquid-in-Glass Thermomerter for working | Temperature | V.R.of Industrial Glass Thermometer JJG 130-2011 | （-30～+300）℃ | U=(0.05～0.08)℃ |  |  |
| 81 | The Recorders for Industrial-Process Measurement | Temperature | V.R.of the Recorders for Industrial-Process Measurement JJG74-2005 | （-200～+1800）℃ | Urel=0.17% |  |  |
| 82 | Mechanical Thermohygrometers | Temperature | V.R of Mechanical Thermohygrometers JJG205-2005 | (0～50)℃ | U=(0.2～0.7)℃ |  |  |
|  |  | Temperature |  | (20～95)%RH | U=(2.0～4.0)%RH |  |  |
| 83 | The Equipment of the Environ-mental Testing for Temperature and Humidity | Temperature | C.S for the Equipment of the Environmental Testing for Temperature and Humidity JJF1101-2003 | (-50～+300)℃ | U=（0.4~0.9）℃ |  |  |
|  |  | Humidity |  | （0～100） %RH | U=（2.0~2.8） %RH |  |  |
| 84 | Mobile Detecting Meter of Temperature | Tempera-ture | C.S for Temperature Itinerant Detecting Instrument JJF1171-2007 | (-30～+300)℃ | U=（0.2～0.6)℃ |  |  |
| 85 | temperature switch | Tempera-ture | V.R of Liqudi-in-Glass Thermometers for Working JJG131-2004 V. R. of Filled system Thermometer JJG310-2002 C. S. for temperature switch FWIJF-R06 | （-30～+300）℃ | U=(0.1～0.8)℃ |  |  |
| 86 | Constant temperature slot（Flume, Kinematic Viscosity Baths ） | Tempera-ture | Measurement and Test Norm of Thermostatic Bath’s Technological Characteristic JJF1030-2010 | (-50～+300) ℃ | U=(0.003～0.006)℃ |  |  |
| 87 | Pressure Guage、Pressure-Vacuum Gauges | Pressure | V.R.of Elastic Element Pressure Gauges, Pressure-Vacuum Gauges and Vacuum Gauges for General Use JJG52-2013 | （-0.1～+250）MPa | Urel=0.85% |  |  |
| 88 | Pressure Transmitter | Pressure | V.R of Pressure Transmitters JJG882-2004 | (-0.1～+250)MPa | Urel =0.3% |  |  |
| 89 | Pressure Transducer(Statijc) | Pressure | Verification Regulation of the Pressure Transducer (Statijc) JJG860-1994 | (-0.1～+250)MPa | Urel =0.3% |  |  |
| 90 | Digital pressure gauges | Pressure | Verification Regulation of Digital pressure gauges JJG875-2005 | (-0.1～+250)MPa | Urel =1.1% |  |  |
| 91 | Liquid Manometer for Working | Pressure | Verification Regulation of Liquid Manometer for Working JJG540-1988 | (0～0.2)MPa | Urel =1.5% |  |  |
| 92 | Diaphragm Gas Meter | Flux | V.R.of Diaphragm Gas Meter JJG577-2005 | （0～6）m3/h | Urel=0.5% |  |  |
| 93 | Rota meter | Flux | V.R.of Rota meter JJG257-2007 | （0～6）m3/h | Urel=0.78% |  |  |
| 94 | Capsule Pressure Gauges | Pressure | V.R.of Elastic Element Pressure Gauges, Pressure-Vacuum Gauges and Vacuum Gauges for General Use JJG52-2013 | (-0.1～+2) MPa | Urel =0.8% |  |  |
| 95 | Tyre Pressure gauge | Pressure | Verification Regulation of Tyre Pressure gauge JJG927-2013 | (-0.1～+1)MPa | Urel=1.1% |  |  |
| 96 | Sphygmo-manometer | Pressure | V.R.of the Desk Sphygmo-manoMeter JJG270-2008 | （0～40）kPa | Urel=0.3% |  |  |
| 97 | Non-invasive Automated Sphygmomanometers | Pressure | Verification Regulation of Non-invasive Automated Sphygmomanometers JJG692-2010 | (0～40)kPa | Urel=0.3% |  |  |
| 98 | Portable Pressure Calibrator | Pressure | V.R of Digital pressure gauges JJG875-2005 | (-0.1～+60)MPa | Urel= 0.023% |  |  |
|  |  | DCA | V.R of DC Digital Amperemeter JJG598-1989 | (4～20)mA | Urel= 0.06% |  |  |
|  |  | DCV | V.R of DC Digital Voltmeter JJG315-1983 | (1～5)V | Urel= 0.04% |  |  |
| 99 | Standard Piston Guage | Pressure | V.R.of the Standard Piston Guage JJG59-2007 | （0.04～60）MPa | Urel =0.023% |  |  |
| 100 | Wet Gas Meter | Flux | C. S .for Wet Gas Meters JJF1357-2012 | (0～100)m3/h | Urel=0.7% |  |  |
| 101 | Flow Intergration Meters | Flux | V.R. of Flow Intergration Meters JJG1003-2005 | (0～1000)t/h | Urel =0.06% |  |  |
| 102 | Air Sampler | Flux | Verification Regulation for Air Sampler JJG956-2013 | (0.1～1.2) L/ min | Urel= 0.52% |  |  |
| 103 | Dust Sampler | Flux | Verification Regulation of Dust Sampler JJG520-2005 | (6 ～60)L/min | Urel=2.0% |  |  |
| 104 | Buoy Type Oxygen Inhaltar | Flow | V.R of Buoy Type Oxygen Inhaltar JJG913-1996 | (1～10)L/min | Urel=1.3% |  |  |
|  |  | Pressure |  | High Pressure: (0.6～16)MPa | Urel=1.1% |  |  |
|  |  |  |  | Low Pressure:(0～0.6)MPa | Urel=3.0% |  |  |
| 105 | Voltmeter、Ampere-meter、Wattmeter | DC Voltage | V.R. of Amperemeter Voltmeter Wattmeter and Ohmmeter JJG124-2005 | 0.1mV～1000V | Urel= 0.04%FS |  |  |
|  |  | AC Voltage |  | 10mV～600V（50Hz～1kHz） | Urel= 0.05%FS |  |  |
|  |  | DC current |  | 10μA～30A | Urel= 0.06%FS |  |  |
|  |  | AC current |  | 100μA～10A（50Hz～1kHz） | Urel= 0.08%FS |  |  |
|  |  | DC Power |  | 0.01mW～18kW | Urel= 0.06%FS |  |  |
|  |  | AC Power |  | 0.01mW～6kW（50Hz～1kHz） | Urel= 0.10%FS |  |  |
| 106 | DC Digital Voltmeter | Voltage | V.R. of DC Digital Voltmeter JJG315-1983 | 10μV～200mV | Urel =0.0012%～0.0008% |  |  |
|  |  |  |  | 200mV~ 2V | Urel =0.0006%～0.0005% |  |  |
|  |  |  |  | 2V~20V | Urel =0.0006%～0.0005% |  |  |
|  |  |  |  | 20V~ 200V | Urel =0.0008%～0.0007% |  |  |
|  |  |  |  | 200V~ 1000V | Urel =0.0012%～0.0008% |  |  |
| 107 | DC Digital Amperemeter | Electric current | V.R. of DC Digital Amperemeter JJG598-1989 | 10μA～200μA | Urel =0.0022% |  |  |
|  |  |  |  | 200μA～ 2mA | Urel= 0.0041%～0.0020% |  |  |
|  |  |  |  | 2mA~ 20mA | Urel= 0.0042%～0.0022% |  |  |
| 107 | DC Digital Amperemeter | Electric current | V.R. of DC Digital Amperemeter JJG598-1989 | 20mA~ 200mA | Urel= 0.0098%～0.0057% |  |  |
|  |  |  |  | 200mA~ 2A | Urel=0.034%～0.026% |  |  |
|  |  |  |  | 2A~20A | Urel= 0.076%～0.055% |  |  |
| 108 | DC Digital Ohmmeter | Resistance | V.R.of DC Digital Ohmmeter JJG724-1991 | (1～10) Ω | Urel =0.013% |  |  |
|  |  |  |  | (10~100)Ω | Urel =0.012% |  |  |
|  |  |  |  | 100Ω~1.1 MΩ | Urel =0.0058% |  |  |
|  |  |  |  | (1.1~3.3) MΩ | Urel =0.0070% |  |  |
|  |  |  |  | (3.3~11) MΩ | Urel =0.015% |  |  |
|  |  |  |  | (11~33)MΩ | Urel =0.029% |  |  |
|  |  |  |  | (33~100) MΩ | Urel =0.058% |  |  |
| 109 | AC Digital Powermeter | Power | V.R.of for AC Digital Powermeter JJG780-1992 | (30~480)V/ (0.001~40)A （40Hz～70Hz) | Supporting Statement 1 |  |  |
| 110 | Withstanding Voltage Tester | Voltage | V.R. of Withstanding Voltage Tester JJG795-2004 | (0.1～50) kV | DC:Urel= 1.1%～0.60% |  |  |
|  |  |  |  |  | AC:Urel= 1.3%～1.2% |  |  |
|  |  | current |  | (0.1～100) mA | Urel=1.1% |  |  |
|  |  | Time |  | （1～10）s | Urel =0.5% |  |  |
|  |  |  |  | （10～600）s | U=0.2s |  |  |
| 111 | Leakage Current Instrumet and Meter | current | V.R.of Leakage Current Instrumet and Meter JJG843-2007 | (0.01～20) mA | Urel =0.4% |  |  |
| 112 | Clamp Ammeters | current | Calibarion Specificarion of Clamp Ammeters JJF1075-2001 | 10μA～1000A | Urel =0.8% |  |  |
| 113 | Bridge | Resistance | V.R.of DC Bridge JJG125-2004 | （0.01～100000）Ω | Supporting Statement 2 |  |  |
| 114 | Resistor Box | Resistance | V.R. of D.C. Resistance Box JJG982-2003 V.R. of DC Resistors JJG166-1993 | （0.01～100000）Ω | Supporting Statement 3 |  |  |
| 115 | Earth Resistance Meter | Resistance | V.R. of Earth Resistance Meter JJG366-2004 | （0.01～1000）Ω | Urel = 0.27% |  |  |
| 116 | Earth-Continuity Testers | Resistance | Earth-Continuity Testers JJG984-2004 | (10～500) mΩ | Urel =0.12% |  |  |
|  |  | Current |  | (0.01～30) A | Urel = 0.13% |  |  |
| 117 | DC Low Resistance Meter | Resistance | V.R.of DC Low Resistance Meter JJG837-2003 | 1mΩ～ 1kΩ | Urel = 0.017% |  |  |
| 118 | Megohmme-ter | Resistance | V.R. of Megohmmeter JJG622-1997 | 1 0kΩ～100MΩ | Urel = 0.15%～0.25% |  |  |
|  |  |  |  | 100 MΩ～10 GΩ | Urel= 0.25%~1.4% |  |  |
|  |  |  |  | 10GΩ～100GΩ | Urel= 1.4%~2.8% |  |  |
|  |  | Voltage |  | (0.1~ 5000)V | Urel=1.2% |  |  |
| 119 | Spark Tester | AC Voltage | Calibration Method of Spark Tester JJF(C)45-1999 | (0.1～50) kV | Urel =1.3% |  |  |
| 120 | Multimeter Calibrator of type | Resistance | V.R of Multimeter Calibrator of type DO30-E JJG(electron)02003-1988 | 10Ω～1MΩ | Urel =0.013% |  |  |
|  |  | DC Voltage |  | 2mV～ 2V | Urel =0.020% |  |  |
|  |  |  |  | 2V~20V | Urel =0.020% |  |  |
|  |  |  |  | 20V~ 200V | Urel =0.020% |  |  |
|  |  |  |  | 200V~ 1000V | Urel =0.028% |  |  |
|  |  | AC Voltage |  | 2mV～500V (10Hz～2KHz) | Supporting Statement 4 |  |  |
|  |  | DC Current |  | 20μA～200μA (10Hz～2kHz) | Urel =0.014% |  |  |
|  |  |  |  | 200μA ~2mA | Urel =0.024% |  |  |
|  |  |  |  | 2mA~ 20mA | Urel =0.035% |  |  |
| 120 | Multimeter Calibrator of type | DC Current | V.R of Multimeter Calibrator of type DO30-E JJG(electron)02003-1988 | 20mA~ 200mA | Urel =0.024% |  |  |
|  |  |  |  | 200mA~ 2A | Urel =0.024% |  |  |
|  |  |  |  | 2A~10A | Urel =0.052% |  |  |
|  |  | AC Current |  | 20μA～20A (10Hz～10kHz) | Supporting Statement 5 |  |  |
| 121 | LCR Meter | Resistance | V.R.of RLC Meter of the Type of YY-2781 JJG(electron)05039-1991 | Resistance： 0.01Ω～10000Ω | Urel = 0.18% |  |  |
|  |  | Capaci- tance |  | Capaci-tance：1nF～1µF | Urel = 0.27% |  |  |
|  |  | Inductance |  | Inductance：100µH～1000mH | Urel =0.20% |  |  |
| 122 | Low frequency signal generator | Frequency | V.R. for Low frequency signal generator JJG602-1996 | 10Hz～100kHz | Urel=6×10-4 |  |  |
|  |  | Voltage |  | 1mV～1000V | Urel =0.5% |  |  |
|  |  | Distortion |  | (0.01～10)% | Supporting Statement 6 |  |  |
| 123 | LF Electronic Volt Meter | Voltage | V.R. for LF Electronic Volt Meter JJG782-1992 | 0.3mV～1000V (10Hz～500kHz) | Urel = 0.29% |  |  |
| 124 | Oscillo-scope | Voltage | V.R. for Analogue Oscilloscope JJG262-1996 | 1mV～200 V | Urel =0.52% |  |  |
|  |  | Time |  | 2 ns～5 s | Urel =0.36% |  |  |
|  |  | Frequency |  | Below DC~500MHz | Urel =2.9% |  |  |
|  |  | Risetime |  | 300ps~50ns | Urel = 5.2% |  |  |
| 125 | Distortion Meter | Distortion | V.R. for Verification Regulation of Distortion Meter JJG251-1997 | Distortion ：(0.03～100)% Frequency： 5Hz～200kHz | Supporting Statement 7 |  |  |
| 126 | Transistor Characteristic Curve Tracer | Voltage | V.R.of Transistor Characteristic Curve Tracer JJG(Electronic) 04014-1988 | X-Voltage: | Urel = 0.5% |  |  |
|  |  |  |  | 0.01～500v /div |  |  |  |
|  |  | Current |  | Y-Current: | Urel = 0.5% |  |  |
|  |  |  |  | 1μA/div~ 5 A/div |  |  |  |
| 127 | Quartz crystal oscillator | frequency | V.R. for quartz crystal oscillator of Electronic measuring equipment JJG180-2002 | 1MHz、5MHz、10MHz | Urel = 5×10-10 |  |  |
| 128 | Telephone Timing and Charge Meter | Time | V.R. for Single and Dispersion Control Centrely Telephone Accounters JJG107-2002 | (1～2000)s | U=0.7s |  |  |
|  |  |  | V.R.of Timing and Charging Device for IC Card Public Telephone JJG977-2003 |  |  |  |  |
| 129 | Time Interval Measuring Instrument | Time | V.R. of Stopwatches JJG237-2010 | Electric stopwatch(0.001～35999)s | U = 8ms～0.6s |  |  |
|  |  |  |  | Mechanical stopwatch (0.01～900)s | U =0.05s |  |  |
|  |  |  |  | Electromic stopwatch 0.01s～99h | U =0.01s |  |  |
| 130 | Time interval (Generator) | Time | V.R of Time interval Generator JJG723-2008 | 10ns～1h | Urel = 1×10-5 |  |  |
| 131 | Electrocardiograph | Electric Voltage | V.R. of Electrocardiograph JJG543-2008 | （0～5）mV | U=0.16×standard value∕sensitivity（ mV） |  |  |
| 131 | Electrocardiograph | Time | V.R. of Electrocardiograph JJG543-2008 | 5ms～20s | U=0.16×standard value∕sensitivity（s） |  |  |
| 132 | Electro Cardiac Monitor | Electric Voltage | V.R.of Electro Cardiac Monitor JJG760-2003 | （0～5）mV | Urel =2% |  |  |
|  |  | Speed |  | 25mm/s, 50mm/s | Urel=3% |  |  |
|  |  | Heart Rate |  | （20～300）Bpm | U=1bpm |  |  |
| 133 | Ultrasonic Source for Medical Ultrasonic Diagnostic Equipment | Power | V.R.of Ultrasonic Source for Medical Ultrasonic Diagnostic Equipment JJG639-1998 | (2～100) mW | Urel =10% |  |  |
|  |  | Geometri- cal Position |  | Geometri- cal Position (0～200) mm | U=0.17 mm |  |  |
| 134 | Laser for Medicine | Laser Power | V.R.of Laser for Medicine JJG581-1999 | (0～200) μW | Urel=6% |  |  |
|  |  |  |  | (0.2～200) mW | Urel=4% |  |  |
|  |  |  |  | （0.2~ 2）W | Urel=6% |  |  |
|  |  |  |  | （2~ 200）W | Urel=4% |  |  |
| 135 | Medical Diagnosti-cal X-ray units | Pipe Voltage | V.R. for Medical Diagnostical X Ray Radiation Source JJG 744-1997 | (30～150)kV | Urel =2% |  |  |
|  |  | Pipe Current |  | (10～150) mA | Urel =2% |  |  |
|  |  | Air Kerma Rate |  | (0.1～99.9) mGy/min | Urel =6% |  |  |
| 136 | Medical Diagnosti-cal X-ray Radiation Source for Computer Tomography(CT) | Pipe voltage | V.R of Medical Diagnostical X-ray Radiation Source for Computer Tomography(CT) JJG961-2001 | (45～155) kV | Urel =2% |  |  |
|  |  | Pipe current |  | (10～1500) mA | Urel =2% |  |  |
|  |  | Absorbed Dose |  | (0.1～9999) mGy | Urel =6% |  |  |
| 137 | Ultrasonic Inspection Instruments | Level | V.R. for Ultronic Inspection Instruments JJG746-2004 | Uprightness Linear ≤6% | Urel =2% |  |  |
|  |  | Time |  | Level Linear ≤2% | Urel =0.5% |  |  |
| 138 | Sound Level Meter | Frequency Weighting | V .R of Sound Level Meter JJG188-2002 | Pressure-field 10Hz～20kHz | U=0.5dB |  |  |
|  |  |  |  | Pressure-field 10Hz～20kHz | U=0.4dB |  |  |
|  |  | Sound pressure level |  | Free-field 500Hz～1.25kHz | U=0.4dB |  |  |
|  |  |  |  | Free-field 1.6kHz～10kHz | U=0.6dB |  |  |
|  |  |  |  | Free-field 1.25kHz～20kHz | U=1.0dB |  |  |
| 139 | Sound Calibrate Meter | Sound Pressure Level | V .R of Sound Calibrate Meter JJG176-2005 | 20dB～140dB | U=0.15dB |  |  |
|  |  | Frequency |  | 31.5Hz～16kHz | Urel =0.3% |  |  |
| 140 | pH Meter | Acidity Grade | V.R.of Laboratory pH Meter JJG119-2005 | pH (0~14) | pH:U=(0.014~ 0.14) pH |  |  |
|  |  |  |  |  | Electric Meter ：U=(0.02~ 0.06)pH |  |  |
| 141 | Electrolytic Conductance Con- ductivity Meter | Electric Conductance | V.R.for Electrolytic Conductance （Conductivity)Meter JJG376-2007 | （0.05～1×105）μS | Error of Indication: Electric Meter Urel=0.2% |  |  |
|  |  |  |  | （0.05～1×105）μS/cm | Summary error: Urel=0.4% |  |  |
| 142 | Visible Spectro- photometer | Wavelength | V.R of Ultraviolet,Visible, Near-Infrared spectrophotometers JJG178-2007 | （360～800）nm | U=0.6nm |  |  |
|  |  | Transmit-tance |  | （0～100）% | U=0.5% |  |  |
| 143 | Ultraviolet Visible Range Spectro- photometer | Wavelength Transmit- | V.R of Ultraviolet,Visible, Near-Infrared spectrophotometers JJG178-2007 | (190～360)nm | U=0.4nm |  |  |
|  |  |  |  | (360～850)nm | U=0.6nm |  |  |
|  |  | Transmit-tance |  | （0～100）% | U=0.4% |  |  |
| 144 | Ultraviolet Visible Range Spectro- photometer | Wavelength Transmit-Tance | V.R of Ultraviolet,Visible, Near-Infrared spectrophotometers JJG178-2007 | (190～360)nm | U=0.3nm |  |  |
|  |  |  |  | (360～850)nm | U=0.6nm |  |  |
|  |  | Transmit-tance |  | （0～100）% | U=0.3% |  |  |
| 145 | Atomic Absorption Spectro- photo meter | Concentration | V.R.of Atomic Absorption Spectrophoto- meter JJG694-2009 | Flame Method≤0.02μg/ml | U= 0.005 µg/mL |  |  |
|  |  |  |  | Cadmium Method≤4pg | U= 0.3 pg |  |  |
| 146 | Flame Photometer | Concentration | V.R.of Flame Photometer JJG630-2007 | K：≤0.004 mmol/L | U=0.001 mmol/L |  |  |
|  |  |  |  | Na：≤0.008 mmol/L | U=0.002 mmol/L |  |  |
| 147 | Gas Chromato- graph | Sensitivity | V.R.of Gas Chromato- graph JJG700-1999 | TCD：≥800mV·ml/mg | Urel=6.0％ |  |  |
|  |  | Concentration |  | FID:≤5×10-10g/s； | Urel=5.2％ |  |  |
|  |  |  |  | ECD:≤5×10-12g/ml | Urel=5.4％ |  |  |
|  |  |  |  | FPD:≤5×10-10g/s (S); ≤1×10-10g/s (P) | Urel=4.7％ |  |  |
|  |  |  |  | NPD:≤5× 10-12g/s(N); ≤1×10-11g/s (P) | Urel=5.2％ |  |  |
| 148 | Liquid Chromato- graph | Concentration | V.R.of Liquid Chromato- graphs JJG705-2014 | Minimum of Measuring Concentra- tion: Ultraviolet Visible Range Detector: ≤5×10-8g/mL | Urel =6.0％ |  |  |
|  |  |  |  | Fluore- scence Detector: ≤5×10-9g/mL | Urel =6.0％ |  |  |
|  |  |  |  | EvaporativeLight-scatteringDetector：≤5×10-6g/mL | Urel =6.0％ |  |  |
|  |  |  |  | Difference Indication Refraction Detector: ≤5×10-6g/mL | Urel =6.0％ |  |  |
| 149 | Filter-Type Smoke- meters | Limit of smoke | V.R.of Filter-Type Smokemeters JJG847-2011 | （0～10）BSU | Urel=1.2% |  |  |
| 150 | Opacimeters | Absorptance | V.R.of Opacimeters JJG976-2010 | (0～98.6)% | Urel =0.7% |  |  |
| 151 | Vehicle Exhaust Emission Measuring Instruments | Concentration | V.R.of Vehicle Exhaust Emission Measuring Instruments JJG688-2007 | CO2:(0.0～18.0)×10-2 | Urel =1.8% |  |  |
|  |  |  |  | HC:(0～9999)×10-6 | Urel =1.4% |  |  |
|  |  |  |  | CO:(0.00～14.00)×10-2 | Urel =2.0% |  |  |
|  |  |  |  | O2:(0.0～25.0) ×10-2 | Urel =2.3% |  |  |
|  |  |  |  | NO:(0～5000) ×10-6 | Urel =2.1% |  |  |
| 152 | The Alanmer Detectors of Combusitible Gas | Concentration | V.R.ofThe Detectors of Combusitible Gas JJG693-2011 | (0～100)%LEL | 0.1%LEL：U= 1.2%LEL；1%LEL：U= 1.4%LEL |  |  |
| 153 | ELISA Analytical Instruments | Absorbency | V.R.of ELISA Analytical Instruments JJG861-2007 | (0～2)Abs | U= 0.02Abs |  |  |
| 154 | Ion Chromato- graph | Concentration | V.R.of IonChromatographe JJG823-2011 | Cl-:≤0.02μg/g | Urel=5.0% |  |  |
|  |  |  |  | NO2-: ≤0.02μg/g | Urel=5.0% |  |  |
|  |  |  |  | Li+: ≤0.02μg/g | Urel=5.0% |  |  |
|  |  |  |  | I-: ≤0.02μg/g | Urel=5.0% |  |  |
| 155 | Ceinical Chemistry Analyzer | Absorbency | V.R of Semiautomatic Clinical Chemistry Analyzers JJG 464-2011 | (0.1~ 1.0)Abs | U=0.006 Abs |  |  |
| 156 | Blood Cell Analyzers | Blood Cell Concentra-tion | V.R. of Blood Cell Analyzers JJG714-2012 | WBC: (0～16)× 109/L | Urel=3% |  |  |
|  |  |  |  | RBC: (0～6)×1012/L | Urel=3% |  |  |
|  |  |  |  | HGB: (0～200) g/L | Urel=3% |  |  |
|  |  |  |  | PLT: (0～360)× 109个/L | Urel=3% |  |  |
| 157 | Turbidimeter | Turbidity | V.R.of Turbidimeter JJG880-2006 | (0～400) NTU | Urel=3.4% |  |  |
| 158 | Plasma Emission Spectro- meter | Concentration | V.R.of Emission Spectro- meter JJG768-2005 | (0～5.0)mg/mL | Cu： U=0.001mg/L Cr： U=0.008 mg/L Ni： U=0.006 mg/L Mn：U=0.001mg/L Ba：U=0.0001mg/L Zn：U=0.006mg/L |  |  |
| 159 | Whiteness- meter | Whiteness value | V.R.of Whiteness- meter JJG512-2002 | R457（0～100） | U=1.6 |  |  |
| 160 | Lovibond Comparaable Colorimeter | Chroma | V.R. of Lovibond Comparaable Colorimeter JJG758-1991 | R:(0.1～79.9) Lovibond unit | U=（0.1～0.5） Lovibond unit |  |  |
| 160 | Lovibond Comparaable Colorimeter | Chroma | V.R. of Lovibond Comparaable Colorimeter JJG758-1991 | Y:(0.1～79.9) Lovibond unit | U=（0.1～0.5） Lovibond unit |  |  |
|  |  |  |  | B:(0.1～49.9) Lovibond unit |  |  |  |
| 161 | Colorimeter | Chroma | V.R.of Colorimeter and Colour Differences Meter JJG595-2002 | Y:(0～100) | U=1.6 |  |  |
|  |  |  |  | x、y：(0~0.9999) | U=0.0044 |  |  |
| 162 | Specular Gloss Meter | Glossiness | V.R.of Specular Gloss Meter And Gloss plates JJG696-2002 | (0~150) Glossiness | U=（1.0～1.4） gloss unit |  |  |
| 163 | Abbe-Refracto- meter | Refractive index | V.R.of Abbe- Refractometer JJG625-2001 | 1.3000～1.7000 | U=1.0×10-4～1.6×10-4 |  |  |
| 164 | Polarimeter | Optical rotation | V.R.of Polarimeter and Saccharimeter JJG536-1998 | -45°～+45° | U=0.003°~ 0.008° |  |  |
|  |  | saccharu |  | -20°Z～ +105°Z | U=0.05°Z~ 0.1°Z |  |  |
| 165 | Rotational Viscometer | Viscosity | V.R.of Rotational Viscometer JJG1002-2005 | (10-1～103 ) mPa·s | Urel=1.5% |  |  |
|  |  |  |  | (103～104 ) mPa·s | Urel=1.6% |  |  |
|  |  |  |  | (104～106 ) mPa·s | Urel=2.0% |  |  |
| 166 | Extrusion Plastometer | Rate of speed | V.R.of Extrusion Plastometer JJG878-1994 | (1～20) g/10min | Urel =7.1% |  |  |
| 167 | Hydrometer | Density | Standard Glass Hydrometers JJG86-2011 Working Glass Hydrometers JJG42-2011 | （650～1800）kg/ m3 | U=（0.20～0.30）（kg/m3 ） |  |  |
| 168 | Alcoholo- meter | Alcoholicity | Standard Glass Hydrometers JJG86-2011 Working Glass Hydrometers JJG42-2011 | （0～100）% | U=0.2%～0.4% |  |  |
| 169 | Carbon-Sulfur Analyzer | Concentration | V.R of Carbon-Sulfur Analyzer JJG395-1997 | 0.0%～3.0% | Urel=1.3% |  |  |
|  |  |  |  | 0.0%～0.3% | Urel=2.9% |  |  |
| 170 | Total OrganicVarbon Analyzer | Concentration | V.R.of Total OrganicVarbon Analyzer JJG821-2005 | organic carbon：(0~1000) mg/L | Urel =1.0% |  |  |
|  |  |  |  | inorganic carbon：(0~1000) mg/L | Urel =1.0% |  |  |
| 171 | Dispersive Infrared Spectrophotometers | Wavelength | V.R of Dispersive Infrared Spectrophotometers JJG681-1990 | (200～4000)cm-1 | U=（2.5～3.2） cm-1 |  |  |
|  |  | Transmittance |  | （0～100）% | U =（0.3～0.6）% |  |  |
| 172 | Vehicles Radar Measuring Speedometers | Speed | V.R of Vehicles Radar Measuring Speedometers JJG 528-2004 | （40～180) km/h | Urel= 0.25% |  |  |
|  |  |  | General Specifications of Intelligent Monitoring System JJG(GuangDong) 008-2006 |  |  |  |  |
| 173 | alignmenter | Angle | C.S for Four-wheel alignmenter JJF1154-2006 | （-15～15）° | U =1.1′ |  |  |
| 174 | Cable Length Meter | Length | V.R.of Cable Length Meter JJG987-2004 | (0～9999.999)m | Urel=0.2% (on-line) Urel=0.1% (off-line) |  |  |
| 175 | Pupil Distance Meters | Length | V.R of Pupil Distance Meters JJG952-2000 | Standardized Pupil Distance（55～75）mm | U=0.1mm |  |  |
| 176 | Angle Gauge Blocks | Angle | V.R of Angle Gauge Blocks JJG70-2004 | Grade 0： 0°～90° | U=1.0" |  |  |
|  |  |  |  | Grade 1： 0°～90° | U=2.0" |  |  |
| 176 | Angle Gauge Blocks | Angle | V.R of Angle Gauge Blocks JJG70-2004 | Grade 2： 0°～90° | U=2.2" |  |  |
| 177 | Energy with Electronics | Electrical Energy | V.R of Electrical Energy Meters with Electronics JJG596-2012 V.R of Electromechanical Meters for MeasuringAlternating-current Electrical Energy JJG307-2006 | U：（57.7～380）V，I：（0.01～100）A | Balance Loads： Urel=0.06％(cosφ=1.0); Urel=0.07％[cosφ=0.5(L)、0.8(C)]; Urel=0.08％[cosφ=0.5(C)]; Urel=0.14％[cosφ=0.25(L)]; Unbalance Loads ： Urel=0.06％(cosφ=1.0); Urel=0.07％[cosφ=0.5(L)] |  |  |
| 178 | Gas Flow Meters | Flow | V.R of Gas Displaceent meter JJG 633-2005 | （0～200）m3/h | Urel=0.8% |  |  |
| 179 | Liquid Flow Meters | Flow | V.R of Cold Water Meter JJG 162-2009 | DN（15～400）mm（0～1300）m3/h | Urel=0.7% |  |  |
|  |  |  | V.R. of Velocity Flow-meter JJG 198-1994 V.R. of Turbine Flowmeter JJG 1037-2008 | DN（50～400）mm（0.4～1300）m3/h | Urel=0.5% |  |  |
|  |  |  | V.R. of Liquid Positive Displacement Flow Meter JJG 667-2010 | DN（50～400）mm（0.4～1300）m3/h | Urel=0.2% |  |  |
|  |  |  | V.R of Vortex-shedding Flowmeter JJG1029-2007 | DN（50～400）mm（0.4～1300）m3/h | Urel=0.3% |  |  |
|  |  |  | V.R of Ultrasonic Flowmeters JJG 1030-2008 | DN（50～250）mm（0.4～500）m3/h | Urel=0.3% |  |  |
|  |  |  | V.R of Electromagnetic Flowmeters JJG 1033-2007 | DN（50～400）mm（0.4～1300）m3/h | Urel=0.1% |  |  |
| 180 | Liquefied Petroleum Gas Dispenser | Flow | V.R of Liquefied Petroleum Gas Dispensers JJG996-2005 | （1～80）m3/min | Urel=0.7% |  |  |
| 181 | Illuminance meter | Luminous Flux | V.R of Illuminance meterJJG245-2005 | (0～20000)lx | Urel=1.0% |  |  |
| 182 | Luminance meter | Luminous Flux | V.R of Luminance meter JJG211-2005 | （0～350） （cd/m2） | Urel=3.0% |  |  |
| 183 | Gas Chromatograpphy | The mass number | C.S for Bench Top Gas Chromatography-Mass Spectrometer JJF1164-2006 | (50～615)u | U=0.1u |  |  |
| 184 | Flue Gas Analyzer | Concentration | V.R.of Flue Gas Analyzers JJG968-2002 | O2（0～25）×10-2 | Urel=2.2% |  |  |
|  |  |  |  | CO2 （0～25）×10-2 | Urel=2.2% |  |  |
|  |  |  |  | CO：（0～1000）×10-6 | Urel =2.3% |  |  |
|  |  |  |  | SO2 ：（0～4000）×10-6 | Urel=2.3% |  |  |
|  |  |  |  | NO ：（0～4000）×10-6 | Urel =2.3% |  |  |
| 185 | Weirs and Flumes for Flow Measurement | Flow | V.R of Weirs and Flumes for Flow Measuremen JJG711-1990 | Unsteady Free Flow | Urel =2% |  |  |
|  |  |  |  | Submerged Flow | Urel =2.5% |  |  |
| 186 | Feeler Gauges | Thickness | V.R of Feeler Gauges JJG62-2007 | （0.02～1.00）mm | U =2μm |  |  |
| 187 | Level Rule | Angle | C.S.for Level Rules JJF1085-2002 | 10mm/m | Urel =8% |  |  |
| 188 | Internal Micrometer | Length | V.R.of Internal Micrometers JJG22-2003 | (50～250)mm | U =2.0μm |  |  |
|  |  |  |  | (250～600)mm | U =5.0μm |  |  |
|  |  |  |  | (600～2000)mm | U =15μm |  |  |
| 189 | Autocollima-tor | Angle | V.R.of Autocollimators JJG 202-2007 | Photovoltaic Photoelectric:±20〞 | U =0.1" |  |  |
| 189 | Autocollima-tor | Angle | V.R.of Autocollimators JJG 202-2007 | Visua：(0～15)mm/m OR Division 1" | U =0.2" |  |  |
| 190 | Coincidence Level | Angle | V.R.of Electronic Levels and Coincidence Levels JJG 103-2005 | （0.001～2）mm/m | U =0.002m/m |  |  |
| 191 | Electronic Level | Angle | V.R.of Electronic Levels and Coincidence Levels JJG 103-2005 | ±5mm/m | U =2μm/m |  |  |
| 192 | Micrometers with Dial Comparator and Indication Snap Gauge | Length | V.R.of Micrometers with Dial Comparator and Indicating Snap Gauge JJG26-2011 | (0～100)mm | Micrometer: U=1.2μm |  |  |
|  |  |  |  |  | Indicating Snap Gauge :U=0.26μm |  |  |
| 193 | Welding Measuring Rulers | Length | V.R.of Calipers for Welding Inspection JJG 704-2005 | (0～100)mm | Length:U =0.02mm |  |  |
|  |  | Angle |  | 0°～90° | Angle:U =7.3′ |  |  |
| 194 | Test Sieves | Length | C.S.for Test Sieves JJF1175-2007 | （0.02～125）mm | Wire thread :U =9μm |  |  |
|  |  |  |  |  | Wire pore:U =0.12mm |  |  |
| 195 | Flat Equal Thickness Interferometer | Length | C.S for Flat Equal Thickness Interferometers JJF1100-2003 | Φ（0～150）mm | U =0.07μm |  |  |
| 196 | Three Measuring Pin | Length | C.S for Cylindrical Measuring Pin JJF1207-2008 | Three Measuring Pin：Φ(0.142～3.177)mm | U = 0.5μm |  |  |
|  |  |  |  | Needle Gauge：Φ(0.1～10)mm |  |  |  |
| 197 | Fineness of Grind Gauge | Length | V.R.of Fineness of Grind Gauge JJG905-2010 | (0～100)μm | U = 0.5μm |  |  |
| 198 | Contact-Type Interferometer | Angle | V.R of Contact-Type Interferometer JJG101-2004 | ±50 Division | U = 0.012μm |  |  |
| 199 | Steel Square | Angle | V.R of Squares JJG7-2004 | 090° | U =3″ |  |  |
| 199 | Steel Square | Length | V.R of Squares JJG7-2004 | （0～500）mm | U =0.05mm |  |  |
| 200 | Micrometers | Length | C.S for Micrometers with Measuring Range from 500mm～3000mm JJF1088-2002 | （500～600）mm | U =5μm |  |  |
|  |  |  |  | （600～700）mm | U =7μm |  |  |
|  |  |  |  | （700～800）mm | U =9μm |  |  |
|  |  |  |  | （800～900）mm | U =10μm |  |  |
|  |  |  |  | （900～1000）mm | U =11μm |  |  |
|  |  |  |  | （1000～2000）mm | U =15μm |  |  |
| 201 | Reading Microscope | Length | V.R of Reading Microscope and Measuring Microscope JJG571-2004 | (0～8)mm | U =1.1μm |  |  |
| 202 | Comparator of Machinery Type | Length | V.R .of Comparators of Machine Type JJG39-2004 | ±100μm | U =0.3μm |  |  |
| 203 | Micro-cator | Length | V.R.of Micro-cator JJG118-2010 | ±50μm | U =0.3μm |  |  |
| 204 | Box plate | Perpendicularity | V.R.of box plate JJG194-2007 | （400×400）mm | U =3.4μm |  |  |
| 205 | Plain Limit Gauges | Length | V.R of Plain Limit Gauges JJG343-2012 | Φ(2～100)mm | U =0.4μm |  |  |
|  |  |  |  | Φ(100～500)mm | U =0.8μm |  |  |
| 206 | Cylindrical Thread Gauges | Length | C.S. of Cylindrical Thread Gauges JJF 1345-2012 | (10～200)mm | U=3μm | Aquire only for simple pitch diameter |  |
| 207 | Electronic Theodolite | Angle | V.R.of Electronic Tachometer Total Station JJG100-2003 | Horizontal Angle GradeⅢ：(0～360)° | U =1.5" |  |  |
|  |  |  |  | Horizontal Angle GradeⅡ：(0～360)° | U =0.2" |  |  |
| 207 | Electronic Theodolite | Angle | V.R.of Electronic Tachometer Total Station JJG100-2003 | Perpendicular Angle GradeⅢ： (-45～225)° | U =2.5" |  |  |
|  |  |  |  | Perpendicular Angle GradeⅡ： (-45～225)° | U =1.0" |  |  |
| 208 | Screw Templates | Length | V.R.of Screw Templates JJG60-2012 | (0.40～6.00)mm | U =5μm |  |  |
| 209 | Radius Gauge | Length | V.R.of Radius Gauge JJG58-2010 | R(1～25)mm | U =7μm |  |  |
| 210 | Level Rod | Length | V.R.of Level Rod JJG8-1991 | （2～5）m | U =0.9mm |  |  |
| 211 | Calibrator for Level | Level Accuracy | V.R.of Calibrator for Level JJG191-2002 | 0.005mm/m | U =0.5μm /m |  |  |
| 212 | Depth Dial Gauge | Length | V.R.of Depth Dial Gauge JJG 830-2007 | Depth dial test indicator：(0～30)mm | U =4μm |  |  |
|  |  |  |  | Depth micrometer ：(0～30)mm | U =2μm |  |  |
| 213 | Bore Dial Indicator | Length | C.S.of Bore Dial Indicators JJF1102-2003 | bore dial indicator：(6～450)mm | U =3.8μm |  |  |
|  |  |  |  | inside dial indicator：（6～450）mm | U = 1.2 μm |  |  |
| 214 | Common Normal Micrometer | Length | V.R.of the Class of Common Normal Micrometer JJG82-2010 | (0～50)mm | U =1.3μm |  |  |
|  |  |  |  | (50～100)mm | U =1.5μm |  |  |
| 215 | Locomotive Pipette | Volume | V.R.of Locomotive Pipette JJG 646-2006 | (1～5)μL | Urel =4% |  |  |
|  |  |  |  | (10～25)μL | Urel =2.5% |  |  |
|  |  |  |  | (40～50)μL | Urel =2.0% |  |  |
|  |  |  |  | (100～300)μL | Urel =1.0% |  |  |
| 215 | Locomotive Pipette | Volume | V.R.of Locomotive Pipette JJG 646-2006 | (1000～10000)μL | Urel =0.2% |  |  |
| 216 | Tension and Compression Testing Machine | Force | C.S.for Working Force Measuring Machines for Special Purposes JJF1134-2005 | 1cN～6kN | Urel =0.4% |  |  |
| 217 | Special Glassware | Volume | V.R of Special Glassware JJG10-2005 | 20μL | U=0.2μL |  |  |
|  |  |  |  | (0.25～05)mL | U=0.001mL |  |  |
|  |  |  |  | (1～5)mL | U=0.003mL |  |  |
|  |  |  |  | (10～20)mL | U=0.01mL |  |  |
|  |  |  |  | (25～30)mL | U=0.05mL |  |  |
|  |  |  |  | (50～100)mL | U=0.3mL |  |  |
| 218 | Universal Testing Machine for wood | Force | V.R of Universal Testing Machine for wood JJG474-1986 | 0kN～20kN | Urel =0.4% |  |  |
| 219 | Concrete Test Hammer | Fixed Ratio Value | V.R.of Concrete Test Hammer JJG817-2011 | 80±2 | U=0.8 |  |  |
| 220 | Anemometer | Velocity | V.R.of Portable 3-Cup Anemometer Type DEM6 JJG431-1986 | （1～40）m/s | Urel=2.6% |  |  |
|  |  |  | V.R of Portable Induction Anemorumbometer JJG515-1987 |  |  |  |  |
|  |  |  | V.R of Contact Anemorumbometer JJG613-1989 |  |  |  |  |
| 221 | Current Trans- formers of Measuring Service | Ratio Difference | V.R.of Current Transformers of Measuring Service JJG313-2010 | (0.5～5000)A/5A | Supporting Statement8 |  |  |
|  |  | Phase Difference |  | 0.001′～999.9′ |  |  |  |
| 222 | High Insulation Resistance Meter | Resistance | V.R.of High Insulation Resistance Meters JJG690-2003 | (100～ 1×108)Ω | Urel =0.15%～0.25% |  |  |
| 222 | High Insulation Resistance Meter | Resistance | V.R.of High Insulation Resistance Meters JJG690-2003 | (1×108～ 1×1010)Ω | Urel =0.25%～2.8% |  |  |
|  |  |  |  | (1×1010～ 2×1012)Ω | Urel=2.8%～6.0% |  |  |
| 223 | Electronic Insulating Resistance Meters | Resistance | V.R.of Electronic Insulating Resistance Meters JJG1005-2005 | 10kΩ～100 MΩ | Urel =0.12%～0.23% |  |  |
|  |  |  |  | 100 MΩ～10 GΩ | Urel =0.23%～1.2% |  |  |
|  |  |  |  | 10GΩ～100 GΩ | Urel =1.2%～2.3% |  |  |
| 224 | Digital Multimeter | DC Voltage | V.R.of DC Digital Voltmeter JJG315-1983 | 10μV～200mV | Urel =0.0012%～0.0008% |  |  |
|  |  |  |  | 200mV~ 2V | Urel =0.0006%～0.0005% |  |  |
|  |  |  |  | 2V~20V | Urel =0.0006%～0.0005% |  |  |
|  |  |  |  | 20V~ 200V | Urel =0.0008%～0.0007% |  |  |
|  |  |  |  | 200V~ 1000V | Urel =0.0012%～0.0008% |  |  |
|  |  | AC Voltage | V.R.of AC Digital JJG(Aerospace) 34-1999 | 2mV～1000V (10Hz～1MHz) | 1mV～1000V (40Hz～10kHz) Urel=0.02% |  |  |
|  |  | DC Current | V.R.of DC Digital Amperemeter JJG598-1989 | 10μA～200μA | Urel =0.0022% |  |  |
|  |  |  |  | 200μA～ 2mA | Urel= 0.0041%～0.0020% |  |  |
|  |  |  |  | 2mA~ 20mA | Urel= 0.0042%～0.0022% |  |  |
|  |  |  |  | 20mA~ 200mA | Urel= 0.0098%～0.0057% |  |  |
|  |  |  |  | 200mA~ 2A | Urel=0.034%～0.026% |  |  |
|  |  |  |  | 2A~20A | Urel= 0.076%～0.055% |  |  |
|  |  | AC Current | V.R.of AC Digital Amperemeter JJG(Aerospace) 35-1999 | 20μA～20A(10Hz～20kHz) | Supporting Statement 9 |  |  |
| 224 | Digital Multimeter | DC Resistance | V.R.of DC Digital Ohmmeter JJG724-1991 | （1~10）Ω | Urel =0.013% |  |  |
|  |  |  |  | (10～100)Ω | Urel =0.012% |  |  |
|  |  |  |  | 100Ω~ 1.1MΩ | Urel =0.0058% |  |  |
|  |  |  |  | (1.1~3.3) MΩ | Urel =0.0070% |  |  |
|  |  |  |  | (3.3~11) MΩ | Urel =0.015% |  |  |
|  |  |  |  | (11~33)MΩ | Urel =0.029% |  |  |
|  |  |  |  | (33~100) MΩ | Urel =0.058% |  |  |
| 225 | DC Standard Voltage Source | DC Voltage | V.R.of DC Standard Voltage Source JJG445-1986 | 100μV～ 1000V | Urel = 0.001% |  |  |
| 226 | AC Voltage Calibration Source | AC Voltage | V.R.of Precise AC Voltage Calibration Source JJG410-1994 | 100μV～1000V | Supporting Statements 10 |  |  |
| 227 | DC Potentio- meter | Voltage | V.R.of D.C. Potentiometer JJG123-2004 | 0.01μV ～13.11110V | Urel = 0.003% |  |  |
| 228 | Ultrasonic Doppler Foetal Meters | Power | V.R.of Ultrasonic Source of Ultrasonic Doppler Foetal Meters JJG 893-2007 | (2～100) mW | Urel=10% |  |  |
| 229 | Ultrasonic Source for Ultrasonic Doppler Fetal Monitor | Power | V.R.of Ultrasonic Source for Ultrasonic Doppler Fetal Monitor JJG 394-1997 | (2～100) mW | Urel=10% |  |  |
|  |  | Heart Rate |  | (60～210） bpm | Urel=1 bpm |  |  |
| 230 | Electroencephalo-gramMap-ping and Brain Electric Acting Mapping | Electric Voltage | V.Rof Digital Electroencephalo-gramMapping and Brain Electric Acting Mapping JJG954-2000 | (0～2)mV | Urel =2% |  |  |
|  |  | Time |  | 1s | Urel=2% |  |  |
| 231 | Pulse Oximeters | Oxyhemogl-obin saturation | Calibratior Specification for Pulse Oximeters JJG(jing)31-2003 | (65～100)% | Urel =3% |  |  |
| 232 | Cardiac Defibrillator-monitors | Energy | C.S for Cardiac Dedibrillators & Cardiac Defibrillator-monitors JJF1149-2006 | defibrillation (0～360)J | U=2.6J (＜100J) |  |  |
|  |  |  |  |  | Urel =2.4% (＞100J) |  |  |
| 233 | Electrosurgical Generator | Power | Calibration Specification for Electrosurgical Generator JJF 1217-2009 | (1～500) W | Urel=6% |  |  |
| 234 | Magnatic Resonance Imaging System | Magnetic field intensity | V.R of Magnatic Resonance Imaging System JJG(Yue)009-2008 | （0～2）T | Urel =0.3% |  |  |
| 235 | Lung Ventilator | capacity | Calibration Specification for Lung Ventilator JJG1234-2010 | tidal volume (0～2)L | U =17mL |  |  |
|  |  |  |  | frequency (1～40) Bpm | U =0.1bpm |  |  |
|  |  | Concentration |  | (21～90) % | Urel =1.2% |  |  |
|  |  | pressure |  | (0～30) kPa | U=0.11kPa |  |  |
| 236 | Injection Pump& Infusion Pump | Flow | Calibration Specification for Syringe Pumps and Infusion Pumps JJF1259-2010 | (0.1～1000) mL/h | Urel=1.2% |  |  |
|  |  | pressure |  | (0～120) kPa | Urel=1.2% |  |  |
| 237 | Hand Sacchari- meter | Concentration | V.R.of Hand Saccharimeter (Contentmeter) and Hand Refractometer JJG820-1993 | （0～80）% | 0.2%number of divisions：U=0.8%； 0.5%number of divisions U=0.9% 1%number of divisions： U=1.0% |  |  |
| 238 | Melting –Point Measuring Instrument | temperature | V.R of Melting –Point Measuring Instrument JJG701-2008 | （0～300）℃ | U =(0.17～0.30)℃ |  |  |
| 239 | Box-type High Temperature Resistance Furnaces | Temperature | Calibration Specification for Box-type Resistance Furnace JJF1376-2012 | (300～1300)℃ | U =(2.5~4.0)℃ |  |  |
| 240 | Vacuum Gauge | Perssure | Calibration Specification for Working Thermal Conductivity Vacuum Gauge JJF1050-1996 Verification Regulation of Piezoresistive Vacuum Gauge JJG932-1998 | (1×105～1×10-1)Pa | Urel=(2～10)% |  |  |
| 241 | The Clinical Thermometers | Temperature | Verification Regulation of the Clinical Thermometers JJG111-2003 | （35～42）℃ | U =0.04℃ |  |  |
| 242 | Aneroid Barometer | Perssure | Verification Regulation of Aneroid Barometer & Aneroid Barograph JJG272-2007 | (450～1100)hPa | Urel =0.1% |  |  |
| 243 | Standard Mercury -in -Glass Thermometer | Temperature | Verification Regulation of Standard Mercury-in-Glass Thermometers JJG161-2010 | （-30～+300）℃ | U=(0.03～0.06)℃ |  |  |
| 244 | Dissolved Oxygen Meter with Covered-Membrane-Electrode | Concentration | Verification Regulation of Dissolved Oxygen Meter with Covered-Membrane-Electrode JJG291-2008 | （0～20）mg/L | U=0.10mg/L |  |  |
| 245 | Carbon Monooxide and Carbon Dioxide Infrared Gas Analyzer | Concentration | JJG635-2011 《V.R.of Carbon Monooxide and Carbon Dioxide Infrared Gas Analyzer》 | CO： （0～5000） ×10-6 | Urel=1.2%FS |  |  |
|  |  |  |  | CO2 （0～25）×10-2 | Urel=1.2%FS |  |  |
| 246 | Sulfur Dioxide Gas Detectors | Concentration | V.R. of Sulfur Dioxide Gas Detectors JJG551-2003 | （0～500）×10-6 | Urel=3% |  |  |
| 246 | Sulfur Dioxide Gas Detectors | Concentration | V.R. of Sulfur Dioxide Gas Detectors JJG551-2003 | （0～100）% | Urel=3% |  |  |
| 247 | Carbon Monoxide Detectors | Concentration | V. R. of Carbon Monoxide Detectors JJG915-2008 | (0～2000) μmol/mol | Urel=3% |  |  |
| 248 | Formaldehyde Gas Analyzer | Concentration | Verification Regulation of Formaldehyde Gas AnalyzerJ JG1022-2007 | (0.01～2.0) μmol/mol | Urel=3% |  |  |
| 249 | Sulfur Hydrogen Gas Detectors | Concentration | Verification Regulation of Sulfur Hydrogen Gas Detectors JJG695-2003 | （0～500） μmol/mol | Urel=3% |  |  |
| 250 | Oil Content in Water Analyzer | Concentration | Verification Regulation of Oil Content in Water Analyzer JJG950-2012 | TypeA(0～10)mg/L | Urel=3% |  |  |
|  |  |  |  | TypeA＞10mg/L | Urel=3% |  |  |
|  |  |  |  | TypeB＞10mg/L | Urel=3% |  |  |
| 251 | Atomic Fluorescence Spectrophotometers | Concentration | Verification Regulation for Atomic Fluorescence Spectrophotometers JJG939-2009 | As:≤0.4ng | U=0.014ng |  |  |
|  |  |  |  | Sb: ≤0.4ng | U=0.04ng |  |  |
| 252 | Wavelength Dispersive X-Ray Fluore-scenece Spectro-meters | Concentration | V. R. of Wavelength Dispersive X-Ray Fluorescenece Spectrometers JJG810-1993 | Cd:(0～100)mg/kg | Urel=2.5% |  |  |
|  |  |  |  | Cr:(0～1000)mg/kg | Urel=2.5% |  |  |
|  |  |  |  | Hg:(0～1000)mg/kg | Urel=2.5% |  |  |
|  |  |  |  | Pb:(0～1000)mg/kg | Urel=2.5% |  |  |
| 253 | Calibrationg Instrument For Torque Wrenchs | Torsional moment | Calibrationg Instrument For Torque Wrenchs JJG797-2013 | (0～3000)N.m | U=0.4% |  |  |
| 254 | Mechanical Balance | Mass | V.R of Mechanical Balance JJG98-2006 | 1mg～50kg | Ⅰ3~Ⅱ10 :U=0.4e |  |  |
| 255 | Analogue indicating Weighing | Mass | V.R of Analogue indicating Weighing Instrument JJG13-1997 | 100g～100t | Ⅲ （0～5×102）e ：U=0.2e |  |  |
|  |  |  |  |  | Ⅳ （0～5×10）e ：U=0.2e |  |  |
|  |  |  |  |  | Ⅲ （5×102～2×103）e ：U=0.3e |  |  |
|  |  |  |  |  | Ⅳ （5×10～2×102）e ：U=0.3e |  |  |
|  |  |  |  |  | Ⅲ （2×103～1×104）e ：U=0.5e |  |  |
|  |  |  |  |  | Ⅳ （2×102～1×103）e ：U=0.5e |  |  |
| 256 | Nonself-indicating Weighing | Mass | V.R. of Nonself-indicating Weighing Instrument JJG14-1997 | 100g～100t | Ⅲ（0～5×102）e ：U=0.2e |  |  |
|  |  |  |  |  | Ⅳ （0～5×10）e ：U=0.2e |  |  |
|  |  |  |  |  | Ⅲ （5×102～2×103）e ：U=0.3e |  |  |
|  |  |  |  |  | Ⅳ （5×10～2×102）e ：U=0.3e |  |  |
|  |  |  |  |  | Ⅲ （2×103～1×104）e ：U=0.5e |  |  |
|  |  |  |  |  | Ⅳ （2×102～1×103）e ：U=0.5e |  |  |
| 257 | Rockwell Hardness Tester | Hardness value | V.R. of Metallic Rockwell Hardness Testing Machines(Scales A，B，C，D，E，F，G，H，K，N，T) JJG112-2013 | （70～90）HRA | Urel=0.5HR |  |  |
|  |  |  |  | （80～100）HRB | Urel=0.8HR |  |  |
|  |  |  |  | （20～70）HRC | Urel=0.8HR |  |  |
|  |  |  |  | （15、30、45）HRN | Urel=0.8HR |  |  |
|  |  |  |  | （15、30、45）HRT | Urel=0.6HR |  |  |
| 258 | Vickers Hardness Tester | Hardness value | V.R.of Metal Vickers Hardness Tester JJG151-2006 | （5～1000）HV | Urel=1.5% (HV1～HV30) |  |  |
|  |  |  |  |  | Urel=3.5% (HV0.05～HV0.5) |  |  |
| 259 | Noble Thermocouple | Tempera-ture | V.R. of Working Noble Thermocouple JJG141-2013 | S、R （300～1600）℃ | Zn U=0.6℃ Ar U=0.7℃ Cu U=0.8℃ |  |  |
|  |  |  |  | B（600～1800）℃ | U=3.3℃ |  |  |
| 260 | Bimetal Thermomerter | Temperature | V.R.of Bimetal Thermomerter JJG226-2001 | （-30～+300）℃ | U=0.27℃ |  |  |
| 261 | Filled System Thermomerter | Temperature | V.R. of Filled System Thermomerter JJG310-2002 | （-30～+300）℃ | U=0.3℃ |  |  |
| 262 | Precise Pressure Guage、Vacuum Gauges | Pressure | V.R.of Elastic Element Precise Pressure Gauges and Vacuum Gauges JJG49-2013 | （-0.1～+250）MPa | Urel=0.18% |  |  |
| 263 | Ambulatory Electrocardiographs | Voltage | V. R for Ambulatory Electrocardiographs JJG1041-2008 | (0～5)mV | Sensitivity ：10mm∕mV：U= 0.016mV |  |  |
|  |  |  |  |  | Sensitivity ：5mm∕mV：U= 0.032mV |  |  |
|  |  |  |  |  | Sensitivity ：20mm∕mV：U= 0.008mV |  |  |
|  |  | Time |  | 5ms～20s | Recording speed：25mm∕s：U= 0.0064s |  |  |
| 263 | Ambulatory Electrocardiographs | Time | V. R for Ambulatory Electrocardiographs JJG1041-2008 | 5ms～20s | Recording speed：50mm∕s：U= 0.0032s |  |  |
|  |  | Heart Rate |  | (20～300) bpm | Urel =1% |  |  |
| 264 | Electric Ventilation Psychrometer | Temperature | V.R of Electric Ventilation Psychrometer JJG993-2004 | (0～50)℃ | U=(0.2～0.7)℃ |  |  |
|  |  | Humidity |  | (20～95)%RH | U=(2.0～4.0)%RH |  |  |
| 265 | Instrument Voltage Transformers | Voltage | V.R.of Instrument Voltage Transformers JJG 314-2010 | (2000~ 10000)V /100V | Supporting Statement 11 |  |  |
| 266 | Signal Generator | Frequency | V.R. of Signal Generator JJG 173-2003 | 20Hz～2600MHz | Urel=1.1×10-8 |  |  |
|  |  | Level |  | -120dBm～+30dBm | U=(0.47dB～0.18dB) |  |  |
|  |  | AM |  | 5%～99% | Urel=1.2% |  |  |
|  |  | FM |  | (0～400) kHz | Urel=1.2% |  |  |
|  |  | PM |  | (0～400)rad | Urel=1.2% |  |  |
| 267 | Baby Incubator | Temperature | Calibration Specification for Baby Incubator JJF 1260-2010 | (20~50)℃ | U=0.12℃ |  |  |
|  |  | Humidity |  | (30~100)%RH | U=3%RH |  |  |
|  |  | Oxygen Concentration |  | (21～90)% | U=2% (V/V) |  |  |
|  |  | Sound pressure level |  | Phase Noise (30~100) dB | U=2.0dB |  |  |
| 268 | Clamp Earth Resistance Meters | Resistance | V.R. of Clamp Earth Resistance Meters JJG 1054-2009 | 0.001Ω～100kΩ | Supporting Statement 12 |  |  |
| 269 | DC Stable Source | DC Voltage | V.R of DC Stable Source JJG(HT)6-1999 | 0.001V～1000V | Urel=0.06% |  |  |
|  |  | DC Current |  | 0.001A～100A | Urel=0.09% |  |  |
| 270 | Textile Constant Temperature Humidity Chambers | Temperature | Calibration Specification for Constant Temperature Humidity Chambers JJF(FZ)060-2010 | (10～50)℃ | U=0.3℃ |  |  |
|  |  | Humidity |  | （10～95）%RH | U=2.2%RH |  |  |
|  |  | Wing speed |  | (0.05～30)m/s | Urel=4.0% |  |  |
| 271 | Wrap Reelers | Length | C. S. for Wrap Reelers JJF(FZ)019-2010 | （0~1000）mm | U=0.24mm |  |  |
|  |  | Force |  | （0~10）N | U=0.22cN |  |  |
|  |  | Length |  | （0~35）mm | U=0.3mm |  |  |
| 272 | Corlour Fastness to Washing Testers | Rotational Speed | C. S. for Corlour Fastness to Washing Testers JJF(FZ)026-2010 | （0~40） r/min | U=1.2 r/min |  |  |
|  |  | Time |  | （0~45）min | U=0.1 s |  |  |
|  |  |  |  | (0～30)min | Heating Up Time： U=0.1s |  |  |
|  |  | Temperature |  | (40～95)℃ | U=0.5 ℃ |  |  |
| 273 | Corlour Fastness to Friction Testers | Rotational Speed | C. S. for Corlour Fastness to Friction Testers JJF(FZ)027-2010 | （0~60） r/min | U=1.2 r/min |  |  |
|  |  | Length |  | （0~16） mm | End Face Diameter：U=0.04mm |  |  |
|  |  |  |  | （0~100） mm | Friction Head Distance： U=1.1 mm |  |  |
|  |  | Force Value |  | （0~9） N | Friction read force： U=0.01 N |  |  |
| 274 | Perspiration Fastness Instruments | Length | C.S for Perspiration Fastness Instruments JJG(FZ) 028-2010 | (0～150)mm | U=0.1mm |  |  |
|  |  | Parallelism |  | ≤0.08 mm | U=0.1mm |  |  |
|  |  | Parallelism |  | ≤0.06 mm | U=0.1mm |  |  |
|  |  | Force |  | 50 N | U=0.49N |  |  |
| 275 | Circle Sample Cutters | Length | C.S for Circle Sample Cutters JJG(FZ) 061-2010 | 112mm | U=0.11mm |  |  |
| 276 | Eight-Basket Oven | Temperature | Calibration Specification for Eight-Basket Oven JJG(FZ) 011-2010 | （0～150）℃ | U=0.3℃ |  |  |
|  |  | Time |  | (0～9999)s | U=0.1s |  |  |
| 277 | Clinic Autoclave | Temperature | 1Calibration Specification for Thermometers of Clinic Autoclave JJF 1308-201 Calibration Specification for Autoclave FWIJF-R05 | （0～140）℃ | U=0.5 ℃ |  |  |
|  |  | Pressure |  | （0～0.25）MPa | Urel=1.6% |  |  |
| 278 | Clarity Test Equipment | Luminous Flux | Calibration Specification for Clarity Test Equipment JJF1287-2011 | (1000～4000)lx | Urel=11% |  |  |
|  |  | Time |  | （0～100）s | Urel=0.2s |  |  |
| 279 | Height Measuring Instrument with Digital Display | Length | C.S for Height Measuring Instrument with Digital Display JJF 1254-2010 | （0～100）mm | U=0.5μm |  |  |
|  |  |  |  | （0～500）mm | U=1.0μm |  |  |
|  |  |  |  | （0～1000）mm | U=1.9μm |  |  |
| 280 | Internal micrometers with three-point contact | Length | C.S for Micrometers of Measuring Inside Dimension JJF1411-2013 | (6～100)mm | U=(0.9+ 7.3L)μm L：m |  |  |
| 281 | Fiber Tape | Line Scale | V. R. of Fiber Tapes and Measuring Ropes JJG5-2001 | (0～50)m | U=(0.4+0.1L)mm L：m |  |  |
| 282 | Measuring Ropes | Line Scale | V. R. of Fiber Tapes and Measuring Ropes JJG5-2001 | (0～200)m | U=(0.4+0.1L)mm L：m |  |  |
| 283 | Concentricity Testers | Length | C.S for Concentricity Testers JJF1109-2003 | (0～1)m | U=1.4μm |  |  |
| 284 | Screw Thread Micrometer | Length | V. R. of Screw Thread Micrometer JJG25-2004 | (0～200)mm | U=3.8μm |  |  |
| 285 | Gear Tooth Calipers | Length | C. S. for Gear Tooth Calipers JJF1072-2000 | Modulus: (1～50)mm | U=0.01mm |  |  |
| 286 | Snap Gauge Reading in 0.01mm | Length | V.R.of Snap Gauge Reading in 0.01mm JJG109-2004 | (0～1000)mm | U=3.2μm |  |  |
| 287 | Micrometers with Gauge | length | V.R. of Micrometers with Gauge JJG427-2004 | (0～100)mm | U=1.3μm |  |  |
| 288 | Square Testers | Perpendicularity | C.S. for Square Testers JJF1140-2006 | (0～1000)mm | U=0.8μm |  |  |
| 289 | Wooden rule(wooden folded rule) | Line Scale | V.R. of Wooden Rule(Wooden Folded Rule) JJG 2-1999 | (0～3)m | U=(0.2+0.1L)mm |  |  |
| 290 | Small angle testers | Angle | V. R. of Small Angle Testers JJG300-2002 | (0～40)′ | U=0.0004mm/m |  |  |
| 291 | Casing coupling meter | Length | V. R. of Casing Coupling Meter JJG473-2009 | (600～2000)mm | U=0.16mm |  |  |
| 292 | Articulated Arm | Length | Calibration Specification for Articulated Arm Coordinate Measuring Machines JJF1408-2013 | (0～500)mm | U=0.005mm |  |  |
|  |  |  |  | (0～1000)mm | U=0.010mm |  |  |
|  |  |  |  | (0～2000) mm | U=0.015mm |  |  |
|  |  |  |  | (0～3000) mm | U=0.020mm |  |  |
| 293 | Pi Tapes | Length | Calibration Specification for Pi Tapes JJF 1423-2013 | Ф(0～500)mm | U=0.012mm |  |  |
|  |  |  |  | Ф(500～1000)mm | U=0.016mm |  |  |
| 293 | Pi Tapes | Length | Calibration Specification for Pi Tapes JJF 1423-2013 | Ф(1000～1500) mm | U=0.020mm |  |  |
| 294 | Tape for Measuring Circumference and Diameterof Flexible Part | line Scale | V. R. of Tape forMeasuring Circumference and Diameter of Flexible Part JJG670-1990 | (0～0.5)m | U=0.015mm |  |  |
|  |  |  |  | (0～5)m | U=0.06mm |  |  |
|  |  |  |  | (0～10)m | U=0.10mm |  |  |
| 295 | Perpendicularity Testing Rule | Angle | C. S. for Construction Quality Tester Sets JJF1110-2003 | (0～20)mm/2m | U=0.1mm/2m |  |  |
| 296 | Inside and Outside Right – angle Testing Rule | Angle | C. S. for Construction Quality Tester Sets JJF1110-2003 | 10mm/150mm | U=0.1 mm/150 mm |  |  |
| 297 | Diagonal Testing Rule | Angle | C. S. for Construction Quality Tester Sets JJF1110-2003 | 2m | U=0.3mm |  |  |
| 298 | Wedge Feeler Gauge | Angle | C. S. for Construction Quality Tester Sets JJF1110-2003 | (1～15)mm | U=0.1mm |  |  |
| 299 | Reseau of hundred Latticework | Length | C. S. for Construction Quality Tester Sets JJF1110-2003 | (15×200)mm | U=0.2mm |  |  |
| 300 | Inclination Rule | Angle | C. S. for Construction Quality Tester Sets JJF1110-2003 | 50mm/m | U=0.1 mm/m |  |  |
| 301 | Square gauge | Length | Verification Regulation of Square Gauge JJG1046-2008 | (0~630)mm | U=(0.6+0.7L)μm L：m | Grade 0&1 |  |
| 302 | Dial Snap Gauges Length | Length | C.S. for Dial Snap Gauges JJF1253-2010 | (5～100)mm | U=5.2μm (reading in 0.005mm) |  |  |
|  |  |  |  |  | U=15μm (reading in 0.01mm) |  |  |
| 303 | Thickness Gauges | Length | C.S. for Thickness Gauges JJF1255-2010 | (0～10)mm | U=0.001mm (reading in 0.001mm) |  |  |
|  |  |  |  | (0～30)mm | U=0.002mm (reading in 0.002mm) |  |  |
| 303 | Thickness Gauges | Length | C.S. for Thickness Gauges JJF1255-2010 | (0～30)mm | U=0.004mm (reading in 0.01mm) |  |  |
| 304 | Step Gauges | length | V. R. of Step Gauges JJF1258-2010 | (0~1200)mm | U=0.4μm |  |  |
| 305 | Expasion meter of Le-chatelier apparatus | Length | Expasion meter of Le-chatelier apparatus JJG(JC)110-1994 | (0～200)mm | U=0.04mm |  |  |
|  |  | Mass |  | 300g | U=0.04g |  |  |
| 306 | Le-Chatelier apparatus for soundness test of the portland cement | Length | Expasion meter of Le-chatelier apparatus JJG（JC）111-1994 | （0～200）mm | U=0.04 mm |  |  |
| 307 | Benkelman Beam Pavement Deflectometer | Length | V. R. of Benkelman Beam Pavement Deflectometer JJG(JT)025-2002 | (10～200)mm | U=0.02mm |  |  |
| 308 | Eight-wheel Continuous Vialog | Length | V. R. of Eight-wheel Continuous Vialog JJG(JT)024-2002 | (-20～+20)mm | U=0.03mm |  |  |
| 309 | Concrete Crack Width Measuring Instruments | Length | C. S. for Concrete Crack Width and Depth Measuring Instruments JJF1334-2012 | （0.01～10）mm | U=8 μm |  |  |
| 310 | Gauge Block Comparators | Length | C. S. for Gauge Block Compartors JJF1304-2011 | (0～100)mm | U=0.017μm |  |  |
| 311 | Extensometers | Length | V. R. of Extensometers JJG762-2007 | （0～50）mm | Urel=0.2% |  |  |
| 312 | Cupping Testing Machine | Force | V.R.of Cupping Testing Machine JJG 583-2010 | (0～10)kN | Urel=0.4% |  |  |
|  |  | Displace-ment |  | （0～10）mm | Urel=0.3% |  |  |
| 313 | Biological Microscopes | Magnification | Calibration Specification for Biological Microscopes JJF 1402-2013 | （1～10）mm | Urel=1.2% |  |  |
| 314 | Shore D Durometers | Force | V. R. of Shore D Durometers JJG1039-2008 | (0～100)HD | U =0.3HD |  |  |
| 315 | Static Torque Measuring Devices | Torque | V.R.of Static Torque Measuring Devices JJG995-2005 | （0～3000）N·m | Urel=0.1% |  |  |
| 316 | Pendulum Friction Tester | Mass | V.R. of Pendulum Friction Tester JJG(JT)053-2009 | （0~2500）g | U=0.5g |  |  |
|  |  | Length |  | (0～500)mm | U=0.5mm |  |  |
| 317 | Marshall test machine for bituminous mixtures | Force | V. R. of Marshall test machine for bituminous mixtures JJG(JT)066-2006 | (0～50)kN | Urel=0.4% |  |  |
| 318 | Syringes for Medical Use | Volume | V. R. of Syringes for Medical Use JJG18-2008 | （0～100）mL | Urel=1.0% | Accredited only for volume |  |
| 319 | Tanks and Barrels | Volume | V. R. of Tanks and Barrels JJG647-1990 | （0～1000）L | Urel=0.2% |  |  |
| 320 | Portable Brinell Hardness Tester | Hardness | V. R. of Portable Brinell Hardness Tester JJG870-1994 | （100～225）HBW10/3000 | Urel=3.0％ |  |  |
| 321 | Measuring Instruments for Cereals Density | Mass | V. R. of Measuring Instruments for Cereals Density JJG 264-2008 | （0～1000）g | U=0.6g |  |  |
| 322 | Normal Consistency and Setting Time of Cement Paste | Length | V.R.of Apparatus for Normal Consistency and Setting Time of Cement Paste JJG（JT） 050-2004 | （0～150）mm | U=0.05mm |  |  |
|  |  | Mass |  | (0～2000)g | U=0.1g |  |  |
| 323 | Manipulating Force Tester for Automotive Brake | Force | C.S. for Manipulating Force Tester for Automotive Brake JJF1169-2007 | (0～10)kN | Urel= 0.4% |  |  |
| 324 | Electro-hydraulic Servo Universal Testing Machines | Force | V.R.of Electro-hydraulic Servo Universal Testing Machines JJG1063-2010 | (0～10)MN | Urel=0.4% |  |  |
| 325 | Building Material Testing Machine of Constant Loading Speed | Force | V.R.of Building Material Testing Machine of Constant Loading Speed JJG1025-2007 | (0～10)MN | Urel=0.4% |  |  |
| 326 | Platform Brake Tester | Force | V.R.of Platform Brake Tester JJG 1020-2007 | (0～20)kN | Urel=0.4% |  |  |
| 327 | Safe Glass Shot-bag Impact Testing Machine | Mass | JJG(JC)128-1999《V.R.of Safe Glass Shot-bag Impact Testing Machine 》 | (0～60)kg | U=0.1kg |  |  |
|  |  | Energy |  | （50～700）J | U=0.7J |  |  |
|  |  | Length |  | (0～2000)mm | U=1mm |  |  |
| 328 | Instrument of Testing Mortar-strength | Length | C.S. for Instrument of Testing Mortar-strength by Penetration Resistance Method JJF-025-89 | （0～25）mm | U=0.2mm |  |  |
|  |  | Force |  | (0～1)kN | U=0.5% |  |  |
| 329 | Transverse tensile tester socks | Force | C.S. for Transverse tensile tester socks JJF(FZ)017-2006 | (0～500)N | U=0.5% |  |  |
|  |  | Length |  | (0～500)mm | U=0.6mm |  |  |
| 330 | Fabric Thickness Instruments | Force | V.R. of Fabric Thickness Instruments JJF(FZ)020-2010 | (0～200)cN | U=0.6% |  |  |
|  |  | Length |  | (0～10)mm | U=0.04mm |  |  |
| 331 | Pile Dynamic Measuring Instrument | Accelera-tion | V. R. of Pile Dynamic Measuring Instrument JJG930-1998 | (1～100) m/s2 | Urel=3.0% |  |  |
| 332 | Bump testing Machines | Accelera-tion | V. R. of Bump testing Machines JJG497-2000 | ≤10000m/s2 | Urel=5% |  |  |
| 333 | Falling Body Type Shock Testing Machines | Accelera-tion | V. R. of Falling Body Type Shock Testing Machines JJG541-2005 | ≤10000m/s2 | Urel=5% |  |  |
| 334 | Hydraulic Vibration Generator System | Displace-ment | V. R. of Hydraulic Vibration Generator System JJG638-1990 | （0.01～10.0）mm | Urel=5% |  |  |
| 335 | Mechanical Vibration Generator for Testing | Displace-ment | V. R. of Mechanical Vibration Generator for Testing JJG189-1997 | （0.01～10.0）mm | Urel=5% |  |  |
| 336 | Electrodynamic Vibration Generator for Testing | Accelera-tion amplitude | V. R. of Electrodynamic Vibration Generator for Testing JJG190-1997 | (1～1000) m/s2 | Urel =3% |  |  |
| 337 | Electrodynamic Horizontal Vibration Generator | Accelera-tion amplitude | V. R. of Electrodynamic Horizontal Vibration Generator for Testing JJG1000-2005 | (1～1000) m/s2 | Urel =3% |  |  |
| 338 | Random Vibration Test System | Accelera-tion amplitude | V. R. of Digital Electrodymatic Vibration Testing System JJG948-1999 | (1～1000) m/s2 | Urel=3.0% |  |  |
| 339 | Digital Electrodymatic Vibration Testing System | Accelera-tion amplitude | V. R. of Digital Electrodymatic Vibration Testing System JJG948-1999 | (1～200) m/s2 (5～20)Hz | Urel=3.0% |  |  |
|  |  |  |  | (1～200) m/s2 (20～2000)Hz | Urel=3.0% |  |  |
|  |  |  |  | (1～200) m/s2 (2000～5000)Hz | Urel=3.0% |  |  |
|  |  |  |  | (1～200) m/s2 160Hz（Reference point） | Urel=3.0% |  |  |
| 340 | Working Measuring Vibration Instrument | Accelera-tion | V. R. of Working Measuring Vibration Instrument JJG676-2000 | Frequency:(20～2000)Hz， | Reference Point(160Hz)：Urel=1.4% Passband：Urel=2.8% |  |  |
|  |  |  |  | Acceleration amplitude (1～200) m/s2 |  |  |  |
| 341 | Portable vibration calibrator | Accelera-tion amplitude | V.R of Portable Vibration Calibrator JJG 1062-2010 | Frequency:（20～2000）Hz，Acceleration amplitude：（1～20）m/s2 | Urel=1.2% |  |  |
| 342 | Automatic Gravimetric Filling Instruments | Mass | V. R. of Automatic Gravimetric Filling Instruments JJG564-2002 | （20~5000）kg | Urel=0.2% |  |  |
| 343 | Hydrometric Balance | Specific Gravity | V. R. of Hydrometric Balance JJG171-2004 | 0.0000～2.0000 | Urel=0.05% |  |  |
| 344 | Torsion Balance | Mass | V. R. of Torsion Balance JJG46-2004 | （5~2500）mg | U=0.007mg～3.5mg |  |  |
| 345 | Moisture Meters | Mass | V. R.of Thermogravimetric Moisture Meters JJG658-2010 | 1mg～500g | U=(0.1～1)mg |  |  |
| 346 | Baume Hydrometer | Baume degree | V.R. of Working Glass Hydrometers JJG42-2001 | (0～70) Bh | U=0.03 Bh |  |  |
| 347 | Webster Hardness Testing Machine | Hardness | V. R. of Metallic Webster Hardness Testing Machine JJG944-2013 | (5～18)HW | U=0.6HW |  |  |
| 348 | Mixer | Rotate speed | V.R. of Cement Mortars Mixer JJG(JC) 102-1999 V.R. of Mixer for cement paste JJG(JC) 123-1999 Inspecting specification for apparatus of fluidity of cement mortar JJG(JC)104-1994 | (10～200)r/min | U=0.6r/min |  |  |
|  |  | Time |  | (15～240)s | U=0.8s |  |  |
| 349 | Jolting Table | Time | Inspecting specification for apparatus of fluidity of cement mortar JJG(JC)126-1999 V.R. for Cement Mortar Specimen Jolting Table JJG(JC)124-1999 | (0～60)s | U=0.8s |  |  |
|  |  | Amplitude |  | (9.9～15.3)mm | U=0.2mm |  |  |
| 350 | Compaction Test Apparatus | Mass | V.R. of Compaction Instrument of Soil JJG(JT) 058-2004 | (2000～6000) g | U=1g |  |  |
|  |  | Length | V.R. of Asphalt Mixture's Marshall Compaction Test Apparatu JJG(JT) 065-2006 | (0～500)mm | U=0.7mm |  |  |
| 351 | Bursting Strength Tester for Paper and Board | Pressure | V.R. of Bursting Strength Tester for Paper and Board JJG(QG)61-2000 | （0～1.6）MPa | U=0.1%FS |  |  |
| 352 | Air Permeance Tester for Paper and Board | Pressure | V.R. of Air Permeance Tester for Paper and Board JJG(QG)51-2000 | （0～10）kPa | U=0.1%FS |  |  |
| 353 | Pressure Regulators with Bourdon Tube Pressure Gauge | Pressure | C.S. for Pressure Regulators with Bourdon Tube Pressure Gauge JJF1328-2011 | (0.1～25) MPa | Urel=0.8% |  |  |
| 354 | Fabric Flat-Rubbing Tester | Rotational speed | C.S for Fabric Flat-Rubbing Tester JJF(FZ) 036-2012 | inside system（47.5±2.5） r/min | U=0.3 r/min |  |  |
|  |  |  |  | outside system（44.5±2.5） r/min |  |  |  |
|  |  | Mass |  | hammer：（2.5±0.5）kg | U=0.6 g |  |  |
|  |  |  |  | gripper：（198±2）g |  |  |  |
| 354 | Fabric Flat-Rubbing Tester | Mass | C.S for Fabric Flat-Rubbing Tester JJF(FZ) 036-2012 | sample hammer：（595±7）g、（795±7）g、（155±1）g、（415±2）g、 | U=0.6 g |  |  |
|  |  | Length |  | parallelism ≤0.05mm | U=0.008mm |  |  |
|  |  |  |  | Rubbing Tester Max distance （60.5±0.5）mm Pilling tester Max distance：（24±0.5）mm | U=0.04 mm |  |  |
| 355 | Zirconia Oxygen Analyzers | Concentration | V.R. of Zirconia Oxygen Analyzers JJG 535-2004 | (0.1～25)%； | U=1.1%FS |  |  |
|  |  |  |  | (0.1～100)% | U=1.1%FS |  |  |
| 356 | Fabric Shrinkage Testers | Rotational speed | C.S. for Fabric Shrinkage Testers JJF(FZ) 052-2012 | (52±1)r/min(A1Washing)(52±2)r/min(A2Washing) | U=0.1 r/min |  |  |
|  |  |  |  | (500±20)r/min | U=1.3r/min |  |  |
|  |  | Temperature |  | (40～92)℃ | U=1.0℃ |  |  |
|  |  | Time |  | ≤8min(25℃～40℃) | U=0.2 s |  |  |
|  |  |  |  | ≤10min(40℃～60℃) | U=0.2 s |  |  |
|  |  |  |  | ≤22min(40℃～92℃) | U=0.2 s |  |  |
|  |  |  |  | water inlet time＜2min(0cm～13cm level) | U=0.2 s |  |  |
|  |  |  |  | drain time＜1min(13cm～0cm level) | U=0.2 s |  |  |
| 357 | Hand twist machine | Length | C.S for Hand twist machine JJF(FZ) 010-2012 | (0～500)mm | U=0.1 mm |  |  |
| 357 | Hand twist machine | Force | C.S for Hand twist machine JJF(FZ) 010-2012 | (0～500)cN | Urel =1.8% |  |  |
| 358 | Yarn examining machine | Length | C.S for Y381 yarn examining machine JJF(FZ) 14-1985 C.S for | (0～300)mm | U=0.1mm |  |  |
|  |  | Mass |  | (5～50)g | U=0.12 g |  |  |
|  |  | Rotational speed |  | (50～400)r/min | U=0.3r/min |  |  |
| 359 | Bomb Calorimeler | Heat capacity | V.R. of The Bomb Calorimeler JJG672-2001 | heat capacity (1500～ 15000)J/K | U=31 J/g |  |  |
| 360 | Temperature date Acquisition Instruments | Temperature | C.S. for Temperature Date Acquisition Instruments JJF1366-2012 | （-30～300）℃ | U=（0.2～0.6)℃ |  |  |
| 361 | Thermistor Thermometers | Temperature | C.S . for Thermistor Thermometers JJF1379-2012 | （-30～200）℃ | U=（0.2～0.6)℃ |  |  |
| 362 | Liquid Level Measuring Meter | current | Verification Regulation of the Liquid Level Measuring Devices JJG971-2002 | (4～20) mA | U= (2～3) μA |  |  |
| 363 | Thermocouple Calibration Furnaces | Temperature | Testing Specification of Temperature Uniformity in Thermocouple Calibration Furnaces JJF1184-2007 | （300～1500）℃ | U=（0.2～1)℃ |  |  |
| 364 | Temperature Indicatiors (Simulators by Electrical Simulation and Measuremnet) | Voltage | C.S of Temperature Indicatiors and Simulators by Electrical Simulation and Measuremnet JJF1309-2011 | (0～100) mV | U= (1～3)μV |  |  |
|  |  | Current |  | (4～20) mA | U= (2～3)μA |  |  |
|  |  | Resistance |  | (0～400)Ω | U=(0.5～3)mΩ |  |  |
| 365 | Humidity transmitter/Hygrothermograph | Humidity | C.S.of Humidity Sensors JJF1076-2001 | (10～100)% | U =(0.7～1.1)% |  |  |
| 366 | Digital Barometers | Pressure | V.R of Digital Barometers JJG1084-2013 | (600～1100) hPa | U=1.0 hPa |  |  |
| 367 | Salt Mist | Temperature | C.S for Salt Mist Testing Chamber JJF(Liao)75-2009 | (30～60)℃ | U=(0.2～0.3)℃ |  |  |
|  |  | Salt Mist |  | (1～2) ml/(80cm2.h) | U=0.2 mL/(80cm2·h) |  |  |
| 368 | Temperature Block Calibrators | Temperature | Calibrations of Temperature Block Calibrators JJF1257-2010 | (-30～+1200)℃ | U=(0.03～1.2)℃ |  |  |
| 369 | Apparatus for Softening Point of Bitumen | size | V.R.of Apparatus for Softening Point of Bitumen JJG(J.T)057-2004 | (6～25.4)mm | U= 0.04mm |  |  |
|  |  | mass |  | (3.50～0.05)g | U= 0.007g |  |  |
|  |  | temperature |  | (0～180) ℃ | U= 0.2 ℃ |  |  |
|  |  | rate |  | (5～0.5) ℃/min | U= 0.12 ℃/min |  |  |
| 370 | Apparatus for determining penetration of bituminous materials | size | C.S. for Apparatus for Determining Penetration of Bituminous Materials JJF1208-2008 | (1.00～5.00)mm | U= 0.002mm |  |  |
|  |  |  |  | (5.00～200)mm | U= 0.04mm |  |  |
|  |  | mass |  | (0～2)kg | U= 0.06g |  |  |
|  |  | Displacement |  | (0～100)mm | U= 0.006mm |  |  |
|  |  | Temperature |  | (0～300) ℃ | U= 0.3 ℃ |  |  |
| 371 | Boiling testing box | Temperature | Boiling testing box for soundness of the portland cement JJG(JC)109-1994 | (Room Temperature+10～100) ℃ | U= 0.2 ℃ |  |  |
|  |  | Time |  | （0～180）min | U= 0.1min |  |  |
| 372 | Sheathed Thermo-couples | Temperature | Calibration Specification for Sheathed Thermocouples JJF1262-2010 | (-30～1100) ℃ | U=（0.5～3.0)℃ |  |  |
| 373 | Liquid medium electric thermostatic equipment | Temperature | Measurement and Test Norm of Thermostatic Bath's Metrological Characteristics JJF1030-2010 | (-30～300) ℃ | 0.1℃ division U=0.4℃ |  |  |
|  |  |  |  |  | 1℃ division U=0.1℃ |  |  |
| 374 | Light and Weather Fastness Testers | Temperature | C.S. for Light and Weather Fastness Testers JJF(FZ)051-2012 | (0～100)℃ | U=0.5℃ |  |  |
|  |  | Humidity |  | (10～100)％RH | U=2.0％RH |  |  |
|  |  | Time |  | (0.01～9999.99) s | U=0.2s |  |  |
| 375 | Scorch and Sublimation Tester | Temperature | C.S. for Scorch and Sublimation JJF(FZ)029-2012 | (0～300)℃ | U=1.0℃ |  |  |
|  |  | Time |  | （0.01～9999.99) s | U=0.2s |  |  |
|  |  | Force |  | （12~20）N | Urel=2.0% |  |  |
|  |  | Length |  | (0～1000)mm | U=0.04mm |  |  |
| 376 | Differential Scanning Calorimeters | Calorific value | V.R. of the Differential Scanning Calorimeters JJG936-1998 | (28～108)J/g | In：U=0.45J/g, Sn：U=0.35J/g, Pb：U=0.41J/g, Zn：U=1.4J/g |  |  |
|  |  | Temperature |  | (120～450)℃ | In：U=0.35℃ Sn：U=0.31℃ Zn：U=0.66℃ Pb：U=0.28℃ |  |  |
| 377 | Open Cupash Point Apparatus | Temperature | C.S. For Open Cup/Closed Cup Flash Point Apparatus JJF1384-2012 | Room Temperature ～400℃ | U=（7.6~10.8）℃ |  |  |
| 378 | Closed Cup Flash Point Apparatus | Temperature | C.S. For Open Cup/Closed Cup Flash Point Apparatus JJF1384-2012 | Room Temperature～300℃ | U=（4.2~5.8）℃ |  |  |
| 379 | Disintegra-tion Analyzers | Temperature | Calibration Specification for Disintegration Analyzers JJF 1449-2014 | Room Temperature～40.0℃ | U=0.3℃ |  |  |
|  |  | Time |  | （0～600）s | Urel=12.8% |  |  |
| 380 | Biochemical Oxygen Demand (BOD5) Meter | BOD | V.R. Of Biochemical Oxygen Demand (BOD5) Meter JJG 824-1993 | (0.1～1000)mg/L | Urel＝6.0% |  |  |
| 381 | Transformers Turn Ratio Test Sets | Ratio | V. R. of Transformers Turn Ratio Test Sets JJG970-2002 | 1PHASE （1～10000） 3PHASE （10、20、50、100） | Urel=0.018% |  |  |
| 382 | Residual Current Operated Protective Device Operated Characteristic Tester(RCD) | Current | C. S. for Residual Current Operated Protective Device Operated Characteristic Tester JJF1283-2011 | 3mA～1500mA | Urel＝1.2% |  |  |
|  |  | Time |  | 20ms～2000ms | U=2ms |  |  |
| 383 | Test equipment for relaying protection | AV | C. S. of Test equipment for relaying protection JJF(Lu）61-2007 | (0.5～750)V (45～65)Hz | Urel＝0.03% |  |  |
|  |  | AC |  | (0.2～100)A (45～65)Hz | Urel＝0.03%~0.09% |  |  |
|  |  | AC Power |  | (0.5～750)V (0.2～100)A (45～65)Hz | Urel＝0.03%~0.09% |  |  |
|  |  | DV |  | (0.5～750)V | Urel＝0.03% |  |  |
|  |  | DC |  | (0.1～100)A | Urel＝0.06%~0.03% |  |  |
|  |  | Time |  | (0.001～100)s | Urel＝0.02%～0.06% |  |  |
|  |  | Phase |  | 0°～360° (45～65)Hz | U＝0.1° |  |  |
| 384 | Audio Analyzer | Frequency | C. S. for Audio Analyzer JJF 1395-2013 | 10Hz～200kHz | Urel＝1×10-6 |  |  |
|  |  | Voltage （input） |  | 1mV～300V （1kHz） | Urel=0.1% |  |  |
|  |  |  |  | 10Hz～100kHz（1V） | Urel=0.1% |  |  |
|  |  |  |  | 100kHz～200kHz（1V） | Urel=0.5% |  |  |
| 384 | Audio Analyzer | Voltage （out-put） | C. S. for Audio Analyzer JJF 1395-2013 | 1mV～20V（1kHz） | Urel=0.1% |  |  |
|  |  |  |  | （10Hz~ 100kHz）（1V） | Urel=0.1% |  |  |
|  |  |  |  | 100kHz～200kHz（1V） | Urel=0.5% |  |  |
|  |  | Distortion （input） |  | 0.01%～100% | Support Statement13 |  |  |
|  |  | Distortion （out-put） |  | 0.01%～0.1% | Support Statement14 |  |  |
| 385 | Steel Bar Tarnish Measuring Instruments | Potential | C. S. for Steel Bar Tarnish Measuring Instruments JJF 1341-2012 | 20mV～10V | Urel =0.2% |  |  |
|  |  | Voltage |  | 20mV～10V | Urel=0.2% |  |  |
|  |  | Current |  | 0.01mA～2A | Urel=0.2% |  |  |
| 386 | DC Shunts | Current | V.R. of DC Shunts JJG 1069-2011 | (5~600)A | Urel=0.014% |  |  |
| 387 | Calibrators for Electrical Meters | DCV | C.S. of Calibrators for Electrical Meters JJF1284-2011 | DCV(20mV～1000V) | Urel=0.003% |  |  |
|  |  | ACV |  | ACV(20mV～200mV, 40Hz~ 100Hz) | Urel=0.03% |  |  |
|  |  |  |  | ACV(20mV～200mV,100Hz～1kHz) | Urel=0.022% |  |  |
|  |  |  |  | ACV(200mV～1000V,40Hz～1kHz) | Urel=0.03% |  |  |
|  |  | DCA |  | DCA(10μA ～100 A) | Urel=0.06% |  |  |
|  |  |  |  | DCA(100A ～1000 A) | Urel=0.07% |  |  |
|  |  | ACA |  | ACA(20μA～100A, 50Hz～60Hz) | Urel=0.09% |  |  |
| 387 | Calibrators for Electrical Meters | ACA | C.S. of Calibrators for Electrical Meters JJF1284-2011 | ACA(100A～1000A, 50Hz～60Hz) | Urel=0.18% |  |  |
|  |  | Resistance |  | 2Ω～20Ω | Urel=0.0026% |  |  |
|  |  |  |  | 20Ω～200kΩ | Urel=0.0022% |  |  |
|  |  |  |  | 200kΩ～2MΩ | Urel=0.0042% |  |  |
|  |  |  |  | 2MΩ～20MΩ | Urel=0.010% |  |  |
|  |  |  |  | 20MΩ～200MΩ | Urel=0.08% |  |  |
|  |  | Frequency |  | 40Hz～20kHz | Urel=1×10-7 |  |  |
| 388 | Electrolyte Analyzers | Ion concentration | V.R. of Electrolyte Analyzers JJG 1051-2009 | Na+：(90～200)mmol/L | Urel=2.3% |  |  |
|  |  |  |  | Cl-：70～170)mmol/L | Urel=1.1% |  |  |
|  |  |  |  | K+：(1.0～8.0)mmol/L | Urel=2.3% |  |  |
| 389 | Pulmonary Function Measuring Instrument | Capacity | C. S. for the Pulmonary Function Measuring Instrument JJF1213-2008 | (0～8)L | Urel=2.4% | Excetp for Air Exchange |  |
| 390 | Automatic Amino Acid Analyzer | Detection limit | V.R.of Automatic Amino Acid Analyzer JJG1064-2011 | ＜1×10nmol | Urel=20% |  |  |
| 391 | Standard Light Sources Boxes | illuminance | C.S. for Standard Light Sources Boxes JJG(FZ)055-2012 | D65 illuminance：≥600lx | U=46lx |  |  |
|  |  | colour temperature |  | (2700～7500)K | U=116K |  |  |
| 392 | Engler Viscosimeter | Time | V.R. of Engler Viscosimeter JJG742-1991 | (51±1)s | U=0.2s |  |  |
| 393 | Stormer viscosimeter | Viscosity | V.R. of Rotational Viscometers JJG1002-2005 | (53～141)KU | Urel=1.2% |  |  |
| 394 | Oxygen Meter | Concentration | V.R. of Electrochemical Oxygen Meter JJG365-2008 | (0.1～25)%； | U=1.1%FS |  |  |
|  |  |  |  | (0.1～100)% | U=1.1%FS |  |  |
| 395 | Mercury Analyzers | Concentration | V.R. of Mercury Analyzers JJG548-2004 | (0.1～30.0) ng/mL | U=0.34ng/mL |  |  |
|  |  |  |  | (0.01～3.00) ng/mL | U=0.02ng/mL |  |  |
| 396 | KF Coulometry Titration | Moisture | V.R. of Instrument for KF Coulometry Titration JJG1044-2008 | (0~10)μg | Urel=1.8% |  |  |
|  |  |  |  | (10~100)μg | Urel=1.8% |  |  |
|  |  |  |  | (100~1000)μg | Urel=1.8% |  |  |
|  |  |  |  | (1000~ 5000)μg | Urel=1.8% |  |  |
| 397 | Determina-tors for Total Sulfur in Coal | Sulphur | V.R. of Determinators for Total Sulfur in Coal JJG1006-2005 | ＜1.0% | U=0.05% |  |  |
|  |  |  |  | (1.0～4.0)% | U=0.06% |  |  |
|  |  |  |  | (4.0～6.0)% | U=0.07% |  |  |
| 398 | Pesticide Residues Rapid tester | Transmission | V.R. of Pesticide Residues Rapid tester JJG(Yue)006-2005 | (0～100)% | U=0.5% |  |  |
| 399 | Airborne Particle counter | Particle concentration | C. S. for Airborne Particle counter JJF1190-2008 | counter: (1000～105) | U=16%FS |  |  |
| 400 | Quadrupole Inductively Coupled Plasma Mass Spectro-meters | Detection limit | C.S. For Quadrupole Inductively Coupled Plasma Mass Spectrometers JJF1159-2006 | Be≤30ng/L | U=0.26ng/l |  |  |
|  |  |  |  | In≤10ng/L | U=0.94ng/l |  |  |
|  |  |  |  | Bi≤10ng/L | U=0.05ng/l |  |  |
| 401 | Liquid Chromatography-Mass Spectrometers | The mass number | C.S. for Liquid Chromatography-Mass Spectrometers JJF1317-2011 | ≤1000u | U=0.1u |  |  |
| 402 | Oscilloscopic Polarograph | Detection limit | V.R. of Oscilloscopic Polarograph JJG 748-2007 | Cd:1×10-7 mol•dm-3 | U=1.1μg/L |  |  |
|  |  |  |  | Cd（Ⅱ）≤20μg/L | U=1.1μg/L |  |  |
| 403 | Halogen Gas Leak Detector | test leak-rate | V.R. of Halogen Gas Leak Detector JJG(QG)106-1994 | (0～15)g/a | Urel＝15% |  |  |

| 附表1 | 109 交流数字功率表 |  |  |
| --- | --- | --- | --- |
| 电压/ 电流 | (0.001~ 0.01)A | (0.02~ 0.1)A | (0.1~40)A |
| (30~220)V | 1.9%~ 0.12% | 0.12%~ 0.060% | 0.030%~ 0.023% |
| (220~480)V | 0.12% | 0.06% | 0.023% |

| 附表2 | 113 电桥 |  |  |
| --- | --- | --- | --- |
| 量程 | 0.01Ω～ 0.1Ω | 0.1Ω～10Ω | 10Ω～ 105Ω |
| Urel | 0.30% | 0.03% | 0.003% |

| 附表3 | 114 电阻箱 |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 测量盘 位置 | ×1000000 Ω | ×100000 Ω | × 10000 Ω | × 1000 Ω | ×100 Ω | ×10 Ω | × 1 Ω | × 0.1 Ω | × 0.01 Ω |
|  | U （kΩ）. | U （Ω）. | U （Ω）. | U （Ω）. | U （Ω）. | U （Ω）. | U （Ω）. | U （Ω）. | U （Ω）. |
| 1 | 0.03 | 10 | 0.09 | 0.008 | 0.0008 | 0.0002 | 0.00006 | 0.00006 | 0.00006 |
| 2 | 0.03 | 11 | 0.13 | 0.013 | 0.0012 | 0.0002 | 0.00023 | 0.00006 | 0.00006 |
| 3 | 0.11 | 11 | 0.21 | 0.021 | 0.0021 | 0.0003 | 0.00022 | 0.00006 | 0.00006 |
| 4 | 0.12 | 11 | 0.27 | 0.026 | 0.0026 | 0.0003 | 0.00029 | 0.00006 | 0.00006 |
| 5 | 0.13 | 11 | 0.32 | 0.032 | 0.0032 | 0.0004 | 0.00035 | 0.00006 | 0.00006 |
| 6 | 0.14 | 11 | 0.37 | 0.037 | 0.0037 | 0.0004 | 0.00042 | 0.00006 | 0.00006 |
| 7 | 0.16 | 12 | 0.43 | 0.043 | 0.0043 | 0.0005 | 0.00048 | 0.00006 | 0.00006 |
| 8 | 0.17 | 12 | 0.48 | 0.048 | 0.0048 | 0.0005 | 0.00055 | 0.00006 | 0.00006 |
| 9 | 0.18 | 12 | 0.54 | 0.054 | 0.0054 | 0.0006 | 0.00062 | 0.00006 | 0.00006 |
| 10 | 0.19 | 13 | 0.59 | 0.059 | 0.0059 | 0.0006 | 0.00068 | 0.00006 | 0.00006 |

| 附表4 | 120 数字三用表校验仪---交流电压 |  |
| --- | --- | --- |
| 电压/频率 | 50Hz、60Hz | 400Hz |
| 2mV~1V | 0.036% | 0.022% |
| 1V~10V | 0.036% | 0.024% |
| 10V~100V | 0.036% | 0.022% |
| 100V~ 500V | 0.032% | 0.032% |

| 附表5 | 120数字三用表校验仪---交流电流 |  |
| --- | --- | --- |
| 电流/频率 |  | 50Hz、60Hz、400Hz |
| (20~200)μA |  | 0.053% |
| (0.2~2)mA |  | 0.054% |
| (2~20)mA |  | 0.057% |
| (20~200)mA |  | 0.054% |
| (0.2~2)A |  | 0.086% |
| (2~10)A |  | 0.13% |

| 附表6 | 122低频信号发生器 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 频率 | 档位 | 0.03% | 0.10% | 0.30% | 1% | 3% | 10% |
| 10Hz~ 20Hz | U | --- | 0.0035% | 0.010% | 0.035% | 0.10% | 0.35% |
| 20Hz~ 300Hz |  | 0.0035% | 0.012% | 0.035% | 0.012% | 0.35% | 0.12% |
| 300Hz~ 5kHz |  | 0.0024% | 0.0025% | 0.024% | 0.081% | 0.24% | 0.81% |
| 5kHz~ 20kHz |  | 0.0035% | 0.0035% | 0.035% | 0.12% | 0.35% | 1.2% |
| 20kHz~ 109kHz |  | --- | 0.010% | 0.10% | 0.35% | 1.0% | 3.5% |

| 附表7 | 125失真度测量仪 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 频率/示值 | 100%~0.3% | 0.3%~ 0.1% | 0.1%~ 0.05% | 0.04% | 0.03% | 0.02% | 0.01% |
| （5~10）Hz | 3.6% | 3.6% | 5.8% | 8.2% | 12.0% | --- | --- |
| (10~20 )Hz | 2.4% | 2.4% | 4.7% | 5.8% | 8.2% | --- | --- |
| (20~110 ) Hz | 1.3% | 2.4% | 3.6% | 4.7% | 8.2% | --- | --- |
| (110~10) kHz | 0.9% | 1.1% | 1.3% | 2.4% | 2.4% | 4.7% | 15% |
| (10~20) kHz | 1.3% | 2.4% | 3.6% | 4.7% | 8.2% | --- | --- |
| (20~50) kHz | 2.4% | 4.7% | 12% | --- | --- | --- | --- |
| (50~200) kHz | 4.7% | 9.3% | --- | --- | --- | --- | ---- |

| 附表8 | 221电流互感器 |  |  |  |
| --- | --- | --- | --- | --- |
| 额定电压百分值 | 5% | 20% | 100% | 120% |
| U 比值差 U. | 0.018% | 0.012% | 0.012% | 0.012% |
| U 相位差 U. | 0.5′ | 0.4′ | 0.4′ | 0.4′ |

| 附表9 | 224数字多用表--交流电流 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 量程 | 0.2mA～2mA | 2mA～20mA | 20mA～200mA | 200mA～2A | 2A～20A |
| Urel | 0.12%～0.036% | 0.12%～0.036% | 0.12%～0.033% | 0.15%～0.064% | 0.16%～0.079% |

| 附表10 | 226交流电压源 |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 电压/频率 | (10～40)Hz | (40～100)Hz | 100Hz～2kHz | (2～10) kHz | (10～30) kHz | （30～100）kHz |
| 100μV ~200mV | 0.018% | 0.016% | 0.013% | 0.018% | 0.042% | 0.097% |
| 200mV~2V | 0.014% | 0.029% | 0.0096% | 0.013% | 0.026% | 0.077% |
| 2V~20V | 0.014% | 0.029% | 0.0096% | 0.013% | 0.026% | 0.077% |
| 20V~200V | 0.014% | 0.029% | 0.0096% | 0.013% | 0.026% | 0.077% |
| 电压/ 频率 | (100～300) kHz | 300kHz~ 1MHz |  |  |  |  |
| 200mV~2V | 0.50% | 3.0% |  |  |  |  |
| 2V~20V | 0.50% | 3.0% |  |  |  |  |
| 20V~200V | 0.50% | 3.0% |  |  |  |  |
| 电压/ 频率 | (10～40)Hz | (40～10) kHz | (10～30)kHz | (30～100)kHz |  |  |
| 200V~ 1000V | 0.016% | 0.016% | 0.030% | 0.098% |  |  |

| 附表11 | 265电压互感器 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 额定电压百分值 | 20% | 50% | 80% | 100% | 120% |
| U 比值差U. | 0.018% | 0.014% | 0.012% | 0.012% | 0.012% |
| U 相位差U. | 0.5′ | 0.4′ | 0.3′ | 0.3′ | 0.3′ |

| 附表12 | 268钳形接地电阻仪 |  |  |
| --- | --- | --- | --- |
| 量程 | 0.10Ω～ 1.00Ω | 1.00Ω～ 10.00Ω | 10.0Ω～ 100kΩ |
| Urel. | 6.0%～1.2% | 1.2% ～0.24% | 0.24% ～0.10% |

| 附表13 | 384音频分析仪 |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 频率 Urel 示值 | 100%~0.3% | 0.3%~0.1% | 0.1%~0.05% | 0.04% | 0.03% | 0.02% | 0.01% |
| （5~10）Hz | 3.60% | 3.60% | 5.80% | 8.20% | 12% | --- | --- |
| (10~20 )Hz | 2.40% | 2.40% | 4.70% | 5.80% | 8.20% | --- | --- |
| (20~110 )Hz | 1.30% | 2.40% | 3.60% | 4.70% | 8.20% | --- | --- |
| (110~10)k Hz | 0.90% | 1.10% | 1.30% | 2.40% | 2.40% | 4.70% | 15% |
| (10~20)k Hz | 1.30% | 2.40% | 3.60% | 4.70% | 8.20% | --- | --- |
| (20~50)k Hz | 2.40% | 4.70% | 12% | --- | --- | --- | --- |
| (50~200)k Hz | 4.70% | 9.30% | --- | --- | --- | --- | ---- |

| 附表14 | 384音频分析仪 |  |  |
| --- | --- | --- | --- |
| 频率 | 档位 | 0.03% | 0.10% |
| 10Hz~ 20Hz | U | --- | 0.0035% |
| 20Hz~ 300Hz |  | 0.0035% | 0.012% |
| 300Hz~ 5kHz |  | 0.0024% | 0.0025% |
| 5kHz~ 20kHz |  | 0.0035% | 0.0035% |
| 20kHz~ 109kHz |  | --- | 0.010% |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市三水区西南街道南丰大道

签发日期：2015年02月11日        有效期至：2018年02月10日

更新日期：2015年02月11日

附件1 认可的授权签字人及领域

| 序号 | 姓 名 | 授权签字领域 | 备 注 |
| --- | --- | --- | --- |
| 1 | 林建芳 | 力学、长度校准项目 |  |
| 2 | 赖志英 | 全部校准项目 |  |
| 3 | 何浩彪 | 长度、热学、化学、光学校准项目 |  |
| 4 | 宋树勇 | 力学、热学、电磁校准项目 |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:Nanfeng Road, Xinan Street, Sanshui District, Foshan, Guangdong, China

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 1   ACCREDITED SIGNATORIES AND SCOPE

| № | Name | Authorized Scope of Signature | Note |
| --- | --- | --- | --- |
| 1 | Lin Jianfang | Calibration items of Mechanics， Length |  |
| 2 | Lai Zhiying | All Calibration Items |  |
| 3 | He Haobiao | Calibration items of Length，Thermodynamics， chemistry，Optics |  |
| 4 | Song Shuyong | Calibration items of Mechanics，Thermodynamics，Electrical |  |

中国合格评定国家认可委员会

认 可 证 书 附 件

（注册号：CNAS L0799）

名称:佛山市质量计量监督检测中心

地址：广东省佛山市三水区西南街道南丰大道

认可依据：ISO/IEC 17025以及CNAS特定认可要求

签发日期：2015年02月11日         有效期至：2018年02月10日

更新日期：2015年02月11日

附件3 认可的校准能力范围

| 序号 | 测量仪器名称 | 校准参量 | 规范代号（含年号）名称 | 测量范围 | 扩展不确定度（k=2） | 限制说明 | 备注 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 通用卡尺 | 长度 | 《通用卡尺检定规程》 JJG30-2012 | 游标卡尺(0~300)mm | U=0.01 mm |  |  |
|  |  |  |  | 带表卡尺(0~300)mm | U=0.01 mm |  |  |
|  |  |  |  | 数显卡尺(0~300)mm | U=0.01 mm |  |  |
| 2 | 千分尺 | 长度 | 《千分尺检定规程》JJG21-2008 | (0～100)mm | U=1.5μm |  |  |
| 3 | 指示表 | 长度 | 《指示表（指针式和数显式））检定规程》JJG34-2008 | 百分表 (0～10)mm | U=4μm |  |  |
| 3 | 指示表 | 长度 | 《指示表（指针式和数显式））检定规程》JJG34-2008 | 千分表 (0～1)mm | U=1.7μm |  |  |
|  |  |  |  | 千分表 (1～3)mm | U=2.0μm |  |  |
|  |  |  |  | 千分表 (3～5)mm | U=2.4μm |  |  |
| 4 | 搅拌机 | 转速 | 《水泥胶砂搅拌机检定规程》 JJG(建材)102-1999 《行星式胶砂搅拌机检定规程》 JJG(建材)123-1999 《水泥净浆搅拌机检定规程》 JJG(建材)104-1994 | (10～200) r/min | U=3 r/min |  |  |
|  |  | 时间 |  | (15～240)s | U=1.0s |  |  |
|  |  | 间隙 |  | (1~200)mm | U=0.04mm |  |  |
| 5 | 抗折试验机 | 力值 | 《抗折试验机检定规程》 JJG476-2001 | （0～100）kN | Urel=0.4% |  |  |
| 6 | 非金属拉力、压力和万能试验机 | 力值 | 《非金属拉力、压力和万能试验机检定规程》JJG157-2008 | （0～2000）kN | Urel=0.4% |  |  |
| 7 | 电子式万能试验机 | 力值 | 《电子式万能试验机检定规程》 JJG475-2008 | （0～2000）kN | Urel=0.4% | 不测同轴度 |  |
| 8 | 拉力,压力和万能试验机 | 力值 | 《拉力、压力和万能试验机检定规程》 JJG139-1999 | （0～2000）kN | Urel=0.4% | 不测同轴度 |  |
| 9 | 雷氏夹膨胀测定仪 | 长度 | 《雷氏夹膨胀测定仪检定规程》 JJG(建材)110-1994 | (0～300)mm | U=0.04mm |  |  |
| 10 | 振实台 | 时间 | 《胶砂试体成型振实台检定规程》 JJG(建材)124-1999 | (60±2)s | U=1.0s |  |  |
|  |  | 振幅 |  | (15.0±0.3)mm | U=0.04mm |  |  |
|  |  | 质量 |  | (0～30)kg | U=5.0g |  |  |
| 11 | 击实仪 | 质量 | 《土工击实仪检定规程》 JJG(交通) 058－2004 《沥青混合料马歇尔击实仪检定规程》 JJG(交通) 065－2006 | (0～6)kg | U=3.0g |  |  |
|  |  | 长度 |  | (0～500)mm | U=0.04mm |  |  |
| 12 | 天平 | 质量 | 《机械天平检定规程》JJG 98-2006 | 分度值：0.1mg (0~200)g | U=0.1mg |  |  |
|  |  |  |  | 分度值：1mg (0~30)kg | U=1.0mg |  |  |
|  |  |  | 《电子天平检定规程》JJG 1036-2008 | 分度值：0.01mg (0~40)g | U=0.01mg |  |  |
|  |  |  |  | 分度值：0.1mg (0~200)g | U=0.1mg |  |  |
|  |  |  |  | 分度值：1mg (0~30)kg | U=0.3mg |  |  |
| 13 | 架盘天平 | 质量 | 《架盘天平检定规程》JJG156-2004 | 100g～5kg | U=0.1g |  |  |
| 14 | 砝码 | 质量 | 《砝码检定规程》 JJG99-2006 | (1～10)mg | U=0.05mg | 只做质量值 | M1等级 |
|  |  |  |  | (50～500)mg | U=0.08mg |  | F2等级 |
|  |  |  |  | (1～20)g | U=0.08mg |  | F1等级 |
|  |  |  |  | (50～500)g | U=0.50mg |  | M2等级 |
|  |  |  |  | （1～20）kg | U=1000mg |  |  |
| 15 | 数字指示秤 | 质量 | 《数字指示秤检定规程》 JJG539-1997 | (0～100)t | U=0.03% |  |  |
| 16 | 模拟指示秤 | 质量 | 《模拟指示秤检定规程》 JJG13-1997 | (0～100)t | U=0.1% |  |  |
| 17 | 非自行指示秤 | 质量 | 《非自行指示秤检定规程》 JJG14-1997 | (0～100)t | U=0.1% |  |  |
| 18 | 标准金属量器 | 容量 | 《标准金属量器检定规程》 JJG259-2005 | 1L、2L、5L、10L、20L、50L、100L | Urel= 0.10% |  |  |
| 19 | 水表 | 流量 | 《冷水水表检定规程》JJG162-2009 | （0.002～25）m3/h | Urel=0.6% |  |  |
| 20 | 燃油加油机 | 容量 | 《燃油加油机检定规程》 JJG443-2006 | 20L | U=0.019L |  |  |
|  |  |  |  | 50L | U=0.049L |  |  |
|  |  |  |  | 100L | U=0.099L |  |  |
| 21 | 常用玻璃量器 | 容量 | 《常用玻璃量器检定规程》 JJG196-2006 | (1~10) ml | U=0.005ml |  |  |
|  |  |  |  | (10~20) ml | U=0.008ml |  |  |
| 21 | 常用玻璃量器 | 容量 | 《常用玻璃量器检定规程》 JJG196-2006 | (20~100) ml | U=0.02ml |  |  |
|  |  |  |  | (100~200) ml | U=0.4ml |  |  |
|  |  |  |  | (200~500) ml | U=0.10ml |  |  |
|  |  |  |  | (500~1000) ml | U=0.13ml |  |  |
|  |  |  |  | (1000~5000) ml | U=0.20ml |  |  |
| 22 | 验光镜片箱 | 顶焦度 | 《验光镜片箱检定规程》 JJG 579-2010 | (-25~+25) m-1 | U=0.03 m-1 |  |  |
| 23 | 焦度计 | 顶焦度 | 《焦度计检定规程》JJG 580-2005 | (-25~+25) m-1 | U=0.05 m-1 |  |  |
| 24 | 验光仪 | 顶焦度 | 《验光仪检定规程》JJG 892-2011 | (-20~+20) m-1 | U=0.08 m-1 |  |  |
| 25 | 数字式温度仪表 | 温度 | 《数字温度指示调节仪检定规程》JJG617-1996 | 配热电偶 (0～1100）℃ | Urel= 0.1% |  |  |
|  |  |  |  | 配热电偶 (1100～1600)℃ | Urel= 0.2% |  |  |
|  |  |  |  | 配热电阻 (0～100)℃ | Urel= 0.6% |  |  |
|  |  |  |  | 配热电阻 (100～200)℃ | Urel= 0.3% |  |  |
|  |  |  |  | 配热电阻 (200～800)℃ | Urel= 0.1% |  |  |
| 26 | 自动平衡式显示仪表 | 温度 | 《工业过程测量记录仪检定规程》JJG74-2005 | 配热电阻 (0～800)℃ | U=0.4℃ |  |  |
|  |  |  |  | 配热电偶 (0～1600)℃ | U=1.2℃ |  |  |
| 27 | 环境试验设备 | 温度 | 《环境试验设备温度、湿度校准规范》JJF1101-2003 | (-30～300)℃ | U=1.0℃ | 不检湿度项目 |  |
| 28 | 动圈式温度仪表 | 温度 | 《动圈式温度指示/指示位式调节调节仪表检定规程》 JJG186-1997 | 配热电偶 (0～1100)℃ | Urel= 0.1% |  |  |
|  |  |  |  | 配热电偶 (1100～1600)℃ | Urel= 0.2% |  |  |
|  |  |  |  | 配热电阻 (0～100)℃ | Urel= 0.6% |  |  |
|  |  |  |  | 配热电阻 (100～200)℃ | Urel= 0.3% |  |  |
|  |  |  |  | 配热电阻 (200～800)℃ | Urel= 0.1% |  |  |
| 29 | 恒温槽 | 温度 | 《恒温槽技术性能测试规范》 JJF1030-2010 | (0～300) ℃ | U=0.5℃ |  |  |
| 30 | 一般压力表、压力真空表和真空表 | 压力 | 《弹性元件式一般压力表、压力真空表和真空表检定规程》 JJG52-2013 | (-0.1～60)MPa | Urel= 0.92% |  |  |
| 31 | 弹性元件式精密压力表和真空表 | 压力 | 《弹性元件式精密压力表和真空表检定规程》JJG49-2013 | (0.04～60)MPa | Urel= 0.16% |  |  |
| 32 | 膜式燃气(煤气)表 | 流量 | 《膜式燃气表检定规程》 JJG577-2005 | （0～10）m3/h, | Urel=0.3% |  |  |
| 33 | 血压计和血压表 | 压力 | 《血压计和血压表检定规程》 JJG270-2008 | (0～40)kPa | Urel= 0.35% |  |  |
| 34 | 数字（电子）血压计 | 压力 | 《无创自动测量血压计检定规程》 JJG692-2010 | (0～40)kPa | Urel= 0.35% |  |  |
| 35 | 电压表 | 直流电压 | 《电流表、电压表、功率表及电阻表检定规程》 JJG124-2005 | （0.1～150）V | Urel= 0.25% |  |  |
|  |  |  |  | （150～300）V | Urel= 0.27% |  |  |
|  |  |  |  | （300～600）V | Urel= 0.29% |  |  |
|  |  | 交流电压 |  | （0.1～150）V（50Hz-400Hz) | Urel= 0.25% |  |  |
|  |  |  |  | （150～300）V（50Hz-400Hz) | Urel= 0.27% |  |  |
|  |  |  |  | （300～600）V（50Hz-400Hz) | Urel= 0.29% |  |  |
| 36 | 电流表 | 直流电流 | 《电流表、电压表、功率表及电阻表检定规程》 JJG124-2005 | 50uA～5A | Urel= 0.12% |  |  |
|  |  |  |  | （5～10）A | Urel= 0.15% |  |  |
|  |  |  |  | （10～20）A | Urel= 0.18% |  |  |
|  |  | 交流电流 |  | （1.5～5）A （50Hz-400Hz) | Urel= 0.12% |  |  |
|  |  |  |  | （5～10）A（50Hz-400Hz) | Urel= 0.15% |  |  |
| 36 | 电流表 | 交流电流 | 《电流表、电压表、功率表及电阻表检定规程》 JJG124-2005 | （10～20）A（50Hz-400Hz) | Urel= 0.18% |  |  |
| 37 | 直流数字电压表 | 直流电压 | 《直流数字电压表（试行）检定规程》 JJG315-1983 | （0.1～10）V | Urel= 0.058% |  |  |
|  |  |  |  | （10～1000）V | Urel= 0.059% |  |  |
| 38 | 直流数字电流表 | 直流电流 | 《直流数字电流表（试行）检定规程》 JJG598-1989 | （0.1～10）mA | Urel= 1.0% |  |  |
|  |  |  |  | （10～100）mA | Urel= 0.9% |  |  |
|  |  |  |  | （0.1～15）A | Urel= 0.7% |  |  |
| 39 | 耐电压测试仪 | 电压 | 《耐电压测试仪检定规程》 JJG795-2004 | （0.1～10）kV | Urel= 1.1% |  |  |
|  |  | 击穿电流 |  | （0.5～100）mA | Urel=0.7% |  |  |
|  |  | 时间 |  | (1～999)s | U=2.0s |  |  |
| 40 | 接地电阻表 | 电阻 | 《接地电阻表检定规程》 JJG366-2004 | （0.001～100）Ω | Urel= 0.22% |  |  |
|  |  |  |  | （100～20111.12）Ω | Urel= 0.11% |  |  |
| 41 | 接地导通电阻测试仪 | 电阻 | 接地导通电阻测试仪检定规程》 JJG984-2004 | (0.01～520) mΩ | Urel=0.3% |  |  |
|  |  | 电流 |  | (0～30)A | Urel=0.3% |  |  |
| 42 | 绝缘电阻表（兆欧表） | 电阻 | 《绝缘电阻表（兆欧表）检定规程》 JJG622-1997 | 100Ω～1MΩ | Urel=1.6% |  |  |
| 42 | 绝缘电阻表（兆欧表） | 电阻 | 《绝缘电阻表（兆欧表）检定规程》 JJG622-1997 | （1～100）MΩ | Urel=1.4% |  |  |
|  |  |  |  | （100～1000）MΩ | Urel=1.2% |  |  |
|  |  |  |  | （1～100）GΩ | Urel=0.24% |  |  |
| 43 | 电子式绝缘电阻表 | 电阻 | 《电子式绝缘电阻表检定规程》 JJG1005-2005 | 100Ω～1MΩ | Urel=1.6% |  |  |
|  |  |  |  | （1～100）MΩ | Urel=1.4% |  |  |
|  |  |  |  | （100～1000）MΩ | Urel=1.2% |  |  |
|  |  |  |  | （1～100）GΩ | Urel=0.24% |  |  |
| 44 | pH（酸度）计 | pH值 | 《实验室pH（酸度）计检定规程》JJG119-2005 | pH:(0～14) | U=0.01 pH |  |  |
| 45 | 自动电位 滴定仪 | 电位 | 《自动电位滴定仪检定规程》JJG814-1993 | (-900～900)mV | U=0.5 mV | 只做 电计 |  |
| 46 | 离子计 | pX值 | 《离子计检定规程》JJG757-2007 | pX:(0～14) | U=0.02 pX | 只做 电计 |  |
| 47 | 钠离子计 | pNa值 | 《离子计检定规程》JJG757-2007 | pNa:（0～9） | U=0.02 pNa | 只做 电计 |  |
| 48 | 电导（率）仪 | 电导率 | 《电导仪检定规程》JJG376-2007 | （0.05～104） μS/cm | Urel=0.4% |  |  |
| 49 | 可见分光光度计 | 波长 | 《紫外、可见、近红外分光光度计检定规程》JJG178-2007 | （360～800）nm | U=0.4nm |  |  |
|  |  | 透射比 |  | （0～100）% | U(τ)= 0.5% |  |  |
| 50 | 紫外-可见分光光度计 | 波长 | 《紫外、可见、近红外分光光度计检定规程》JJG178-2007 | （190～850）nm | U=0.3nm |  |  |
| 50 | 紫外-可见分光光度计 | 透射比 | 《紫外、可见、近红外分光光度计检定规程》JJG178-2007 | （0～100）% | U(τ)= 0.5% |  |  |
| 51 | 液态物料定量灌装机 | 容量 | 《液态物料定量灌装机检定规程》 JJG687-2008 | （0～20）L | Urel= 0.24%; |  |  |
|  |  | 质量 |  | （0～30）kg | Urel= 0.12% |  |  |

CHINA NATIONAL ACCREDITATION SERVICE FOR CONFORMITY ASSESSMENT

APPENDIX OF ACCREDITATION CERTIFICATE

(Registration No. CNAS L0799)

NAME:Foshan Supervision Testing Center of Quality and Metrology

ADDRESS:Nanfeng Road, Xinan Street, Sanshui District, Foshan, Guangdong, China

Accreditation Criteria:ISO/IEC 17025 and relevant requirements of CNAS

Date of Issue:2015-02-11                      Date of Expiry:2018-02-10

- Date of Update：2015-02-11

APPENDIX 3   ACCREDITED CALIBRATION

| № | Instrument | Parameter | Title, Code of Calibration Method | Range | Uncertainty (k=2) | Limitation | Note |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Current Caliper | Length | V.R.of Current Caliper JJG 30-2012 | Vernier Caliper (0~300) mm | U= 0.01mm |  |  |
|  |  |  |  | Dial Caliper (0~300) mm | U= 0.01mm |  |  |
|  |  |  |  | Digital Caliper (0~300) mm | U= 0.01mm |  |  |
| 2 | Micrometer | Length | V.R of Micrometer JJG21-2008 | (0～100)mm | U=1.5μm |  |  |
| 3 | Dial Indicator | Length | V.R.of Dial Gauges JJG 34-2008 | Dial Gauges (0～10)mm | U=4μm |  |  |
|  |  |  |  | Dial Gauges (0～1)mm | U=1.7μm |  |  |
|  |  |  |  | Dial Gauges (1～3)mm | U=2.0μm |  |  |
| 3 | Dial Indicator | Length | V.R.of Dial Gauges JJG 34-2008 | Dial Gauges (3～5)mm | U=2.4μm |  |  |
| 4 | Mortars Mixer | Rotational Speed | V. R. of Cement Mortars Mixer JJG(Building material)102-1999 V. R. of Cement Mortars Mixer JJG(Building material 123-1999 V. R. of Cement Mortars Mixer JJG(Building material 104-1994 | (10～200) r/min | U=3 r/min |  |  |
|  |  | Time |  | (15～240)s | U=1.0s |  |  |
|  |  | Interval of the Pot of Walls |  | (1～200)mm | U=0.04mm |  |  |
| 5 | Flexure Testing Machine | Force | V. R. of Flexure Testing Machine JJG 476-2001 | （0～6）kN | Urel= 0.4% |  |  |
| 6 | Tension Compression and Universal Tension Machine for Nonmetallic | Force | V. R. of Tension Compression and Universal Tension Machine for Nonmetallic JJG157-2008 | （0～2000）kN | Urel= 0.4% |  |  |
| 7 | Electronic Universal Testing Machine | Force | V. R. of ElectronicUniversal Testing Machine JJG 475-2008 | （0～2000）kN | Urel= 0.4% | Except for term of axis |  |
| 8 | Universal Tension and Compression Testing Machine | Force | V. R. of Universal Tension and Compression Testing Machine JJG139-1999 | （0～2000）kN | Urel= 0.4% | Except for term of axis |  |
| 9 | Expansion Meter of Le-Chatelier Apparatus | Length | V．R．of Expansion Meter of Le-Chatelier Apparatus JJG（Building material）110-1994 | (0～300)mm | U=0.04mm |  |  |
| 9 | Expansion Meter of Le-Chatelier Apparatus | Mass | V．R．of Expansion Meter of Le-Chatelier Apparatus JJG（Building material）110-1994 | 300g | U=0.3g |  |  |
| 10 | Cement Mortars Specimen Jolting Table | Vibration time | V. R. of Cement Mortars Specimen Jolting Table JJG(Building material)124-1999 | (60±2)s | U=1.0s |  |  |
|  |  | Amplitude |  | (15.0±0.3)mm | U=0.04mm |  |  |
|  |  | Mass |  | (0～30)kg | U=5g |  |  |
| 11 | Compaction Instrument of Soil | Quality of the Hammer | Compaction Instrument of Soil JJG（Communi- cations）058－2004 | (0～6)kg | U=3.0g |  |  |
|  |  | Distance of falling of the Hamme |  | (0～500)mm | U=0.04mm |  |  |
| 12 | Balance | Mass | V. R. for Mechanical Balances JJG 98-2006 | Dividing the value：0.1mg (0~200)g | U=0.1mg |  |  |
|  |  |  |  | Dividing the value：1mg (0~30)kg | U=1.0mg |  |  |
|  |  |  | V. R. for Electronic Balance JJG 1036-2008 | Dividing the value：0.01mg (0~40)g | U=0.01mg |  |  |
|  |  |  |  | Dividing the value：0.1mg (0~200)g | U=0.1mg |  |  |
|  |  |  |  | Dividing the value：1mg (0~30)kg | U=0.3mg |  |  |
| 13 | Table Balances | Mass | V. R. of Table Balances JJG 156-2004 | 100g～5kg | U=0.1g |  |  |
| 14 | Weights | Mass | V. R. of Weights JJG99-2006 | (1～10)mg | U=0.05mg | Accredited only for quality value |  |
|  |  |  |  | (50～500)mg | U=0.08mg |  |  |
|  |  |  |  | (50～500)g | U=0.5mg |  |  |
|  |  |  |  | (1～20)g | U=0.08mg |  |  |
|  |  |  |  | （1～20）kg | U=1000mg |  |  |
| 15 | Digital indicating Weighing Instrument | Mass | V.R. of Digital Indicating Weighing Instrument JJG 539-1997 | (0～1000)kg | U=0.03% |  |  |
|  |  |  |  | (0～100)t |  |  |  |
| 16 | Analogue indicating Weighing Instrumen | Mass | V.R. of Analogue indicating Weighing Instrument JJG 13-1997 | (0～1000)kg | U=0.1% |  |  |
|  |  |  |  | (0～100)t |  |  |  |
| 17 | Non-self- indicating Weighing Instrument | Mass | V.R. of Non-self- indicating Weighing Instrument JJG 14-1997 | (0～1000)kg | U=0.1% |  |  |
|  |  |  |  | (0～100)t |  |  |  |
| 18 | Meter Measure Tank | Volume | V.R of Standard Metal Tank JJG259-2005 | 1L、2L、5L、10L、20L、50L、100L | Urel =0.10% |  |  |
| 19 | Cold Water Meter | Flow | V.R.of Cold Water Meter JJG 162-2009 | （0.002～25）m3/h | Urel =0.6% |  |  |
| 20 | Fuel Dispensers | Volume | V.R.of fuel Dispensers JJG443-2006 | 020L | U=0.019L |  |  |
|  |  |  |  | 050L | U=0.049L |  |  |
|  |  |  |  | 100L | U=0.099L |  |  |
| 21 | General Volumetric Glass | Volume | V.R.of General Volumetric Glass JJG 196-2006 | (1~10) ml | U=0.005ml |  |  |
| 21 | General Volumetric Glass | Volume | V.R.of General Volumetric Glass JJG 196-2006 | (10~20) ml | U=0.008ml |  |  |
|  |  |  |  | (20~100) ml | U=0.02ml |  |  |
|  |  |  |  | (100~200) ml | U=0.4ml |  |  |
|  |  |  |  | (200~500) ml | U=0.10ml |  |  |
|  |  |  |  | (500~1000) ml | U=0.13ml |  |  |
|  |  |  |  | (1000~5000) ml | U=0.20ml |  |  |
| 30 | Elastic Element Pressure Gauges, Pressure- Vacuum Gauges and Vacuum Gauges for General Use | Pressure | V.R. of Elastic Element Pressure Gauges, Pressure- Vacuum Gauges and Vacuum Gauges for General Use JJG 52-2013 | (-0.1～60)Mpa | Urel= 0.92% |  |  |
| 31 | Elastic Element Precise Pressure Gauges and Vacuum Gauges | Pressure | "V.R. of Elastic Element Precise Pressure Gauges and Vacuum Gauges JJG 49-2013 | (0.04～60)Mpa | Urel= 0.16% |  |  |
| 32 | Diaphragm Gas Meters | Flow | V.R.of Diaphragm Gas Meters JJG 577-2005 | （0～10）m3/h, | Urel=0.3% |  |  |
| 33 | Desk Sphygmomanometer | Pressure | V.R. of Desk Sphygmomanometer JJG 270-2008 | (0～40)kPa | Urel= 0.35% |  |  |
| 34 | Digital Electronic Sphygmomano meter | Pressure | V.R.of Non-invasive Automated Sphygmoamnometers JJG 692-2010 | (0～40)kPa | Urel= 0.35% |  |  |
| 35 | Voltmeter | D.C. Voltage | Voltmeter、Ammeter、Wattmeter and Resistor JJG 124-2005 | （0.1～150）V | Urel= 0.25% |  |  |
|  |  |  |  | （150～300）V | Urel= 0.27% |  |  |
|  |  |  |  | （300～600）V | Urel= 0.29% |  |  |
|  |  | A.C. Voltage |  | （0.1～150）V（50Hz-400Hz) | Urel= 0.25% |  |  |
|  |  |  |  | （150～300）V（50Hz-400Hz) | Urel= 0.27% |  |  |
|  |  |  |  | （300～600）V（50Hz-400Hz) | Urel= 0.29% |  |  |
| 36 | Ammeter | D.C. Current | Voltmeter、Ammeter、Wattmeter and Resistor JJG 124-2005 | 50uA～5A | Urel= 0.12% |  |  |
|  |  |  |  | （5～10）A | Urel= 0.15% |  |  |
|  |  |  |  | （10～20）A | Urel= 0.18% |  |  |
|  |  | A.C. Current |  | （1.5～5）A （50Hz-400Hz) | Urel= 0.12% |  |  |
|  |  |  |  | （5～10）A（50Hz-400Hz) | Urel= 0.15% |  |  |
|  |  |  |  | （10～20）A（50Hz-400Hz) | Urel= 0.18% |  |  |
| 37 | DC Digital Voltmeter | D.C. Voltage | V.R. of DC Digital Voltmeter JJG315-1983 | （0.1～10）V | Urel= 0.058% |  |  |
|  |  |  |  | （10～1000）V | Urel= 0.059% |  |  |
| 38 | DC Digital Ammeter | D.C. Current | V.R. of DC Digital Amperemeter JJG598-1989 | （0.1～10）mA | Urel= 1.0% |  |  |
|  |  |  |  | （10～100）mA | Urel= 0.9% |  |  |
| 38 | DC Digital Ammeter | D.C. Current | V.R. of DC Digital Amperemeter JJG598-1989 | （0.1～15）A | Urel= 0.7% |  |  |
| 39 | Withstanding Voltage Tester | Voltage | V. R. of Withstanding Voltage Testers JJG 795-2004 | （0.1～10）kV | Urel= 1.1% |  |  |
|  |  | Current |  | （0.5～100）mA | Urel=0.7% |  |  |
|  |  | Time |  | (1～999)s | U=2.0s |  |  |
| 40 | Earth Resistance Meter | Earth Resistance | V.R.of Earth Resistance Meters JJG 366-2004 | （0.001～100）Ω | Urel= 0.22% |  |  |
|  |  |  |  | （100～20111.12）Ω | Urel= 0.11% |  |  |
| 41 | Earth- Continuity Testers | Resistance | V.R.of Earth-Continuity Testers JJG984-2004 | (0.01～520) mΩ | Urel=0.3% |  |  |
|  |  | Current |  | (0～30)A | Urel=0.3% |  |  |
| 42 | Insulation Ohmmeter | Insulation Resistance | V.R.of Megohmmeter JJG 622-1997 | 100Ω～1MΩ | Urel=1.6% |  |  |
|  |  |  |  | （1～100）MΩ | Urel=1.4% |  |  |
|  |  |  |  | （100～1000） MΩ | Urel=1.2% |  |  |
|  |  |  |  | （1～100）GΩ | Urel= 0.24% |  |  |
| 43 | Electronic Insulating Resistance Meters | Insulation Resistance | V.R.of Electronic Insulating Resistance Meters JJG 1005-2005 | 100Ω～1MΩ | Urel=1.6% |  |  |
|  |  |  |  | （1～100）MΩ | Urel=1.4% |  |  |
|  |  |  |  | （100～1000） MΩ | Urel=1.2% |  |  |
|  |  |  |  | （1～100）GΩ | Urel= 0.24% |  |  |
| 44 | pH Meter | pH Value | V.R.of Laboratory pH Meter JJG 119-2005 | pH:(0～14) | U=0.01pH |  |  |
| 45 | Automatic Potentiometric Titrator | Potentiometric | V. R.of Automatic Potentiometric Titrator JJG 814-1993 | (-900～900)mV | U=0.5mV | Accredited only for meter |  |
| 46 | Ionometers | pX Value | V. R.of Ionometer JJG 757-2007 | pX:(0～14) | U=0.02pX | Accredited only for meter |  |
| 47 | Sodium Ionometers | pNa Value | V. R.of Ionometer JJG 757-2007 | pNa:（0～9） | U= 0.02pNa | Accredited only for meter |  |
| 48 | Electrolytic Conductivity Meters | Electrolytic Conductance Value | V. R.of Electrolytic Conductivity Meters JJG 376-2007 | （0.05～104） μS/cm | Urel=0.4% |  |  |
| 49 | Visible Spectro-photometer | Wavelength | V. R. of UV-VIS-NIR Spectrophotometer JJG 178-2007 | （360～800）nm | U=0.4nm |  |  |
|  |  | Transmit tance |  | （0～100）% | U(τ)= 0.5% |  |  |
| 50 | Ultraviolet Visible Spectro-photometer | Wavelength | JJG 178-2007 V. R. of UV-VIS-NIR Spectrophotometer | （190～850）nm | U=0.3nm |  |  |
|  |  | Transmit tance |  | （0～100）% | U(τ)= 0.5% |  |  |
| 51 | Quantitative Filling Machine for Liquid State Material | Volume | V.R. of Quantitative Filling Machine for Liquid State Material JJG 687-2008 | （0～20）L | Urel= 0.24%; |  |  |
|  |  | Mass |  | （0～30）kg | Urel= 0.12% |  |  |